Gel Documentation Form and Worksheet

HLA-B*54 (101.569-06/06u) 	Lot No: 05V	Expiry Date: 2016-May-01

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test  Date: ________      _

Tested By: ____      _____

Review Date:_______________

Reviewed By:______________ _

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

______________________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B*54 primer mixes.

Primer mix 4 may have tendency of unspecific amplification.

Primer mix 5 may amplify the C*03:19 and C*03:102 alleles.

Primer mix 21 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*54 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 105 bp in the B*54:04, 54:11 and 54:15 and the B*07:84, 08:09, 08:84, 13:35, 13:59, 13:62, 15:83, 27:14, 27:81, 40:06:01:01-40:06:07, 40:44, 40:53, 40:70, 40:75, 40:83, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:161-40:162, 40:165, 40:167, 40:177, 40:190, 40:230, 40:244, 41:01, 41:05-41:07, 41:09, 41:12, 41:14, 41:16-41:17, 41:20-41:22, 41:25-41:26, 41:28-41:29, 42:04, 44:20, 44:47, 44:100, 49:18, 50:14, 50:20, 51:01:01-51:03, 51:05, 51:07:01-51:12, 51:14, 51:16-51:24:05, 51:26-51:34, 51:36, 51:38-51:41N, 51:43-51:44N, 51:48-51:55, 51:57-51:58, 51:60-51:61:02, 51:65-51:80, 51:82-51:91, 51:93-51:96, 51:98N, 51:100-51:105, 51:107-51:130, 51:132, 51:134, 51:136-51:138, 51:140-51:147, 51:149N-51:154, 52:01:01:01-52:13, 52:15-52:24, 52:26-52:32, 55:17, 55:20, 55:27-55:28, 56:05:01-56:06, 56:15, 56:21, 58:08:01-58:08:02, 59:02 and 78:01:01-78:07 alleles. Specific PCR fragment of 235 bp in the B*54:08N allele.

Primer mix 16: Specific PCR fragment of 210 bp in the B*54:18 allele. Specific PCR fragment of 340 bp in the B* 54:17 allele.

‘w’, may be weakly amplified.

4The following HLA-B*54 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*54:17, B*54:18 | 16 |

The HLA-B*54 subtyping kit cannot distinguish the following silent mutations: the B*54:01:01 and B*54:01:03-54:01:04 alleles.

Change in revision R01 compared to R00:

- Primer mix 5 may amplify the C*03:19 and C*03:102 alleles. A foot note has been added in the Specificity Table.