HLA-B\*54 (101.569-06/06u) Lot No: 9N2 Expiry Date: 2025-12-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_

Test Date: \_\_\_\_\_\_\_\_\_\_\_

Tested By: \_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes: \_\_\_\_\_\_\_\_\_\_\_ Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |



Abbreviations

ICB: Internal Control Band

AmpS: Amplicon size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B\*54 primer mixes.

Primer mix 4 may have tendency of unspecific amplification.

Primer mix 22 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.











**1**HLA-B\*54 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla),

release 3.32.0, April 2018.

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3**The following HLA-B\*54 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| **Primer Mix** | **Size of spec. PCR product** | **Amplified HLA-B\*54 alleles** | **Other amplified HLA Class I alleles** |
| **6** | 105 bp  235 bp | \*54:04, 54:11, 54:15, 54:42  \*54:08N | \*07:84, 07:429, 08:09, 08:84, 08:254, 13:35, 13:59, 13:62, 15:83:01:01-15:83:01:02, 27:14, 27:81, 27:130, 27:153, 35:273, 35:534, 40:06:01:01-40:06:08, 40:06:10-40:06:17, 40:06:19-40:06:28, 40:44, 40:53, 40:70:01-40:70:02, 40:75, 40:83, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:161-40:162, 40:165, 40:167, 40:177, 40:190, 40:230, 40:244, 40:256N, 40:268-40:270, 40:275, 40:294-40:295, 40:298:01-40:298:02, 40:306-40:307, 40:311, 40:313, 40:317-40:318, 40:340-40:342, 40:348-40:350, 40:354, 40:361N-40:364, 40:366, 40:373-40:374, 40:376, 40:387-40:389, 40:408, 40:411, 40:423, 40:425, 40:427, 40:434, 40:445, 40:449, 40:451, 40:453-40:454, 40:459-40:460, 40:464, 40:468, 40:471, 40:473, 40:476, 40:478, 40:482, 40:484, 40:487N-40:488N, 40:492, 40:494, 41:01:01:01-41:01:07, 41:05-41:07, 41:09, 41:12, 41:14, 41:16-41:17, 41:20-41:22, 41:25-41:26, 41:28-41:29, 41:32-41:35, 41:37, 41:53-41:54, 41:56Q-41:57, 41:59-41:61, 41:64, 41:66-41:67, 41:70, 41:73, 42:04, 44:20, 44:47, 44:100, 44:197, 44:459, 49:18:01-49:18:02, 50:14, 50:20, 51:01:01:01-51:01:47, 51:01:49-51:03, 51:05, 51:07:01-51:12, 51:14, 51:16-51:24:05, 51:26-51:34, 51:36, 51:38-51:41N, 51:43-51:44N, 51:48-51:55, 51:57-51:58, 51:60-51:61:02, 51:65-51:80, 51:82-51:91, 51:93-51:96, 51:98N, 51:100-51:105, 51:107-51:130, 51:132, 51:134, 51:136-51:138, 51:140-51:147, 51:149N-51:156, 51:158:01-51:171, 51:173Q-51:193:02, 51:195-51:212, 51:214-51:215, 51:217-51:219, 51:221-51:222, 51:224, 51:226, 51:228-51:250, 51:252-51:280, 51:282-51:292, 51:294-51:299, 51:301-51:309, 51:311-51:318N, 51:320-51:340, 51:342-51:351, 51:354-51:358, 52:01:01:01-52:13, 52:15-52:24, 52:26-52:38, 52:40-52:74, 52:76-52:87, 52:89N-52:96N, 52:98-52:106, 55:17, 55:20, 55:27-55:28:02, 55:81, 56:05:01-56:06, 56:15, 56:21, 58:08:01-58:08:02, 59:02, 59:11, 78:01:01:02-78:10, **C\*03:464, C\*14:92** |
| **16** | 210 bp  340 bp | \*54:18  \*54:17 | **C\*08:196, C\*12:273** |

**4**The following HLA-B\*54 alleles can be distinguished by the different sizes of the specific PCR product:

|  |  |
| --- | --- |
| **Alleles** | **Primer mix** |
| B\*54:17, B\*54:18 | 16 |

**5**The following alleles will give rise to identical amplification patterns with the HLA-B\*54 subtyping kit. These alleles can be distinguished by the HLA-B resolution and/or the respective HLA-B kits.

|  |
| --- |
| **Alleles** |
| B\*54:01:02, B\*13:132 |
| B\*54:39, B\*55:02:07 |

Abbreviations

w: may be weakly amplified.

?: nucleotide sequence of the primer matching region not known.