Gel Documentation Form and Worksheet

HLA-B*55 (101.570-06/06u) 	Lot No: 19V	Expiry Date: 2016-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 6, 25, 26, 28 and 30 may have tendencies of unspecific amplifications.

Primer mix 28 has a tendency of giving rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*55 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 9: Specific PCR fragment of 215 bp in the B*55:25 allele. Specific PCR fragment of 375 bp in the B*55:11 and 55:14 alleles.

Primer mix 11: Specific PCR fragment of 90 bp in the B*55:48 allele. Specific PCR fragment of 125 bp in the B*55:15 allele. Specific PCR fragment of 180 bp in the B*55:09, 55:22 and 55:24 and the B*07:78, 13:01:01-13:02:15, 13:07N-13:09, 13:11, 13:14-13:20, 13:22:01-13:23, 13:25, 13:27-13:34, 13:36-13:45, 13:47, 13:49N-13:50, 13:52, 13:54-13:58, 13:60-13:61, 13:63N-13:70, 40:48, 45:10, 49:07, 50:31 and 54:26 alleles.

Primer mix 18: Specific PCR fragment of 215 bp in the B*55:25 allele. Specific PCR fragment of 310 bp in the B*55:19 allele. Specific PCR fragment of 415 bp in the B*55:18 and 55:31 and the B*40:10:01-40:10:02, 54:30, 56:23, 56:42 and 59:01:01:01-59:06 alleles.

Primer mix 22: Specific PCR fragment of 95 bp in the B*55:23 and 55:27 and the B*13:04, 13:35, 15:16:01-15:16:03, 15:67, 15:95, 15:155, 15:222, 15:254, 35:37, 35:235, 40:44, 40:159, 41:21, 44:20, 44:47, 44:100, 45:09, 49:04-49:05, 50:33, 51:37, 51:90, 51:92, 52:12, 52:26 and 54:14-54:15 alleles. Specific PCR fragment of 225 bp in the B*55:09, 55:21, 55:37 and 55:52 and the B*07:78, 13:18, 13:31, 13:41, 15:137, 39:33, 40:161, 51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82, 52:21, 52:24, 54:10, 54:20 and 56:43 alleles. Specific PCR fragment of 95 and 225 bp in the B*07:84, 15:04 and 46:32 alleles.

Primer mix 23: Specific PCR fragment of 165 bp in the B*55:29 allele. Specific PCR fragment of 220 bp in the B*55:16 and 55:21 and the B*07:143, 13:31, 13:41, 15:04, 15:137, 40:166, 42:02, 42:09, 42:17-42:18, 45:06, 46:32, 51:61:01-51:61:02, 52:21, 54:02, 56:35 and 56:43 alleles.

Primer mix 24: Specific PCR fragment of 100 bp in the B**55:13, 55:23, 55:27, 55:32, 55:58 and the B*07:84, 13:04, 13:35, 13:46, 15:04, 15:16:01-15:16:03, 15:67, 15:95, 15:137, 15:155, 15:222, 15:254, 35:37, 35:235, 39:06:01-39:06:03, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 40:44, 40:86, 40:159, 41:21, 44:20, 44:47, 44:100, 45:02, 45:09, 46:32, 49:04-49:05, 50:09, 50:33, 51:13:01-51:13:02, 51:37, 51:63, 51:90, 51:92, 51:97, 52:12, 52:14, 52:26, 54:14-54:15, 56:22, 59:03 and  73:01-73:02 alleles. Specific PCR fragment of 235 bp in the B*55:33 allele.

Primer mix 25: Specific PCR fragment of 280 bp in the B*55:26 allele. Specific PCR fragment of 380 bp in the B*55:18, 55:34 and 55:40 and the B*40:10:01-40:10:02 alleles.

Primer mix 26: Specific PCR fragment of 75 bp in the B*55:42 allele. Specific PCR fragment of 310 bp in the B*55:45 allele. Specific PCR fragment of 400 bp in the B*55:34 and 55:47 alleles.

Primer mix 27: Specific PCR fragment of 95 bp in the B*55:46 and the B*54:16 alleles. Specific PCR fragment of 170 bp in the B*55:43  and the B*51:127 alleles.

Primer mix 30: Specific PCR fragment of 105 bp in the B*55:35 and the B*15:76, 15:101 and 56:39 alleles. Specific PCR fragment of 220 bp in the B*55:17 and 55:38 and the B*08:09, 08:84, 15:83, 39:06:02-39:06:03, 39:34, 39:57, 39:62, 39:64, 42:04, 51:21, 51:36, 51:101, 51:143, 51:153 and 78:07 alleles.

Primer mix 31: Specific PCR fragment of 105 bp in the B*55:13 and 55:58 and the B13:46, 15:137, 35:235, 39:06:01-39:06:03, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 40:86, 45:02, 50:09, 51:13:01-51:13:02, 51:92, 52:14, 56:22, 59:03 and 73:01-73:02 alleles. Specific PCR fragment of 170 bp in the B*55:43 and the B*51:127 alleles. Specific PCR fragment of 235 bp in the B*55:55N allele

‘w’, may be weakly amplified.

‘?’, the nucleotide sequence of the primer matching region is not known.

4The HLA-B*55 primer set cannot separate the B*55:07 and the B*54:01:02 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*54 high resolution kit.