Gel Documentation Form and Worksheet

HLA-B*56 (101.571-06/06u) 	Lot No: 39V	Expiry Date: 2016-October-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:____________

Tested By:____________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:  _______________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 7 and 18 may give rise to a lower yield of HLA-specific PCR product than the other B*56 primer mixes.

Primer mixes 8, 10, 12, 13, 17 and 21 may have tendencies of unspecific amplifications.

Primer mixes 1, 9, 13 and 14 have a tendency to giving rise to primer oligomer formation.

Primer mix 3 may amplify the C*03:19 and C*03:102 alleles.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*56 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 175 bp in the B*56:40 allele. Specific PCR fragment of 285 bp in the B*56:03 and the B*40:10:02, 54:01:02 and 55:35 alleles.

Primer mix 6: Specific PCR fragment of 105 bp in the B*56:05:01 and the B*07:206, 27:05:18 and 39:63 alleles. Specific PCR fragment of 150 bp in the B*56:32 and the B*07:09w, 07:11w, 07:162w, 15:03:01-15:03:04, 15:16:01-15:16:03, 15:18:01-15:18:06, 15:23, 15:29, 15:39:01-15:40, 15:47:01w-15:47:02w, 15:49w, 15:61-15:62, 15:64:01-15:64:02, 15:65w, 15:67, 15:69, 15:72, 15:74, 15:80, 15:93, 15:95, 15:98, 15:103, 15:108, 15:115, 15:119, 15:127, 15:131-15:132, 15:134, 15:138, 15:153, 15:158, 15:161, 15:173, 15:176, 15:194-15:195, 15:197-15:198, 15:210, 15:220, 15:221w, 15:223, 15:226N, 15:238, 15:242, 15:254-15:255, 15:263, 15:266, 15:268, 15:274, 15:281-15:282, 15:288, 15:290, 15:292-15:294N, 18:15, 18:21w, 18:30w, 18:57, 35:11:01-35:11:02, 35:11:03w, 35:21, 35:58, 35:99w, 35:188, 35:232w, 46:03w, 46:08, 48:25, 49:04, 51:37, 51:45, 53:06, 53:08:01-53:08:02, 53:28, 55:14, 57:13w, 57:22, 58:06, 58:19 and 58:46 and in the C*03:175, 03:199, C*15:09, 15:19, 15:27 and 15:61 alleles.

Primer mix 7: Specific PCR fragment of 120 bp in the B*56:05:01-56:06 and 56:21 and the B*13:62, 40:95, 49:18, 50:14, 51:01:01-51:01:03, 51:01:05-51:01:12, 51:01:14-51:02:03, 51:02:05-51:03, 51:05, 51:07:01-51:09:02, 51:11N-51:12, 51:13:02-51:14, 51:16-51:23, 51:24:03-51:24:05, 51:26-51:37, 51:39-51:41N, 51:43-51:44N, 51:48-51:55, 51:57-51:58, 51:60-51:61:02, 51:63, 51:65-51:80, 51:82-51:91, 51:93-51:134, 51:136-51:138, 51:140-51:147, 51:149N-51:156, 51:158-51:166, 52:01:01:01-52:01:04, 52:01:06-52:01:14, 52:01:16-52:13, 52:15-52:24, 52:26-52:36, 55:01:04, 58:08:01-58:08:02 and 78:01:01-78:07 alleles. Specific PCR fragment of 170 bp in the B*56:33 and the B*15:21, 15:44, 15:66, 15:189, 35:26, 35:82, 35:85, 35:135 and 38:28 alleles.

Primer mix 9: Specific PCR fragment of 145 bp in the B*56:07 and the B*07:149, 08:02, 15:115, 27:01, 38:02:01-38:02:06, 38:03-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43-38:50, 44:40, 44:44, 44:130 and 44:156 alleles. Specific PCR fragment of 205 bp in the B*56:31 and the B*15:38:01-15:38:02, 15:185, 18:01:01:01-18:01:13, 18:01:15-18:09, 18:12-18:15, 18:17N-18:19, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:55, 18:57, 18:59-18:60, 18:62-18:96, 35:21, 35:24:01-35:24:02, 35:188, 35:190, 39:43, 51:37, 51:45, 53:02, 53:06, 53:28, 57:14 and 58:09 alleles.

Primer mix 12: Specific PCR fragment of 150 bp in the B*56:25 and 56:37 and the B*07:78, 13:16, 13:20, 13:31w, 13:48, 15:73w, 15:303w, 51:62, 51:106, 52:25, 55:09 and 55:24 alleles. Specific PCR fragment of 180 bp in the B*56:10 and 56:23 and the B*13:06, 13:53, 15:86, 15:224, 35:60, 46:18, 51:157, 54:01:01-54:02, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:19, 54:21-54:25, 54:27-54:32, 55:02:01-55:02:08, 55:07, 55:10, 55:12, 55:16, 55:18-55:19, 55:26, 55:30, 55:34-55:35, 55:37, 55:39, 55:42-55:43, 55:47-55:48, 55:50, 55:56-55:57, 55:61-55:63, 59:01:01:01-59:01:01:02 and 59:05-59:06 alleles.Specific PCR fragment of 150 and 180 bp in the B*15:42, 54:20, 55:01:01-55:01:11, 55:03, 55:05, 55:11, 55:15, 55:21, 55:25, 55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:55N and 55:59-55:60 and in the C*01:90 alleles.

Primer mix 13: Specific PCR fragment of 70 bp in the B*56:30 and the B*44:174 alleles. Specific PCR fragment of 180 bp in the B*56:11 and 56:22 and the B*15:58, 15:133, 15:229, 15:253, 35:03:01-35:03:05, 35:03:07-35:03:12, 35:06, 35:13, 35:36, 35:38, 35:55-35:56, 35:59, 35:70, 35:74-35:75, 35:84-35:85, 35:98, 35:106, 35:109, 35:127-35:128, 35:136, 35:150-35:153, 35:155-35:156, 35:160, 35:163, 35:167, 35:169, 35:179, 35:181, 35:193, 35:195, 35:198, 35:204-35:205, 35:221, 35:223, 35:231, 35:235-35:237, 35:242-35:243, 35:246, 38:30, 39:32-39:33, 39:74, 51:13:01-51:13:02, 51:92, 52:14, 53:04, 53:31 and 58:34 alleles.

Primer mix 15: Specific PCR fragment of 160 bp in the B*56:13 and the B*44:15, 44:18, 44:140, 45:01, 45:04-45:08, 45:10-45:14, 55:56 and 82:01-82:03 alleles. Specific PCR fragment of 385 bp in the B*56:08, 56:14 and 56:28N and the B*35:186 alleles.

Primer mix 17: Specific PCR fragment of 80 bp in the B*56:38N allele. Specific PCR fragment of 180 bp in the B*56:05:01-56:06, 56:15 and 56:21 and the B*07:20, 07:24, 07:60, 07:100, 07:131, 08:21, 08:25, 13:62, 15:09-15:10:02, 15:30, 15:37, 15:45, 15:48, 15:63, 15:90, 15:99, 15:150, 15:243, 15:248, 15:287, 27:76, 35:02:01-35:02:06, 35:04:01-35:04:03, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:18, 35:22, 35:34, 35:39, 35:44, 35:81, 35:83, 35:95, 35:129N, 35:149, 35:154, 35:162, 35:172, 35:182-35:184, 35:199, 35:201, 35:211, 35:220, 35:233, 40:05, 40:26, 40:28, 40:63, 40:92, 40:174, 41:17, 44:62, 44:77, 44:82, 44:107, 44:123, 49:18, 50:14, 51:01:01-51:01:14, 51:01:16-51:01:31, 51:01:33-51:01:38, 51:01:40-51:09:02, 51:11N-51:12, 51:18-51:20, 51:22-51:24:05, 51:26-51:30, 51:32-51:33, 51:35, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:61:02, 51:64-51:80, 51:83-51:84, 51:86-51:91, 51:94-51:96, 51:98N-51:100, 51:102-51:105, 51:107-51:142, 51:145-51:152, 51:154-51:156, 51:158-51:166, 52:01:01:01-52:07, 52:09-52:13, 52:15-52:24, 52:27-52:36, 53:19, 55:08, 55:51, 57:02:01-57:03:02, 57:05, 57:07, 57:09, 57:12, 57:17, 57:28N, 57:39, 57:42, 57:46, 57:57, 57:63, 57:66, 58:08:01-58:08:02, 58:28 and 78:01:01-78:06 and in the C*03:81 and 03:152 alleles.

Primer mix 18: Specific PCR fragment of 295 bp in the B*56:16 and the B*40:149, 41:22, 49:25, 54:21, 55:10, 57:58 and 82:01-82:03 alleles. Specific PCR fragment of 405 bp in the B*56:28N allele.

Primer mix 19: Specific PCR fragment of 75 bp in the B*56:29 and the B*07:176 alleles. Specific PCR fragment of 185 bp in the B*56:19N and the B*39:40:01N-39:40:02N alleles.

Primer mix 21: Specific PCR fragment of 115 bp in the B*56:17, 56:23 and 56:42 and the B*07:16, 07:37, 07:50, 07:75, 07:91, 07:207, 08:23, 08:54, 08:110, 14:14, 14:18, 15:03:01-15:03:04, 15:09-15:10:02, 15:18:01-15:18:06, 15:29, 15:37, 15:47:01-15:47:02, 15:49, 15:51-15:52, 15:54, 15:62, 15:64:01-15:64:02, 15:68-15:69, 15:72, 15:74, 15:80, 15:90-15:91, 15:93, 15:98-15:99, 15:103, 15:108, 15:114, 15:123-15:124, 15:127, 15:131-15:134, 15:151, 15:153, 15:156, 15:158, 15:161, 15:173, 15:176, 15:186, 15:197-15:198, 15:200, 15:210, 15:220-15:221, 15:226N, 15:229, 15:235, 15:238, 15:242-15:243, 15:252-15:253, 15:259, 15:263, 15:266, 15:274-15:275, 15:281-15:282, 15:290, 15:292-15:293, 18:37, 27:18, 27:23, 27:44, 27:77, 35:25-35:26, 35:49, 39:05:01-39:05:02, 39:07-39:08, 39:11, 39:13:01-39:13:02, 39:20, 39:37, 39:49, 39:55-39:56, 40:12, 40:46, 40:93, 42:11, 48:01:01-48:34, 55:18 and 55:31 alleles. Specific PCR fragment of 170 bp in the B*56:26 allele.

Primer mix 22: Specific PCR fragment of 105 bp in the B*56:06 and the B*07:65, 07:134 and 35:76 alleles. Specific PCR fragment of 175 bp in the B*56:18, 56:31-56:32, 56:36, 07:177, 08:37, 08:89, 08:107, 15:50, 15:69, 15:93, 15:186, 15:199, 18:01:01:01-18:01:13, 18:01:15-18:01:17, 18:01:19-18:09, 18:11-18:15, 18:17N-18:19, 18:22-18:25, 18:27-18:34, 18:37-18:40, 18:42-18:49, 18:51-18:55, 18:59-18:60, 18:62-18:85, 18:87-18:96, 35:35, 35:93, 35:188, 35:190, 37:35, 39:07, 39:43, 40:166, 42:09, 44:90, 45:06, 46:03, 46:21:01-46:21:02, 46:29, 54:09, 54:14, 55:14, 55:23, 57:26, 58:05, 58:35 and in the C*06:89, C*07:123, 07:173, 07:294, C*12:113, C*15:09, 15:19, 15:27, 15:61 and C*16:20 alleles.

Primer mix 23: Specific PCR fragment of 85 bp in the B*56:20:01-56:20:02 and in the B*07:78 and 40:48 and in the C*01:90 alleles. Specific PCR fragment of 350 bp in the B*56:24 allele.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The HLA-B*56 primer set cannot separate the B*56:09 and B*35:78 alleles. These alleles can be distinguished by the HLA-B low resolution and/or B*35 kits.

The HLA-B*56 primer set cannot separate the B*56:23 and B*55:31alleles. These alleles can be distinguished by the HLA-B low resolution and/or B*55 kits.

5The following HLA-B*56 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*56:08, 56:13 | 15 | B*56:18, 07:65 | 22 |
| B*56:14, 44:15, 44:18, 45:01, 45:04-45:05, 45:07, 45:11-45:14 | 15 | B*56:19N, 56:29 | 19 |
| B*56:17, 56:26 | 21 |

The HLA-B*56 subtyping kit cannot distinguish the silent mutations in the B*56:01:01- 56:01:07 alleles and the B*56:20:01-56:20:02 alleles.

Change in revision R01 compared to R00:

- Primer mix 3 may amplify the C*03:19 and C*03:102 alleles. A foot note has been added in the Specificity Table.