PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-B*57

Prod. No:	101.567-12 – including Taq polymerase

101.567-12u – without Taq polymerase

Lot No:    	Y36

Expiry Date:    	2009-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 16 primer mixes used for HLA-B*57 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*57 alleles | Other amplified HLA Class I alleles3 |
| --- | --- | --- | --- | --- |
| 1 | 150 bp | 800 bp | 570101-5710, 5712, 5714 | 1301, 1306, 1307N, 1312, 1313, 1317, 1320, 1502, 1513, 1520, 1521, 1525, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 1822, 2719, 2730, 350101-350402, 3506-350803, 3510-3517, 3519-3521, 3523-3530, 3533-3536, 3538-3542, 3545-3550, 3552-3557, 3559, 3561-3563, 3565Q, 3569-3571, 3574, 3576-3578, 3582, 3583, 370101-370104, 3703N-3706, 3708, 3710, 3711, 3713, 3942, 4028, 44020101-4414, 4416, 4417, 4419N, 4421-4430, 4432-4440, 4442-4446, 4448-4452N, 4455-4457, 4802, 5104, 5142, 5146, 530101-5306, 5308-5313, 5514, 5609, 5611, 5612, 5801, 5804, 5805, 5809-5815, 8301 |
| 24 | 100 bp | 1070 bp | 570101-570103, 5706, 5708, 5710, 5713, 5714 | 5514, 5814 |
| 3 | 220 bp | 1070 bp | 570101-570103, 570301-570302, 5706-5708, 5710, 5714 | 4030, 4034, 5514, 5814 |
| 44,5 | 100 bp | 800 bp | 5702-570302, 5705, 5707, 5709, 5712 | 1313, 1321, 350201-350202, 350401-350402, 3506weakly, 350901-350902, 3512, 3518, 3559 weakly, 3583, 370101-370104 weakly, 3703N-3706 weakly, 3708 weakly, 3710 weakly, 3711 weakly, 3712, 3713 weakly , 3942 weakly, 4004, 4028, 4030, 4034, 4064, 4068, 4817 weakly, 5104, 5146, 5612, Cw*0510 weakly |
| 5 | 220 bp | 1070 bp | 5702, 5704, 5712, 5713 |  |
| 64 | 95 bp | 1070 bp | 5704 |  |
| 75 | 180 bp | 1070 bp | 5706 |  |
| 8 | 250 bp | 1070 bp | 5707 |  |
| 9 | 170 bp | 1070 bp | 5709, 5713 | 070201-0724, 0726-0741, 0743-0747, 0749N, 0750, 0752-0760, 0806, 0820, 1316, 1320, 1401-1407N, 15010101-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1542-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9539, 1815, 1819, 1821, 270401-270402, 2706, 2710, 2715, 2718, 2720, 2721, 2724, 2725, 3511, 351401-351402, 3521, 3543, 3544, 3558, 3567, 3579, 3707, 3713, 3810, 3918, 3935, 3936, 4005, 4015, 4016, 4023, 4026, 4028, 4032, 4051, 460101-4605, 4607N, 4608, 4610, 4612, 4805, 4808, 4815, 4901-4905, 5001, 5002, 5004, 510101-5104, 5106, 5107, 5111N-5114, 5116-5118, 5121-5124, 5126-5130, 5132-5139, 5141N, 5143, 5145, 5146, 5148-5151, 520101-5202, 5204-5209, 5211, 5306, 5308, 5406, 550101-550104, 5503, 5505, 5509, 5511, 5514, 5515, 5517, 5521, 5524, 5525, 5528, 5603, 560501-5606, 5621, 5806, 5808, 7801-7803, 7805 |
| 10 | 210 bp | 1070 bp | 5708 |  |
| 116 | 165, 215, 250 bp | 800 bp | 5707, 5709, 5714 | 5514, 5814 |
| 124 | 90 bp | 1070 bp | 5702-570302, 5707, 5709, 5712 | 4030, 4034 |
| 134 | 90 bp | 1070 bp | 570101-5714 |  |
| 14 | 195 bp | 1070 bp | 5710 |  |
| 15 | 145 bp | 1070 bp | 5711 | 1401-1404, 1407N, 5802, 5806, 5807 |
| 164 | 85 bp | 1070 bp | 5712 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*57 SSP subtypings.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*57 subtyping.

In addition, tubes number 4 and 11 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-B alleles some non-HLA-B*57 alleles will be amplified by primer mixes 1, 2, 3, 4, 9, 11, 12 and 15. In addition, the Cw*0510 allele will be weakly amplified by primer mix 4.

4Short specific PCR fragments are less intense and not as sharp as longer specific bands.

5Primer mixes 4 and 7 have a tendency of giving rise to nonspecific amplifications. Most pronounced for primer mix 4.

6Primer mix 11: Specific PCR fragment of 165 bp in the B*5714 and B*5514 and 5814 alleles. Specific PCR fragment of 215 bp in the B*5709 allele. Specific PCR fragment of 250 bp in the B*5707 allele.

1Primer mix 11: Specific PCR fragment of 165 bp in the B*5714 and B*5514 and 5814 alleles. Specific PCR fragment of 215 bp in the B*5709 allele. Specific PCR fragment of 250 bp in the B*5707 allele.