PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*57

Prod. No:	101.567-12/12u

Lot No:    	85M

Expiry Date:    	2014-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*57 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*57 alleles | Other amplified HLA Class I alleles3 |
| --- | --- | --- | --- | --- |
| 1 | 150 bp | 800 bp | *57:01:01-57:01:04, 57:01:06-57:10, 57:12, 57:14-57:30, 57:32-57:37 | *08:49, 13:01:01-13:01:05, 13:06-13:07N, 13:12-13:13, 13:17, 13:20, 13:22:01-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 14:10, 15:02:01-15:02:05, 15:13, 15:20-15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:62, 15:77, 15:80, 15:85, 15:88-15:89, 15:106, 15:112, 15:121, 15:139, 15:144, 15:154, 15:165, 15:170, 15:194, 15:204, 18:22, 27:19, 27:30, 35:01:01:01-35:04:03, 35:06-35:08:04, 35:10-35:17, 35:19-35:21, 35:23-35:30, 35:33-35:36, 35:38-35:42:02, 35:45-35:50, 35:52, 35:54-35:57, 35:59, 35:61-35:63, 35:65Q, 35:69-35:71, 35:74, 35:76-35:78, 35:80-35:85, 35:90-35:96, 35:98, 35:100-35:101:02, 35:103-35:113, 35:115-35:116, 35:120-35:126, 35:128-35:134N, 35:136-35:150, 37:01:01-37:01:07, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:25, 38:20, 39:42, 40:28, 44:02:01:01-44:14, 44:16-44:17, 44:19N, 44:21-44:30, 44:32-44:40, 44:42-44:46, 44:48-44:52N, 44:55-44:64:02, 44:66-44:98, 44:101-44:105, 44:107-44:115, 48:02:01-48:02:02, 51:04, 51:42, 51:46, 51:56, 53:01:01-53:13, 53:15-53:24, 55:14, 56:09, 56:11-56:12, 58:01:01-58:01:02, 58:01:04-58:01:08, 58:04-58:05, 58:09-58:15, 58:17N, 58:19, 58:21-58:24, 58:28-58:31N, 83:01, C*03:102 |
| 24 | 100 bp | 1070 bp | *57:01:01-57:01:10, 57:06, 57:08, 57:10, 57:13-57:16, 57:18-57:27, 57:29-57:31, 57:33-57:37 | *55:14, 58:14 |
| 35 | 220 bp | 1070 bp | *57:01:01-57:01:10, 57:03:01-57:03:02, 57:06-57:08, 57:10, 57:14-57:18, 57:20-57:23, 57:25-57:27, 57:29, 57:31-57:37 | *40:30, 40:34, 55:14, 58:14 |
| 44 | 100 bp | 800 bp | *57:02:01-57:03:02, 57:05, 57:07, 57:09, 57:12, 57:17 | *08:60, 13:13, 13:21, 35:02:01-35:02:04, 35:04:01-35:04:03, 35:06w, 35:09:01-35:09:02, 35:12:01-35:12:02, 35:18, 35:59w, 35:81, 35:83, 35:88, 35:95, 35:129N, 35:149, 37:01:01w-37:01:07w, 37:03Nw-37:06w, 37:08w, 37:10w-37:11w, 37:12, 37:13w-37:24w, 38:20w, 39:42w, 40:04, 40:28, 40:30, 40:34, 40:64, 40:68, 40:99, 40:129, 40:137, 42:13, 44:62, 44:77, 44:82, 48:17w, 51:04, 51:46, 51:56, 53:19, 56:12, 58:28, C*05:10w, C*15:24 |
| 5 | 220 bp | 1070 bp | *57:02:01-57:02:02, 57:04, 57:12-57:13, 57:19, 57:28N, 57:30 |  |
| 64,7 | 95 bp, 190 bp | 1070 bp | *57:04, 57:06, 57:30, 57:32 |  |
| 74 | 105 bp | 1070 bp | *57:15 |  |
| 84,8 | 90 bp, 250 bp | 1070 bp | *57:07, 57:16 |  |
| 96 | 170 bp | 1070 bp | *57:09, 57:13, 57:22 | *07:02:01-07:24, 07:26-07:47, 07:49N-07:50, 07:52-07:117, 08:20, 08:53, 13:16, 13:20, 13:31, 14:01:01-14:19, 15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:42-15:47, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:209N, 18:15, 18:19, 18:21, 18:30, 27:04:01-27:04:03, 27:06, 27:10, 27:15, 27:18, 27:20-27:21, 27:24-27:25, 27:40, 27:54, 27:63, 27:66N, 27:68-27:69, 35:11:01-35:11:02, 35:14:01-35:14:02, 35:21, 35:43:01-35:44, 35:58, 35:67, 35:79, 35:86, 35:96, 35:99, 35:102, 35:117-35:118, 35:135, 37:07, 37:13, 38:10, 39:18, 39:35-39:36, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:32, 40:51, 40:95, 40:98, 40:148, 40:158, 44:76, 44:79, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 48:05, 48:08, 48:15, 49:01:01-49:10, 49:12-49:15, 50:01:01-50:02, 50:04-50:12, 51:01:01-51:04, 51:06-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:30, 51:32-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:96, 51:98N-51:106, 52:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20-52:22, 53:06, 53:08:01-53:08:02, 54:06, 54:20, 55:01:01-55:01:06, 55:03, 55:05, 55:09, 55:11, 55:14-55:15, 55:17, 55:21, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 56:03, 56:05:01-56:06, 56:21, 56:25, 58:06, 58:08, 58:19, 78:01-78:03, 78:05-78:07 |
| 10 | 210 bp | 1070 bp | *57:08 |  |
| 119 | 165 bp, 215 bp | 800 bp | *57:09, 57:14, 57:24 | *55:14, 58:14 |
| 124 | 90 bp | 1070 bp | *57:02:01-57:03:02, 57:07, 57:09, 57:12, 57:17 | *40:30, 40:34 |
| 134 | 90 bp | 800 bp | *57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37 |  |
| 1410 | 135 bp, 195 bp | 1070 bp | *57:10, 57:17 |  |
| 154,6,11 | 110 bp, 145 bp, | 1070 bp | *57:11, 57:29, 57:33 | *14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:19, 18:44, 40:150, 58:02, 58:06-58:07, 58:25, C*01:32, C*06:20 |
| 164,12 | 85 bp, 160 bp | 1070 bp | *57:12, 57:18 |  |
| 1713 | 140 bp, 210 bp | 1070 bp | *57:13, 57:22, 57:27, 57:31 | *40:30, 40:34, 55:14 |
| 18 | 165 bp | 1070 bp | *57:23 |  |
| 19 | 240 bp | 1070 bp | *57:13, 57:25 | *40:30, 40:34 |
| 204,14 | 90 bp, 240 bp | 1070 bp | *57:20, 57:26 | *55:14 |
| 214,15 | 110 bp, 150 bp | 1070 bp | *57:21, 57:33 | *35:127 |
| 224 | 95 bp | 800 bp | *57:34 |  |
| 234,6,16 | 75 bp, 100 bp | 1070 bp | *57:35-57:36 |  |
| 24 | 170 bp | 1070 bp | *57:37 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*57 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*57 subtyping.

In addition, wells number 4, 11, 13 and 22 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-B alleles some non-HLA-B*57 alleles will be amplified by primer mixes 1 to 4, 9, 11, 12, 15, 17 and 19 to 21. In addition, the C*01:32 and C*06:20 alleles will be amplified by primer mix 15, the C*03:102 allele will be amplified by primer mix 1, the C*05:10 allele will be weakly amplified and the C*15:25 allele will be amplified by primer mix 4.

4Short specific PCR fragments are less intense and not as sharp as longer specific bands.

5Primer mix 3 may give a lower yield of specific PCR product than the other B*57 primer mixes.

6Primer mixes 9, 15 and 23 have a tendency of giving rise to nonspecific amplifications.

7Primer mix 6: Specific PCR fragment of 95 bp in the B*57:04 and 57:32 alleles. Specific PCR fragment of 190 bp in the B*57:06 and 57:30 alleles.

8Primer mix 8: Specific PCR fragment of 90 bp in the B*57:16 allele. Specific PCR fragment of 250 bp in the B*57:07 allele.

9Primer mix 11: Specific PCR fragment of 165 bp in the B*57:14 and in the B*55:14 and 58:14 alleles. Specific PCR fragment of 215 bp in the B*57:09 and 57:24 alleles.

10Primer mix 14: Specific PCR fragment of 135 bp in the B*57:17 allele. Specific PCR fragment of 195 bp in the B*57:10 allele.

11Primer mix 15: Specific PCR fragment of 110 bp in the B*57:29 and 57:33 and the B*40:150 alleles. Specific PCR fragment of 145 bp in the B*57:11 and the B*14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:19, 18:44, 58:02, 58:06-58:07 and 58:25 and in the C*01:32 and C*06:20 alleles.

12Primer mix 16: Specific PCR fragment of 85 bp in the B*57:12 allele. Specific PCR fragment of 160 bp in the B*57:18 allele.

13Primer mix 17: Specific PCR fragment of 140 bp in the B*57:31 and the B*40:30 and 40:34 alleles. Specific PCR fragment of 210 bp in the B*57:22 and 57:27 and the B*55:14 alleles. Specific PCR fragment of 140 and 210 bp in the B*57:13 allele.

14Primer mix 20: Specific PCR fragment of 90 bp in the B*57:20 allele. Specific PCR fragment of 240 bp in the B*57:26 and the B*55:14 alleles.

15Primer mix 21: Specific PCR fragment of 110 bp in the B*57:33 allele. Specific PCR fragment of 150 bp in the B*57:21 and the B*35:127 alleles.

16Primer mix 23: Specific PCR fragment of 75 bp in the B*57:35 allele. Specific PCR fragment of 100 bp in the B*57:36 allele.

‘w’, might be weakly amplified.

1Primer mix 6: Specific PCR fragment of 95 bp in the B*57:04 and 57:32 alleles. Specific PCR fragment of 190 bp in the B*57:06 and 57:30 alleles.

Primer mix 8: Specific PCR fragment of 90 bp in the B*57:16 allele. Specific PCR fragment of 250 bp in the B*57:07 allele.

Primer mix 11: Specific PCR fragment of 165 bp in the B*57:14 and in the B*55:14 and 58:14 alleles. Specific PCR fragment of 215 bp in the B*57:09 and 57:24 alleles.

Primer mix 14: Specific PCR fragment of 135 bp in the B*57:17 allele. Specific PCR fragment of 195 bp in the B*57:10 allele.

Primer mix 15: Specific PCR fragment of 110 bp in the B*57:29 and 57:33 and the B*40:150 alleles. Specific PCR fragment of 145 bp in the B*57:11 and the B*14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:19, 18:44, 58:02, 58:06-58:07 and 58:25 and in the C*01:32 and C*06:20 alleles.

Primer mix 16: Specific PCR fragment of 85 bp in the B*57:12 allele. Specific PCR fragment of 160 bp in the B*57:18 allele.

Primer mix 17: Specific PCR fragment of 140 bp in the B*57:31 and the B*40:30 and 40:34 alleles. Specific PCR fragment of 210 bp in the B*57:22 and 57:27 and the B*55:14 alleles. Specific PCR fragment of 140 and 210 bp in the B*57:13 allele.

Primer mix 20: Specific PCR fragment of 90 bp in the B*57:20 allele. Specific PCR fragment of 240 bp in the B*57:26 and the B*55:14 alleles.

Primer mix 21: Specific PCR fragment of 110 bp in the B*57:33 allele. Specific PCR fragment of 150 bp in the B*57:21 and the B*35:127 alleles.

Primer mix 23: Specific PCR fragment of 75 bp in the B*57:35 allele. Specific PCR fragment of 100 bp in the B*57:36 allele.

‘w’, might be weakly amplified.