PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*57

Prod. No:	101.567-12/12u

Lot No:    	45R

Expiry Date:    	2015-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*57 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*57 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 150 bp | 800 bp | *57:01:01-57:01:04, 57:01:06-57:10, 57:12, 57:14-57:30, 57:32-57:46, 57:48-57:58 | *08:49, 13:01:01-13:01:06, 13:06-13:07N, 13:12-13:13, 13:17, 13:20, 13:22:01-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43, 13:50-13:52, 13:57, 14:10, 15:02:01-15:02:06, 15:13:01-15:13:02, 15:20-15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:62, 15:77, 15:80, 15:85, 15:88-15:89, 15:106, 15:112, 15:121, 15:139, 15:144, 15:154, 15:165, 15:170, 15:194, 15:204, 15:213-15:214, 15:223, 15:240, 15:250, 18:22, 18:69, 27:19, 27:30, 35:01:01:01-35:04:03, 35:06-35:08:05, 35:10-35:17, 35:19-35:21, 35:23-35:30, 35:33-35:36, 35:38-35:42:02, 35:45-35:50, 35:52, 35:54-35:57, 35:59, 35:61-35:63, 35:65Q, 35:69-35:71, 35:74, 35:76-35:78, 35:80-35:85, 35:90-35:96, 35:98, 35:100-35:101:02, 35:103-35:113, 35:115-35:116, 35:120-35:126, 35:128-35:134N, 35:136-35:150, 35:152-35:173N, 35:175-35:184, 35:186-35:198, 35:200-35:204, 37:01:01-37:01:07, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:34, 38:20, 39:42, 40:28, 44:02:01:01-44:14, 44:16-44:17, 44:19N, 44:21-44:30, 44:32-44:40, 44:42-44:46, 44:48-44:52N, 44:55-44:64:02, 44:66-44:98, 44:101-44:105, 44:107-44:134, 44:136-44:137, 44:139-44:155, 46:33, 48:02:01-48:02:02, 48:25, 50:17, 51:04, 51:42, 51:46, 51:56:01-51:56:02, 53:01:01-53:13, 53:15-53:28, 55:14, 56:09, 56:11-56:12, 58:01:01-58:01:02, 58:01:04-58:01:11, 58:04-58:05, 58:09-58:15, 58:17N, 58:19, 58:21-58:24, 58:28-58:37, 83:01, C*03:102 |
| 25 | 100 bp | 1070 bp | *57:01:01-57:01:13, 57:06, 57:08, 57:10, 57:13-57:16, 57:18-57:27, 57:29-57:31, 57:33-57:38, 57:40w, 57:41, 57:43-57:45, 57:47-57:52, 57:54-57:56, 57:58 | *55:14, 58:14, C*06:72 |
| 36 | 220 bp | 1070 bp | *57:01:01-57:01:13, 57:03:01-57:03:02, 57:06-57:08, 57:10, 57:14-57:18, 57:20-57:23, 57:25-57:27, 57:29, 57:31-57:41, 57:43-57:51, 57:53-57:58 | *40:30, 40:34, 44:153, 55:14, 58:14 |
| 45 | 100 bp | 800 bp | *57:02:01-57:03:02, 57:05, 57:07, 57:09, 57:12, 57:17, 57:39, 57:42, 57:46, 57:57 | *07:137, 08:60, 08:76w, 13:13, 13:21, 35:02:01-35:02:04, 35:04:01-35:04:03, 35:06w, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:18, 35:59w, 35:81, 35:83, 35:88, 35:95, 35:129N, 35:149, 35:154, 35:157, 35:162, 35:172, 35:182-35:184, 35:201, 37:01:01w-37:01:08w, 37:03Nw-37:06w, 37:08w, 37:10w-37:11w, 37:12, 37:13w-37:18w, 37:19, 37:20w-37:24w, 37:26w-37:34w, 38:20w, 39:42w, 40:04, 40:28, 40:30, 40:34, 40:64, 40:68, 40:99w, 40:129, 40:137, 40:160, 42:13, 44:62, 44:77, 44:82w, 48:17w, 51:04, 51:46, 51:56:01-51:56:02, 53:19, 56:12, 58:28, C*05:10w, C*15:24 |
| 5 | 220 bp | 1070 bp | *57:02:01-57:02:02, 57:04, 57:12-57:13, 57:19, 57:28N, 57:30, 57:42 | C*06:72 |
| 65,8 | 95 bp, 190 bp | 1070 bp | *57:04, 57:06, 57:30, 57:32 | *44:153 |
| 75 | 105 bp | 1070 bp | *57:15 |  |
| 85,9 | 90 bp, 200 bp, 250 bp | 1070 bp | *57:07, 57:16, 57:49 | *44:153 |
| 97 | 170 bp | 1070 bp | *57:09, 57:13, 57:22, 57:57 | *07:02:01-07:24, 07:26-07:47, 07:49N-07:50, 07:52-07:154, 07:156-07:162, 08:20, 08:53, 08:79, 13:16, 13:20, 13:31, 13:48, 14:01:01-14:32, 15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:42-15:47:02, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:217, 15:219-15:221, 15:223, 15:225-15:234, 15:236, 15:238-15:249, 15:251-15:254, 18:15, 18:19, 18:21, 18:30, 18:57, 27:04:01-27:04:03, 27:06, 27:10, 27:15, 27:18, 27:20-27:21, 27:24-27:25, 27:40, 27:54, 27:63, 27:66N, 27:68-27:69, 27:79, 27:86, 27:91-27:92, 35:11:01-35:11:02, 35:14:01-35:14:02, 35:21, 35:43:01-35:44, 35:58, 35:67, 35:79, 35:86, 35:96, 35:99, 35:102, 35:117-35:118, 35:135, 35:167, 35:185, 35:188, 37:07, 37:13, 38:10, 38:32, 39:18, 39:35-39:36, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:32, 40:51, 40:95, 40:98, 40:148, 40:158, 40:161, 40:174, 40:183, 40:198, 44:76, 44:79, 44:146, 44:150, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 46:27-46:32, 46:34, 48:05, 48:08, 48:15, 48:25, 49:01:01-49:10, 49:12-49:22, 50:01:01-50:02, 50:04-50:17, 51:01:01-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:30, 51:32-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:119, 51:121, 51:123-51:137, 52:01:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20-52:27, 52:30, 53:06, 53:08:01-53:08:02, 53:28, 54:06, 54:20, 55:01:01-55:01:09, 55:03, 55:05, 55:09, 55:11, 55:14-55:15, 55:17, 55:21, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:53, 55:55N-55:56, 56:03, 56:05:01-56:06, 56:21, 56:25, 56:32, 58:06, 58:08:01-58:08:02, 58:19, 78:01:01-78:03, 78:05-78:07 |
| 10 | 210 bp | 1070 bp | *57:08 |  |
| 1110 | 165 bp, 215 bp, 240 bp | 800 bp | *57:09, 57:14, 57:24, 57:43 | *44:153, 55:14, 58:14 |
| 125 | 90 bp | 1070 bp | *57:02:01-57:03:02, 57:07, 57:09, 57:12, 57:17, 57:39, 57:42, 57:46, 57:57 | *40:30, 40:34 |
| 135 | 90 bp | 800 bp | *57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37-57:44, 57:46-57:50, 57:52-57:58 | *58:36 |
| 1411 | 135 bp, 195 bp | 1070 bp | *57:10, 57:17 | C*07:239 |
| 155,7,12 | 110 bp, 145 bp | 1070 bp | *57:11, 57:29, 57:33 | *07:120, 14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:32, 15:214, 18:44:01-18:44:02, 40:150, 58:02, 58:06-58:07, 58:25, C*01:32, C*06:20 |
| 165,13 | 85 bp, 160 bp | 1070 bp | *57:12, 57:18 | *14:24 |
| 1714 | 140 bp, 210 bp | 1070 bp | *57:13, 57:22, 57:27, 57:31, 57:57 | *40:30, 40:34, 55:14, C*06:72 |
| 1815 | 165 bp, 200 bp | 1070 bp | *57:23, 57:39, 57:51 |  |
| 19 | 240 bp | 1070 bp | *57:13, 57:25, 57:43 | *40:30, 40:34 |
| 205,16 | 90 bp, 240 bp, 485 bp | 1070 bp | *57:04, 57:20, 57:26, 57:41 | *13:10, 15:02:01-15:02:06, 15:06, 15:13:01-15:13:02, 15:21, 15:25:01-15:25:03, 15:31, 15:36, 15:44, 15:55, 15:88-15:89, 15:112, 15:121, 15:128, 15:139, 15:144, 15:204, 15:213-15:214, 15:240, 15:250, 44:153, 55:14, C*01:73, C*06:72 |
| 215,17 | 110 bp, 150 bp | 1070 bp | *57:21, 57:33 | *35:127 |
| 225 | 95 bp | 800 bp | *57:34 |  |
| 235,18 | 75 bp, 100 bp | 1070 bp | *57:35-57:36 |  |
| 2419 | 170 bp, 295 bp | 1070 bp | *57:37, 57:55 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*57 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*57 subtyping.

In addition, wells number 4, 11, 13 and 22 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*57 alleles will be amplified by primer mixes 1 to 4, 6, 8, 9, 11 to 13, 15 to 17 and 19 to 21. In addition, the C*01:32 and C*06:20 alleles will be amplified by primer mix 15, the C*03:102 allele will be amplified by primer mix 1, the C*06:72 allele will be amplified by primer mixes 2, 5, 17 and 20, the C*05:10 and C*15:25 alleles will be amplified by primer mix 4, the C*07:239 allele will be amplified by primer mix 14 and the C*01:73 allele will be amplified by primer mix 20.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mix 3 may give rise to a lower yield of HLA-specific PCR product than the other B*57 primer mixes.

7Primer mixes 9 and 15 may have tendencies of unspecific amplifications.

8Primer mix 6: Specific PCR fragment of 95 bp in the B*57:04 and 57:32 and the B*44:153 alleles. Specific PCR fragment of 190 bp in the B*57:06 and 57:30 alleles.

9Primer mix 8: Specific PCR fragment of 90 bp in the B*57:16 allele. Specific PCR fragment of 200 bp in the B*57:49 allele. Specific PCR fragment of 250 bp in the B*57:07 and the B*44:153 alleles.

10Primer mix 11: Specific PCR fragment of 165 bp in the B*57:14 and the B*44:153, 55:14 and 58:14 alleles. Specific PCR fragment of 215 bp in the B*57:09 and 57:24 alleles. Specific PCR fragment of 240 bp in the B*57:43 allele.

11Primer mix 14: Specific PCR fragment of 135 bp in the B*57:17 and in the C*07:239 alleles. Specific PCR fragment of 195 bp in the B*57:10 allele.

12Primer mix 15: Specific PCR fragment of 110 bp in the B*57:29 and 57:33 and the B*07:120, 15:214 and 40:150 alleles. Specific PCR fragment of 145 bp in the B*57:11 and the B*14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:32, 18:44:01-18:44:02, 58:02, 58:06-58:07 and 58:25 and in the C*01:32 and C*06:20 alleles.

13Primer mix 16: Specific PCR fragment of 85 bp in the B*57:12 and the B*14:24 alleles. Specific PCR fragment of 160 bp in the B*57:18 allele.

14Primer mix 17: Specific PCR fragment of 140 bp in the B*57:31 and the B*40:30 and 40:34 alleles. Specific PCR fragment of 210 bp in the B*57:22, 57:27 and 57:57 and the B*55:14 alleles. Specific PCR fragment of 140 and 210 bp in the B*57:13 and in the C*06:72 alleles.

15Primer mix 18: Specific PCR fragment of 165 bp in the B*57:23 allele. Specific PCR fragment of 200 bp in the B*57:39 and 57:51 alleles.

16Primer mix 20: Specific PCR fragment of 90 bp in the B*57:20 and the B*44:153 alleles. Specific PCR fragment of 240 bp in the B*57:26 and the B*55:14 alleles. Specific PCR fragment of 485 bp in the B*13:10, 15:02:01-15:02:06, 15:06, 15:13:01-15:13:02, 15:21, 15:25:01-15:25:03, 15:31, 15:36, 15:44, 15:55, 15:88-15:89, 15:112, 15:121, 15:128, 15:139, 15:144, 15:204, 15:213-15:214, 15:240 and 15:250 and the C*01:73 alleles.Specific PCR fragment of 90 and 240 bp in the C*06:72 allele.Specific PCR fragment of 90 and 485 bp in the B*57:04 and 57:41 alleles.

17Primer mix 21: Specific PCR fragment of 110 bp in the B*57:33 allele. Specific PCR fragment of 150 bp in the B*57:21 and the B*35:127 alleles.

18Primer mix 23: Specific PCR fragment of 75 bp in the B*57:35 allele. Specific PCR fragment of 100 bp in the B*57:36 allele.

19Primer mix 24: Specific PCR fragment of 170 bp in the B*57:37 allele. Specific PCR fragment of 295 bp in the B*57:55 allele.

‘w’, might be weakly amplified.

1HLA-B*57 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.9.0, July 2012.

2The B*57:26 and 57:41 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

3The B*57:37 and 57:55 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 24.

4Primer mix 6: Specific PCR fragment of 95 bp in the B*57:04 and 57:32 and the B*44:153 alleles. Specific PCR fragment of 190 bp in the B*57:06 and 57:30 alleles.

Primer mix 8: Specific PCR fragment of 90 bp in the B*57:16 allele. Specific PCR fragment of 200 bp in the B*57:49 allele. Specific PCR fragment of 250 bp in the B*57:07 and the B*44:153 alleles.

Primer mix 11: Specific PCR fragment of 165 bp in the B*57:14 and the B*44:153, 55:14 and 58:14 alleles. Specific PCR fragment of 215 bp in the B*57:09 and 57:24 alleles. Specific PCR fragment of 240 bp in the B*57:43 allele.

Primer mix 14: Specific PCR fragment of 135 bp in the B*57:17 and in the C*07:239 alleles. Specific PCR fragment of 195 bp in the B*57:10 allele.

15:214 and 40:150 alleles. Specific PCR fragment of 145 bp in the B*57:11 and the B*14:01:01-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:32, 18:44:01-18:44:02, 58:02, 58:06-58:07 and 58:25 and in the C*01:32 and C*06:20 alleles.

Primer mix 16: Specific PCR fragment of 85 bp in the B*57:12 and the B*14:24 alleles. Specific PCR fragment of 160 bp in the B*57:18 allele.

Primer mix 17: Specific PCR fragment of 140 bp in the B*57:31 and the B*40:30 and 40:34 alleles. Specific PCR fragment of 210 bp in the B*57:22, 57:27 and 57:57 and the B*55:14 alleles. Specific PCR fragment of 140 and 210 bp in the B*57:13 and in the C*06:72 alleles.

Primer mix 18: Specific PCR fragment of 165 bp in the B*57:23 allele. Specific PCR fragment of 200 bp in the B*57:39 and 57:51 alleles.

Primer mix 20: Specific PCR fragment of 90 bp in the B*57:20 and the B*44:153 alleles. Specific PCR fragment of 240 bp in the B*57:26 and the B*55:14 alleles. Specific PCR fragment of 485 bp in the B*13:10, 15:02:01-15:02:06, 15:06, 15:13:01-15:13:02, 15:21, 15:25:01-15:25:03, 15:31, 15:36, 15:44, 15:55, 15:88-15:89, 15:112, 15:121, 15:128, 15:139, 15:144, 15:204, 15:213-15:214, 15:240 and 15:250 and the C*01:73 alleles.Specific PCR fragment of 90 and 240 bp in the C*06:72 allele.Specific PCR fragment of 90 and 485 bp in the B*57:04 and 57:41 alleles.

Primer mix 21: Specific PCR fragment of 110 bp in the B*57:33 allele. Specific PCR fragment of 150 bp in the B*57:21 and the B*35:127 alleles.

Primer mix 23: Specific PCR fragment of 75 bp in the B*57:35 allele. Specific PCR fragment of 100 bp in the B*57:36 allele.

Primer mix 24: Specific PCR fragment of 170 bp in the B*57:37 allele. Specific PCR fragment of 295 bp in the B*57:55 allele.

‘w’, might be weakly amplified.

Change in revision R02 compared to R01:

- The B*57:40 allele is weakly amplified by primer mix 2. This has been corrected in the Specificity and Interpretation Tables.