Gel Documentation Form and Worksheet

HLA-B*57 (101.567-12/12u) 	Lot No: 01V	Expiry Date: 2016-May-01

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test  Date: ________      _

Tested By: ____      _____

Review Date:_______________

Reviewed By:______________ _

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

______________________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Interpretation Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 9 may have tendencies of unspecific amplifications.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*57 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.13.1, July 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 95 bp in the B*57:04 and 57:32 and the B*44:153 alleles. Specific PCR fragment of 180 bp in the B*57:06 allele. Specific PCR fragment of 205 bp in the B*57:30 allele.

Primer mix 7: Specific PCR fragment of 105 bp in the B*57:15 allele. Specific PCR fragment of 170 bp in the B*57:37 allele. Specific PCR fragment of 295 bp in the B*57:55 allele.

Primer mix 8: Specific PCR fragment of 90 bp in the B*57:16 allele. Specific PCR fragment of 200 bp in the B*57:49 allele. Specific PCR fragment of 250 bp in the B*57:07 and the B*44:153 alleles.

Primer mix 11: Specific PCR fragment of 165 bp in the B*57:14 and the B*35:208, 44:153, 55:14 and 58:14 alleles. Specific PCR fragment of 215 bp in the B*57:09 and 57:24 alleles. Specific PCR fragment of 240 bp in the B*57:43 allele.

Primer mix 14: Specific PCR fragment of 135 bp in the B*57:17 and in the C*07:239 alleles. Specific PCR fragment of 195 bp in the B*57:10 allele.

Primer mix 15: Specific PCR fragment of 110 bp in the B*57:29 and 57:33 and the B*07:120, 15:214, 18:81 and 40:150 alleles. Specific PCR fragment of 145 bp in the B*57:11 and the B*14:01:01-14:02:08, 14:03-14:04, 14:07N, 14:09, 14:11-14:12, 14:14-14:36, 18:44:01-18:44:02, 39:79, 58:02, 58:06-58:07, 58:25, 58:38 and 58:43 and in the C*01:32 and C*06:20 alleles.

Primer mix 16: Specific PCR fragment of 85 bp in the B*57:12 and the B*14:24 and 35:226 alleles. Specific PCR fragment of 160 bp in the B*57:18 allele.

Primer mix 17: Specific PCR fragment of 140 bp in the B*57:31 and the B*40:30 and 40:34 alleles. Specific PCR fragment of 210 bp in the B*57:22, 57:27, 57:57 and 57:63 and the B*55:14 alleles. Specific PCR fragment of 140 and 210 bp in the B*57:13 and in the C*06:72 alleles.

Primer mix 18: Specific PCR fragment of 165 bp in the B*57:23 allele. Specific PCR fragment of 200 bp in the B*57:39 and 57:51 and the B*58:41 alleles.

Primer mix 19: Specific PCR fragment of 90 bp in the B*57:04 and 57:41 and the B*44:153 and in the C*06:72 alleles. Specific PCR fragment of 240 bp in the B*57:13, 57:25 and 57:43 and the B*40:30 and 40:34 alleles.

Primer mix 20: Specific PCR fragment of 90 bp in the B*57:20 allele. Specific PCR fragment of 240 bp in the B*57:26 and the B*55:14 and in the C*06:72 alleles.

Primer mix 21: Specific PCR fragment of 110 bp in the B*57:33 allele. Specific PCR fragment of 150 bp in the B*57:21 and the B*35:127 alleles.

Primer mix 22: Specific PCR fragment of 95 bp in the B*57:34 allele. Specific PCR fragment of 95 bp in the B*57:40 and the B*14:20 alleles.

Primer mix 23: Specific PCR fragment of 75 bp in the B*57:35 allele. Specific PCR fragment of 100 bp in the B*57:36 allele.

‘w’, might be weakly amplified.

4The following HLA-B57 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*57:15, 57:37, 57:55 | 7 |
| B*57:25, 57:41 | 19 |

The HLA-B*57 subtyping kit cannot distinguish the silent mutations in the B* 57:01:01-57:01:04 and 57:01:06-57:01:15 alleles, the B*57:02:01-57:02:02 alleles or the B*57:03:01-57:03:02 alleles.