PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*58

Prod. No:	101.568-06/06u

Lot No:    	80R

Expiry Date:    	2015-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*58 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*58 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 90 bp | 800 bp | *58:01:01-58:02, 58:05-58:29, 58:31N-58:35, 58:37-58:38 |  |
| 2 | 150 bp | 800 bp | *58:01:01-58:01:12, 58:04-58:05, 58:09-58:15, 58:17N, 58:19, 58:21-58:24, 58:28-58:29, 58:31N-58:37, 58:39N | *08:49, 13:01:01-13:01:06, 13:06-13:07N, 13:12-13:13, 13:17, 13:20, 13:22:01-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43, 13:50-13:52, 13:57, 13:60-13:61, 13:63N, 14:10, 15:02:01-15:02:06, 15:13:01-15:13:02, 15:20-15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:62, 15:77, 15:80, 15:85, 15:88-15:89, 15:106, 15:112, 15:121, 15:139, 15:144, 15:154, 15:165, 15:170, 15:194, 15:204, 15:213-15:214, 15:223, 15:240, 15:250, 18:22, 18:69, 27:19, 27:30, 35:01:01:01-35:04:03, 35:06-35:08:06, 35:10-35:17, 35:19-35:21, 35:23-35:30, 35:33-35:36, 35:38-35:42:02, 35:45-35:50, 35:52, 35:54-35:57, 35:59, 35:61:01-35:63, 35:65Q, 35:69-35:71, 35:74, 35:76-35:78, 35:80-35:85, 35:90-35:96, 35:98, 35:100-35:101:02, 35:103-35:113, 35:115-35:116, 35:120-35:126, 35:128-35:134N, 35:136-35:150, 35:152-35:173N, 35:175-35:184, 35:186-35:198, 35:200-35:204, 35:206-35:220, 37:01:01-37:01:07, 37:01:09, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:37, 38:20, 39:42, 40:28, 44:02:01:01-44:14, 44:16-44:17, 44:19N, 44:21-44:30, 44:32-44:40, 44:42-44:46, 44:48-44:52N, 44:55-44:64:02, 44:66-44:98, 44:101-44:105, 44:107-44:134, 44:136-44:137, 44:139-44:157, 44:159-44:165, 46:33, 48:02:01-48:02:03, 48:25, 50:17, 51:04, 51:42, 51:46, 51:56:01-51:56:02, 51:139, 53:01:01-53:13, 53:15-53:29, 55:14, 56:09, 56:11-56:12, 57:01:01-57:01:04, 57:01:06-57:10, 57:12, 57:14-57:20, 57:22-57:30, 57:32-57:46, 57:48-57:60, 83:01, C*03:102 |
| 3 | 240 bp | 800 bp | *58:02, 58:06-58:07, 58:25, 58:38 | *14:19, 14:27, 57:11, C*01:35, C*03:17, C*03:71, C*14:20 |
| 410 | 190 bp, 230 bp | 1070 bp | *58:04, 58:15 |  |
| 55 | 90 bp | 1070 bp | *58:05 | *15:124, 40:77, 40:87:01-40:87:02, 40:222, 48:14, 48:26, 57:59, C*07:81, C*07:168 |
| 6 | 170 bp | 1070 bp | *58:06, 58:08:01-58:08:02, 58:19 | *07:02:01-07:24, 07:26-07:47, 07:49N-07:50, 07:52-07:154, 07:156-07:163, 07:165-07:176, 08:20, 08:53:01-08:53:02, 08:79, 13:16, 13:20, 13:31, 13:48, 13:62, 14:01:01-14:33, 15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:42-15:47:02, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:217, 15:219-15:221, 15:223, 15:225-15:234, 15:236, 15:238-15:249, 15:251-15:264, 18:15, 18:19, 18:21, 18:30, 18:57, 27:04:01-27:04:03, 27:06, 27:10, 27:15, 27:18, 27:20-27:21, 27:24-27:25, 27:40, 27:54, 27:63, 27:66N, 27:68-27:69, 27:79, 27:86, 27:91-27:92, 35:11:01-35:11:03, 35:14:01-35:14:02, 35:21, 35:43:01-35:44, 35:58, 35:67, 35:79, 35:86, 35:96, 35:99, 35:102, 35:117-35:118, 35:135, 35:167, 35:185, 35:188, 35:213, 37:07, 37:13, 38:10, 38:32, 39:18, 39:35-39:36, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:32, 40:51, 40:95, 40:98, 40:148, 40:158, 40:161, 40:174, 40:183, 40:198, 44:76, 44:79, 44:146, 44:150, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 46:26-46:32, 46:34-46:36, 46:38, 48:05, 48:08, 48:15, 48:25, 49:01:01-49:10, 49:12-49:25, 50:01:01-50:02, 50:04-50:19, 51:01:01-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:30, 51:32-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:119, 51:121, 51:123-51:138, 51:140, 51:142-51:147, 52:01:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20-52:27, 52:30-52:31, 53:06, 53:08:01-53:08:02, 53:28, 54:06, 54:20, 55:01:01-55:01:10, 55:03, 55:05, 55:09, 55:11, 55:14-55:15, 55:17, 55:21, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:53, 55:55N-55:56, 56:03, 56:05:01-56:06, 56:21, 56:25, 56:32, 56:37, 57:09, 57:13, 57:22, 57:57, 78:01:01-78:03, 78:05-78:07 |
| 75,9 | 80 bp | 800 bp | *58:06, 58:08:01-58:08:02, 58:19 | *07:02:35w, 07:68:02w, 13:16, 13:20, 13:48, 13:62, 14:01:01-14:02:06, 14:03w, 14:04-14:11, 14:12w, 14:13-14:33, 15:03:02, 15:13:02, 15:39:02, 15:42, 18:15, 35:11:01, 35:11:03w, 35:21, 35:58, 35:96, 35:167, 35:188, 38:10, 38:32, 39:35, 40:28, 40:95, 44:76w, 44:79, 48:25, 49:01:01, 49:01:03-49:10, 49:12-49:21, 49:23-49:25, 50:01:01-50:01:02, 50:02, 50:04-50:19, 51:01:01-51:01:24, 51:01:26-51:01:36, 51:01:38-51:02:04, 51:03-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:01, 51:24:04, 51:26-51:28, 51:29w, 51:30, 51:32-51:35, 51:37-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:53, 51:55w, 51:56:01-51:60, 51:62-51:70, 51:74-51:80, 51:82w, 51:83-51:86, 51:88-51:90, 51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:121, 51:123-51:125, 51:127-51:138, 51:140, 51:142-51:147, 52:01:01:01-52:01:06, 52:01:08-52:01:14, 52:01:16-52:02, 52:04-52:09, 52:11-52:18, 52:20, 52:22-52:23, 52:24w, 52:25-52:31, 53:06, 53:08:01, 53:28, 54:20w, 55:01:01-55:01:10, 55:03, 55:05, 55:09w, 55:11, 55:14-55:15, 55:17, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52w, 55:53-55:55N, 56:05:01-56:06, 56:21, 56:25, 56:32, 56:37, 78:01:01-78:03, 78:05-78:07, C*03:119, C*07:165, C*07:241, C*07:265, C*15:02:13 |
| 8 | 250 bp | 1070 bp | *58:07 |  |
| 98 | 160 bp | 800 bp | *58:08:01, 58:23 | A*02:01:33 |
| 105,11 | 115 bp, 270 bp | 800 bp | *58:09, 58:24 | *14:10, 18:22, 18:69, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01-37:04:02, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 51:139, 53:02, 53:06, 53:28, 57:14, C*03:141, C*15:18, C*15:39 |
| 119 | 205 bp | 1070 bp | *58:02, 58:07, 58:25, 58:38 | *18:44:01-18:44:02, 57:11, A*24:64w, C*01:06w, C*16:43w |
| 12 | 235 bp | 1070 bp | *58:10N |  |
| 13 | 165 bp | 1070 bp | *58:01:01-58:01:09, 58:01:12-58:02, 58:04-58:10N, 58:12-58:19, 58:21-58:29, 58:31N-58:39N | *15:20, 15:228, 35:01:01:01-35:01:27, 35:01:29-35:30, 35:32:01-35:42:02, 35:44-35:56, 35:58-35:59, 35:61:01-35:72, 35:74-35:78, 35:80-35:86, 35:88-35:184, 35:186-35:220, 48:02:01-48:02:03, 51:01:01-51:24:04, 51:26-51:41N, 51:43-51:46, 51:48-51:148, 52:01:01:01-52:06:02, 52:08-52:31, 53:01:01-53:29, 56:05:01-56:05:02, 56:21, 56:36, 78:01:01-78:07, 81:03, 83:01? |
| 147,8 | 165 bp | 1070 bp | *58:11, 58:20 | *07:02:01-07:57, 07:59-07:176, 08:01:01-08:05, 08:07-08:105, 13:01:01-13:04, 13:06-13:23, 13:25-13:60, 13:62-13:63N, 14:01:01-14:33, 15:01:01:01-15:01:04, 15:01:06-15:19, 15:21, 15:23-15:40, 15:42-15:58, 15:60-15:99, 15:101, 15:103-15:129, 15:131-15:227, 15:229-15:264, 18:01:01:01-18:15, 18:17N-18:83, 27:01-27:21, 27:23-27:99, 35:31, 35:35, 35:43:01, 35:46, 35:57, 35:60, 35:79, 35:87, 35:96, 35:98, 35:185, 37:01:01-37:37, 38:01:01-38:42, 39:01:01:01-39:01:01:03, 39:01:03-39:20, 39:22-39:45, 39:47-39:79, 40:01:01-40:16, 40:18-40:40, 40:42-40:226, 41:01-41:25, 42:01:01-42:02, 42:04-42:17, 44:02:01:01-44:65, 44:67-44:117, 44:119-44:165, 45:01-45:14, 46:01:01-46:36, 46:38, 47:01:01:01-47:08, 48:01:01-48:01:03, 48:02:02-48:28, 49:01:01-49:25, 50:01:01-50:02, 50:04-50:19, 51:42, 52:07, 54:01:01-54:28, 55:01:01-55:05, 55:07-55:57, 56:01:01-56:04, 56:06-56:20:02, 56:22-56:38N, 57:01:01-57:01:10, 57:01:12-57:60, 59:01:01:01-59:05, 67:01:01-67:03, 81:01-81:02, 81:04N-81:06, 82:01-82:03, 83:01? |
| 155,12 | 90 bp, 155 bp | 1070 bp | *58:12, 58:36 | *57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37-57:44, 57:46-57:50, 57:52-57:60, A*02:42, A*02:310 |
| 16 | 145 bp | 1070 bp | *58:13 | *49:06 |
| 175,7,8,13 | 55 bp, 225 bp, 375 bp | 1070 bp | *58:16, 58:18, 58:22 | *07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162-07:163, 35:08:01-35:08:06, 35:18, 35:45, 35:61:01-35:61:02, 35:80, 35:100, 35:105, 35:142, 35:156, 35:158, 35:164, 35:172, 35:174, 35:176, 35:187, 35:192, 35:206, 44:04, 44:28:01-44:28:02, 44:56N, 44:76, 44:150, 53:11, 53:16, 53:24, 57:02:01-57:02:02, 57:04-57:05, 57:12-57:13, 57:19, 57:28N, 57:30, 57:42, C*01:49-01:50, C*03:28, C*03:49, C*03:117, C*04:80, C*04:100, C*04:110, C*05:10, C*15:08 |
| 185,14 | 70 bp, 140 bp | 1070 bp | *58:17N, 58:25 |  |
| 195 | 95 bp | 800 bp | *58:18 | *07:09, 07:11, 07:17, 08:28, 08:35, 08:37, 15:07:01-15:07:02, 15:55, 15:68, 15:126, 15:207, 18:14, 35:05:01-35:05:03, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:114, 40:03, 40:105, 41:24, 42:09, 46:12, 48:14, 53:14, C*02:60 |
| 205,15 | 85 bp, 145 bp, 180 bp, 275 bp | 1070 bp | *58:21, 58:29, 58:39N | *18:51 |
| 21 | 440 bp | 1070 bp | *58:14 | *35:208 |
| 22 | 180 bp | 1070 bp |  | *35:70 |
| 2316 | 150 bp, 260 bp | 1070 bp | *58:26, 58:31N | *35:75, 44:138Q |
| 245,8 | 95 bp | 1070 bp | *58:27-58:28 | *07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 08:01:01-08:05, 08:08N, 08:10-08:11, 08:13, 08:15, 08:17-08:27, 08:29, 08:31-08:34, 08:36, 08:38-08:48, 08:50-08:68, 08:70-08:83, 08:85-08:86N, 08:88, 08:90-08:105, 13:13, 13:21, 14:13, 27:07:01-27:07:03, 27:11, 27:24, 27:33, 27:43, 35:02:01-35:02:05, 35:04:01-35:04:03, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:18, 35:22, 35:31, 35:81, 35:83, 35:87-35:88, 35:95, 35:129N, 35:149, 35:154, 35:157, 35:162, 35:172, 35:182-35:184, 35:201, 35:211, 35:220, 37:12, 39:14, 40:02:01-40:02:15, 40:02:17, 40:04-40:05, 40:08, 40:13, 40:15-40:16, 40:19, 40:28-40:30, 40:34-40:35, 40:37, 40:39-40:40, 40:45, 40:50, 40:56-40:58, 40:64, 40:68, 40:78, 40:80, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:99, 40:104, 40:107, 40:111, 40:115, 40:119, 40:122, 40:129, 40:133Q, 40:137, 40:142N-40:145, 40:157, 40:160:01-40:160:02, 40:164, 40:169, 40:173-40:174, 40:176, 40:181, 40:189, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, 40:219-40:220, 40:224, 40:226, 41:02:01-41:02:04, 41:10-41:11, 41:13, 41:15, 41:19, 41:23, 42:01:01-42:02, 42:05:01-42:05:02, 42:07-42:08, 42:10-42:15, 42:17, 44:62, 44:77, 44:82, 48:01:01-48:01:03, 48:04-48:06, 48:09-48:13, 48:15-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:28, 51:04, 51:46, 51:56:01-51:56:02, 51:64, 51:81, 51:139, 51:148, 53:19, 55:04, 55:49, 55:51, 56:12, 57:02:01-57:03:02, 57:05, 57:07, 57:09, 57:12, 57:17, 57:39, 57:42, 57:46, 57:57, 81:01-81:06, C*15:24 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*58 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA- B*58 subtyping.

In addition, wells number 2, 3, 7, 9, 10 and 19 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles some non-HLA-B*58 alleles will be amplified by primer mixes 2, 3, 5 to 7, 10, 11, 13 to 17, 19 to 24. In addition, the A*02:01:33 allele will be amplified by primer mix 9, , the A*02:42 and A*02:310 allele will be amplified by primer mix 15, the A*24:64, C*01:06 and C*16:43 alleles will be weakly amplified by primer mix 11, the C*01:35, C*03:17, C*03:71 and C*14:20 alleles will be amplified by primer mix 3, the C*01:49-01:50, C*03:28, 03:49, 03:117, C*04:80, 04:100, 04:110, C*05:10, C*15:08 alleles will be amplified by primer mix 17, the C*03:102 allele will be amplified by primer mix 2, the C*03:119, C*07:165, 07:241, C*07:265 and C*15:02:13 alleles will be amplified by primer mix 7, the C*07:81 and C*07:168 alleles will be amplified by primer mix 5, the C*03:141, C*15:18 and C*15:39 alleles will be amplified by primer mix 10 and the C*15:24 allele will be amplified by primer mix 24.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

7Primer mixes 14 and 17 may have tendencies of unspecific amplifications.

8Primer mixes 9, 14, 17 and 24 have a tendency to giving rise to primer oligomer formation.

9Primer mix 7 and 11 may give a lower yield of HLA-specific PCR product than the other HLA-B*58 primer mixes.

10Primer mix 4: Specific PCR fragment of 190 bp in the B*58:04 allele. Specific PCR fragment of 230 bp in the B*58:15 allele.

11Primer mix 10: Specific PCR fragment of 115 bp in the B*58:24 and the C*03:141 and C*15:18 alleles. Specific PCR fragment of 270 bp in the B*58:09 and the B*14:10, 18:22, 18:69, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01-37:04:02, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 53:02, 53:06, 53:28 and 57:14 and in the C*15:39 alleles.

12Primer mix 15: Specific PCR fragment of 90 bp in the B*58:36 and the B*57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37-57:44, 57:46-57:50 and 57:52-57:60 alleles. Specific PCR fragment of 155 bp in the B*58:12 and the B*57:58 and the A*02:42 and 02:310 alleles

13Primer mix 17: Specific PCR fragment of 55 and 225 bp in the B*35:08:03 and the C*01:49 alleles.

Specific PCR fragment of 225 bp in the B*58:22 and 07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162-07:163, 35:08:01-35:08:06, 35:18, 35:45, 35:61:01-35:61:02, 35:80, 35:100, 35:105, 35:142, 35:156, 35:158, 35:164, 35:172, 35:174, 35:176, 35:187, 35:192, 35:206, 44:04, 44:28:01-44:28:02, 44:56N, 44:76, 44:150, 53:11, 53:16, 53:24, 57:02:01-57:02:02, 57:04-57:05, 57:12-57:13, 57:19, 57:28N, 57:30 and 57:42 and in the C*01:49-01:50, C*03:28, 03:49, 03:117, C*04:80, 04:100, 04:110, C*05:10 and C*15:08 alleles

Specific PCR fragment of 375 bp in the B*58:16 and 58:18 alleles.

14Primer mix 18: Specific PCR fragment of 70 bp in the B*58:25 allele. Specific PCR fragment of 140 bp in the B*58:17N allele.

15Primer mix 20: Specific PCR fragment of 85 bp and 180bp in the B*58:29 allele. Specific PCR fragment of 145 bp in the the B*58:39N allele. Specific PCR fragment of 180 bp in the the B*18:51 allele. Specific PCR fragment of 180 bp and 275 bp in the B*58:21 allele.

16Primer mix 23: Specific PCR fragment of 150 bp in the B*58:26 and the B*35:75 and 44:138Q alleles. Specific PCR fragment of 260 bp in the B*58:31N allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.

1The B*5803 allele was never assigned.

The sequence of the B*58:30 has been shown to be in error and be identical to B*58:01:01 allele.

2HLA-B*58 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

3The B*58:09 and B*58:24 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 10.

4The B*58:21 and B*58:29 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

5Primer mix 4: Specific PCR fragment of 190 bp in the B*58:04 allele. Specific PCR fragment of 230 bp in the B*58:15 allele.

Primer mix 10: Specific PCR fragment of 115 bp in the B*58:24 and the C*03:141 and C*15:18 alleles. Specific PCR fragment of 270 bp in the B*58:09 and the B*14:10, 18:22, 18:69, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01-37:04:02, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 53:02, 53:06, 53:28 and 57:14 and in the C*15:39 alleles.

Primer mix 15: Specific PCR fragment of 90 bp in the B*58:36 and the B*57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37-57:44, 57:46-57:50 and B*57:52-57:60 alleles. Specific PCR fragment of 155 bp in the B*58:12 and the B*57:58 and the A*02:42 and 02:310 alleles

Primer mix 17: Specific PCR fragment of 55 and 225 bp in the B*35:08:03 and the C*01:49 alleles.

Specific PCR fragment of 225 bp in the B*58:22 and 07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162-07:163, 35:08:01-35:08:06, 35:18, 35:45, 35:61:01-35:61:02, 35:80, 35:100, 35:105, 35:142, 35:156, 35:158, 35:164, 35:172, 35:174, 35:176, 35:187, 35:192, 35:206, 44:04, 44:28:01-44:28:02, 44:56N, 44:76, 44:150, 53:11, 53:16, 53:24, 57:02:01-57:02:02, 57:04-57:05, 57:12-57:13, 57:19, 57:28N, 57:30 and 57:42 and in the C*01:49-01:50, C*03:28, 03:49, 03:117 and the C*04:80, 04:100, 04:110, C*05:10 and C*15:08 alleles

Specific PCR fragment of 375 bp in the B*58:16 and 58:18 alleles.

Primer mix 18: Specific PCR fragment of 70 bp in the B*58:25 allele. Specific PCR fragment of 140 bp in the B*58:17N allele.

Primer mix 20: Specific PCR fragment of 85 bp and 180bp in the B*58:29 allele. Specific PCR fragment of 145 bp in the the B*58:39N allele. Specific PCR fragment of 180 bp in the the B*18:51 allele. Specific PCR fragment of 180 bp and 275 bp in the B*58:21 allele.

Primer mix 23: Specific PCR fragment of 150 bp in the B*58:26 and the B*35:75 and 44:138Q alleles. Specific PCR fragment of 260 bp in the B*58:31N allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.