Gel Documentation Form and Worksheet

HLA-B*58 (101.568-06/06u) 	Lot No: 30V	Expiry Date: 2016-August-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 14, 16 and 17 may have tendencies of primer oligomer formation.

Primer mixes 14 and 17 may have tendencies of unspecific amplifications.

Primer mix 7 and 11 may give a lower yield of HLA-specific PCR product than the other HLA-B*58 primer mixes.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*58 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 190 bp in the B*58:04 allele. Specific PCR fragment of 230 bp in the B*58:15 allele.

Primer mix 9: Specific PCR fragment of 90 bp in the B*58:44 allele. Specific PCR fragment of 160 bp in the B*58:08:01 and 58:23 and in the A*02:01:33 alleles.

Primer mix 10: Specific PCR fragment of 115 bp in the B*58:24 and in the C*03:141 and C*15:18 alleles. Specific PCR fragment of 270 bp in the B*58:09 and the B*14:10, 18:22, 18:69, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 35:233, 37:04:01-37:04:02, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 51:139, 53:02, 53:06, 53:28 and 57:14 and in the C*15:39 alleles.

Primer mix 12: Specific PCR fragment of 145 bp in the B*58:13 and the B*49:06 alleles. Specific PCR fragment of 235 bp in the B*58:10N allele.

Primer mix 15: Specific PCR fragment of 90 bp in the B*58:36 and the B*57:01:01-57:15, 57:17-57:19, 57:21-57:35, 57:37-57:44, 57:46-57:50, 57:52-57:57, 57:59-57:61 and 57:63-57:68  alleles. Specific PCR fragment of 155 bp in the B*58:12 and the A*02:42 and A*02:310 alleles. Specific PCR fragment of 90 and 155 bp in the B*57:58 allele.

Primer mix 17: Specific PCR fragment of 225 bp in the B*58:22 and the B*07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162-07:163, 07:199, 35:08:01-35:08:06, 35:18, 35:45, 35:61:01-35:61:02, 35:80, 35:100, 35:105, 35:142, 35:156, 35:158, 35:164, 35:172, 35:174, 35:176, 35:187, 35:192, 35:206, 35:225, 35:229, 37:39, 44:04, 44:28:01-44:28:02, 44:56N, 44:76, 44:150, 53:11, 53:16, 53:24, 57:02:01-57:02:02, 57:04-57:05, 57:12-57:13, 57:19, 57:28N, 57:30, 57:42 and 57:63 and in the A*01:41, C*01:49-01:50, C*03:28, C*03:49, C*03:117, C*04:80, C*04:100, C*04:110, C*05:10, C*14:54 and C*15:08 alleles. Specific PCR fragment of 370 bp in the B*58:16:01-58:16:02 and 58:18 alleles.

Primer mix 18: Specific PCR fragment of 70 bp in the B*58:25 allele. Specific PCR fragment of 140 bp in the B*58:17N allele.

Primer mix 20: Specific PCR fragment of 145 bp in the B*58:39N allele. Specific PCR fragment of 175 bp in the B*18:51 alleles. Specific PCR fragment of 85 and 175 bp in the B*58:29 allele. Specific PCR fragment of 175 and 275 bp in the B*58:21 allele.

Primer mix 23: Specific PCR fragment of 150 bp in the B*58:26 and the B*35:75 and 44:138Q alleles. Specific PCR fragment of 260 bp in the B *58:31N allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The following HLA-B*58 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*58:09, 58:24 | 10 |
| B*58:10N, 58:13 | 12 |
| B*58:21, 58:29 | 20 |

The HLA-B*58 primer set cannot distinguish the following silent mutations: the B*58:01:01-58:01:14 alleles and the B*58:16:01-58:16:02 alleles.