Gel Documentation Form and Worksheet

HLA-B*59 (101.554-06/06u) 	Lot No: 96V	Expiry Date: 2017-January-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 9 may have tendency of unspecific amplification.

Primer mix 10 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*59 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.6.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 105 bp in the B*59:03 and the B*13:46, 15:137, 35:235, 39:06:01-39:06:04, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 40:86, 45:02, 50:09, 51:13:01-51:13:02, 51:92, 51:172, 52:14, 55:13, 55:58, 56:22 and 73:01-73:02 alleles. Specific PCR fragment of 235 bp in the B*59:05 allele.

Primer mix 7: Specific PCR fragment of 180 bp in the B*59:04 and the B*13:03, 13:48, 15:73, 15:303, 40:71, 44:10, 45:14, 46:11, 51:15, 51:62, 51:106, 52:25, 54:03, 56:01:01-56:01:04, 56:01:06-56:02, 56:04, 56:08, 56:13-56:14, 56:16-56:17, 56:20:01-56:20:02, 56:24-56:30, 56:33-56:43 and 82:01-82:03 alleles. Specific PCR fragment of 430 bp in the B*59:08 allele. Specific PCR fragments or 180 and 430 bp in the B*56:07 allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.