PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-B*67

Prod. No:	101.550-06 – including Taq polymerase

101.550-06u – without Taq polymerase

Lot No:    	Y34

Expiry Date:    	2009-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 4 primer mixes used for HLA-B*67 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*67 alleles | Other amplified HLA-B alleles3 |
| --- | --- | --- | --- | --- |
| 1 | 210 bp | 800 bp | 670101-670102 | 070201-070207, 0704-0707, 0709, 0711, 0712, 0714, 0715, 0717-0726, 0728, 0730, 0731, 0733-0736, 0739-0749N, 0751-0760, 4201, 4202weakly, 4204-4206, 4208, 5510, 8101-8103 |
| 2 | 325 bp | 1070 bp | 6702 |  |
| 3 | 165 bp | 800 bp | 670101-6702 | 380101-3807, 3809, 3811-3817, 39010101-39010102L, 390103-390602, 3908-391302, 3915, 3916, 3919, 3920, 3922-3924, 3926-3928, 3931, 3935, 3937-3942 |
| 4 | 160 bp | 1070 bp |  | 070201-070202, 070204-070207, 0704-0707, 0709-0715, 0717-0726, 0728-0731, 0733-0736, 0739-0746, 0748, 0749N, 0751-0755, 0757-0760, 1576, 9501, 3576, 4201, 4202, 4204-4206, 4208, 4209, 460101-4612, 5603, 5606, 7301, 8101-8103, 8301 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*67 SSP subtypings.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tubes number 1 and 3 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-B alleles some non-HLA-B*67 alleles will be amplified by primer mixes 1, 3 and 4.