Gel Documentation Form and Worksheet

HLA-B*81 (101.553-06/06u)	                               Lot: 08V                                              Expiry Date:    2016-May-01

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test  Date: ________      _

Tested By: ____      _____

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3 and 5 may have tendencies of unspecific amplification.

Primer mix 8 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B alleles listed on the IMGT/HLA web page 2013-July-25, release 3.13.1, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The B*81:02 and B*07:174 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

4Primer mix 5: Specific PCR fragment of 105 bp in the B*81:05 and the B*07:83 alleles. Specific PCR fragment of 165 bp in the B*81:03 and the B*15:20, 15:228, 35:01:01:01-35:01:27, 35:01:29-35:30, 35:32:01-35:42:02, 35:44-35:56, 35:58-35:59, 35:61:01-35:72, 35:74-35:78, 35:80-35:86, 35:88-35:184, 35:186-35:229, 35:231-35:233, 48:02:01-48:02:03, 51:01:01-51:24:04, 51:26-51:41N, 51:43-51:46, 51:48-51:154, 52:01:01:01-52:06:02, 52:08-52:31, 53:01:01-53:31, 56:05:01-56:05:02, 56:21, 56:36, 58:01:01-58:02, 58:04-58:10N, 58:12-58:19, 58:21-58:29, 58:31N-58:46, 78:01:01-78:07, and 83:01? alleles.

Primer mix 6: Specific PCR fragment of 80 bp in the B*81:04N allele. Specific PCR fragment of 105 bp in the B*81:05 and the B*07:83 alleles.

‘w’, may be weakly amplified.

‘?’, the nucleotide sequence of the primer matching region is not known.