PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C high resolution

for frequent alleles

Prod. No:	101.707-12/12u

Lot No:    	75K

Expiry Date:    	2013-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 95 primer mixes used for HLA-C high resolution for frequent alleles SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 90 bp | 800 bp | *01:02:01-01:02:05, 01:06-01:11, 01:13-01:20, 01:22 |  |
| 25 | 95, 215 bp | 1070 bp | *01:05, 04:05, 07:37, 07:54, 14:08, 16:06 |  |
| 36 | 200, 290, 360, 565 bp | 1070 bp | *01:06, 01:11, 07:06, 07:18-07:19, 15:13 |  |
| 45 | 100, 200 bp | 1070 bp | *01:07, 06:10, 16:09 |  |
| 55,6 | 150, 210, 300 bp | 1070 bp | *01:08, 05:17, 07:03, 07:17, 07:23, 07:31, 12:13, 12:19 |  |
| 65,7 | 105, 150, 210, 260 bp | 800 bp | *01:04, 01:09, 01:15, 01:20, 03:24, 03:33, 07:05 | B*15:129, B*27:25, B*27:36 |
| 7 | 200 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:09, 02:11-02:22 |  |
| 85 | 105, 135 bp | 800 bp | *02:03, 02:18, 02:20, 06:07 | B*27:34, B*40:06:02, B*57:03:02w |
| 95 | 140 bp | 1070 bp | *02:04, 02:14, 02:21, 06:05, 12:10:01, 12:16, 16:11 |  |
| 105,6 | 105, 130, 270 bp | 800 bp | *02:07, 07:46, 08:06, 16:10 | B*56:08, B*56:14 |
| 115 | 75, 155, 505 bp | 800 bp | *02:08, 03:11:01-03:11:02, 03:37, 03:46, 04:16, 06:03, 07:06, 15:10:02 |  |
| 125,8 | 70, 280 bp | 800 bp | *02:02:01-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:22, 03:02:01-03:02:03, 03:04:01:01-03:10, 03:14-03:17, 03:19, 03:23-03:29, 03:32-03:38:02, 03:40-03:42, 03:44-03:48, 04:03, 04:06, 04:16, 06:03, 07:53, 15:02:01-15:09, 15:10:02-15:11, 15:13, 15:15-15:21 |  |
| 13 | 220 bp | 1070 bp | *03:02:01-03:02:03, 03:14-03:15, 03:33, 03:36, 03:40, 03:42-03:43:01, 04:12 | B*15:96 |
| 14 | 280 bp | 800 bp | *03:03:01-03:03:05, 03:11:01-03:13, 03:20N-03:22Q, 03:30-03:31, 03:43:01, 03:49-03:50, 15:12 |  |
| 15 | 275 bp | 1070 bp | *03:03:01-03:04:07, 03:06-03:12, 03:14, 03:18-03:24, 03:26, 03:28-03:32, 03:34, 03:37-03:40, 03:42-03:50 |  |
| 16 | 245, 275 bp | 1070 bp | *03:05, 03:13, 03:17, 03:25, 03:27, 03:35, 12:07, 12:17 | B*15:96 |
| 175,8 | 110, 185, 555 bp | 1070 bp | *03:03:01-03:03:05, 03:08, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:29-03:31, 03:39, 03:43:01, 03:49-03:50, 07:01:01-07:01:09, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N-07:57, 12:03:04 |  |
| 185 | 90, 185, 225, 255 bp | 1070 bp | *03:09, 03:21-03:23, 03:28, 03:42, 03:49, 07:21, 07:36 | B*15:96 |
| 195 | 105, 265, 295, 530 bp | 1070 bp | *03:13, 03:15, 03:32, 03:35-03:36, 03:45, 06:14, 07:10, 07:43 | B*15:96 |
| 207 | 250 bp | 800 bp | *01:14, 02:02:01w, 02:02:02-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:22, 03:07, 03:10, 03:15, 03:29, 03:45, 04:03, 04:06, 04:16, 05:13, 06:03, 15:02:01-15:06:01, 15:08-15:09, 15:10:02-15:13, 15:15-15:21 |  |
| 21 | 190, 220, 250, 285 bp | 800 bp | *03:30, 03:50, 04:18-04:19, 05:10, 15:12 |  |
| 225 | 80, 140 bp | 1070 bp | *03:02:01-03:02:03, 03:15-03:17, 03:33, 03:36, 03:40, 03:42-03:43:01, 14:02:01, 14:02:03-14:09 |  |
| 235 | 150, 240 bp | 800 bp | *01:14, 03:07, 03:10, 03:15, 03:29, 03:45, 05:13, 06:02:01:01-06:02:01:02, 06:02:03-06:04, 06:06-06:10, 06:12-06:17, 07:07, 07:09, 12:04:01, 17:01:01:01-17:04, 18:01-18:03 |  |
| 24 | 250 bp | 1070 bp | *01:02:01-01:21, 02:02:01-02:02:03, 02:02:05-02:02:06, 02:04-02:15, 02:17, 02:19-02:22, 04:01:01:01-04:01:05, 04:03, 04:05, 04:07-04:12, 04:15:01-04:20, 04:23-04:33, 05:01:01:01-05:01:04, 05:03-05:10, 05:12-05:16, 05:18-05:19, 06:02:01:01-06:02:01:02, 06:02:03-06:03, 06:05-06:17, 08:02:01, 08:05, 08:07, 08:12, 08:15, 12:02:01-12:13, 12:15-12:17, 12:21, 14:02:01-14:05, 14:07N-14:09, 15:08, 16:04:01, 18:01-18:03 |  |
| 25 | 170 bp | 1070 bp | *03:16, 03:41, 04:01:01:01-04:01:04, 04:03-04:04:01, 04:05-04:20, 04:23-04:34, 14:02:01, 14:02:03-14:09, 18:01-18:03 |  |
| 265 | 145, 170 bp | 800 bp | *02:09, 04:07, 04:27 |  |
| 275,8 | 135, 170, 225 bp | 1070 bp | *04:08-04:09N, 04:30, 04:34, 15:15 |  |
| 28 | 200 bp | 800 bp | *04:13, 07:08 |  |
| 295 | 130, 190, 290 bp | 800 bp | *02:15, 03:05, 03:25, 03:27, 04:15:01, 07:14, 14:09 |  |
| 30 | 155 bp | 1070 bp | *05:01:01:01-05:01:04, 05:03-05:08, 05:10-05:11, 05:13-05:16, 05:19, 07:41, 08:02:01, 08:04-08:05, 08:07, 08:12-08:13 |  |
| 315 | 150, 285 bp | 800 bp | *01:13, 05:09, 05:17, 07:45, 08:15, 12:12 | B*15:33, B*35:08:02 |
| 325 | 120, 180, 210 bp | 1070 bp | *03:48, 05:03, 07:52, 16:07 |  |
| 33 | 225 bp | 1070 bp | *05:04, 08:09, 08:11 |  |
| 34 | 220, 275 bp | 1070 bp | *04:10, 04:11w, 05:05, 05:07N, 08:08 | A*29:10 |
| 35 | 265 bp | 1070 bp | *05:01:01:01-05:01:04, 05:03-05:04, 05:06-05:08, 05:10-05:16, 05:18-05:19, 07:04:01-07:04:02, 07:11-07:12, 07:41, 08:01:01-08:14, 08:16 |  |
| 365 | 90, 120, 160, 210 bp | 1070 bp | *03:06, 03:25-03:26, 03:28, 03:49, 05:06, 05:15, 08:05 |  |
| 375 | 80, 130, 195, 235, 280 bp | 800 bp | *05:14, 05:16, 05:19, 07:04:01-07:04:02, 07:11, 07:50, 08:07, 08:12 |  |
| 38 | 250 bp | 800 bp | *03:15, 03:32, 03:45, 04:03, 04:06, 04:16, 07:20 |  |
| 39 | 240 bp | 1070 bp | *03:39, 06:02:01:01-06:02:01:02, 06:02:03, 06:04-06:16N, 12:16 |  |
| 406 | 250 bp | 1070 bp | *01:22, 02:03, 02:13, 02:16:01, 02:18, 04:04:01-04:04:02, 04:06, 04:13, 04:34, 05:11, 05:17, 06:04, 08:01:01-08:01:02, 08:03:01-08:04, 08:06, 08:08-08:11, 08:13-08:14, 08:16, 12:14:01, 12:18, 12:20, 14:06, 15:02:01-15:07, 15:09-15:13, 15:15-15:21, 16:04:01, 17:01:01:01-17:04 | B*58:02 |
| 41 | 165 bp | 1070 bp | *05:01:01:01-05:01:04, 05:03-05:19, 06:05, 08:10, 12:21 |  |
| 42 | 250 bp | 1070 bp | *01:02:01-01:03, 01:05-01:08, 01:10-01:20, 02:13, 04:01:01:01-04:01:05, 04:03, 04:05, 04:07-04:12, 04:15:01-04:20, 04:23-04:33, 05:01:01:01-05:01:04, 05:03-05:07N, 05:09-05:10, 05:12-05:16, 05:18-05:19, 06:05-06:06, 08:02:01, 08:05, 08:07, 08:12, 08:15, 12:09, 14:02:01-14:05, 14:07N-14:09, 15:08, 16:04:01, 18:01-18:02 |  |
| 435 | 100, 155, 240 bp | 1070 bp | *01:10, 01:21, 02:05, 02:17, 03:11:01-03:11:02, 03:39, 06:05, 06:08, 06:13, 07:56:01, 08:14, 12:16 | B*67:02 |
| 445,6,9 | 90, 135, 160 bp | 1070 bp | *02:22, 03:20N, 04:14, 05:08, 06:09, 16:08, 17:04, 18:03 | B*15:137 |
| 455,6 | 140, 255 bp | 1070 bp | *03:47, 06:11, 07:04:01-07:04:02, 07:11-07:12, 07:45, 12:11 |  |
| 46 | 290 bp | 800 bp | *05:17, 07:01:01-07:01:04, 07:01:06-07:01:09, 07:05-07:07, 07:09, 07:14, 07:16, 07:18, 07:20-07:22, 07:24, 07:26-07:28, 07:30-07:31, 07:35-07:36, 07:40, 07:43-07:44, 07:52-07:53, 07:55N |  |
| 475 | 110 bp | 800 bp | *07:01:01-07:01:09, 07:06, 07:09, 07:18-07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57 |  |
| 48 | 185 bp | 1070 bp | *07:02:01:01-07:02:02, 07:10, 07:13, 07:15, 07:19, 07:23, 07:25, 07:29, 07:32N-07:33N, 07:37-07:39, 07:42, 07:46-07:51, 07:54, 07:56:01 | B*40:60 |
| 495 | 85, 130, 170, 250 bp | 1070 bp | *04:24-04:26, 07:42, 07:44 |  |
| 50 | 240, 425 bp | 1070 bp | *06:17, 07:07, 07:09, 07:29, 07:49, 18:01-18:03 |  |
| 51 | 240, 275 bp | 1070 bp | *01:16-01:19, 01:21, 07:24 |  |
| 525 | 130 bp | 1070 bp | *05:01:01:01-05:01:04, 05:03-05:08, 05:10-05:16, 05:18-05:19, 07:12, 07:41, 08:01:01-08:06, 08:08-08:14, 08:16 | A*29:10 |
| 535 | 80, 115, 265 bp | 1070 bp | *05:12, 07:11, 08:13, 08:16 |  |
| 54 | 395 bp | 1070 bp | *06:17, 07:02:01:01-07:05, 07:08, 07:10-07:15, 07:17, 07:23, 07:25, 07:27:01-07:27:02, 07:29, 07:31-07:33N, 07:37-07:39, 07:41-07:43, 07:45-07:51, 07:54, 07:56:01, 18:01-18:03 |  |
| 55 | 165, 220, 340, 465 bp | 800 bp | *01:12, 01:21, 04:11, 04:33, 07:07, 07:16, 07:26, 07:33N, 07:51 |  |
| 565 | 100, 125, 250 bp | 800 bp | *07:22, 07:25, 07:32N, 07:35 |  |
| 576 | 155 bp | 1070 bp | *05:12, 05:18, 08:01:01-08:01:02, 08:03:01, 08:06, 08:08-08:11, 08:14, 08:16 |  |
| 585 | 110 bp | 1070 bp | *08:03:01, 08:06, 08:14 |  |
| 595 | 110, 150, 230, 275 bp | 1070 bp | *02:11, 03:34, 04:32, 07:15, 07:38, 08:09, 14:07N, 18:03 | B*40:60 |
| 605 | 105 bp | 1070 bp | *05:01:01:01-05:01:04, 05:03-05:07N, 05:10, 05:12-05:16, 05:18-05:19, 07:41, 08:02:01, 08:05, 08:07, 08:12 |  |
| 616 | 235 bp | 800 bp | *02:12, 03:15, 03:27, 03:38:01-03:38:02, 04:03, 04:06, 04:16, 06:03, 07:26, 08:05, 12:02:01-12:04:02, 12:06-12:08, 12:10:01-12:15, 12:17-12:20, 15:03, 15:16, 17:01:01:01-17:04 | B*07:13, 07:15, B*67:02 |
| 625 | 100 bp | 800 bp | *01:04, 01:21, 12:02:01-12:02:03, 12:08, 12:10:01, 12:16-12:18 |  |
| 63 | 220 bp | 800 bp | *01:04, 01:09, 02:05, 02:17, 06:02:01:01-06:02:01:02, 06:02:03-06:03, 06:07-06:13, 06:15-06:17, 12:03:01:01-12:07, 12:11-12:13, 12:15, 16:04:01 |  |
| 645,8 | 130 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:11, 02:13-02:22, 04:10-04:11, 05:01:01:01-05:01:04, 05:03-05:19, 06:05, 08:01:01-08:04, 08:06-08:16, 12:05, 12:09, 12:21, 14:02:03, 14:03, 14:08, 15:02:01-15:02:04, 15:04-15:13, 15:15, 15:17-15:21, 16:01:01, 16:01:03-16:02:01, 16:04:01, 16:06-16:11 |  |
| 655 | 150, 190, 415 bp | 1070 bp | *03:08, 03:29, 03:31, 04:28, 12:06, 12:08 |  |
| 66 | 155 bp | 1070 bp | *12:03:01:01-12:03:01:02, 12:03:03-12:03:06, 12:04:02-12:07, 12:11-12:13, 12:15, 12:20 |  |
| 675 | 145 bp | 800 bp | *14:02:01-14:02:02, 14:02:04, 14:04-14:07N, 14:09 |  |
| 685 | 145 bp | 800 bp | *04:01:01:01-04:01:05, 04:04:01-04:05, 04:07-04:15:02, 04:17-04:20, 04:23-04:25, 04:26w, 04:27-04:34, 14:02:03, 14:03, 14:08 |  |
| 69 | 245 bp | 800 bp | *04:01:01:01-04:01:05, 04:04:01-04:05, 04:07-04:10, 04:12-04:15:02, 04:17-04:20, 04:23-04:25, 04:26w, 04:27-04:28, 04:30-04:34, 14:04 |  |
| 70 | 210 bp | 800 bp | *04:01:01:01-04:01:05, 04:03, 04:05, 04:07-04:12, 04:16, 04:18-04:20, 04:23-04:33, 14:02:01-14:04, 14:07N-14:08, 18:01-18:02 | A*24:87, B*15:84 |
| 715 | 130 bp | 1070 bp | *03:02:01-03:04:07, 03:06-03:13, 03:15-03:24, 03:26, 03:28-03:50, 04:15:01-04:15:02, 04:17, 14:05, 14:09 |  |
| 725,8 | 110 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:07, 02:09-02:22, 04:03, 04:06, 04:16, 14:03, 15:02:01-15:09, 15:11-15:13, 15:15-15:21 |  |
| 73 | 210, 330 bp | 1070 bp | *02:06, 06:12, 12:15, 15:02:01-15:03, 15:05:01-15:13, 15:15-15:21 |  |
| 745 | 90, 175 bp | 1070 bp | *01:03, 03:08, 03:29, 03:31, 07:20, 15:02:01-15:09, 15:12-15:13, 15:15, 15:18-15:19, 15:21 |  |
| 755 | 145, 195 bp | 1070 bp | *02:12, 03:15, 03:27, 03:38:01-03:38:02, 04:03, 04:06, 04:16, 07:20, 07:57, 15:03, 15:16 |  |
| 76 | 320 bp | 800 bp | *01:04, 01:21, 02:02:01-02:02:03, 02:02:05-02:05, 02:08-02:18, 02:20-02:21, 03:02:01-03:02:03, 03:14-03:16, 03:33, 03:36, 03:40, 03:42-03:43:01, 05:04, 06:02:01:01-06:02:01:02, 06:02:03-06:08, 06:10-06:17, 07:01:01-07:03, 07:05-07:10, 07:14-07:27:02, 07:30-07:33N, 07:35-07:40, 07:42-07:44, 07:46-07:57, 08:09, 08:11, 12:02:01-12:14:01, 12:16-12:21, 14:02:01-14:09, 15:04, 15:09, 15:18-15:20, 16:01:01-16:02:01, 16:04:01, 16:06-16:09, 16:11 |  |
| 775,8 | 100 bp | 800 bp | *15:05:01-15:05:04 |  |
| 78 | 210, 240, 315, 360 bp | 1070 bp | *01:02:01-01:02:05, 01:05-01:20, 01:22, 02:19, 03:03:01-03:11:02, 03:13, 03:17-03:18, 03:20N-03:25, 03:27-03:32, 03:34-03:35, 03:37-03:39, 03:41, 03:44-03:50, 06:12, 06:15-06:16N, 07:29, 15:06:01, 15:18 |  |
| 795 | 140 bp | 1070 bp | *01:21, 02:12, 04:11, 04:29, 08:01:01-08:09, 08:11-08:16, 12:02:01-12:03:03, 12:03:05-12:03:06, 12:06-12:08, 12:10:01-12:20, 14:02:03, 14:03, 14:08, 15:07, 15:21, 16:01:01, 16:01:03, 16:04:01, 16:06-16:08, 16:10-16:11 | B*35:08:02, B*67:02 |
| 805,7 | 70, 160, 210 bp | 800 bp | *02:06, 03:12, 03:19, 03:34, 03:44, 12:15, 15:08 | B*13:18w, B*15:73w, B*54:10w, B*55:09w, 55:21w |
| 81 | 435 bp | 1070 bp | *02:06, 03:12, 03:19, 12:15, 15:11, 15:16-15:17 | B*46:11, B*56:08, 56:14 |
| 828 | 165 bp | 1070 bp | *02:08, 03:18, 04:01:01:01-04:01:02, 04:01:04-04:01:05, 04:04:01-04:05, 04:07-04:15:02, 04:17-04:20, 04:23-04:34, 05:01:01:01-05:01:04, 05:03-05:19, 08:01:01-08:13, 08:15-08:16, 12:02:01-12:15, 12:17-12:21, 14:02:01-14:02:04, 14:04-14:09, 15:10:01-15:10:02, 16:01:01-16:02:01, 16:04:01, 16:06-16:11, 17:01:01:01-17:04 |  |
| 83 | 240, 315, 360 bp | 800 bp | *02:06, 03:12, 03:19, 06:15-06:16N, 12:15, 15:02:01-15:03, 15:07-15:08, 15:10:01-15:13, 15:15-15:18, 15:21 |  |
| 84 | 205 bp | 800 bp | *16:01:01-16:02:01, 16:04:01, 16:08-16:11 |  |
| 85 | 340 bp | 1070 bp | *01:14, 02:02:01-02:02:03, 02:02:05-02:11, 02:13-02:22, 03:07, 03:15, 03:45, 04:01:01:01-04:01:05, 04:03-04:10, 04:12-04:20, 04:23-04:28, 04:30-04:34, 05:01:01:01-05:01:04, 05:03-05:19, 06:02:01:01-06:02:01:02, 06:02:03-06:10, 06:12-06:17, 07:07, 07:09, 07:49, 08:10, 12:04:01-12:05, 12:09, 12:21, 14:04, 15:02:01-15:06:01, 15:08-15:13, 15:15-15:20, 16:02:01, 16:09, 17:01:01:01-17:04, 18:01-18:03 |  |
| 865 | 150, 415 bp | 1070 bp | *07:30, 07:39-07:40 |  |
| 878 | 160 bp | 1070 bp | *07:53, 16:01:01-16:02:01, 16:06-16:09, 16:11 |  |
| 885 | 85, 195 bp | 1070 bp | *04:23, 04:31 |  |
| 89 | 345 bp | 800 bp | *01:02:01-01:20, 01:22, 03:02:01-03:50, 06:02:01:01-06:02:01:02, 06:02:03-06:04, 06:06-06:16N, 12:03:04, 12:04:01, 14:02:01-14:02:02, 14:02:04, 14:04-14:07N, 14:09, 16:01:02, 17:02, 17:04? |  |
| 90 | 350 bp | 800 bp | *17:01:01:01, 17:03, 17:04? |  |
| 915 | 70, 170, 240, 270 bp | 800 bp | *05:17, 07:13, 07:28, 07:47, 07:55N, 17:02, 17:04? |  |
| 929 | 155, 300 bp | 1070 bp | *04:20, 17:03, 17:04? |  |
| 935,8,9 | 90, 210 bp | 1070 bp | *14:06, 17:01:01:01, 17:04? |  |
| 94 | 560 bp | 1070 bp | *07:01:01-07:33N, 07:35-07:57, 18:01, 18:03? |  |
| 95 | 220 bp | 1070 bp | *04:01:01:01-04:01:05, 04:03-04:20, 04:23-04:34, 18:02, 18:03? |  |
| 9610 | - | - | Negative Control |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C high resolution for frequent alleles SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well numbers 1, 6, 8, 10 to 12, 14, 20, 21, 23, 26, 28, 29, 31, 37, 38, 46, 47, 55, 56, 61 to 63, 67 to 70, 76, 77, 80, 83, 84 and 89 to 91 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the orientation and identification of the HLA-C high resolution for frequent alleles SSP typing.

In the presence of a specific amplification the intensity of the control band often decreases.

3The Cw*0101, Cw*0201, Cw*020204, Cw*0301, Cw*0402, Cw*0421, Cw*0422, Cw*0502, Cw*0601, Cw*060202, Cw*0734, Cw*1101, Cw*1201, Cw*1301, Cw*1401, Cw*1501, Cw*1514, Cw*1603, Cw*16042 and Cw*1605 alleles have deleted or renamed.

The following HLA-C alleles have the same amplification patterns:

C*01:06 and C*01:11

C*01:15 and C*01:20

C*01:16, C*01:17, C*01:18 and C*01:19

C*02:03 and C*02:18

C*02:04, C*02:14 and C*02:21

C*02:05 and C*02:17

C*03:09 and C*03:23

C*03:21 and C*03:22Q

C*03:30 and C*03:50

C*03:37 and C*03:46

C*04:07 and C*04:27

C*04:08, C*04:09N and C*04:30

C*04:15:02 and C*04:17

C*04:18 and C*04:19

C*04:23 and C*04:31

C*04:24, C*04:25 and C*04:26

C*05:06 and C*05:15

C*05:14, C*05:16 and C*05:19

C*06:08 and C*06:13

C*06:15 and C*06:16N

C*07:02:01-07:02:02 and C*07:48

C*07:03 and C*07:17

C*07:15 and C*07:38

C*07:22 and C*07:35

C*07:25 and C*07:32N

C*07:30 and C*07:40

C*07:33N and C*07:51

C*07:37 and C*07:54

C*07:47 and C*07:48

C*15:09 and C*15:19

C*15:11 and C*15:17

4A few HLA-A and HLA-B alleles will be amplified by primer mixes 6, 8, 10, 13, 16, 18, 19, 31, 34, 40, 43, 44, 48, 52, 59, 61, 70, 79, 80 and 81 due to the sharing of sequence motifs between HLA Class I loci.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 3, 5, 10, 40, 44, 45, 57 and 61 have a tendency of giving rise to non-specific amplifications.

7Primer mixes 6, 20 and 80 have a tendency of giving rise to primer oligomer formation.

8Primer mixes 12, 17, 27, 64, 72, 77, 82, 87 and 93 may give a lower yield of specific PCR product than the other HLA-C high resolution primer mixes.

9Primer mixes 44, 92 and 93 may give rise to a long unspecific amplification product. This band should be disregarded when interpreting the typing results.

10Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- A duplicated page (page 9) has been removed.

Change in revision R02 compared to R01:

- Primer mix 91 does not amplify the C*07:48 allele. This has been corrected in the specificity and amplification tables. Thus, this lot of the HLA-C*high resolution kit cannot distinguish the C*07:02:01:01-07:02:02 and C*07:48 alleles.