PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C low resolution

Prod. No:	101.601-24/24u

101.601-12/12u

Lot No:    	36R

Expiry Date:    	2015-March-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 31+1 primer mixes used for HLA-C low resolution SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA class I alleles3,4 |
| --- | --- | --- | --- |
| 110 | 90 bp, 155 bp | 800 bp | *01:02:01-01:73, 04:71, B*54:18 |
| 25,12 | 130 bp, 200 bp, 270 bp, 300 bp | 800 bp | *01:10, 01:43, 02:02:01-02:02:03, 02:02:05-02:40, 02:42-02:57, 02:59-02:63, 04:32, 04:77, 06:08, 07:101, 07:148, 07:161, 08:31, 14:25, 15:42, 16:29, 16:50, 17:01:01:01-17:06, 17:08-17:13, 18:03 |
| 313 | 280 bp | 800 bp | *02:02:01-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:25Q, 02:26:02-02:40, 02:42-02:63, 03:02:01-03:02:09, 03:04:01:01-03:04:25, 03:04:27-03:10, 03:14-03:17, 03:19, 03:23-03:29, 03:32-03:38:02, 03:40:01-03:42, 03:44-03:48, 03:51, 03:54, 03:57, 03:60, 03:63-03:64:01, 03:65, 03:70-03:74, 03:77-03:78, 03:80, 03:82, 03:84, 03:87, 03:89-03:95, 03:98, 03:100-03:101, 03:104-03:111, 03:113-03:115, 03:117-03:118, 03:121N, 03:123, 03:125, 03:128-03:131, 03:134-03:136, 03:138-03:140, 03:143, 03:145-03:149, 03:153-03:155, 03:157, 03:159, 03:162-03:163, 04:03, 04:06, 04:16, 04:80, 04:107, 05:58:01, 06:03:01, 07:96, 15:02:01-15:09, 15:10:02-15:11, 15:13, 15:15-15:19, 15:21-15:22, 15:24-15:35, 15:37-15:60, 16:34 |
| 46 | 170 bp, 275 bp | 1070 bp | *03:02:01-03:04:06, 03:04:08-03:15, 03:17-03:40:03, 03:42-03:57, 03:59-03:79, 03:81-03:85, 03:87-03:93, 03:95-03:98, 03:100-03:109, 03:111-03:112, 03:114-03:150, 03:152-03:163, 07:242 |
| 5 | 280 bp | 800 bp | *03:03:01-03:03:19, 03:11:01-03:13, 03:20N-03:22Q, 03:30-03:31, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66, 03:67w, 03:68-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:150-03:152, 03:158, 03:160-03:161, 15:12 |
| 612,13 | 130 bp, 330 bp | 800 bp | *02:02:01-02:02:03, 02:02:05-02:02:12, 02:02:14-02:20, 02:22-02:25Q, 02:27:01-02:38N, 02:40, 02:42-02:44, 02:46-02:63, 04:01:01:01-04:01:27, 04:01:29-04:01:41, 04:03-04:15:03, 04:17-04:20, 04:23-04:41, 04:43-04:102, 04:104-04:127, 05:26, 05:78, 07:02:09, 07:125, 15:11, 15:36, 16:34 |
| 7 | 390 bp, 445 bp | 1070 bp | *05:01:01:01-05:01:21, 05:03-05:81, 08:10, 16:40 |
| 8 | 130 bp, 355 bp | 800 bp | *02:06, 02:47, 06:02:01:01-06:02:01:02, 06:02:03-06:16N, 06:18-06:31, 06:33-06:76:01, 06:77-06:87, 12:03:09, 12:15, 15:02:01-15:03, 15:07-15:08, 15:10:01-15:13, 15:15-15:18, 15:21, 15:26, 15:28, 15:31-15:35, 15:37-15:39, 15:41-15:45, 15:47-15:53, 15:56-15:58, 15:60 |
| 97 | 245 bp, 425 bp | 800 bp | *07:01:01:01-07:33N, 07:35-07:263 |
| 108,10,13 | 115 bp, 165 bp, 265 bp, 390 bp | 800 bp | *01:43, 05:79, 07:101, 07:148, 07:161, 08:01:01-08:64 |
| 11 | 340 bp | 1070 bp | *01:14, 01:59, 02:02:01-02:02:03, 02:02:05-02:11, 02:13-02:26:03, 02:28-02:40, 02:42-02:63, 03:07, 03:15, 03:45, 03:130, 03:140, 03:163, 04:01:01:01-04:01:41, 04:03-04:10, 04:12-04:20, 04:23-04:28, 04:30-04:35, 04:37-04:54, 04:56-04:127, 05:01:01:01-05:01:21, 05:03-05:81, 06:02:01:01-06:02:01:02, 06:02:03-06:02:11, 06:02:13-06:10, 06:12-06:51, 06:53-06:87, 07:07, 07:09, 07:49, 07:76, 07:210, 07:238, 07:247, 08:10, 12:04:01-12:05, 12:09, 12:21, 12:33, 12:41, 12:54, 12:60, 14:04, 14:12, 15:02:01-15:06:03, 15:08-15:13, 15:15-15:19, 15:22-15:24, 15:26-15:42, 15:44-15:61, 16:02:01-16:02:09, 16:09, 16:12, 16:19, 16:25, 16:46-16:48, 17:01:01:01-17:13, 18:01-18:05 |
| 1210,11 | 100 bp, 160 bp, 220 bp | 800 bp | *01:04, 01:21, 06:76:02, 12:02:01-12:03:01:02, 12:03:03-12:03:07, 12:03:09-12:03:15, 12:03:17-12:03:19, 12:03:21-12:03:22, 12:04:02-12:08, 12:10:01-12:13, 12:14:02-12:18:01, 12:19-12:25, 12:27-12:32, 12:34-12:58, 12:60-12:82, 14:02:08, 16:15:02 |
| 139,10,11 | 120 bp, 250 bp | 800 bp | *01:21, 02:12, 02:49, 02:55, 04:01:01:01-04:01:41, 04:03-04:09N, 04:12-04:20, 04:23-04:35, 04:37-04:54, 04:56-04:127, 05:42, 05:46, 06:76:02, 07:02:09, 07:125, 08:05, 08:21, 08:25, 12:02:01-12:03:03, 12:03:05-12:03:08, 12:03:10-12:03:12, 12:03:13w, 12:03:14-12:03:22, 12:04:02, 12:06-12:08, 12:10:01-12:20, 12:22-12:32, 12:34-12:48, 12:50-12:82, 15:03, 15:16, 15:25, 16:01:01-16:02:09, 16:06-16:28, 16:30N-16:32, 16:34, 16:36-16:39, 16:41, 16:43-16:47, 16:49-16:52, 17:01:04, B*67:02 |
| 1414 | 160 bp, 215 bp | 800 bp | *01:04, 01:09, 02:05, 02:17, 04:42, 06:02:01:01-06:02:01:02, 06:02:03-06:02:15, 06:02:17-06:03:02, 06:07-06:13, 06:15-06:34, 06:36-06:39, 06:41-06:71, 06:73-06:78, 06:80, 06:82-06:87, 07:31, 07:125, 07:177, 12:03:01:01-12:07, 12:11-12:13, 12:15, 12:19, 12:23, 12:25-12:26, 12:28-12:29, 12:31-12:35, 12:37-12:39N, 12:42Q-12:43, 12:45-12:48, 12:50-12:55, 12:57-12:63, 12:65-12:66, 12:70-12:71, 12:75-12:79, 12:81-12:82, 14:15-14:16, 16:04:01, 16:29, 16:33, 16:35, 16:42, 16:48 |
| 1513 | 130 bp, 255 bp | 800 bp | *02:02:01w, 02:02:02-02:02:03, 02:02:05-02:13, 02:15-02:26:03, 02:28-02:40, 02:42-02:63, 03:07, 03:10, 03:15, 03:29, 03:45, 03:163, 04:03, 04:06, 04:16, 04:37, 04:80, 04:103, 04:107, 05:01:01:01-05:01:21, 05:03-05:19, 05:21-05:42, 05:44:01-05:77, 05:79-05:81, 06:03:01-06:03:02, 06:76:01-06:76:02, 08:10, 12:04:01-12:05, 12:09, 12:21, 12:33, 12:41, 12:60, 12:72, 15:02:01-15:06:03, 15:08-15:13, 15:15-15:19, 15:21-15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44-15:61, 16:02:01-16:02:09, 16:09, 16:12, 16:19, 16:25, 16:37, 16:46-16:48, 17:01:01:01-17:13 |
| 1612 | 255 bp, 445 bp | 1070 bp | *04:11, 04:29, 04:36, 04:55, 04:114, 07:64, 12:55, 14:02:01-14:11, 14:13-14:40, 14:43, 16:40, A*30:62 |
| 179,10 | 110 bp, 325 bp | 800 bp | *02:06, 03:81, 04:108, 04:112, 05:36, 07:123, 07:173, 12:08, 12:15, 12:81, 15:02:01-15:13, 15:15-15:19, 15:21-15:24, 15:26-15:61, 16:20 |
| 1812 | 180 bp, 210 bp, 240 bp | 1070 bp | *02:13, 02:18, 02:33, 02:49, 04:01:01:01-04:01:22, 04:01:24-04:01:41, 04:03-04:10, 04:12-04:20, 04:23-04:32, 04:34-04:106, 04:108-04:115N, 04:117-04:127, 05:17, 05:25, 05:42, 05:55, 05:68, 05:79, 06:05, 06:31, 06:76:02, 07:02:09, 07:31, 07:177, 08:01:01-08:01:08, 08:03:01-08:03:02, 08:06, 08:08-08:11, 08:14, 08:16:01-08:16:02, 08:20-08:22, 08:24, 08:26N, 08:28, 08:36N, 08:38, 08:40-08:42, 08:44, 08:46, 08:50, 08:56-08:61, 12:14:01-12:14:02, 12:28, 12:58, 14:10, 14:15, 15:12, 15:25, 16:01:01-16:02:09, 16:04:01, 16:06-16:39, 16:41-16:42, 16:44-16:52 |
| 1911,15 | 225 bp, 250 bp | 800 bp | *01:60, 04:58, 05:23, 05:62, 08:07, 08:47, 12:14:01-12:14:02, 14:17, 15:25, 17:01:01:01-17:13 |
| 20 | 215 bp, 425 bp | 800 bp | *01:02:01-01:03, 01:06-01:08, 01:10-01:20, 01:23-01:34, 01:37N-01:48, 01:51-01:54, 01:56N-01:73, 03:58, 03:86, 03:94, 03:99, 04:37, 05:16, 06:05-06:06, 06:17, 06:31, 07:07, 07:09, 07:49, 07:76, 07:210, 07:238, 07:247, 08:12, 12:09, 12:24, 14:02:01-14:05, 14:07N, 14:10-14:14, 14:17-14:27, 14:29-14:43, 16:04:01, 16:29, 16:33, 16:42, 18:01-18:05, B*14:03 |
| 21 | 325 bp, 380 bp | 1070 bp | *01:03, 01:24, 01:34, 01:49-01:50, 01:55, 02:22, 02:62, 03:03:01-03:04:30, 03:06-03:12, 03:14, 03:18-03:24, 03:26, 03:28-03:32, 03:34, 03:37-03:59, 03:61-03:70, 03:72-03:83, 03:85, 03:87-03:88, 03:90-03:93, 03:96, 03:98, 03:100-03:107, 03:109, 03:111-03:120, 03:122-03:131, 03:133-03:134, 03:136-03:138, 03:140-03:145, 03:147-03:153, 03:155-03:163, 04:01:01:01-04:01:15, 04:01:17-04:01:41, 04:03-04:20, 04:24-04:53, 04:55-04:71, 04:73-04:107, 04:109-04:127, 05:01:01:01-05:01:21, 05:03, 05:05-05:21, 05:23-05:81, 06:09, 06:14, 06:35, 06:72, 07:10, 07:28, 07:41, 07:43, 07:184, 07:196, 08:01:01-08:08, 08:10, 08:12-08:47, 08:49-08:64, 12:31, 12:44, 15:02:01-15:13, 15:15-15:19, 15:21, 15:23-15:36, 15:38-15:54, 15:56-15:57, 15:59-15:61, 16:45, 17:01:01:01-17:13, 18:01-18:05 |
| 2212,15 | 135 bp | 1070 bp | *03:02:01-03:04:24, 03:04:27-03:17, 03:19-03:38:02, 03:40:01-03:64:01, 03:65-03:66, 03:67w, 03:68-03:98, 03:100-03:136, 03:138-03:143, 03:146-03:155, 03:157-03:163, 04:32, 04:77, 06:03:01, 07:96, 14:25, 15:02:10, 15:43, 18:03 |
| 23 | 155 bp, 235 bp | 1070 bp | *04:42, 06:02:01:01-06:02:01:02, 06:02:03-06:02:21, 06:04-06:75, 06:78-06:87, 07:01:01:01-07:02:07, 07:02:09-07:02:28, 07:02:30-07:25, 07:27:01-07:32N, 07:35-07:38:02, 07:41-07:63, 07:65-07:91, 07:93-07:95, 07:97-07:138, 07:140-07:151, 07:153-07:155, 07:157-07:176, 07:178-07:209, 07:211-07:237, 07:239-07:245, 07:247-07:263, 12:16, 18:01-18:05 |
| 2410,13 | 95 bp | 800 bp | *02:02:01-02:02:03, 02:02:06-02:02:12, 02:02:15-02:02:24, 02:04, 02:07-02:09, 02:11, 02:13, 02:15, 02:19-02:27:01, 02:28-02:31, 02:34-02:40, 02:42-02:50, 02:52N-02:57, 02:59-02:63, 12:03:17 |
| 25 | 260 bp, 360 bp | 1070 bp | *04:01:01:01-04:01:41, 04:03-04:20, 04:23-04:127, 05:78, 16:34 |
| 26 | 155 bp, 220 bp | 1070 bp | *01:02:01-01:03, 01:06-01:08, 01:10-01:20, 01:23-01:34, 01:37N-01:48, 01:51-01:54, 01:56N-01:73, 03:58, 03:86, 03:94, 03:99, 04:37, 05:16, 05:42, 05:46, 06:05-06:06, 06:67, 07:101, 07:148, 07:161, 08:05, 08:12, 08:21, 12:09, 12:24, 14:02:01-14:05, 14:07N, 14:10-14:14, 14:17-14:27, 14:29-14:43, 17:05, B*14:03 |
| 27 | 140 bp | 1070 bp | *01:21, 02:12w, 02:27:01-02:27:02, 03:04:25, 04:11, 04:29, 04:36, 04:55, 07:02:09, 08:01:01-08:09, 08:11-08:64, 12:02:01-12:03:03, 12:03:05-12:03:08, 12:03:10-12:03:22, 12:06-12:08, 12:10:01-12:20, 12:22-12:26, 12:28-12:32, 12:34-12:40, 12:42Q-12:53, 12:55-12:59, 12:61-12:71, 12:72w, 12:73-12:82, 14:02:03, 14:03, 14:08, 14:10, 14:22, 14:35N, 14:38, 14:41, 15:07, 15:21w, 15:25, 16:01:01, 16:01:03-16:01:10, 16:04:01, 16:06-16:08, 16:10-16:11, 16:13-16:18, 16:20-16:24, 16:26-16:36, 16:37w, 16:38-16:45, 16:49-16:52, B*35:08:02, 35:08:05, B*67:02 |
| 28 | 210 bp, 555 bp | 1070 bp | *03:58, 03:86, 03:94, 03:99, 14:02:01-14:04, 14:07N, 14:10-14:14, 14:17-14:27, 14:29-14:34, 14:35Nw, 14:36-14:43, 15:37, 16:18 |
| 2911 | 175 bp, 270 bp | 1070 bp | *01:35, 02:58, 03:08, 03:29, 03:31, 04:08, 04:34, 05:27, 05:39, 07:20, 07:96, 07:263, 08:41, 14:20, 15:02:01-15:09, 15:12-15:13, 15:15, 15:18-15:19, 15:21-15:24, 15:26, 15:28-15:42, 15:44-15:61, 17:07, B*58:02 |
| 30 | 160 bp, 370 bp, 540 bp | 1070 bp | *01:21, 02:12, 02:49, 02:55, 04:14-04:15:01, 04:15:03, 04:68, 07:01:07, 07:04:03, 07:14, 07:27:02, 07:53, 07:199:02, 07:216, 12:02:01-12:02:02, 12:02:04-12:02:07, 12:02:09, 12:08, 12:14:01-12:14:02, 12:16-12:18:02, 12:22, 12:27, 12:30, 12:36, 12:40-12:41, 12:56, 12:64, 12:67-12:69, 12:72-12:74, 12:80N, 16:01:01-16:02:09, 16:06-16:28, 16:30N-16:32, 16:34, 16:36-16:39, 16:41, 16:43-16:47, 16:49-16:52, A*24:96, A*24:106, A*24:174, B*46:25 |
| 31 | 520 bp | 1070 bp | *01:14, 02:02:01-02:02:03, 02:02:05-02:02:24, 02:04-02:15, 02:17, 02:19-02:26:03, 02:28-02:40, 02:42-02:63, 04:01:01:01-04:01:41, 04:03, 04:05, 04:07-04:10, 04:12, 04:15:01-04:20, 04:23-04:28, 04:30-04:33, 04:35, 04:37-04:54, 04:56-04:57, 04:59Q-04:67, 04:69-04:110, 04:112-04:113, 04:115N-04:121, 04:123N-04:127, 05:01:01:01-05:01:21, 05:03-05:10, 05:12-05:16, 05:18:01-05:19, 05:21-05:26, 05:28-05:31, 05:33-05:50, 05:52-05:61, 05:63-05:67, 05:69, 05:71-05:78, 05:80-05:81, 06:02:01:01-06:02:01:02, 06:02:03-06:03:02, 06:05-06:10, 06:12-06:39, 06:41-06:51, 06:53-06:78, 06:80-06:81, 06:83-06:87, 12:04:01-12:05, 12:09, 12:21, 12:33, 12:41, 12:60, 12:72, 14:12, 15:08, 18:01-18:05 |
| 3216 | - | - | Negative Control |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C low resolution typing.

In addition, wells number 2, 3, 5, 6, 8 to 10, 12 to 15, 17, 19, 20 and 24 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C alleles 1st and 4th exon or intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to sharing of sequence motifs primer mix 1 will amplify the B*54:18 allele, primer mix 13 will amplify the B*67:02 allele, primer mix 16 will amplify the A*30:62 allele, primer mixes 20 and 26 will amplify the B*14:03 allele,  primer mix 27 will amplify the B*35:08:02, B*35:08:05 and B*67:02 alleles, primer mix 29 will amplify the B*58:02 allele and primer mix 30 will amplify the A*24:96, A*24:106, A*24:174 and B*46:25 alleles.

5Primer mix 2 will for most C*02 alleles give rise to two specific PCR fragments.

6Primer mix 4 will for most C*03 alleles give rise to two specific PCR fragments.

7Primer mix 9 will for most C*07 alleles give rise to two specific PCR fragments.

8Primer mix 10 will for most C*08 alleles give rise to multiple specific PCR fragments.

9Primer mix 17 will for most C*15 alleles give rise to two specific PCR fragments.

10Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

11Primer mixes 12, 13, 19 and 29 may give rise to unspecific amplification.

12Primer mixes 2, 6, 16, 18 and 22 have a tendency of giving rise to primer oligomer formation.

13Primer mixes 3, 6, 10, 15 and 24 may give a lower yield of HLA-specific PCR product than the other HLA-C low resolution primer mixes.

14Primer mix 14 might faintly amplify most C*01 and the C*14 alleles.

15Primer mixes 19 and 22 might generate a false band of about 500 base pairs. This band should be disregarded when interpreting HLA-C low resolution typings.

16Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicon generated by a control primer pair. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

‘w’, might be weakly amplified.

1The sequence of the Cw*0101 allele has been shown to be identical to C*01:02.

The sequence of the Cw*0201 allele has been shown to be identical to C*02:02:02.

The sequence of the Cw*020204 allele has been shown to be identical to C*02:10.

The sequence of the Cw*021603 allele has been shown to be identical to C*02:16:02.

The sequence of the Cw*0301 allele has been shown to be identical to C*03:04:01.

The sequence of the Cw*0402 allele has been shown to be identical to C*04:01:01.

The sequence of the Cw*0421 allele has been shown to be identical to C*04:15:02.

The sequence of the Cw*0422 allele has been shown to be identical to C*04:21.

The sequence of the Cw*0502 allele has been shown to be identical to C*05:09.

The sequence of the Cw*0601 allele has been shown to be identical to C*06:02:01.

The sequence of the Cw*060202 allele has been renamed C*06:17.

The sequence of the Cw*0734 allele has been renamed C*07:27:02.

The sequence of the Cw*1101 allele has been shown to be in error.

The sequence of the Cw*1201 allele has been shown to be identical to C*12:02:02.

The sequence of the Cw*1301 allele has been shown to be in error.

The sequence of the Cw*1401 allele has been shown to be identical to C*14:02:01.

The sequence of the Cw*1501 allele has been shown to be identical to C*15:02:01.

The sequence of the Cw*1514 allele has been renamed C*15:10:02.

The sequence of the Cw*15:20 allele has been shown to be identical to C*15:27.

The sequence of the Cw*1603 allele has been shown to be identical to C*14:03.

The sequence of the Cw*16042 allele has been shown to be identical to C*16:04:01.

The sequence of the Cw*1605 allele has been shown to be identical to C*16:04:01.

2The C*01:05, 01:22 and 01:35-01:36 and the B*54:18 alleles give rise to identical amplification patterns with the HLA-C low resolution primer set. These alleles are separated by the HLA-B low primer set.

3The C*03:99 and C*14:42 alleles give rise to identical amplification patterns with the HLA-C low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

4The C*05:79 and C*08:10 alleles give rise to identical amplification patterns with the HLA-C low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

5The *12:18:02 and C*16:43 alleles give rise to identical amplification patterns with the HLA-C low resolution primer set. These alleles can be separated by the respective high resolution primer sets

6The C*14:06, 14:09 and 14:28 and the A*30:62 alleles give rise to identical amplification patterns with the HLA-C low resolution primer set. These alleles are separated by the HLA-A low primer set and/or the HLA-C*14 high resolution primer set.

7Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

‘w’, might be weakly amplified.