PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*01

Prod. No:	101.621-12/12u

Lot No:    	09L

Expiry Date:    	2013-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-C*01 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*01 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 90 bp | 800 bp | *01:02:01-01:02:13, 01:06-01:11, 01:13-01:20, 01:22-01:23, 01:25-01:33, 01:35, 01:38-01:45 | *03:86, 03:94, 03:99 |
| 25,7 | 90 bp, 270 bp | 1070 bp | *01:03, 01:15, 01:24 | *03:58, 04:37 |
| 38 | 150bp, 265 bp | 800 bp | *01:04, 01:14 |  |
| 49 | 210 bp, 240 bp | 800 bp | *01:05, 01:16 | *07:37, B*07:77 |
| 55,10 | 105 bp, 150 bp, 200 bp | 800 bp | *01:06, 01:20, 01:38 |  |
| 66,11 | 195 bp, 235 bp | 1070 bp | *01:07, 01:37N | *06:43 |
| 76,12 | 150 bp, 195 bp | 1070 bp | *01:08, 01:20 |  |
| 8 | 210 bp | 1070 bp | *01:04, 01:09, 01:22, 01:35 | *06:23, 15:37 |
| 9 | 230 bp | 800 bp | *01:10 |  |
| 1013 | 210 bp, 290 bp | 1070 bp | *01:11, 01:22, 01:35 | *15:37 |
| 1114 | 140 bp, 345 bp | 800 bp | *01:12, 01:34, 01:39 |  |
| 12 | 155 bp | 1070 bp | *01:13 | *03:87, 05:09, 05:17, 07:130, 08:15, 16:27, B*15:33 |
| 13 | 155 bp | 800 bp | *01:02:01-01:20, 01:22-01:45 | B*54:18 |
| 145,6,15 | 120 bp, 240 bp | 1070 bp | *01:17, 01:21, 01:23, 01:41 |  |
| 155,16 | 115 bp, 230 bp | 800 bp | *01:18, 01:42 |  |
| 1617 | 130 bp, 255 bp, 295 bp | 1070 bp | *01:19, 01:23, 01:43 | A*01:24 |
| 175 | 75 bp | 800 bp | *01:24-01:25 |  |
| 1818 | 195 bp, 260 bp, 345 bp, | 800 bp | *01:26, 01:34, 01:36 |  |
| 195,19 | 100 bp, 275 bp | 1070 bp | *01:27, 01:45 |  |
| 205 | 110 bp | 800 bp | *01:28 | *03:59 |
| 215,20 | 125 bp, 245 bp | 800 bp | *01:29, 01:33 |  |
| 22 | 255 bp | 1070 bp | *01:30 |  |
| 235,21 | 120 bp, 235 bp | 1070 bp | *01:31, 01:35, 01:44 |  |
| 245,22 | 110 bp, 250 bp | 1070 bp | *01:32, 01:40 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*01 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*01 SSP subtyping.

In addition, wells number 3, 4, 5, 9, 11, 13, 15, 17, 18, 20 and 21 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The C*01:06 and 01:38 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 5.

The C*01:17 and 01:41 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 14.

The C*01:18 and 01:42 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 15.

The C*01:19 and 01:43 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 16.

The C*01:27 and 01:45 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

The C*01:29 and 01:33 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

The C*01:31 and 01:44 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

The C*01:32 and 01:40 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 24.

4Due to the sharing of sequence motifs between HLA Class I alleles some non-HLA-C*01 alleles will be amplified by primer mixes 1, 2, 4, 6, 8, 10, 12 and 20. In addition, the A*01:24 allele will be amplified by primer mix 16, the B*07:77 allele will be amplified by primer mix 4, the B*15:33 allele will be amplified by primer mix 12 and the B*54:18 allele will be amplified by primer mix 13.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 6, 7 and 14 may have a tendency of giving rise to nonspecific amplifications.

7Primer mix 2: Specific PCR product of 90 bp in the C*01:03 and 01:24 and the C*03:58 and 04:37 alleles. Specific PCR product of 270 bp in the C*01:15 allele.

8Primer mix 3: Specific PCR product of 150 bp in the C*01:04 allele. Specific PCR product of 265 bp in the C*01:14 allele.

9Primer mix 4: Specific PCR product of 210 bp in the C*01:05 and C*07:37 and the B*07:77 alleles. Specific PCR product of 240 bp in the C*01:16 allele.

10Primer mix 5: Specific PCR product of 105 bp in the C*01:38 allele. Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 200 bp in the C*01:06 allele.

11Primer mix 6: Specific PCR product of 195 bp in the C*01:07 and the C*06:43 alleles. Specific PCR product of 235 bp in the C*01:37N allele.

12Primer mix 7: Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 195 bp in the C*01:08 allele.

13Primer mix 10: Specific PCR fragment of 210 bp in the C*01:22 and 01:35 and the C*15:37 alleles. Specific PCR fragments of 290 bp in the C*01:11 allele.

14Primer mix 11: Specific PCR product of 140 bp in the C*01:39 allele. Specific PCR product of 345 bp in the C*01:12 and 01:34 alleles.

15Primer mix 14: Specific PCR product of 120 bp in the C*01:41 allele. Specific PCR product of 240 bp in the C*01:17, 01:21 and 01:23 alleles.

16Primer mix 15: Specific PCR product of 115 bp in the C*01:42 allele. Specific PCR product of 230 bp in the C*01:18 allele.

17Primer mix 16: Specific PCR product of 130 bp in the C*01:43 allele. Specific PCR product of 255 bp in the C*01:19 allele. Specific PCR product of 295 bp in the C*01:23 and the A*01:24 alleles.

18Primer mix18: Specific PCR product of 195 bp in the C*01:26 allele. Specific PCR product of 260 bp in the C*01:34 allele. Specific PCR product of 345 bp in the C*01:36 allele.

19Primer mix 19: Specific PCR fragment of 100 bp in the C*01:27 allele. Specific PCR fragments of 275 bp in the C*01:45 allele.

20Primer mix 21: Specific PCR fragment of 125 bp in the C*01:33 allele. Specific PCR fragments of 245 bp in the C*01:29 allele.

21Primer mix 23: Specific PCR fragment of 120 bp in the C*01:44 allele. Specific PCR fragments of 235 bp in the C*01:31and 01:35 alleles.

22Primer mix 24: Specific PCR fragment of 110 bp in the C*01:40 allele. Specific PCR fragments of 250 bp in the C*01:32 allele.

1The HLA-Cw*0101 nucleotide sequence has been shown to be identical to C*01:02.

2The C*01:06 and 01:38 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 5.

3The C*01:17 and 01:41 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 14.

4The C*01:18 and 01:42 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 15.

5The C*01:19 and 01:43 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 16.

6The C*01:27 and 01:45 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

7The C*01:29 and 01:33 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

8The C*01:31 and 01:44 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

9The C*01:32 and 01:40 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 24.

10Primer mix 2: Specific PCR product of 90 bp in the C*01:03 and 01:24 and the C*03:58 and 04:37 alleles. Specific PCR product of 270 bp in the C*01:15 allele.

Primer mix 3: Specific PCR product of 150 bp in the C*01:04 allele. Specific PCR product of 265 bp in the C*01:14 allele.

Primer mix 4: Specific PCR product of 210 bp in the C*01:05 and C*07:37 and the B*07:77 alleles. Specific PCR product of 240 bp in the C*01:16 allele.

Primer mix 5: Specific PCR product of 105 bp in the C*01:38 allele. Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 200 bp in the C*01:06 allele.

Primer mix 6: Specific PCR product of 195 bp in the C*01:07 and the C*06:43 alleles. Specific PCR product of 235 bp in the C*01:37N allele.

Primer mix 7: Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 195 bp in the C*01:08 allele.

Primer mix 10: Specific PCR fragment of 210 bp in the C*01:22 and 01:35 and the C*15:37 alleles. Specific PCR fragments of 290 bp in the C*01:11 allele.

Primer mix 11: Specific PCR product of 140 bp in the C*01:39 allele. Specific PCR product of 345 bp in the C*01:12 and 01:34 alleles.

Primer mix 14: Specific PCR product of 120 bp in the C*01:41 allele. Specific PCR product of 240 bp in the C*01:17, 01:21 and 01:23 alleles.

Primer mix 15: Specific PCR product of 115 bp in the C*01:42 allele. Specific PCR product of 230 bp in the C*01:18 allele.

Primer mix 16: Specific PCR product of 130 bp in the C*01:43 allele. Specific PCR product of 255 bp in the C*01:19 allele. Specific PCR product of 295 bp in the C*01:23 and the A*01:24 alleles.

Primer mix18: Specific PCR product of 195 bp in the C*01:26 allele. Specific PCR product of 260 bp in the C*01:34 allele. Specific PCR product of 345 bp in the C*01:36 allele.

Primer mix 19: Specific PCR fragment of 100 bp in the C*01:27 allele. Specific PCR fragments of 275 bp in the C*01:45 allele.

Primer mix 21: Specific PCR fragment of 125 bp in the C*01:33 allele. Specific PCR fragments of 245 bp in the C*01:29 allele.

Primer mix 23: Specific PCR fragment of 120 bp in the C*01:44 allele. Specific PCR fragments of 235 bp in the C*01:31and 01:35 alleles.

Primer mix 24: Specific PCR fragment of 110 bp in the C*01:40 allele. Specific PCR fragments of 250 bp in the C*01:32 allele.