Gel Documentation Form and Worksheet

HLA-C*01 (101.621-12/12u) 	Lot No: 40V	Expiry Date: 2016-October-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 7, 14 and 18 may have tendencies of unspecific amplifications.

Primer mixes 1 and 13 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*01 primer mixes.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*01 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 2: Specific PCR product of 90 bp in the C*01:03, 01:24 and 01:78 and the C*03:58, 04:37 and 05:85 alleles. Specific PCR product of 270 bp in the C*01:15 allele.

Primer mix 3: Specific PCR product of 150 bp in the C*01:04 allele. Specific PCR product of 265 bp in the C*01:14 allele.

Primer mix 4: Specific PCR product of 210 bp in the C*01:05 and 01:77 and the C*07:37, 07:307 and in the B*07:77 and 07:193 alleles. Specific PCR product of 250 bp in the C*01:16 and 01:82 allele.

Primer mix 5: Specific PCR product of 105 bp in the C*01:38 allele. Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 200 bp in the C*01:06 allele.

Primer mix 6: Specific PCR product of 195 bp in the C*01:07 and the C*06:43:01 and 14:24:02 alleles. Specific PCR product of 230 bp in the C*01:37N and 01:83 and the C*14:35N alleles.

Primer mix 7: Specific PCR product of 70 bp in the C*01:67 and the C*03:03:10, 03:04:28, 04:01:11, 06:02:21 and 07:02:36 and in the A*01:01:33, A*02:01:29, A*03:01:42, A*11:01:40, A*26:01:09, A*32:01:09, A*33:01:07, A*68:01:06, B*07:02:21, B*13:02:03, B*27:05:06, B*40:01:10, 40:02:11, B*44:03:08, B*51:01:24 and B*73:01-73:02 alleles. Specific PCR product of 150 bp in the C*01:20 allele. Specific PCR product of 195 bp in the C*01:08 allele.

Primer mix 9: Specific PCR fragment of 160 bp in the C*01:52 allele. Specific PCR fragments of 225 bp in the C*01:10 and 01:83 and in the B*40:243 allele.

Primer mix 10: Specific PCR fragment of 210 bp in the C*01:22 and 01:35 and the C*07:177, 15:37 and in the B*40:243 alleles. Specific PCR fragment of 255 bp in the C *01:30 allele. Specific PCR fragments of 290 bp in the C*01:11 allele.

Primer mix 11: Specific PCR product of 140 bp in the C*01:39 allele. Specific PCR product of 345 bp in the C*01:12, 01:34 and 01:79:01-01:79:02 alleles.

Primer mix 12: Specific PCR product of 80 bp in the C*01:84 and the C*03:213 alleles. Specific PCR product of 155 bp in the C*01:13 and the C*02:51, 03:87, 05:09:01-05:09:02, 05:17, 05:52, 07:130, 08:15:01-08:15:02, 08:51 and 16:27 and in the B*15:33 and B*15:248 alleles.

Primer mix 14: Specific PCR product of 120 bp in the C*01:41 allele. Specific PCR product of 245 bp in the C*01:17, 01:21, 01:23 and 01:69N and the C*07:316 alleles.

Primer mix 15: Specific PCR product of 115 bp in the C*01:42 and 01:73 and in the B*51:129 alleles. Specific PCR product of 230 bp in the C*01:18 allele.

Primer mix 16: Specific PCR product of 130 bp in the C*01:43 allele. Specific PCR product of 255 bp in the C*01:19 allele. Specific PCR product of 295 bp in the C*01:23, 01:58 and the C*07:316 and in the A*01:24 alleles.

Primer mix 17: Specific PCR fragment of 75 bp in the C*01:24 and 01:25 alleles. Specific PCR fragments of 255 bp in the C*01:59 and 01:82 alleles.

Primer mix 18: Specific PCR product of 195 bp in the C*01:26 allele. Specific PCR product of 260 bp in the C*01:34 allele. Specific PCR product of 345 bp in the C*01:36, 01:49 and 01:55 alleles.

Primer mix 19: Specific PCR fragment of 100 bp in the C*01:27 allele. Specific PCR fragments of 265 bp in the C*01:30 and 01:45 alleles.

Primer mix 20: Specific PCR fragment of 80 bp in the C*01:84 and C*03:213 alleles. Specific PCR fragment of 110 bp in the C*01:28 and the C*03:59 and 03:123 alleles. Specific PCR fragments of 285 bp in the C*01:56N allele.

Primer mix 21: Specific PCR fragment of 125 bp in the C*01:33 allele. Specific PCR fragments of 160 bp in the C*01:80 allele. Specific PCR fragments of 245 bp in the C*01:29 and 01:69N alleles.

Primer mix 22: Specific PCR fragment of 110 bp in the C*01:40 and 06:110 allele. Specific PCR fragments of 250 bp in the C*01:32 allele. Specific PCR fragment of 335 bp in the C*01:49 and 01:50 alleles

Primer mix 23: Specific PCR fragment of 90 bp in the C*01:04 and 01:54 and the C*06:23, 14:45 and 16:18 alleles. Specific PCR fragment of 120 bp in the C*01:44 allele. Specific PCR fragments of 235 bp in the C*01:31 and 01:35 alleles.

4The following HLA-C*01 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*01:06, 01:38 | 5 | C*01:27, 01:45 | 19 |
| C*01:10, 01:52 | 9 | C*01:28, 01:56N | 20 |
| C*01:17, 01:41 | 14 | C*01:29, 01:33 | 21 |
| C*01:18, 01:42 | 15 | C*01:31, 01:44 | 23 |
| C*01:19, C*01:43, 01:58 | 16 | C*01:32, 01:40 | 22 |
| C*01:25, 01:59 | 17 |

The HLA-C*01 primer set cannot distinguish the following silent mutations: the C*01:02:01-01:02:23 or the C*01:79:01-01:79:02 alleles.