PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*02

Prod. No:    101.622-12/12u

Lot No:    	02K

Expiry Date:    	2012-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-C*02 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*02 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 250 bp | 800 bp | *02:02:01-02:02:03, 02:02:05-02:02:11, 02:04-02:15, 02:17, 02:19-02:31, 02:33-02:36 | *01:04, 01:09, 01:21, 05:08, 06:02:01:01-06:02:01:02, 06:02:03-06:03, 06:07-06:37, 08:27, 08:29, 08:31, 12:02:01-12:08, 12:10:01-12:13, 12:15-12:17, 12:21-12:23, 12:25-12:35, 14:16, 16:04:01, 18:03 |
| 25 | 95 bp | 800 bp | *02:02:01-02:02:03, 02:02:06-02:02:11, 02:04, 02:07-02:09, 02:11, 02:13, 02:15, 02:19-02:31, 02:34-02:36 |  |
| 35,8 | 95 bp, 120 bp | 800 bp | *02:03, 02:16:02, 02:18, 02:20, 02:31 | B*27:34, B*40:02:07, B*40:06:02, B*57:03:02w |
| 4 | 150 bp | 1070 bp | *02:04 |  |
| 59 | 145 bp, 240 bp | 1070 bp | *02:05, 02:17, 02:22 | *01:10, 06:08, 08:31, B*07:02:07 |
| 6 | 160 bp | 800 bp | *02:06, 02:19 | *01:09, 03:21, 03:80, 12:15 |
| 75 | 130 bp | 800 bp | *02:07 | *16:10 |
| 85,10 | 70 bp, 280 bp | 1070 bp | *02:08, 02:33 | *03:64, 15:10:02 |
| 9 | 200 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:09, 02:11-02:13, 02:15-02:28, 02:30-02:36 |  |
| 105,7 | 125 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:25Q, 02:27-02:36 | *04:03, 04:06, 05:26, 15:11 |
| 115,11 | 85 bp, 170 bp | 800 bp | *02:09, 02:18, 02:32 |  |
| 1212 | 150 bp, 230 bp | 1070 bp | *02:11, 02:14, 02:17 | *04:42, 06:05w, 07:02:09, 12:16, 15:23, 16:21 |
| 136 | 225 bp | 1070 bp | *02:12, 02:27 |  |
| 145 | 80 bp | 800 bp | *02:13 |  |
| 155,13 | 130 bp, 190 bp | 1070 bp | *02:15, 02:21 |  |
| 167 | 250 bp | 1070 bp | *02:03, 02:16:01-02:16:02, 02:18 | *01:22, 01:35, 04:04:01-04:04:02, 04:06, 04:13, 04:34, 04:58, 05:11, 05:17, 05:27, 06:04, 08:01:01-08:01:02, 08:03:01-08:04, 08:06, 08:08-08:11, 08:13, 08:14, 08:16, 08:20-08:22, 08:24, 08:26N, 12:14:01-12:14:02, 12:18, 12:20, 14:06, 14:15, 15:02:01-15:07, 15:09-15:13, 15:15-15:24, 15:26-15:28, 17:01:01:01-17:06, B*58:02 |
| 175,14 | 110 bp, 160 bp | 1070 bp | *02:23, 02:31 |  |
| 186 | 235 bp | 800 bp | *02:26:01-02:26:02 | *03:07, 03:10, 03:15, 03:29, 03:45, 04:16, 04:42, 05:01:01:01-05:01:13, 05:03-05:12, 05:14-05:19, 05:21-05:25, 05:27-05:29, 05:31-05:42, 06:02:01:01-06:02:01:02, 06:02:03-06:10, 06:12-06:17, 06:19-06:32, 06:34-06:37, 07:07, 07:09, 07:76, 08:10, 12:04:01-12:05, 12:09, 12:21, 12:33, 15:02:01-15:06:02, 15:08-15:10:02, 15:12, 15:13, 15:15-15:24, 15:26-15:28, 16:02:01-16:02:04, 16:09, 16:12, 16:19, 17:01:01:01-17:06, 18:01-18:03 |
| 19 | 210 bp | 1070 bp | *02:03, 02:28 | *01:06, 03:36, 03:77, 04:34, 05:12, 07:95, B*73:01w |
| 20 | 180 bp | 1070 bp | *02:24 |  |
| 215,15 | 115 bp, 205 bp | 1070 bp | *02:25Q, 02:30 | *15:19 |
| 225 | 110 bp | 1070 bp | *02:34 | *16:09 |
| 2316 | 205 bp, 390 bp | 1070 bp | *02:29, 02:35 |  |
| 24 | 325 bp | 1070 bp | *02:06, 02:23, 02:36 | *03:81, 12:15, 15:02:01-15:03, 15:05:01-15:13, 15:15-15:24, 15:26-15:28, 16:20 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of C*02 low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*02 SSP subtyping.

In addition, wells number 2, 3, 6, 7, 11, 14 and 18 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3The C*02:15 and 02:21 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 15.

The C*02:25Q and 02:30 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

4Due to the sharing of sequence motifs between HLA Class I alleles some non-HLA-C*02 alleles will be amplified by primer mixes 1, 5 to 8, 10, 12, 16, 18, 19, 21, 22 and 24. In addition, primer mix 3 will amplify the B*27:34, 40:02:07, 40:06:02 and weakly the B*57:03:02 allele, primer mix 5 will amplify the B*07:02:07 allele, primer mix 16 will amplify the B*58:02 allele and primer mix 19 will weakly amplify the B*73:01 allele.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 13 and 18 may give a lower yield of specific PCR product than the other C*02 primer mixes.

7Primer mixes 10 and 16 may give rise to non-specific amplifications.

8Primer mix 3: Specific PCR fragment of 95 bp in the C*02:03, 02:16:02 and 02:18 alleles and in the B*27:34, B*40:02:07, 40:06:02 and B*57:03:02w alleles. Specific PCR fragment of 120 bp in  the C*02:20 and 02:31 alleles.

##### 9Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*08:31 alleles and in the B*07:02:07 allele. Specific PCR fragment of 240 bp in the C*02:05 and 02:17 and in the C*01:10 and 06:08 alleles.

10Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:64 and 15:10:02 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

11Primer mix 11: Specific PCR fragment of 85 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

12Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11 and 02:14 and in the C*04:42, 06:05w, 07:02:09, 12:16, 15:23 and 16:21 alleles. Specific PCR fragment of 230 bp in the C*02:17 allele.

13Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 allele.

14Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 allele. Specific PCR fragment of 160 bp in the C*02:23 allele.

15Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30and the C*15:19 alleles. Specific PCR fragment of 205 bp in the C*02:25Q allele.

16Primer mix 23: Specific PCR fragment of 205 bp in the C*02:29 and 02:35 alleles. Specific PCR fragment of 390 bp in the C*02:35 allele.

‘w’, might be weakly amplified.

1C*02:01 has been deleted as it was identical to C*02:02:02.

C*02:16:03 has shown to be identical to C*02:16:02

C*02:02:04 has shown to be identical to C*02:10

2The C*02:15 and 02:21 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 15.

3The C*02:25Q and 02:30 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

4Primer mix 3: Specific PCR fragment of 95 bp in the C*02:03, 02:16:02 and 02:18 alleles and in the B*27:34, B*40:02:07, 40:06:02 and B*57:03:02w alleles. Specific PCR fragment of 120 bp in  the C*02:20 and 02:31 alleles.

##### Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*08:31 alleles and in the B*07:02:07 allele. Specific PCR fragment of 240 bp in the C*02:05 and 02:17 and in the C*01:10 and 06:08 alleles.

Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:64 and 15:10:02 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

Primer mix 11: Specific PCR fragment of 85 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11 and 02:14 and in the C*04:42, 06:05w, 07:02:09, 12:16, 15:23 and 16:21 alleles. Specific PCR fragment of 230 bp in the C*02:17 allele.

Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 allele.

Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 allele. Specific PCR fragment of 160 bp in the C*02:23 allele.

Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30and the C*15:19 alleles. Specific PCR fragment of 205 bp in the C*02:25Q allele.

Primer mix 23: Specific PCR fragment of 205 bp in the C*02:29 and 02:35 alleles. Specific PCR fragment of 390 bp in the C*02:35 allele.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 9 does not amplify the C*02:14 allele. This has been corrected in the specificity and amplification tables.