PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*02

Prod. No:    101.622-12/12u

Lot No:    	95R

Expiry Date:    	2015-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for HLA-C*02 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*02 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 250 bp | 800 bp | *02:02:01-02:02:03, 02:02:05-02:02:25, 02:04-02:15, 02:17, 02:19-02:31, 02:33-02:40, 02:42-02:66 | *01:04, 01:09, 01:21, 04:94:01-04:94:02, 05:08, 05:52, 06:02:01:01-06:02:01:02, 06:02:03-06:03:02, 06:07-06:39, 06:41-06:78, 06:80-06:93, 08:27, 08:29, 08:31, 12:02:01-12:08, 12:10:01-12:13, 12:15-12:17, 12:21-12:23, 12:25-12:82, 12:84N, 12:86-12:91, 14:16, 16:04:01, 16:29, 16:33, 16:42, 18:03 |
| 25 | 95 bp | 800 bp | *02:02:01-02:02:03, 02:02:06-02:02:12, 02:02:15-02:02:25, 02:04, 02:07-02:09, 02:11, 02:13, 02:15, 02:19-02:27:01, 02:28-02:31, 02:34-02:40, 02:42-02:50, 02:52N-02:57, 02:59-02:66 | *12:03:17 |
| 35,8 | 95 bp, 120 bp | 800 bp | *02:03, 02:16:02, 02:18, 02:20, 02:31 | B*27:34, B*35:01:30W, B*40:02:07, 40:06:02, B*57:03:02W |
| 4 | 150 bp | 1070 bp | *02:04 | *14:41 |
| 59 | 145 bp, 240 bp | 1070 bp | *02:05, 02:17, 02:22 | *01:10, 06:08, 08:31, 14:25, 16:29, 16:50, B*07:02:07, B*27:05:15 |
| 610 | 160 bp, 215 bp | 800 bp | *02:06, 02:46-02:47 | *12:15 |
| 7 | 130 bp | 800 bp | *02:07 | *16:10 |
| 85,11 | 70 bp, 280 bp | 1070 bp | *02:08, 02:33 | *03:64:01, 12:03:23, 15:10:02 |
| 9 | 200 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:09, 02:11-02:13, 02:15-02:28, 02:30-02:40, 02:42-02:57, 02:59-02:66 |  |
| 105,7 | 125 bp | 1070 bp | *02:02:01-02:02:03, 02:02:05-02:02:12, 02:02:14-02:25Q, 02:27:01-02:38N, 02:40, 02:42-02:44, 02:46-02:66 | *04:03, 04:06, 04:80, 04:107, 05:26, 15:11, 16:34 |
| 115,12 | 85 bp, 170 bp | 800 bp | *02:09, 02:18, 02:32 |  |
| 1213 | 150 bp, 230 bp | 1070 bp | *02:11, 02:14, 02:17 | *04:42, 05:43, 06:05W, 07:02:09, 08:37, 12:16, 14:25, 15:23, 15:63, 16:21, B*27:84 |
| 136 | 225 bp | 1070 bp | *02:12, 02:27:01-02:27:02 | *16:34 |
| 145,14 | 80 bp, 115 bp | 800 bp | *02:13, 02:43 | *12:03:17 |
| 1515 | 130 bp, 190 bp | 1070 bp | *02:15, 02:21 |  |
| 166,7 | 250 bp | 1070 bp | *02:03, 02:16:01-02:16:02, 02:18 | *01:22, 01:35, 04:04:01-04:04:02, 04:06, 04:13, 04:34, 04:58, 04:122, 05:11, 05:17, 05:27, 05:68, 05:70, 05:79, 06:04, 08:01:01-08:01:08, 08:03:01-08:04:03, 08:06, 08:08-08:11, 08:13-08:14, 08:16:01-08:16:02, 08:20-08:22, 08:24, 08:26N, 08:36N, 08:38-08:42, 08:44, 08:46, 08:50, 08:54, 08:56-08:61, 08:65-08:66, 08:72, 12:14:01-12:14:02, 12:18:01-12:18:02, 12:20, 12:83, 14:06, 14:15, 15:02:01-15:07, 15:09-15:13, 15:15-15:19, 15:21-15:24, 15:26-15:64, 16:35, 16:40, 16:48, 17:01:01:01-17:15, B*58:02 |
| 175,16 | 110 bp, 160 bp | 1070 bp | *02:23, 02:31, 02:43 | *12:03:17 |
| 18 | 235 bp | 800 bp | *02:26:01-02:26:03 | *03:07, 03:10, 03:15, 03:29, 03:45, 03:163, 04:16, 04:42, 04:103, 05:01:01:01-05:01:25, 05:03-05:12, 05:14-05:19, 05:21-05:25, 05:27-05:29:02, 05:31-05:77, 05:79-05:85, 06:02:01:01-06:02:01:02, 06:02:03-06:02:08, 06:02:10-06:02:20, 06:02:22-06:10, 06:12-06:17, 06:19-06:32, 06:34-06:81, 06:83-06:93, 07:07, 07:09, 07:76, 08:10, 12:04:01-12:05, 12:09, 12:21, 12:33, 12:41, 12:60, 12:72, 15:02:01-15:06:03, 15:08-15:10:02, 15:12-15:13, 15:15-15:19, 15:21-15:24, 15:26-15:35, 15:37-15:42, 15:44-15:64, 16:02:01-16:02:07, 16:02:09, 16:09, 16:12, 16:19, 16:25, 16:37, 16:46-16:48, 17:01:01:01-17:01:08, 17:02-17:15, 18:01-18:06 |
| 195 | 80 bp | 1070 bp | *02:03, 02:28 | B*27:34, B*35:01:30W, B*40:02:07, 40:06:02, B*57:03:02W |
| 20 | 180 bp | 1070 bp | *02:24 | B*07:113, B*08:64, B*40:192 |
| 215,17 | 115 bp, 205 bp | 1070 bp | *02:25Q, 02:30 | *15:19 |
| 225 | 110 bp | 1070 bp | *02:34 | *16:09 |
| 2318 | 205 bp, 390 bp, | 1070 bp | *02:29, 02:35 |  |
| 24 | 325 bp | 1070 bp | *02:06, 02:23, 02:36 | *03:81, 03:175, 04:108, 06:89, 07:123, 07:173, 12:15, 15:02:01-15:03, 15:05:01-15:13, 15:15-15:19, 15:21-15:24, 15:26-15:29, 15:31-15:39, 15:41-15:63, 16:20 |
| 25 | 160 bp | 800 bp | *02:19, 02:23 | *01:09, 03:21, 03:80, 03:142, B*07:55, B*07:100, B*15:45, B*15:63, B*15:248 |
| 26 | 140 bp | 1070 bp | *02:39-02:40 |  |
| 27 | 140 bp | 800 bp | *02:44-02:45 |  |
| 285,19 | 90 bp, 220 bp | 800 bp | *02:37, 02:46, 02:52N | *06:81 |
| 29 | 210 bp | 1070 bp | *02:12, 02:49, 02:55 | *04:03, 04:06, 04:80, 04:107 |
| 305,20 | 80 bp, 270 bp | 1070 bp | *02:38N, 02:58 | *01:35, 04:08, 04:34, 05:27, 05:39, 08:41, 12:83, 14:20, 15:15, 17:07, B*58:02 |
| 315 | 100 bp | 1070 bp | *02:42 | *01:21, 06:05, 07:02:09, 08:14, 12:16, 15:63, B*67:02 |
| 32 | 150 bp | 1070 bp | *02:53 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of C*02 high resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*02 SSP subtyping.

In addition, wells number 2, 3, 6, 7, 11, 14, 18, 25, 27 and 28 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA Class I alleles non-HLA-C*02 alleles will be amplified by primer mixes 1, 2, 4 to 8, 10, 12 to 14, 16 to 18, 21, 22, 24, 25, 28, 29 and 31. In addition, primer mix 3 will amplify the B*27:34, B*40:02:07 and B*40:06:02 and weakly the B*35:01:30 and B*57:03:02 alleles, primer mix 5 will amplify the B*07:02:07 and B*27:05:15 alleles, primer mix 12 will amplify the B*27:84 allele, primer mix 16 will amplify the B*58:02 allele, primer mix 19 will amplify the B*27:34, B*40:02:07 and B*40:06:02, and weakly the B*35:01:30 and B*57:03:02 allele, primer mix 20 will amplify the B*07:113, B*08:64 and B*40:192 alleles, primer mix 25 will amplify the  B*07:55, B*07:100, B*15:45, B*15:63, B*15:248 alleles, primer mix 30 will amplify the B*58:02 and primer mix 31 will amplify the B*67:02 allele.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 13 and 16 may give a lower yield of HLA-specific PCR product than the other C*02 primer mixes.

7Primer mixes 10 and 16 may have tendencies of unspecific amplifications.

8Primer mix 3: Specific PCR fragment of 95 bp in the C*02:03, 02:16:02 and 02:18 and in the B*27:34, B*35:01:30w, B*40:02:07, B*40:06:02 and B*57:03:02w alleles. Specific PCR fragment of 120 bp in the C*02:20 and 02:31 alleles.

##### 9Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*08:31 and in the B*07:02:07 and B*27:05:15 alleles. Specific PCR fragment of 240 bp in the C*02:05 and 02:17 and the C*01:10, 06:08, 14:25 and 16:29, 16:50 alleles.

##### 10Primer mix 6: Specific PCR fragment of 160 bp in the C*02:06 and C*02:47 and the 12:15 alleles. Specific PCR fragment of 215 bp in the C*02:46 allele.

11Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:64:01,12:03:23 and 15:10:02 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

12Primer mix 11: Specific PCR fragment of 85 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

13Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11 and 02:14 and the C*04:42, 05:43, 06:05w, 07:02:09, 08:37, 12:16, 15:23, 15:63 and 16:21 and the B*27:84 alleles. Specific PCR fragment of 230 bp in the C*02:17 and the C*14:25 alleles.

14Primer mix 14: Specific PCR fragment of 80 bp in the C*02:13 allele. Specific PCR fragment of 115 bp in the C*02:43 and the C*12:03:17 alleles.

15Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 allele.

16Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 and 02:43 and the 12:03:17 alleles. Specific PCR fragment of 160 bp in the C*02:23 allele.

17Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30 and the C*15:19 alleles. Specific PCR fragment of 205 bp in the C*02:25Q allele.

18Primer mix 23: Specific PCR fragment of 205 bp in the C*02:29 allele. Specific PCR fragment of 390 bp in the C*02:35 allele.

19Primer mix 28: Specific PCR fragment of 90 bp in the C*02:52N allele. Specific PCR fragment of 220 bp in the C*02:37 and 02:46 and 06:81 alleles.

20Primer mix 30: Specific PCR fragment of 80 bp in the C*02:38N allele. Specific PCR fragment of 270 bp in the C*02:58 and the C*01:35, 04:08, 04:34, 05:27, 05:39, 08:41, 12:83, 14:20, 15:15,  and 17:07 and the B*58:02 alleles.

‘w’, might be weakly amplified.

1Cw*0201 has been deleted as it was identical to C*02:02:02.

Cw*021603 has been shown to be identical to C*02:16:02.

Cw*020204 has been shown to be identical to C*02:10.

2HLA-C*02 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

3The C*02:15 and 02:21 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 15.

4The C*02:25Q and 02:30 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

5The C*02:37 and 02:52N alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 28.

6Primer mix 3: Specific PCR fragment of 95 bp in the C*02:03, 02:16:02 and 02:18 and in the B*27:34, B*35:01:30w, B*40:02:07, B*40:06:02 and B*57:03:02w alleles. Specific PCR fragment of 120 bp in the C*02:20 and 02:31 alleles.

##### Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*08:31 and in the B*07:02:07 and B*27:05:15 alleles. Specific PCR fragment of 240 bp in the C*02:05 and 02:17 and the C*01:10, 06:08, 14:25 and 16:29, 16:50 alleles.

##### Primer mix 6: Specific PCR fragment of 160 bp in the C*02:06 and C*02:47 and the 12:15 alleles. Specific PCR fragment of 215 bp in the C*02:46 allele.

Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:64:01,12:03:23 and 15:10:02 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

Primer mix 11: Specific PCR fragment of 85 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11 and 02:14 and the C*04:42, 05:43, 06:05w, 07:02:09, 08:37, 12:16, 15:23, 15:63 and 16:21 and the B*27:84 alleles. Specific PCR fragment of 230 bp in the C*02:17 and the C*14:25 alleles.

Primer mix 14: Specific PCR fragment of 80 bp in the C*02:13 allele. Specific PCR fragment of 115 bp in the C*02:43 and the C*12:03:17 alleles.

Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 allele.

Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 and 02:43 and the 12:03:17 alleles. Specific PCR fragment of 160 bp in the C*02:23 allele.

Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30 and the C*15:19 alleles. Specific PCR fragment of 205 bp in the C*02:25Q allele.

Primer mix 23: Specific PCR fragment of 205 bp in the C*02:29 allele. Specific PCR fragment of 390 bp in the C*02:35 allele.

Primer mix 28: Specific PCR fragment of 90 bp in the C*02:52N allele. Specific PCR fragment of 220 bp in the C*02:37 and 02:46 and 06:81 alleles.

Primer mix 30: Specific PCR fragment of 80 bp in the C*02:38N allele. Specific PCR fragment of 270 bp in the C*02:58 and the C*01:35, 04:08, 04:34, 05:27, 05:39, 08:41, 12:83, 14:20, 15:15,  and 17:07 and the B*58:02 alleles.

‘w’, might be weakly amplified.