Gel Documentation Form and Worksheet

HLA-C*02 (101.622-12/12u)	Lot No: 99V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 13 and 16 may give a lower yield of HLA-specific PCR product than the other C*02 primer mixes.

Primer mixes 10, 16 and 30 may have tendencies of unspecific amplifications.

The C*07 alleles might be faintly amplified by primer mix 28.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*02 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 100 bp in the C*02:03, 02:16:02, 02:18 and 02:31 and the C*03:03:22, 03:04:34 and in the B*27:34, B*35:01:30w, B*40:02:07, 40:06:02, B*57:01:16w and 57:03:02w alleles. Specific PCR fragment of 135 bp in the C*02:20 allele.

##### Primer mix 4: Specific PCR fragment of 65 bp in the C*02:56 and in the B*35:01:30, B*57:01:16 and 57:03:02 alleles. Specific PCR fragment of 150 bp in the C*02:04 and the 12:115 and 14:41 alleles.

##### Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*08:31 and in the B*07:02:07 and B*27:05:15 alleles. Specific PCR fragment of 240 bp in the C*02:05:01-02:05:03 and 02:17 and the C*01:10, 06:08, 12:119, 14:25, 16:29, 16:50 and 17:21 and in the B*40:243 alleles.

##### Primer mix 6: Specific PCR fragment of 160 bp in the C*02:06 and C*02:47 and the 12:15 and 15:74 alleles. Specific PCR fragment of 210 bp in the C*02:46 and 02:64 alleles.

Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:18:02, 03:64:01, 12:03:23 and 15:10:02-15:10:03 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

Primer mix 11: Specific PCR fragment of 90 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11 and *02:14 and the C*04:42, 05:43, 06:05w, 07:02:09, 08:37, 12:16, 15:23, 15:63, 16:21 and in the B*27:84 alleles. Specific PCR fragment of 230 bp in the C*02:17 and the C*14:25 alleles.

Primer mix 13: Specific PCR fragment of 225 bp in the C*02:12 and 02:27:01-02:27:02 and the C*16:34 alleles. Specific PCR fragment of 265 bp in the C*02:49 and 02:75 and the C*04:03:01-04:03:02, 04:06, 04:80, 04:147 and 04:160 alleles.

Primer mix 14: Specific PCR fragment of 80 bp in the C*02:13 allele. Specific PCR fragment of 115 bp in the C*02:43 and the C*12:03:17 alleles.

Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 and 02:71 alleles.

Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 and 02:43 and the 12:03:17 alleles. Specific PCR fragment of 160 bp in the C*02:23 allele.

Primer mix 20: Specific PCR fragment of 50 bp in the C*02:65 and the C*01:59, 03:130, 03:140, 03:243, 04:114, 05:20, 06:82, 07:49, 07:210, 07:238, 07:247, 12:54, 14:04, 14:64, 15:85 and 16:57 and in the A*68:46 alleles. Specific PCR fragment of 180 bp in the C*02:24 and 02:71 and in the B*07:113, B*08:64 and B*40:192 alleles. Specific PCR fragment of 215 bp in the C*02:72 and in the B*07:52 alleles.

Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30 and the C*15:19 alleles. Specific PCR fragment of 210 bp in the C*02:25Q, 02:64 and 02:67Q alleles.

Primer mix 22: Specific PCR fragment of 65 bp in the C*02:56 and in the B*35:01:30, B*57:01:16 and B*57:03:02 alleles. Specific PCR fragment of 110 bp in the C*02:34 and the C*16:09 alleles.

Primer mix 23: Specific PCR fragment of 85 bp in the C*02:70 alleles. Specific PCR fragment of 210 bp in the C*02:29 and 02:69 alleles. Specific PCR fragment of 390 bp in the C*02:35 allele.

Primer mix 25: Specific PCR fragment of 160 bp in the C*02:19 and 02:23 and the C*01:09, 03:21, 03:80, 03:142 and 06:107 and in the B*07:55, 07:100, B*15:45, 15:63, 15:248 and 15:287 alleles. Specific PCR fragment of 215 bp in the C*02:60 and in the B*07:55, 07:100, B*08:70, B*15:07:01-15:07:03, 15:45, 15:68, 15:126, 15:207, B*46:12 and B*48:19 alleles.

Primer mix 28: Specific PCR fragment of 90 bp in the C*02:52N allele. Specific PCR fragment of 210 bp in the C*02:37, 02:46, 02:60 and 02:67Q and the C*06:81 and in the B*07:55, 07:100, B*08:70, B*15:07:01-15:07:03, 15:45, 15:68, 15:126, 15:207, B*46:12 and B*48:19 alleles.

Primer mix 30: Specific PCR fragment of 80 bp in the C*02:38N allele. Specific PCR fragment of 270 bp in the C*02:58 and the C*01:35, 04:08, 04:34, 04:147, 05:27, 05:39, 06:96, 08:41, 12:83, 12:106, 12:122, 14:20, 15:15, 15:77 and 17:07 alleles. ‘w’, might be weakly amplified.

4The following HLA-C*02 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*02:05:02-02:05:03, 02:22 | 5 | C*02:25Q, 02:30 | 21 |
| C*02:15, 02:21 | 15 | C*02:35, 02:69, 02:70 | 23 |
| C*02:24, 02:65 | 20 | C*02:37, 02:52N | 28 |

The HLA-C*02 primer set cannot distinguish the following silent mutations: the C*02:02:01-02:02:03, 02:02:06-02:02:12 and 02:02:15-02:02:25 alleles, the C*02:02:05 and 02:02:14 alleles, the C*02:05:02-02:05:03 alleles or the C*02:26:01-02:26:03 alleles.