HLA-C\*02 (101.622-12/12u) Lot No: 5N0 Expiry Date: 2025-10-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

***Interpretation: \_\_\_\_\_\_\_\_\_\_\_ Failed lanes*: \_\_\_\_\_\_\_\_\_\_\_\_ *Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_***

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |





Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 13, 16 and 18 may give a lower yield of HLA-specific PCR product than the other C\*02 primer mixes.

Primer mixes 10, 16, 29 and 30 may have tendencies of unspecific amplifications.

Primer mixes 10 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 45 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.





















**1**HLA-C\*02 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla), release 3.24.0, April 2016.

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3**The following HLA-C\*02 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| Primer Mix | Size of spec. PCR product | Amplified HLA-C\*02 alleles | Other amplified HLA Class I alleles |
| **3** | 105 bp  135 bp | \*02:03, 02:16:02:01-02:16:02:02, 02:18, 02:31  \*02:20 | \*03:03:22, 03:04:34, 07:02:75, **B\*27:34, B\*35:01:30w, B\*40:02:07, B\*40:06:02, B\*51:01:52w, B\*57:01:16w, B\*57:03:02w** |
| **4** | 65 bp  150 bp | \*02:56  \*02:04 | **B\*35:01:30, B\*51:01:52, B\*57:01:16, B\*57:03:02**  \*04:198, 08:119, 12:115, 14:41 |
| **5** | 145 bp  245 bp | \*02:22  \*02:05:01-02:05:03, 02:17, 02:81 | \*05:105, 05:206, 08:31, 08:185, **B\*07:02:07, B\*27:05:15, B\*48:04:02**  \*01:10, 06:08, 12:119, 14:25, 16:29, 16:50, 17:21, **B\*07:239, B\*14:46, B\*40:243** |
| **6** | 160 bp  215 bp | \*02:06:01-02:06:02, 02:47  \*02:46, 02:64 | \*06:168, 06:224, 12:15, 12:208, 15:74  \*12:162 |
| **8** | 70 bp  280 bp | \*02:08, 02:189  \*02:33 | \*03:18:02-03:18:03, 03:64:01, 03:301, 12:02:17, 12:03:23, 15:10:02-15:10:03, **B\*15:125:02, B\*46:01:33, B\*56:01:09, B\*58:74** |
| **11** | 90 bp  170 bp | \*02:18, 02:32  \*02:09 | \*05:18:04, 07:02:75 |
| **12** | 150 bp  230 bp | \*02:11, 02:14:01-02:14:02, 02:107, 02:164  \*02:17 | \*04:42:01-04:42:02, 04:220, 05:43, 06:02:72, 06:05w, 07:01:74, 07:02:09, 07:125:02, 08:37, 12:16:01, 12:147, 12:195:02, 12:217, 15:23:01-15:23:02, 15:63, 15:138, 15:158, 16:21, 16:80  **\***14:25 |
| **13** | 225 bp  265 bp | \*02:12, 02:27:01-02:27:02, 02:115, 02:126, 02:131  \*02:49, 02:75, 02:115 | \*03:308, 07:756, 16:34  \*04:03:01:01-04:03:07, 04:06:01-04:06:03, 04:80, 04:147, 04:160:01-04:160:02, 04:171, 04:190, 04:256, 04:286, 04:294, 04:299, 04:335, 04:337, 04:357, 04:363, 04:381, 04:383, 04:393, 04:400, 04:402, 07:756 |
| **14** | 80 bp  115 bp | \*02:13  \*02:43:01 | \*05:18:04, 05:106:01, 07:02:75, 12:02:32, 12:02:34, 12:03:17 |
| **15** | 130 bp  190 bp | \*02:21  \*02:15, 02:71 | **B\*07:221** |
| **17** | 110 bp  160 bp | \*02:31, 02:43:01  \*02:23 | \*05:18:04, 05:106:01, 07:02:75, 12:02:32, 12:02:34, 12:03:17 |
| **20** | 130 bp  165 bp | \*02:24, 02:71  \*02:72 | \*03:258, 06:98, 07:397, 07:412, 12:51, **B\*15:385, B\*35:404, B\*57:108** |
| **21** | 115 bp  210 bp | \*02:30  \*02:25Q, 02:64, 02:67Q | \*04:419, 15:19  \*12:162 |
| **22** | 65 bp  110 bp | \*02:56  \*02:34 | **B\*35:01:30, B\*51:01:52, B\*57:01:16, B\*57:03:02**  \*16:09 |
| **23** | 85 bp  210 bp  390 bp | \*02:70  \*02:29, 02:69, 02:189  \*02:35, 02:120 | \*06:223 |
| **25** | 160 bp  215 bp | \*02:19, 02:23  \*02:60 | \*01:09:01-01:09:02, 03:21, 03:80:01-03:80:02, 03:142, 03:287:01-03:287:02, 03:413, 03:512, 06:107, 06:179, 12:222, 12:235, 15:214, **B\*07:55, B\*07:100, B\*15:45, B\*15:63, B\*15:248, B\*15:287, B\*46:81**  \*06:264, **B\*07:55, B\*07:100,** **B\*08:70, B\*15:07:01:01-15:07:03, B\*15:45, B\*15:68, B\*15:126, B\*15:207, B\*15:324, B\*15:331, B\*15:405, B\*15:431, B\*15:450, B\*15:524,** **B\*46:12, B\*48:19** |
| **26** | 140 bp  260 bp | \*02:39  \*02:40:01-02:40:02, 02:53:01-02:53:02 | \*12:124, **B\*15:363:01-15:363:02, B\*18:91, B\*39:122, B\*39:159, B\*40:367** |
| **28** | 90 bp  170 bp | \*02:52N  \*02:37, 02:46, 02:60, 02:67Q | **B\*27:34, B\*40:02:07** |
| **29** | 210 bp  385 bp | \*02:12, 02:49, 02:55:01-02:55:02, 02:115  \*02:83 | \*04:03:01:01-04:03:01:02, 04:03:03-04:03:09, 04:06:01-04:06:03, 04:80, 04:107, 04:147, 04:160:01-04:160:02, 04:171, 04:190, 04:256, 04:286, 04:294, 04:335, 04:337, 04:357, 04:363, 04:381, 04:383, 04:393, 04:400, 04:402, 07:756  \*05:224, 06:327, 08:24, 12:323, 16:90, 16:180 |
| **30** | 350 bp  535 bp | \*02:38:01N  \*02:58 | \*03:07:01:01-03:07:02, 03:10, 03:15, 03:29, 03:45, 03:163, 03:268, 03:297, 03:450, 03:461, 04:08, 04:34, 04:147, 04:212, 05:27, 05:39, 05:151, 06:96, 06:197, 15:15, 15:77, 15:195, 17:07, 18:08 |
| **31** | 100 bp  165 bp | \*02:42, 02:107, 02:152  \*02:83 | \*01:02:34, 01:21, 04:140, 04:166:01, 04:166:03, 04:220, 05:98, 05:197, 06:02:72, 06:05, 07:01:74, 07:02:09, 07:125:02, 08:14, 08:80, 08:103, 12:16:01, 12:147, 12:227, 12:279, 15:63, 15:113, 16:80, **B\*15:436, B\*67:02:01:01-67:02:01:02**  \*05:224, 06:327, 08:24, 12:323, 16:90, 16:180 |
| **32** | 215 bp  240 bp | \*02:92N  \*02:38:02N, 02:81 |  |
| **37** | 125 bp  245 bp | \*02:91  \*02:135N |  |
| **38** | 145 bp  265 bp | \*02:93  \*02:48 | **B\*15:365** |
| **40** | 165 bp  265 bp | \*02:98  \*02:48 | **B\*07:344, B\*15:422, B\*15:445, B\*40:122**  **B\*15:365** |
| **41** | 140 bp  250 bp | \*02:104  \*02:121N |  |

**4**The following HLA-C\*02 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

|  |  |  |  |
| --- | --- | --- | --- |
| Alleles | Primer mix | Alleles | Primer mix |
| C\*02:05:02-02:05:03, 02:22 | 5 | C\*02:35, 02:69, 02:70, 02:120 | 23 |
| C\*02:15, 02:21 | 15 | C\*02:37, 02:52N | 28 |
| C\*02:25Q, 02:30 | 21 |

**5**The HLA-C\*02 primer set cannot separate the following alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C\*16 high resolution kit.

|  |
| --- |
| Alleles |
| C\*02:197, C\*16:121 |

Abbreviations

w: might be weakly amplified.

?: nucleotide sequence information not available for the primer matching sequence.