Gel Documentation Form and Worksheet

HLA-C*03 (101.611-12/12u) 	Lot No: 64V	Expiry Date: 2016-October-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 7 and 41 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*03 primer mixes.

Primer mixes 15, 35 and 43 have a tendency to giving rise to primer oligomer formation.

Primer mixes 32 and 38 may have tendencies of unspecific amplifications.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 90 bp in the C*03:21 and 03:142 and the B*15:96 alleles. Specific PCR fragment of 215 bp in the C*03:06 allele.

Primer mix 7: Specific PCR fragment of 110 bp in the C*03:08 and 03:29, and the C*06:44, 07:01:01:01-07:01:24, 07:01:26-07:01:39, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:70-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:162, 07:164N-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:224, 07:227N-07:228, 07:230-07:231, 07:235Q-07:237, 07:246-07:250, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:292-07:293, 07:296-07:301, 07:303-07:304, 07:310-07:311, 07:313, 07:317, 07:330-07:332, 07:337, 07:343, 15:02:10, 15:02:17 and 18:05 alleles. Specific PCR fragment of 185 bp in the C*03:03:01-03:03:24, 03:11:01-03:11:02, 03:13:01-03:13:02, 03:18, 03:20N-03:22Q, 03:30, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:144, 03:150-03:152, 03:158, 03:160-03:161, 03:165, 03:167-03:168, 03:171, 03:175-03:177, 03:182, 03:185, 03:187-03:189N, 03:192, 03:195-03:196, 03:202-03:207, 03:214, 03:217, 03:220, 03:223, 03:227-03:231 and the C*01:51, 06:53:01, 07:56:01 and 07:79  and in the B*07:93, B*08:39, B*35:101:02, 35:195, 35:211, B*38:27 and B*51:76 alleles. Specific PCR fragments of 110 and 185 bp in the C*03:31 and in the C*07:60 and 07:109 alleles.

Primer mix 11: Specific PCR fragment of 145 bp in the C*03:87 and the C*05:86 alleles. Specific PCR fragment of 415 bp in the C*03:08, 03:29 and 03:31 and the C*04:112, 05:36, 06:44, 12:08 and 12:81 alleles.

Primer mix 12: Specific PCR fragment of 260 bp in the C*03:03:12, 03:03:15, 03:11:01, 03:18 and 03:39 and the C*01:51, 05:55, 06:53:01, 07:56:01, 07:60, 07:79, 07:109, 12:58, 15:12 alleles. Specific PCR fragment of 305 bp in the C*03:04:19 and 03:113 and the C*07:10, 07:43, 07:184 and 07:196 and in the B*35:01:38, B*35:08:04, B*37:04:02 alleles.

Primer mix 13: Specific PCR fragment of 80 bp in the C*03:02:01-03:02:12, 03:15-03:16, 03:33, 03:36, 03:40:01, 03:40:03, 03:42-03:43:01, 03:60, 03:84, 03:89, 03:95, 03:108, 03:110, 03:121N, 03:132, 03:139, 03:146, 03:169Q, 03:175, 03:194, 03:197-03:201N, 03:216, 03:221-03:222, 03:224N-03:226 and the C*04:54, 07:02:32, 07:242, 14:08-14:09, 14:28, 15:77 and in the B*15:78:03 alleles. Specific PCR fragment of 140 bp in the C*03:17 and the C*04:37, 14:24:02, 14:26 and 14:55 alleles. Specific PCR fragments of 80 and 140 bp in the C*03:71 and in the C*06:02:08, 12:03:20, 14:02:01, 14:02:03-14:07N, 14:10-14:16, 14:18-14:24:01, 14:25, 14:27, 14:29-14:53 14:56-14:61 and 16:01:06 alleles.

Primer mix 14: Specific PCR fragment of 70 bp in the C*03:02:10, 03:03:21 and 03:04:26 and the C*02:26:01, 05:58:02, 06:70, 07:20, 15:23 and in the B*44:85, B*55:30 alleles. Specific PCR fragment of 210 bp in the C*03:19 and 03:102 and in the B*56:37w alleles.

Primer mix 16: Specific PCR fragment of 150 bp in the C*03:07, 03:10, 03:15, 03:29, 03:45, 03:163 and 03:226 and the C*01:14, 02:02:13, 04:01:23, 05:01:12, 05:29:02, 06:02:01:01-06:02:01:03, 06:02:03-06:04, 06:06-06:10, 06:12-06:76:01, 06:77-06:81, 06:83-06:123, 07:07, 07:09, 07:76, 07:315, 07:328, 12:04:01, 14:12, 14:49, 15:02:10, 15:02:17, 17:01:01:01-17:01:03, 17:01:05-17:21, 17:23, 18:01-18:07N and in the B*15:277 and B*35:222 alleles. Specific PCR fragment of 250 bp in the C*03:218 allele.

Primer mix 17: Specific PCR fragment of 100 bp in the C*03:20N and 03:101 allele. Specific PCR fragment of 135 bp in the C*03:05, 03:25, 03:27 and 03:167 alleles.

Primer mix 18: Specific PCR fragment of 165 bp in the C*03:102 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 195 bp in the C*03:83 allele. Specific PCR fragment of 225 bp in the C*03:23 allele.

Primer mix 19: Specific PCR fragment of 105 bp in the C*03:24 allele. Specific PCR fragment of 250 bp in the C*03:33, 03:236 and the C*04:106 and 08:78 alleles.

Primer mix 20: Specific PCR fragment of 155 bp in the C*03:25 and 03:155 and the C*08:95 alleles. Specific PCR fragment of 250 bp in the C*03:47 allele. Specific PCR fragment of 250 bp and 455 bp in the C*03:227 alleles.

Primer mix 21: Specific PCR fragment of 210 bp in the C*03:26 allele. Specific PCR fragment of 240 bp in the C*03:57 and 03:88 alleles.

Primer mix 22: Specific PCR fragment of 195 bp in the C*03:15, 03:27, 03:38:01-03:38:02, 03:69, 03:130, 03:136 and 03:163 and the C*02:12, 02:49, 02:55, 04:03:01, 04:06, 04:16, 04:80, 04:107, 04:147, 04:160, 06:70, 07:20, 07:96:01-07:96:02, 07:127, 07:263, 15:03, 15:16 and 15:25 alleles. Specific PCR fragment of 255 bp in the C*03:213 allele.

Primer mix 23: Specific PCR fragment of 90 bp in the C*03:28, 03:49 and 03:117 and the C*01:65 and 05:86 alleles. Specific PCR fragment of 260 bp in the C*03:22Q, 03:90, 03:103 and 03:169Q alleles.

Primer mix 24: Specific PCR fragment of 155 bp in the C*03:120, 03:200 and 03:229N alleles. Specific PCR fragment of 200 bp in the C*03:30, 03:65, 03:79, 03:121N and 03:200 alleles.

Primer mix 25: Specific PCR fragment of 260 bp in the C*03:207 allele. Specific PCR fragment of 305 bp in the C*03:32 and 03:45 and the 15:62 and in the B*35:178 alleles. Specific PCR fragment of 355 bp in the C*03:38:01-03:38:02, 03:69, 03:130 and 03:163 and the C*12:44, 15:03 and 15:16 alleles. Specific PCR fragment of 470 bp in the C*03:171, 03:211:01-03:211:02, 04:144, 05:03, 05:93, 06:73, 08:20, 08:40 and 12:109 alleles. Specific PCR fragments of 305 and 355 bp in the C*03:136 and the C*04:80, 04:100, 04:110, 06:14, 07:10, 07:43, 07:196 and 15:25 alleles.

Primer mix 26: Specific PCR fragment of 70 bp in the C*03:34 and 03:142 alleles. Specific PCR fragment of 105 bp in the C*03:36, 03:77 and 03:187 alleles. Specific PCR fragment of 265 bp in the C*03:13:01-03:13:02, 03:35, 03:178 and 03:198 and the C*05:86, 07:133, 07:242, 07:330 and in the B*15:96 alleles.

Primer mix 27: Specific PCR fragment of 80 bp in the C*03:11:01-03:11:02, 03:37:01-03:37:02 and the C*02:42 alleles. Specific PCR fragment of 210 bp in the C*03:208N allele. Specific PCR fragment of 275 bp in the C*03:15, 03:32, 03:45, 03:60 and  03:136 and the 02:49, 04:03:01-04:03:02, 04:06, 04:16, 04:80, 04:147, 04:160, 07:96:01-07:96:02, 15:25 and 15:62 alleles. Specific PCR fragment of 80 and 275 bp in the C*06:03:01 allele.

Primer mix 29: Specific PCR fragment of 140 bp in the C*03:98 allele. Specific PCR fragment of 170 bp in the C*03:51, 03:96, 03:161 and 03:194 and the C*04:64:01 alleles. Specific PCR fragment of 285 bp in the C*03:39 and 03:67 and the C*06:53:01, 07:56:01, 07:60, 07:79 and 07:109 and in the B*08:39 alleles.

Primer mix 30: Specific PCR fragment of 150 bp in the C*03:61 allele. Specific PCR fragment of 175 bp in the C*03:46, 03:96 and 03:194 and the C*04:64:01 alleles.

Primer mix 31: Specific PCR fragment of 100 bp in the C*03:59 and 03:123 alleles. Specific PCR fragment of 210 bp in the C*03:44 allele. Specific PCR fragment of 555 bp in the C*03:58, 03:86, 03:94, 03:99 and 03:209 and the C*05:85, 15:37 and 16:18 alleles.

Primer mix 32: Specific PCR fragment of 90 bp in the C*03:58 and 03:189N and the C*01:03, 01:24, 01:78, 04:37 and 05:85 alleles. Specific PCR fragment of 180 bp in the C*03:48 and 03:84 alleles.

Primer mix 33: Specific PCR fragment of 110 bp in the C*03:62 allele. Specific PCR fragment of 180 bp in the C*03:224N allele. Specific PCR fragment of 365 bp in the C*03:43:01-03:43:02, 03:119, 03:132 and 03:175 and the C*07:60, 07:79, 12:58 and 14:10 and in the B*35:101:02 alleles.

Primer mix 34: Specific PCR fragment of 130 bp in the C*03:54 and 03:98 alleles. Specific PCR fragment of 240 bp in the C*03:53 and the C*12:17 alleles.

Primer mix 35: Specific PCR fragment of 70 bp in the C*03:64:01 and the C02:08, 12:03:23 and 15:10:02-15:10:03 alleles. Specific PCR fragment of 120 bp in the C*03:56 allele. Specific PCR fragment of 155 bp in the C*03:229N allele. Specific PCR fragment of 210 bp in the C*03:79, 03:82 and 03:85 alleles.

Primer mix 36: Specific PCR fragment of 165 bp in the C*03:122 and 03:219 alleles. Specific PCR fragment of 245 bp in the C*03:50 and 03:72 alleles.

Primer mix 38: Specific PCR fragment of 110 bp in the C*03:52 and 03:95 and in the C*04:43 and 04:143 alleles. Specific PCR fragment of 155 bp in the C*03:145 allele. Specific PCR fragment of 265 bp in the C*03:73 allele.

Primer mix 39: Specific PCR fragment of 110 bp in the *03:36, 03:77 and 03:187 and the 04:34, 04:122 and 14:53 alleles. Specific PCR fragment of 165 bp in the C*03:63 and 03:145 alleles.

Primer mix 40: Specific PCR fragment of 70 bp in the C*03:80 and in the B*08:115 alleles. Specific PCR fragment of 260 bp in the C*03:66 allele.

Primer mix 41: Specific PCR fragment of 120 bp in the C*03:68 alleles. Specific PCR fragment of 185 bp in the C*03:100 and 03:146, 06:02:03, 06:46N, 08:01:09, 08:24, 17:01:01:01-17:01:01:03, 17:02-17:03 and 17:05 alleles. Specific PCR fragment of 295 bp in the C*03:205 and the 04:161w alleles.

Primer mix 42: Specific PCR fragment of 120 bp in the C*03:78 alleles. Specific PCR fragment of 165 bp in the C*03:201N allele. Specific PCR fragment of 205 bp in the C*03:70, 03:127 and 03:179 and in the B*55:30 alleles.

Primer mix 43: Specific PCR fragment of 220 bp in the C*03:74, 03:81, 03:175, 03:199 and 03:223 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 275 bp in the C*03:97 allele.

Primer mix 44: Specific PCR fragment of 70 bp in the C*03:91 allele. Specific PCR fragment of 160 bp in the C*03:75, 03:120 and 03:229N alleles.

Primer mix 45: Specific PCR fragment of 150 bp in the C*03:93, 03:206, 03:212 and the C*04:84 and 07:167 alleles. Specific PCR fragment of 295 bp in the C*03:76 allele.

Primer mix 46: Specific PCR fragment of 150 bp in the C*03:155 and the C*08:95 alleles. Specific PCR fragment of 210 bp in the C*03:58, 03:86, 03:94 and 03:99 and the C*01:02:01-01:03, 01:06-01:08, 01:10-01:11, 01:13-01:20, 01:23-01:33, 01:38-01:48, 01:51-01:54, 01:56N-01:76, 01:78, 01:80-01:90, 04:37, 05:85 and 14:45 alleles

Primer mix 47: Specific PCR fragment of 70 bp in the C*03:14, 03:21, 03:55, 03:92, 03:117 and 03:161 and the C*01:65, 05:86, 07:133 and 07:330 alleles. Specific PCR fragment of 195 bp in the C*03:109 allele. Specific PCR fragment of 240 bp in the C*03:57 allele.

‘w’, might be weakly amplified.

4The C*03:135, C*03:154, and C*15:43 give rise to identical amplification patterns with the HLA-C*03  subtyping kit. These two alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*15 subtyping kits.

5The following HLA-C*03 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*03:24, 03:236 | 19 | C*03:56, 03:85 | 35 |
| C*03:28, 03:90 | 23 | C*03:64:01, 03:82 | 35 |
| C*03:37:01-03:37:02, 03:208N | 27 | C*03:68, 03:205 | 41 |
| C*03:44, 03:123, 03:209 | 31 | C*03:70, 03:78, 03:179 | 42 |
| C*03:49, 03:103 | 23 | C*03:76, 03:206 | 45 |
| C*03:50, 03:122 | 36 | C*03:171, 03:207 | 25 |

The HLA-C*03 subtyping kit cannot distinguish the following silent mutations: the C*03:02:01-03:02:09 and 03:02:11-03:02:12,  the C*03:03:01-03:03:11, 03:03:13-03:03:14, 03:03:16-03:03:20 and 03:03:22-03:03:24, the C*03:03:12 and 03:03:15, the C03:04:01:01-03:04:18, 03:04:20-03:04:24 and 03:04:27-03:04:44, the C*03:13:01-03:13:02, the 03:37:01-03:37:02, the C*03:38:01-03:38:02, the 03:40:01 and 03:40:03, the 03:116:01-03:116:02 or the C*03:211:01-03:211:02 alleles.

Changes in revision R01 compared to R00:

- Primer mix 25 does not amplify the C*07:10 allele. This primer mix may also give rise to a lower yield of HLA-specific PCR product than the other HLA-C*03 high resolution primer mixes. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R02 compared to R01:

- The C*07:10 allele is amplified by primer mix 25. This has been corrected in the Specificity and Interpretation Tables.