Gel Documentation Form and Worksheet

HLA-C*05 (101.613-12/12u) 	Lot No: 24V	Expiry Date: 2016-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 12 may have tendencies of unspecific amplifications.

Primer mix 28 may have a tendency to giving rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*05 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 120 bp in the C*05:03 and in the C*07:52 alleles. Specific PCR fragment of 285 bp in the C*05:07N allele.

Primer mix 5: Specific PCR fragment of 225 bp in the C*05:04:01-05:04:02 and in the C*07:68, 07:260, 07:302, 08:09, 08:11 and 08:59 and the B*18:83 alleles. Specific PCR fragment of 285 bp in the C*05:31 allele.

Primer mix 8: Specific PCR fragment of 85 bp in the C*05:06 allele. Specific PCR fragment of 210 bp in the C*05:55 allele.

Primer mix 9: Specific PCR fragment of 105 bp in the C*05:51Q allele. Specific PCR fragment of 175 bp in the C*05:48N allele.

Primer mix 10: Specific PCR fragment of 95 bp in the C*05:08, 05:52 and 05:89 and in the C*02:51, 08:29 and 08:31 and the B*15:33 and B*15:248 alleles. Specific PCR fragment of 250 bp in the C*05:30 allele. Specific PCR fragment of 320 bp in the C*05:92N and the C*08:55N alleles.

Primer mix 11: Specific PCR fragment of 115 bp in the C*05:33 allele. Specific PCR fragment of 205 bp in the C*05:25 and 05:42 and in the C*04:129, 06:05, 06:67, 07:101, 07:148, 07:161 and 08:28 and the A*80:01:01:01w-80:03w alleles.

Primer mix 12: Specific PCR fragment of 155 bp in the C*05:97 allele. Specific PCR fragment of 225 bp in the C*05:38 allele. Specific PCR fragment of 285 bp in the C*05:10 and in the C*08:44, 08:61 and 08:82 and the B*44:148 alleles.

Primer mix 14: Specific PCR fragment of 120 bp in the C*05:12 and 05:15 alleles. Specific PCR fragment of 200 bp in the C*05:91N allele.

Primer mix 15: Specific PCR fragment of 185 bp in the C*05:34 and in the C*06:13 alleles. Specific PCR fragment of 240 bp in the C*05:13 allele.

Primer mix 16: Specific PCR fragment of 195 bp in the C*05:14 allele. Specific PCR fragment of 470 bp in the C*05:93 and in the C*03:171, 03:211, 04:144, 06:73, 08:20, 08:40 and 12:109 alleles.

Primer mix 18: Specific PCR fragment of 160 bp in the C*05:87 allele. Specific PCR fragment of 235 bp in the C*05:19 allele.

Primer mix 20: Specific PCR fragment of 260 bp in the C*05:26 allele. Specific PCR fragment of 390 bp in the C*05:21 allele.

Primer mix 23: Specific PCR fragment of 85 bp in the C*05:24 allele. Specific PCR fragment of 135 bp in the C*05:36 and in the C*07:148 alleles.

Primer mix 24: Specific PCR fragment of 185 bp in the C*05:43 and the C*08:37 alleles. Specific PCR fragment of 265 bp in the C*05:29:01-05:29:02 and in the C*08:13, 08:16:01, 08:25 and 08:94 alleles.

Primer mix 25: Specific PCR fragment of 105 bp in the C*05:40 allele. Specific PCR fragment of 205 bp in the C*05:35 allele.

Primer mix 26: Specific PCR fragment of 115 bp in the C*05:27 and 05:39 and in the C*03:87 and the B*15:33 and B*15:248 alleles. Specific PCR fragment of 185 bp in the C*05:28 and the C*06:64 alleles.

Primer mix 29: Specific PCR fragment of 140 bp in the C*05:41 and the C*04:78 alleles. Specific PCR fragment of 185 bp in the C*05:34 and in the C*06:13 alleles. Specific PCR fragment of 260 bp in the C*05:37 allele.

Primer mix 30: Specific PCR fragment of 70 bp in the C*05:53 allele. Specific PCR fragment of 175 bp in the C*05:32 allele.

‘w’, might be weakly amplified.

4The following HLA-C*05 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*05:03, 05:07N | 4 | C*05:24, 05:36 | 23 |
| C*05:06, 05:55 | 8 | C*05:25, 05:33 | 11 |
| C*05:08, 05:30, 05:89 | 10 | C*05:28, 05:39 | 26 |
| C*05:14, 05:93 | 16 | C*05:32, 05:53 | 30 |
| C*05:15, 05:91N | 14 | C*05:35, 05:40 | 25 |
| C*05:21, 05:26 | 20 | C*05:37, 05:41 | 29 |

The HLA-C*05 subtyping kit cannot distinguish the following silent mutations: the C*05:01:01:01-05:01:27, the C*05:04:01-05:04:02, C*05:09:01-05:09:02, the C*05:18:02-05:18:03, the C*05:22:01-05:22:02, the C*05:29:01-05:29:02 and the C*05:44:01-05:44:02 alleles.

5The C*05:18:01 and C*08:10 alleles, the C*05:29:01-05:29:02 and C*08:25 and 08:94 alleles and the C*05:92N and C*08:55N alleles will give rise to identical amplification patterns with the HLA-C*05 subtyping kit. These alleles can be distinguished by the HLA-C low resolution kit and/or the C*08 subtyping kit.