HLA-C\*05 (101.613-12/12u) Lot No: 9N9 Expiry Date: 2027-01-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes*: \_\_\_\_\_\_\_\_\_\_\_\_ *Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |





Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 28 may have a tendency to giving rise to primer oligomer formation.

Primer mixes 12 and 29 may have tendencies of unspecific amplifications.

Primer mix 41 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.













**1**HLA-C\*05 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla), release 3.24.0, April 2016.

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3**The following HLA-C\*05 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| Primer Mix | Size of spec. PCR product | Amplified HLA-C\*05 alleles | Other amplified HLA Class I alleles |
|  **4** | 120 bp285 bp | \*05:03\*05:07N | \*03:490, 03:548, 07:52\*08:180N |
|  **5** | 225 bp 285 bp | \*05:04:01-05:04:02, 05:103:01-05:103:02, 05:135, 05:188, 05:207, 05:215\*05:31 | \*06:129, 07:68, 07:260:01-07:260:02, 07:302, 08:09, 08:11, 08:59, 08:113, 08:152, **B\*15:337, B\*15:627, B\*18:83, B\*58:76** |
|  **6** | 255 bp280 bp | \*05:05:01-05:05:02, 05:99N, 05:135, 05:147-05:148\*05:16, 05:85, 05:107, 05:241 | \*03:251, 03:314, 07:1012, 08:62:01-08:62:02, 08:82, 08:144:01-08:144:02, 08:209, **A\*02:425, A\*02:519, A\*29:10:01-29:10:02, A\*29:161, A\*68:69, B\*14:32, B\*15:337, B\*15:627, B\*18:83, B\*44:148, B\*51:355**\*06:129, 07:364, 08:12:01:01-08:12:01:02, **B\*14:32** |
|  **9** | 105 bp175 bp245 bp | \*05:51Q\*05:48N\*05:113N |  |
| **10** | 95 bp250 bp320 bp | \*05:08, 05:52, 05:89\*05:30\*05:92N | \*02:51, 08:29, 08:31, 08:246, 12:144, 12:185, **B\*15:33, B\*15:248**\*03:247, 03:610, 06:125, 08:249, 14:70, 16:85-16:86, 16:144, 16:147, **B\*44:515**\*08:55N |
| **11** | 115 bp 205 bp | \*05:33\*05:25, 05:42 | \*04:129, 06:05, 06:67, 07:101, 07:148, 07:161, 07:583, 08:28, 08:137, 08:168, **A\*01:203, A\*11:166, A\*80:01:01:01w-80:09Nw** |
| **12** | 155 bp225 bp285 bp | \*05:97\*05:38\*05:10, 05:148 | \*08:97\*03:251, 03:314, 08:44, 08:61, 08:82, 08:126, 08:209, 15:130, 15:229, **B\*15:627, B\*44:148, B\*58:76** |
| **14** | 120 bp200 bp | \*05:12, 05:15\*05:80, 05:91N | \*08:153 |
| **15** | 115 bp185 bp240 bp | \*05:65\*05:34\*05:13 | \*04:96, 08:238\*02:93, 04:352, 06:13 |
| **16** | 195 bp470 bp | \*05:14\*05:93 | \*01:200, 02:170, 03:171, 03:211:01, 04:144, 06:73, 08:20, 08:40, 12:109, 15:221 |
| **18** | 160 bp245 bp | \*05:87\*05:19, 05:99N | \*08:145 |
| **20** | 260 bp390 bp | \*05:26\*05:21 | \*04:238 |
| **23** | 85 bp135 bp | \*05:24\*05:36 | \*07:148, 15:107, 15:178 |
| **24** | 185 bp265 bp | \*05:43\*05:29:01-05:29:02, 05:197 | \*08:37\*08:13, 08:16:01, 08:25, 08:94 |
| **25** | 105 bp205 bp | \*05:40\*05:35, 05:80 | \*08:245 |
| **26** | 115 bp185 bp245 bp | \*05:27, 05:39, 05:184\*05:28\*05:113N | \*03:87:01-03:87:02, 03:414, 08:115, 08:182, **B\*15:33, B\*15:248****\***06:64 |
| **28** | 115 bp200 bp | \*05:65\*05:45 | \*04:96, 08:238 |
| **29** | 140 bp 185 bp260 bp | \*05:41\*05:34\*05:37, 05:228 | \*02:202, 04:78\*02:93, 04:352, 06:13\*08:232 |
| **30** | 70 bp 175 bp | \*05:53\*05:32 |  |
| **31** | 155 bp285 bp | \*05:18:02-05:18:04, 05:103:01, 05:106:01, 05:107, 05:115, 05:134, 05:151\*05:104 | \*07:04:01:01-07:04:10, 07:04:12-07:04:19, 07:04:21-07:04:28, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260:01-07:260:02, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:364-07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N, 07:780, 07:797N, 07:831, 07:838-07:839N, 07:852, 07:858, 07:868, 07:876, 07:881N, 07:895-07:897, 07:901, 07:917, 07:926, 07:941, 07:948, 07:951, 07:974Q, 07:1010, 07:1012, 07:1033, 08:33:01, 08:33:05, **B\*14:32, B\*18:83, B\*44:148, B\*51:355, B\*58:76**\*07:04:01:01-07:04:06, 07:04:08-07:04:28, 07:11-07:12, 07:63, 07:101, 07:139, 07:142, 07:181, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:447, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N, 07:780, 07:797N, 07:831, 07:838, 07:852, 07:858, 07:868, 07:876, 07:881N, 07:892, 07:895-07:897, 07:901, 07:917, 07:926, 07:948, 07:951, 07:953, 07:974Q, 07:1010, 07:1012, 07:1033 |
| **34** | 165 bp275 bp | \*05:128N\*05:111, 05:207 | \*07:68, 07:260:01-07:260:02, 07:302, 07:941, 08:38 |
| **39** | 225 bp280 bp | \*05:47, 05:107, 05:147-05:148, 05:272\*05:16, 05:85, 05:107, 05:241 | \*03:251, 03:314, 07:953, 08:205, 08:209\*06:129, 07:364, 08:12:01:01-08:12:01:02, **B\*14:32** |

**4**The following HLA-C\*05 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

|  |  |  |  |
| --- | --- | --- | --- |
| **Alleles** | **Primer mix** | **Alleles** | **Primer mix** |
| C\*05:03, 05:07N | 4 | C\*05:25, 05:33 | 11 |
| C\*05:08, 05:30, 05:89 | 10 | C\*05:28, 05:39 | 26 |
| C\*05:14, 05:93 | 16 | C\*05:32, 05:53 | 30 |
| C\*05:15, 05:91N | 14 | C\*05:35, 05:40 | 25 |
| C\*05:21, 05:26 | 20 | C\*05:37, 05:41 | 29 |
| C\*05:24, 05:36 | 23 |  |  |

Abbreviations

w: might be weakly amplified.