Gel Documentation Form and Worksheet

HLA-C*06 (101.614-12/12u) 	Lot No: 75V	Expiry Date: 2016-November-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 16, 17 and 27 have a tendency to giving rise to primer oligomer formation.

Primer mix 22 may have tendency of unspecific amplification.

Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*06 resolution primer mixes in the C*03 alleles.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*06 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 165 bp in the C*06:05 and 06:67 and the C*04:129, 05:01:01:01-05:01:27, 05:03-05:28, 05:30-05:47, 05:49-05:91N, 05:93-05:99N, 08:10, 12:21, 12:33 and 17:05 alleles. Specific PCR fragment of 220 bp in the C*06:18 and 06:23 and the C*01:04, 01:09 and 02:21 alleles.

Primer mix 7: Specific PCR fragment of 110 bp in the C*06:07 allele. Specific PCR fragment of 185 bp in the C*06:19 allele. Specific PCR fragment of 235 bp in the C*06:33 allele.

Primer mix 9: Specific PCR fragment of 160 bp in the C*06:09 and 06:103 and the C*02:22, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 08:27, 08:29, 08:31, 12:31 and in the B*15:137 allele. Specific PCR fragment of 210 bp in the C*06:23 and the C*01:04 and 01:09 alleles. Specific PCR fragment of 435 bp in the C*06:17 and the C*07:07, 07:09, 07:76:01, 07:315, 07:328, 18:01-18:02, 18:04-18:07N alleles. Specific PCR fragments of 165 and 435 bp in the C*18:03 allele.

Primer mix 11: Specific PCR fragment of 130 bp in the C*06:11 and 06:122w and the C*07:01:13, 07:04:01-07:04:09, 07:11-07:12, 07:45, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:272, 07:302, 07:323-07:324, 07:329N, 07:338, 12:02:11 and 12:03:09 alleles. Specific PCR fragment of 185 bp in the C*06:22 and the C*07:107, 07:224 and 16:31 and in the B*15:193 alleles.

Primer mix 13: Specific PCR fragment of 155 bp in the C*06:13 allele. Specific PCR fragment of 210 bp in the C*06:59 allele.

Primer mix 14: Specific PCR fragment of 225 bp in the C*06:55 allele. Specific PCR fragment of 305 bp in the C*06:14 and in the C*03:32, 03:45, 03:136, 04:80, 04:100, 07:43, 07:196, 15:25 and 15:62 and in the B*35:178 alleles.

Primer mix 15: Specific PCR fragment of 130 bp in the C*06:116N allele. Specific PCR fragment of 360 bp in the C*06:15 allele.

Primer mix 16: Specific PCR fragment of 235 bp in the C*06:16N allele. Specific PCR fragment of 340 bp in the C*06:21 allele.

Primer mix 17: Specific PCR fragment of 160 bp in the C*06:37 and the C*01:20 alleles. Specific PCR fragment of 220 bp in the C*06:24 and 06:59 alleles.

Primer mix 19: Specific PCR fragment of 85 bp in the C*06:28 and the C*02:14, 03:67, 04:42, 05:43, 07:20, 07:73, 07:172:01-07:172:02, 08:37, 15:23, 16:21, 17:20, 18:04 and in the B*08:56:01-08:56:02, B*15:142, B*35:218, B*51:68 and B*57:49 alleles. Specific PCR fragment of 160 bp in the C*06:32 allele.

Primer mix 20: Specific PCR fragment of 115 bp in the C*06:29 and the C*07:134 alleles. Specific PCR fragment of 275 bp in the C*06:27 and the C*16:47 alleles.

Primer mix 21: Specific PCR fragment of 190 bp in the C*06:36 and the C*12:56 alleles. Specific PCR fragment of 215 bp in the C*06:72 allele. Specific PCR fragment of 380 bp in the C*06:25 and the C*04:81 alleles.

Primer mix 24: Specific PCR fragment of 160 bp in the C*06:09, 06:34 and 06:103 and the C*02:22, 02:47, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 08:27, 08:29, 08:31, 12:31 and 18:03 and in the B*13:31, B*13:41, B*15:58, B*15:73, B*15:137, B*15:303, B*39:36, B*55:21 and B*56:43 alleles. Specific PCR fragment of 210 bp in the C*06:35 and the C*07:138w and in the B*15:32:01w-15:32:02w and 15:299w alleles.

Primer mix 25: Specific PCR fragment of 85 bp in the C*06:38 allele. Specific PCR fragment of 190 bp in the C*06:118 and the C*01:60, 07:31:01-07:31:02, 07:177, 14:17 and 17:21 alleles.

Primer mix 27: Specific PCR fragment of 190 bp in the C*06:42 and the C*14:29 alleles. Specific PCR fragment of 225 bp in the C*06:40 and in the B*39:79 alleles.

Primer mix 28: Specific PCR fragment of 90 bp in the C*06:41 and the C*12:32 alleles. Specific PCR fragment of 220 bp in the C*06:47 and 06:123 and the C*02:57 and 12:11 alleles.

Primer mix 29: Specific PCR fragment of 175 bp in the C*06:43:01-06:43:02 and in the A*26:79 and B*15:207 alleles. Specific PCR fragment of 210 bp in the C*06:47 and the C*12:11 alleles.

Primer mix 31: Specific PCR fragment of 155 bp in the C*06:45 allele. Specific PCR fragment of 260 bp in the C*06:111 allele.

Primer mix 33: Specific PCR fragment of 105 bp in the C*06:60 allele. Specific PCR fragment of 245 bp in the C*06:69 and 06:93 alleles.

Primer mix 34: Specific PCR fragment of 175 bp in the C*06:74Q and 15:32Q alleles. Specific PCR fragment of 275 bp in the C*06:20 and the 01:32, 02:56, 03:102, 07:81, 07:168 and 12:50 alleles.

Primer mix 35: Specific PCR fragment of 235 bp in the C*06:65 and 06:93 allele. Specific PCR fragment of 380 bp in the C*06:46N allele.

Primer mix 36: Specific PCR fragment of 120 bp in the C*06:57 allele. Specific PCR fragment of 220 bp in the C*06:58 and 06:81 and 02:37 alleles.

Primer mix 38: Specific PCR fragment of 120 bp in the C*06:70 and the C*02:02:13 alleles. Specific PCR fragment of 470 bp in the C*06:73 and the C*03:171, 03:211:01, 04:144, 05:93, 08:20, 08:40 and 12:109 alleles.

Primer mix 44: Specific PCR fragment of 120 bp in the C*06:77 and in the A*11:47, A*26:89, B*37:01:04, B*40:94 and B*54:02 alleles. Specific PCR fragment of 215 bp in the C*06:100 allele.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The HLA-C*06 primer set cannot separate the C*06:09 and C*06:103 alleles. These alleles can be distinguished by the HLA-C low resolution kit.

The HLA-C*06 primer set cannot separate the C*06:76:02 and C*12:28, 12:58, 12:63 and 12:108 alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or HLA-C*12 high resolution kit.

5The following HLA-C*06 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*06:07, 06:33 | 7 | C*06:27, 06:29 | 20 |
| C*06:15, C06:116N | 15 | C*06:45, 06:111 | 31 |
| C*06:16N, 06:21 | 16 | C*06:46N, 06:65 | 35 |
| C*06:20, 06:74Q | 34 | C*06:57, 06:58 | 36 |
| C*06:24, 06:37 | 17 | C*06:60, 06:69 | 33 |
| C*06:25, 06:36 | 21 | C*06:70, 06:73 | 38 |

The HLA-C*06 primer set cannot distinguish the silent mutations in the C*06:02:01:01-06:02:01:03, C*06:02:03-06:02:36, the C*06:43:01-06:43:02 or the C*06:53:01-06:53:02 alleles.

Changes in revision R01 compared to R00:

- Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*06 resolution primer mixes in the C*03 alleles. A foot note has been added in the Specificity Table.

Change in revision R02 compared to R01:

- Primer mixes 4 and 6 do not amplify the B*58:02 allele. This has been corrected in the Specificity and Interpretation Tables.