Gel Documentation Form and Worksheet

HLA-C*06 (101.614-12/12u) 	Lot No: 35Y	Expiry Date: 2017-November-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:_______________	                    Failed lanes: ____________                           Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 16, 17 and 27 have a tendency to giving rise to primer oligomer formation.

Primer mixes 19, 22, 39 and 42 may have tendencies of unspecific amplification.

Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*06 resolution primer mixes in the C*03 alleles.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*06 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 160 bp in the C*06:05, 06:67 and 06:103 and the C*02:94, 04:129, 05:01:01:01-05:01:27, 05:01:28w, 05:01:29-05:01:31, 05:03-05:28, 05:30-05:47, 05:49-05:91N, 05:93-05:114, 08:10, 12:21, 12:33, 17:05 alleles. Specific PCR fragment of 220 bp in the C*06:18 and 06:23 and the C*01:04, 01:09 and 02:21 alleles.

Primer mix 6: Specific PCR fragment of 250 bp in the C*06:05-06:06 and the C*01:02:01-01:03, 01:05-01:07:01, 01:08, 01:10-01:20, 01:23-01:34, 01:36-01:107, 04:110?, 05:01:01:01-05:01:31, 05:03-05:07N, 05:09:01-05:10, 05:12-05:16, 05:18:01-05:26, 05:28-05:50, 05:53-05:61, 05:63-05:67, 05:69, 05:71-05:78, 05:80-05:88, 05:90-05:105, 05:107-05:111, 05:113N-05:114, 08:02:01:01-08:02:12, 08:05, 08:07, 08:12, 08:15:01-08:15:02, 08:17-08:19, 08:23, 08:25, 08:28, 08:30, 08:32-08:35, 08:37, 08:43, 08:45, 08:47-08:49, 08:51-08:53, 08:55N, 08:62-08:63, 08:67-08:71, 08:73-08:77, 08:90, 08:92, 08:94, 08:100, 08:103, 08:107-08:108, 08:110-08:112, 08:114-08:115, 12:09, 12:24, 12:85, 14:02:01-14:05, 14:07N-14:14, 14:17-14:52, 14:54-14:62, 14:64-14:69, 15:08, 15:102, 16:53, 16:68, 17:17, 18:01-18:02 and 18:04-18:09 alleles. Specific PCR fragment of 290 bp in the C*06:50 and the C*12:53 alleles.

Primer mix 7: Specific PCR fragment of 110 bp in the C*06:07 allele. Specific PCR fragment of 185 bp in the C*06:19 allele. Specific PCR fragment of 235 bp in the C*06:33 and 06:104 alleles.

Primer mix 9: Specific PCR fragment of 165 bp in the C*06:09 and 06:144 and the C*02:22, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 05:106, 08:27, 08:29, 08:31, 12:31 and 12:144 and in the B*15:137 alleles. Specific PCR fragment of 210 bp in the C*06:23 and the C*01:04 and 01:09 alleles. Specific PCR fragment of 435 bp in the C*06:17 and the C*07:07, 07:09, 07:76:01-07:76:02, 07:315, 07:328, 07:406, 18:01-18:02, 18:04-18:09 alleles. Specific PCR fragments of 165 and 435 bp in the C*18:03 allele.

Primer mix 11: Specific PCR fragment of 130 bp in the C*06:11, 06:122w, 06:124w and 06:147 and the C*07:01:13, 07:04:01-07:04:10, 07:11-07:12, 07:45, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:272, 07:302, 07:323-07:324, 07:329N, 07:338, 07:354-07:355, 07:358, 07:364-07:365, 07:378, 07:394-07:395, 12:02:11, 12:03:09 and 16:01:16 alleles. Specific PCR fragment of 185 bp in the C*06:22 and the C*07:107, 07:224 and 16:31 and in the B*15:193 alleles.

Primer mix 13: Specific PCR fragment of 155 bp in the C*06:13 allele. Specific PCR fragment of 210 bp in the C*06:59 allele.

Primer mix 14: Specific PCR fragment of 225 bp in the C*06:55 allele. Specific PCR fragment of 305 bp in the C*06:14 and 06:143 and the C*03:32, 03:45, 03:136, 04:80, 04:100, 04:178, 07:43, 07:196, 15:25 and 15:62 and in the B*35:178 alleles.

Primer mix 15: Specific PCR fragment of 135 bp in the C*06:116N allele. Specific PCR fragment of 360 bp in the C*06:15 allele.

Primer mix 16: Specific PCR fragment of 235 bp in the C*06:16N allele. Specific PCR fragment of 340 bp in the C*06:21 and the C*15:91 alleles.

Primer mix 17: Specific PCR fragment of 160 bp in the C*06:37 and the C*01:20 alleles. Specific PCR fragment of 220 bp in the C*06:24 and 06:59 alleles.

Primer mix 19: Specific PCR fragment of 85 bp in the C*06:28 and the C*02:14, 03:67, 04:42:01-04:42:02, 05:43, 07:20, 07:73, 07:172:01-07:172:02, 07:390, 08:37, 15:23, 16:21, 17:20, 18:04 and the B*08:56:01-08:56:02, B*15:142, B*35:218, 35:256, B*51:68 and B*57:49 alleles. Specific PCR fragment of 160 bp in the C*06:32 allele. Specific PCR fragment of 245 bp in the C*06:122 and 06:124 alleles.

Primer mix 20: Specific PCR fragment of 115 bp in the C*06:29 and the C*07:134 alleles. Specific PCR fragment of 220 bp in the C*06:05w, 06:44w, 06:124, 06:134N and 06:138w and the C*02:14w, 03:39, 03:67, 05:43w, 07:39-07:40, 07:177, 07:210w, 07:238w, 07:328w, 07:335, 08:37, 15:23w, 15:63w and 16:21 and in the B*08:15 alleles. Specific PCR fragment of 275 bp in the C*06:27 and the C*16:47 alleles.

Primer mix 21: Specific PCR fragment of 190 bp in the C*06:36 and 06:87, 12:45, 12:56 and 16:61 and in the A*68:76:01-68:76:02 alleles. Specific PCR fragment of 215 bp in the C*06:72 allele. Specific PCR fragment of 380 bp in the C*06:25 and the C*04:81 alleles.

Primer mix 24: Specific PCR fragment of 160 bp in the C*06:09, 06:34, 06:103, 06:107 and 06:144 and the C*01:09, 02:19, 02:22, 02:47, 03:21, 03:80, 03:142, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 05:106, 08:27, 08:29, 08:31, 12:31, 12:144 and 18:03 and in the B*13:31, 13:41, B*15:58, 15:73, 15:137, 15:303 B*39:36, B*46:61, B*54:33, B*55:21 and B*56:43 alleles. Specific PCR fragment of 210 bp in the C*06:35 alleles.

Primer mix 25: Specific PCR fragment of 85 bp in the C*06:38 allele. Specific PCR fragment of 190 bp in the C*06:118 and the C*01:60, 07:31:01-07:31:02, 07:177, 07:364, 14:17 and 17:21 alleles.

Primer mix 26: Specific PCR fragment of 120 bp in the C*06:39 and 06:128N alleles. Specific PCR fragment of 225 bp in the C*06:146 allele.

Primer mix 27: Specific PCR fragment of 190 bp in the C*06:42 and the C*14:29 alleles. Specific PCR fragment of 225 bp in the C*06:40 and the C*14:63 and in the B*39:79 alleles.

Primer mix 28: Specific PCR fragment of 90 bp in the C*06:41 and the C*12:32 alleles. Specific PCR fragment of 220 bp in the C*06:47 and 06:123 and the C*02:57 and 12:11 alleles.

Primer mix 29: Specific PCR fragment of 170 bp in the C*06:43:01-06:43:02, 06:107 and the C*01:09, 02:19, 03:21, 03:80 and 03:142 and in the A*26:79, A*68:114 and B*15:207 alleles. Specific PCR fragment of 210 bp in the C*06:47 and the C*12:11 alleles.

Primer mix 30: Specific PCR fragment of 100 bp in the C*06:44 and the C*07:01:13 alleles. Specific PCR fragment of 165 bp in the C*06:126 allele.

Primer mix 31: Specific PCR fragment of 110 bp in the C*06:128N allele. Specific PCR fragment of 155 bp in the C*06:45 and C*02:85 alleles. Specific PCR fragment of 260 bp in the C*06:111 and C*05:108 alleles.

Primer mix 32: Specific PCR fragment of 85 bp in the C*06:71 allele. Specific PCR fragment of 195 bp in the C*06:19 and 06:66 alleles.

Primer mix 33: Specific PCR fragment of 105 bp in the C*06:60 and in the B*08:138 alleles. Specific PCR fragment of 245 bp in the C*06:69 and 06:93, 06:122 and the 06:124 alleles.

Primer mix 34: Specific PCR fragment of 175 bp in the C*06:74Q and 15:32Q alleles. Specific PCR fragment of 275 bp in the C*06:20 and the C*01:32, 02:56, 03:102, 03:263, 04:180, 07:81, 07:168 and 12:50 alleles.

Primer mix 35: Specific PCR fragment of 210 bp in the C*06:134N allele. Specific PCR fragment of 235 bp in the C*06:65 and 06:93 allele. Specific PCR fragment of 380 bp in the C*06:46N allele.

Primer mix 36: Specific PCR fragment of 120 bp in the C*06:57 allele. Specific PCR fragment of 195 bp in the C*06:87 and the C*12:45, 16:61 and in the A*68:76:01-68:76:02 alleles. Specific PCR fragment of 220 bp in the C*06:58 and 06:81 and the C*02:37 alleles.

Primer mix 37: Specific PCR fragment of 115 bp in the C*06:148 allele. Specific PCR fragment of 210 bp in the C*06:49N and 06:101 and the C*04:94:01-04:94:02, 12:10:01-12:10:02 and 18:03 and in the B*15:27:01-15:27:03, 15:109 and 15:327 alleles.

Primer mix 38: Specific PCR fragment of 130 bp in the C*06:70, 06:120 and 06:132:01 and the C*02:02:13 and 02:02:29 alleles. Specific PCR fragment of 470 bp in the C*06:73 and the C*03:171, 03:211:01, 04:144, 05:93, 08:20, 08:40 and 12:109 alleles.

Primer mix 40: Specific PCR fragment of 140 bp in the C*06:133 and the C*16:52 alleles. Specific PCR fragment of 275 bp in the C*06:54 allele.

Primer mix 44: Specific PCR fragment of 120 bp in the C*06:77 and in the A*11:47, A*26:89, B*18:01:20, B*37:01:04, B*40:94 and B*54:02 alleles. Specific PCR fragment of 215 bp in the C*06:100 allele.

4The HLA-C*06 primer set cannot separate the C*06:76:02 and the C*12:28, 12:58, 12:63, 12:108 and 12:135 alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or HLA-C*12 high resolution kit.

5The following HLA-C*06 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*06:07, 06:33 | 7 | C*06:45, 06:111 | 31 |
| C*06:11, 06:147 | 11 | C*06:46N, 06:65 | 35 |
| C*06:15, 06:116N | 15 | C*06:49N, 06:148 | 37 |
| C*06:16N, 06:21 | 16 | C*06:54, 06:133 | 40 |
| C*06:20, 06:74Q | 34 | C*06:57, 06:58 | 36 |
| C*06:24, 06:37 | 17 | C*06:60, 06:69 | 33 |
| C*06:25, 06:36 | 21 | C*06:66, 06:71 | 32 |
| C*06:27, 06:29 | 20 | C*06:70, 06:73 | 38 |

The HLA-C*06 primer set cannot distinguish the silent mutations in the C*06:02:01:01-06:02:01:03, C*06:02:03-06:02:43, the C*06:43:01-06:43:02, the C*06:53:01-06:53:02 alleles or the C*06:127:01-06:127:02 alleles.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Changes in revision R01 compared to R00:

- Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*06 resolution primer mixes in the C*03 alleles. A foot note has been added in the Specificity Table.

Change in revision R02 compared to R01:

- Primer mix 4 does not amplify the B*58:02 allele. This has been corrected in the Specificity and Interpretation Tables.