PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*07

Prod. No:	101.615-24/24u

101.615-04/04u

Lot No:    	66N

Expiry Date:    	2014-October-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 64 primer mixes used for HLA-C*07 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*07 alleles3 | Other amplified HLA-Class I alleles4 |
| --- | --- | --- | --- | --- |
| 110 | 245 bp, 425 bp | 800 bp | *07:01:01-07:33N, 07:35-07:220 |  |
| 2 | 290 bp | 800 bp | *07:01:01-07:01:04, 07:01:06-07:01:24, 07:05-07:07, 07:09, 07:14, 07:16, 07:18, 07:20-07:22, 07:24, 07:26-07:28, 07:30-07:31, 07:35-07:36, 07:40, 07:43-07:44, 07:52-07:53, 07:55N, 07:58-07:60, 07:65, 07:69-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:85-07:86, 07:89, 07:91-07:96, 07:98N, 07:103-07:104N, 07:106, 07:109, 07:111, 07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141, 07:148, 07:150Q-07:151, 07:153, 07:156, 07:162-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:184, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219 | *03:04:19, 03:113, 05:01:17, 05:09:02, 05:17, 08:15:02, 12:03:10, B*35:08:04 |
| 35 | 110 bp | 800 bp | *07:01:01-07:01:24, 07:06, 07:09, 07:18-07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:69-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:85-07:86, 07:89, 07:91-07:96, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141, 07:148, 07:150Q-07:151, 07:153, 07:156, 07:162-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219 | *06:44, 18:05 |
| 4 | 185 bp | 1070 bp | *07:02:01:01-07:02:29, 07:10, 07:13, 07:15, 07:19, 07:23, 07:25, 07:29, 07:32N-07:33N, 07:37-07:39, 07:42, 07:46-07:51, 07:54, 07:56:01-07:56:02, 07:61N-07:62, 07:64, 07:66-07:68, 07:72, 07:74-07:76, 07:79-07:80, 07:84, 07:87-07:88, 07:90, 07:97, 07:99-07:100, 07:102, 07:105, 07:107, 07:114, 07:117, 07:121Q, 07:123, 07:125-07:127, 07:130, 07:133, 07:135-07:138, 07:143-07:147, 07:149, 07:152N, 07:154-07:155, 07:157-07:161, 07:167-07:169, 07:172, 07:174-07:175, 07:178, 07:183, 07:185-07:187, 07:192-07:195, 07:198N, 07:202, 07:208-07:209, 07:211, 07:213, 07:216-07:218, 07:220 | B*40:60 |
| 55,8,11 | 70 bp, 145 bp, 245 bp | 800 bp | *07:03, 07:53, 07:57, 07:216 |  |
| 65 | 100 bp | 1070 bp | *07:04:01-07:04:07, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199 | *05:62 |
| 7 | 190 bp | 1070 bp | *07:05 | B*27:36, B*48:21, 48:26 |
| 812 | 285 bp, 505 bp | 1070 bp | *07:06, 07:45 | *04:40, B*38:23 |
| 96,13 | 215 bp, 240 bp, 425 bp | 800 bp | *07:07, 07:09, 07:29, 07:33N, 07:49, 07:76, 07:177, 07:184, 07:210 | *03:04:19, 03:113, 06:17, 18:01-18:05 |
| 10 | 185 bp | 1070 bp | *07:08, 07:108 | *04:58, B*40:100 |
| 1114 | 275 bp, 300 bp | 800 bp | *07:10, 07:24, 07:43, 07:112, 07:184, 07:196, 07:218 | *03:04:19, 03:113, B*35:08:04, B*37:04:02 |
| 12 | 130 bp | 1070 bp | *07:12, 07:41 | *05:01:01:01-05:01:18, 05:03-05:08, 05:10-05:16, 05:18:01-05:22:02, 05:24-05:48N, 05:50-05:51Q, 05:53-05:61, 05:63-05:72, 08:01:01-08:06, 08:08-08:14, 08:16-08:46, 08:48-08:50, 08:52N-08:56, A*29:10 |
| 135,7 | 90 bp | 1070 bp | *07:11, 07:56:01-07:56:02, 07:60, 07:79, 07:109 | *03:69, 04:27, 04:52, 06:53, 12:58 |
| 14 | 240 bp | 800 bp | *07:13, 07:28 | *05:01:17, 05:09:02, 05:17, 08:15:02, B*37:04:02 |
| 155,15 | 80 bp, 290 bp, 460 bp | 1070 bp | *07:14, 07:50, 07:89 |  |
| 16 | 535 bp | 1070 bp | *07:02:01:01-07:02:29, 07:04:01-07:05, 07:08, 07:10-07:11, 07:13-07:15, 07:23, 07:25, 07:27:01-07:27:02, 07:29, 07:31-07:33N, 07:37-07:39, 07:42-07:43, 07:45-07:51, 07:54, 07:56:01-07:56:02, 07:61N-07:64, 07:66-07:68, 07:72, 07:74-07:76, 07:79-07:80, 07:84, 07:87-07:88, 07:90, 07:97, 07:99-07:102, 07:105, 07:107, 07:114, 07:117, 07:121Q, 07:123, 07:125-07:127, 07:130, 07:133, 07:135-07:139, 07:142-07:147, 07:149, 07:152N, 07:154-07:155, 07:157-07:161, 07:167-07:169, 07:172, 07:174-07:175, 07:177-07:178, 07:181, 07:183-07:187, 07:192-07:195, 07:198N-07:199, 07:202, 07:208-07:209, 07:211, 07:213, 07:216-07:218, 07:220 | *01:60, 03:14, 04:58, 05:23, 05:62, 08:07, 08:47, 12:14:01-12:14:02, 14:17, 17:01:01:01-17:11, B*46:06 |
| 177 | 130 bp | 1070 bp | *07:04:01-07:04:07, 07:11, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199 | *05:23, 05:62, 08:07, 08:47 |
| 185,16 | 120 bp, 230 bp | 800 bp | *07:15, 07:52 | *05:03, B*07:77, B*40:60 |
| 1917 | 220 bp, 355 bp, 465 bp | 800 bp | *07:07, 07:16, 07:26, 07:33N, 07:51, 07:80, 07:92, 07:96, 07:177, 07:181 |  |
| 2018 | 145 bp, 170 bp, 195 bp | 1070 bp | *07:03, 07:17, 07:44, 07:48, 07:81, 07:140-07:141, 07:168 | *03:04:19, 03:113, 05:01:17, 05:09:02, 05:17, 08:15:02, 12:03:10, A*30:01:03, A*33:03:09, B*35:08:04, B*37:04:02 |
| 215,19 | 100 bp, 225 bp | 800 bp | *07:06, 07:18-07:19, 07:54 |  |
| 2220 | 205 bp, 250 bp | 800 bp | *07:20, 07:84, 07:96, 07:127 | *02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 15:25 |
| 2321 | 155 bp, 185 bp | 1070 bp | *07:21, 07:23 |  |
| 24 | 130 bp | 1070 bp | *07:22, 07:25, 07:137:01, 07:138 | *12:03:10, A*33:03:09 |
| 255,22 | 105 bp, 150 bp | 1070 bp | *07:30, 07:46 | B*56:08w, 56:14 |
| 265,23 | 100 bp, 250 bp, 300 bp, | 1070 bp | *07:31-07:32N, 07:55N, 07:177 | *12:03:10 |
| 275 | 125 bp | 1070 bp | *07:37, 07:69, 07:176 | *05:01:17, 05:09:02, 08:15:02, B*35:08:04 |
| 2824 | 175 bp, 260 bp | 800 bp | *07:35, 07:44, 07:47 |  |
| 29 | 255 bp | 1070 bp | *07:36, 07:42 |  |
| 305 | 60 bp | 1070 bp | *07:75 |  |
| 31 | 415 bp | 1070 bp | *07:39-07:40, 07:177, 07:210w |  |
| 3225 | 245 bp, 285 bp | 1070 bp | *07:07, 07:09, 07:49, 07:60, 07:76, 07:79, 07:210 | *02:14, 03:39, 03:67, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:19, 06:04-06:10, 06:12-06:51, 06:53-06:69, 15:23, 18:01-18:05, B*08:17, B*08:39, B*08:47 |
| 3326 | 205 bp, 230 bp | 1070 bp | *07:66, 07:82 |  |
| 345,27 | 105 bp, 270 bp | 1070 bp | *07:67, 07:70 |  |
| 356,28 | 320 bp, 360 bp | 1070 bp | *07:71-07:72 |  |
| 366 | 265 bp | 1070 bp | *07:20, 07:64, 07:73, 07:92, 07:96, 07:172 | *18:04 |
| 37 | 265 bp | 1070 bp | *07:38, 07:63, 07:68 | *08:38, B*07:77, B*40:60 |
| 389,29 | 135 bp, 195 bp, 405 bp | 1070 bp | *07:58, 07:61N, 07:65 |  |
| 395,30 | 100 bp, 255 bp | 800 bp | *07:59, 07:74 |  |
| 4031 | 205 bp, 440 bp | 1070 bp | *07:07, 07:09, 07:62, 07:76, 07:78 | *06:17, 18:01-18:05 |
| 4132 | 140 bp, 255 bp | 1070 bp | *07:88, 07:91 |  |
| 425,33 | 100 bp, 205 bp, 250 bp | 1070 bp | *07:15, 07:77, 07:93, 07:123, 07:173, 07:207 | B*35:08:04 |
| 435,6,34 | 105 bp, 140 bp, 175 bp | 1070 bp | *07:80, 07:94, 07:99, 07:183 |  |
| 446,35 | 165 bp, 195 bp | 1070 bp | *07:65, 07:77, 07:98N |  |
| 45 | 475 bp | 1070 bp | *07:95 | *04:34, B*35:178, B*73:01-73:02 |
| 4636 | 200 bp, 315 bp, 350 bp, 420 bp | 1070 bp | *07:83, 07:90, 07:152N, 07:202 |  |
| 4737 | 200 bp, 420 bp, 455 bp | 1070 bp | *07:86, 07:97, 07:152N |  |
| 4838 | 220 bp, 400 bp | 1070 bp | *07:85, 07:87 |  |
| 4939 | 155 bp, 220 bp | 800 bp | *07:100-07:101, 07:148, 07:161 | *05:42, 05:46, 06:67, 08:05, 08:21, 17:05 |
| 505,40 | 105 bp, 170 bp, 425 bp | 1070 bp | *07:104N, 07:119, 07:124, 07:155 | B*07:87, B*27:55 |
| 515,41 | 65 bp, 235 bp, 285 bp | 1070 bp | *07:117, 07:121Q, 07:126 |  |
| 525,42 | 65 bp, 205 bp, 280 bp | 1070 bp | *07:106, 07:118, 07:203 |  |
| 535,43 | 110 bp, 155 bp | 1070 bp | *07:122, 07:140, 07:151, 07:154 | B*37:04:02 |
| 545,44 | 120 bp, 235 bp, 340 bp, 370 bp | 1070 bp | *07:64, 07:125, 07:129, 07:153 |  |
| 5545 | 150 bp, 290 bp | 1070 bp | *07:132, 07:179 | *06:07 |
| 5646 | 210 bp, 255 bp | 1070 bp | *07:123, 07:143, 07:150Q, 07:173 | B*35:08:04 |
| 57 | 175 bp | 800 bp | *07:130 | *05:01:17, 05:09:02, 05:17, 08:15:02 |
| 585,47 | 80 bp, 450 bp, | 1070 bp | *07:137:01-07:137:02, 07:164N, 07:186, 07:212 |  |
| 596 | 200 bp | 1070 bp | *07:81, 07:145, 07:168, 07:191N | B*35:08:04, B*37:04:02 |
| 6048 | 130 bp, 305 bp, 370 bp | 1070 bp | *07:147, 07:165, 07:180 | *03:04:19, 03:113, 05:01:17, 05:09:02, 08:15:02, 12:03:10 |
| 61 | 245 bp | 1070 bp | *07:120 |  |
| 6249 | 200 bp, 280 bp | 1070 bp | *07:84, 07:106, 07:205 |  |
| 6350 | 275 bp, 320 bp | 800 bp | *07:24, 07:198N, 07:202, 07:218 |  |
| 6451 | 135 bp, 225 bp | 1070 bp | *07:69, 07:192 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*07 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*07 subtyping.

In addition, wells number 2, 3, 5, 9, 11, 14, 18, 19, 21, 22, 28, 39, 49, 57 and 63 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C*07 alleles 1st, 4th, 5th, 6th and 7th exon or intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st, 4th, 5th, 6th and 7th exons and in the introns are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-C alleles non-HLA-C*07 alleles will be amplified by primer mixes 2, 3, 6, 8 to 14, 16 to 18, 20, 22, 24, 26, 27, 32, 36, 37, 40, 45, 49, 55, 57, 60 and 61. In addition, the A*29:10 allele will be amplified by primer mix 12, the A*30:01:03 allele by primer mix 20, the A*33:03:09 allele will be amplified by primer mixes 20 and 24, the B*07:77 allele will be amplified by primer mixes 18 and 37, the B*07:87 and B*27:55 will be amplified by primer mix 50,the B*08:17, B*08:39 and B*08:47 alleles by primer mix 32, the B*27:36, B*48:21 and B*48:26 alleles by primer mix 7, the B*35:08:04 allele by primer mixes 2, 11, 20, 27, 42, 56 and 59, the B*35:178 and B*73:01-73:02 alleles will be amplified by primer mix 45, the B*37:04:02 allele by primer mixes 11, 14, 20, 53 and 59, the B*38:23 allele by primer mix 8, the B*40:60 allele by primer mixes 4, 18 and 37, the B*40:100 allele by primer mix 10, the B*46:06 allele by primer mix 16 and the B*56:08 and B*56:14 alleles by primer mix 25.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 9, 35, 36, 43, 44 and 59 have a tendency of primer oligomer formation.

7Primer mixes 13 and 17 have a tendency of giving rise to nonspecific amplifications.

8In primer mix 5 the positive control band may be weaker than for other HLA-C*07 primer mixes.

9Primer mix 38 may generate a false band of about 900 base pairs. This band should be disregarded when interpreting HLA-C*07 SSP typings.

10Primer mix 1: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49 and 07:76, 07:115, and 07:210 alleles. Specific PCR fragment of 425 bp in the C*07:02:21, 07:41 and 07:166 alleles. Specific PCR fragment of 245 and 425 bp in the C*07:01:01-07:06, 07:08, 07:10-07:33N, *07:35-07:40, 07:42-07:48, 07:50-07:75, 07:77-07:114 and 07:211-07:220 alleles.

11Primer mix 5: Specific PCR fragment of 70 bp in the C*07:53 and 07:216 alleles. Specific PCR fragment of 145 bp in the C*07:57 allele. Specific PCR fragment of 245 bp in the C*07:03 allele.

12Primer mix 8: Specific PCR fragment of 285 bp in the C*07:45 and the C*04:40 and in the B*38:23 alleles. Specific PCR fragment of 505 bp in the C*07:06 allele.

13Primer mix 9: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 240 bp in the C*07:29, 07:177 and 07:184 and in the C*03:04:19 and 03:113 alleles. Specific PCR fragment of 425 bp in the C*07:07, 07:09, 07:49, 07:76 and 07:210 and in the C*06:17 and 18:01-18:05 alleles.

14Primer mix 11: Specific PCR fragment of 275 bp in the C*07:24 and 07:218 alleles. Specific PCR fragment of 300 bp in the C*07:10, 07:43, 07:112, 07:184 and 07:196 and the C*03:04:19 and 03:113 and in the B*35:08:04 and B*37:04:02 alleles.

15Primer mix 15: Specific PCR fragment of 80 bp in the C* 07:50 allele. Specific PCR fragment of 290 bp in the C*07:14 allele.  Specific PCR fragment of 460 bp in the C*07:89 allele.

16Primer mix 18: Specific PCR fragment of 120 bp in the C*07:52 and the C*05:03 alleles. Specific PCR fragment of 230 bp in the C*07:15 and in the B*07:77 and B*40:60 alleles.

17Primer mix 19: Specific PCR fragment of 220 bp in the C*07:26, 07:33N, 07:92 and 07:96 alleles. Specific PCR fragment of 355 bp in the C*07:80 allele. Specific PCR fragment of 465 bp in the C*07:07, 07:16, 07:51, 07:177 and 07:181 alleles.

18Primer mix 20: Specific PCR fragment of 145 bp in the C*07:03, 07:17 and 07:140-07:141 and the C*03:04:19, 03:113, 05:01:17, 05:09:02, 05:17, 08:15:02 and 12:03:10 and in the A*30:01:03 and A*33:03:09 alleles. Specific PCR fragment of 170 bp in the 07:44 and 07:48 alleles. Specific PCR fragment of 195 bp in the C*07:81 allele. Specific PCR fragment of 145 bp and 195 bp in the B*35:08:04 and B*37:04:02 alleles.

19Primer mix 21:	 Specific PCR fragment of 100 bp in the C*07:54 allele. Specific PCR fragment of 225 bp in the C*07:06, 07:18 and 07:19 alleles.

20Primer mix 22:	 Specific PCR fragment of 205 bp in the C*07:84 allele. Specific PCR fragment of 250 bp in the C*07:20, 07:96 and 07:127 and in the C*02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 15:25 alleles.

21Primer mix 23:	 Specific PCR fragment of 155 bp in the C*07:23 allele. Specific PCR fragment of 185 bp in the C*07:21 allele.

22Primer mix 25: Specific PCR fragment of 105 bp in the C*07:46 and B*56:06w and B*56:14 alleles. Specific PCR fragment of 150 bp in the C*07:30 allele.

23Primer mix 26: Specific PCR fragment of 100 bp in the C*07:32N allele. Specific PCR fragment of 250 bp in the C*07:55N allele. Specific PCR fragment of 300 bp in the C*07:31 and 07:177 and the C*12:03:10 alleles.

24Primer mix 28: Specific PCR fragment of 175 bp in the C*07:44 allele. Specific PCR fragment of 260 bp in the C*07:35 and 07:47 alleles.

25Primer mix 32: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76 and 07:210 and the C*02:14, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:19, 06:04-06:10, 06:12-06:51, 06:53-06:69, 15:23 and 18:01-18:05 and in the B*08:17 and B*08:47 alleles. Specific PCR fragment of 285 bp in the C*07:60 and 07:79 and the C*03:39 and 03:67 and the B*08:39 alleles.

26Primer mix 33: Specific PCR fragment of 205 bp in the C*07:66 allele. Specific PCR fragment of 230 bp in the C*07:82 allele.

27Primer mix 34: Specific PCR fragment of 105 bp in the C*07:67 allele. Specific PCR fragment of 270 bp in the C*07:70 allele.

28Primer mix 35: Specific PCR fragment of 320 bp in the C*07:72 allele. Specific PCR fragment of 360 bp in the C*07:71 allele.

29Primer mix 38: Specific PCR fragment of 135 bp in the C*07:58 allele. Specific PCR fragment of 195 bp in the C*07:65 allele. Specific PCR fragment of 405 bp in the C*07:61N allele.

30Primer mix 39: Specific PCR fragment of 100 bp in the C*07:74 allele. Specific PCR fragment of 255 bp in the C*07:59 allele.

31Primer mix 40: Specific PCR fragment of 205 bp in the C*07:62 allele. Specific PCR fragment of 440 bp in the C*07:07, 07:09, 07:76 and 07:78 and in the C*06:17 and 18:01-18:05 alleles.

32Primer mix 41: Specific PCR fragment of 140 bp in the C*07:91 allele. Specific PCR fragment of 255 bp in the C*07:88 allele.

33Primer mix 42: Specific PCR fragment of 100 bp in the C*07:15 and 07:207 alleles. Specific PCR fragment of 205 bp in the C*07:77 and 07:93 alleles. Specific PCR fragment of 250 bp in the C*07:123 and 07:173 and the B*35:08:04 alleles.

34Primer mix 43: Specific PCR fragment of 105 bp in the C*07:94 and 07:183 alleles. Specific PCR fragment of 140 bp in the C*07:99 allele. Specific PCR fragment of 175 bp in the C*07:80 allele.

35Primer mix 44: Specific PCR fragment of 165 bp in the C*07:98N allele. Specific PCR fragment of 195 bp in the C*07:65 and 07:77 alleles.

36Primer mix 46: Specific PCR fragment of 200 bp in the C*07:83 allele. Specific PCR fragment of 315 bp in the C*07:202 allele. Specific PCR fragment of 350 bp in the C*07:90 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.

37Primer mix 47: Specific PCR fragment of 200 bp in the C*07:86 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.Specific PCR fragment of 455 bp in the C*07:97 allele.

38Primer mix 48: Specific PCR fragment of 220 bp in the C*07:87 allele. Specific PCR fragment of 400 bp in the C*07:85 allele.

39Primer mix 49: Specific PCR fragment of 155 bp in the C*07:101, 07:148, 07:161, 05:42, 05:46, 06:67, 08:05, 08:21, 17:05 allele. Specific PCR fragment of 220 bp in the C*07:100 allele.

40Primer mix 50: Specific PCR fragment of 105 bp in the C*07:104N allele. Specific PCR fragment of 170 bp in the C*07:119 and in the B*07:87 and B*27:55 alleles. Specific PCR fragment of 425 bp in the C*07:124 and 07:155 alleles.

41Primer mix 51: Specific PCR fragment of 65 bp in the C*07:126 allele. Specific PCR fragment of 235 bp in the C*07:121Q allele. Specific PCR fragment of 285 bp in the C*07:117 allele.

42Primer mix 52: Specific PCR fragment of 65 bp in the C*07:203 allele. Specific PCR fragment of 205 bp in the C*07:118 allele. Specific PCR fragment of 280 bp in the C*07:106 allele.

43Primer mix 53: Specific PCR fragment of 110 bp in the C*07:140, 07:151 and 07:154 and in the B*37:04:02 alleles. Specific PCR fragment of 155 bp in the C*07:122 allele.

44Primer mix 54: Specific PCR fragment of 120 bp in the C*07:153 allele. Specific PCR fragment of 235 bp in the C*07:64 allele. Specific PCR fragment of 340 bp in the C*07:125 allele. Specific PCR fragment of 370 bp in the C*07:129 allele.

45Primer mix 55: Specific PCR fragment of 150 bp in the C*07:179 and the C*06:07 alleles. Specific PCR fragment of 290 bp in the C*07:132 allele.

46Primer mix 56: Specific PCR fragment of 210 bp in the C*07:150Q allele. Specific PCR fragment of 255 bp in the C*07:123, 07:143 and 07:173 and the B*35:08:04 alleles.

47Primer mix 58: Specific PCR fragment of 80 bp in the C*07:137:01-07:137:02, 07:186 and 07:212 alleles. Specific PCR fragment of 450 bp in the C*07:164N allele.

48Primer mix 60: Specific PCR fragment of 130 bp in the C*07:165 and the C*03:04:19, 03:113, 05:01:17, 05:09:02, 08:15:02 and 12:03:10 alleles. Specific PCR fragment of 305 bp in the C*07:147 allele. Specific PCR fragment of 370 bp in the C*07:180 allele.

49Primer mix 62: Specific PCR fragment of 200 bp in the C*07:84 and 07:205 alleles. Specific PCR fragment of 280 bp in the C *07:106 allele.

50Primer mix 63: Specific PCR fragment of 275 bp in the C *07:24 and 07:218 alleles. Specific PCR fragment of 320 bp in the C*07:198N and 07:202 alleles.

51Primer mix 64: Specific PCR fragment of 135 bp in the C *07:69 allele. Specific PCR fragment of 225 bp in the C *07:192 allele.

‘w’, may be weakly amplified.

1The Cw*0734 allele has been renamed to C*07:27:02.

2HLA-C*07 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.7.0, January 2012.

3The C*07:93 and 07:207 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 42.

4The C*07:100 and 07:161 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 49.

5The C*07:104N, 07:119 and 07:124 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 50.

6The C*07:117, 07:121Q and 07:126 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 51.

7The C*07:118 and 07:203 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 52.

8The C*07:122 and 07:151 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 53.

9The C*07:129 and 07:153 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 54.

10The C*07:132 and 07:179 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 55.

11The C*07:164N and 07:212 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 58.

12The C*07:165 and 07:180 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 60.

13This lot of the HLA-C*07 subtyping kit cannot distinguish the C*07:198N and the C*07:218 alleles.

14Primer mix 1: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49 and 07:76, 07:115, and 07:210 alleles. Specific PCR fragment of 425 bp in the C*07:02:21, 07:41 and 07:166 alleles. Specific PCR fragment of 245 and 425 bp in the C*07:01:01-07:06, 07:08, 07:10-07:33N, *07:35-07:40, 07:42-07:48, 07:50-07:75, 07:77-07:114 and 07:211-07:220 alleles.

Primer mix 5: Specific PCR fragment of 70 bp in the C*07:53 and 07:216 alleles. Specific PCR fragment of 145 bp in the C*07:57 allele. Specific PCR fragment of 245 bp in the C*07:03 allele.

Primer mix 8: Specific PCR fragment of 285 bp in the C*07:45 and the C*04:40 and in the B*38:23alleles. Specific PCR fragment of 505 bp in the C*07:06 allele.

Primer mix 9: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 240 bp in the C*07:29, 07:177 and 07:184 and in the C*03:04:19 and 03:113 alleles. Specific PCR fragment of 425 bp in the C*07:07, 07:09, 07:49, 07:76 and 07:210 and in the C*06:17 and 18:01-18:05 alleles.

Primer mix 11: Specific PCR fragment of 275 bp in the C*07:24 and 07:218 alleles. Specific PCR fragment of 300 bp in the C*07:10, 07:43, 07:112, 07:184 and 07:196 and the C*03:04:19 and 03:113 and in the B*35:08:04 and B*37:04:02 alleles.

Primer mix 15: Specific PCR fragment of 80 bp in the C* 07:50 allele. Specific PCR fragment of 290 bp in the C*07:14 allele.  Specific PCR fragment of 460 bp in the C*07:89 allele.

Primer mix 18: Specific PCR fragment of 120 bp in the C*07:52 and the C*05:03 alleles. Specific PCR fragment of 230 bp in the C*07:15 and in the B*07:77 and B*40:60 alleles.

Primer mix 19: Specific PCR fragment of 220 bp in the C*07:26, 07:33N, 07:92 and 07:96 alleles. Specific PCR fragment of 355 bp in the C*07:80 allele. Specific PCR fragment of 465 bp in the C*07:07, 07:16, 07:51, 07:177 and 07:181 alleles.

Primer mix 20: Specific PCR fragment of 145 bp in the C*07:03, 07:17 and 07:140-07:141 and the C*03:04:19, 03:113, 05:01:17, 05:09:02, 05:17, 08:15:02 and 12:03:10 and in the A*30:01:03 and A*33:03:09 alleles. Specific PCR fragment of 170 bp in the 07:44 and 07:48 alleles. Specific PCR fragment of 195 bp in the C*07:81 allele. Specific PCR fragment of 145 bp and 195 bp in the B*35:08:04 and B*37:04:02 alleles.

Primer mix 21: Specific PCR fragment of 100 bp in the C*07:54 allele. Specific PCR fragment of 225 bp in the C*07:06, 07:18 and 07:19 alleles.

Primer mix 22:  Specific PCR fragment of 205 bp in the C*07:84 allele. Specific PCR fragment of 250 bp in the C*07:20, 07:96 and 07:127 and in the C*02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 15:25 alleles.

Primer mix 23: Specific PCR fragment of 155 bp in the C*07:23 allele. Specific PCR fragment of 185 bp in the C*07:21 allele.

Primer mix 25: Specific PCR fragment of 105 bp in the C*07:46 and B*56:06w and B*56:14 alleles. Specific PCR fragment of 150 bp in the C*07:30 allele.

Primer mix 26: Specific PCR fragment of 100 bp in the C*07:32N allele. Specific PCR fragment of 250 bp in the C*07:55N allele. Specific PCR fragment of 300 bp in the C*07:31 and 07:177 and the C*12:03:10 alleles.

Primer mix 28: Specific PCR fragment of 175 bp in the C*07:44 allele. Specific PCR fragment of 260 bp in the C*07:35 and 07:47 alleles.

Primer mix 32: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76 and 07:210 and the C*02:14, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:19, 06:04-06:10, 06:12-06:51, 06:53-06:69, 15:23 and 18:01-18:05 and in the B*08:17 and B*08:47 alleles. Specific PCR fragment of 285 bp in the C*07:60 and 07:79 and the C*03:39 and 03:67 and the B*08:39 alleles.

Primer mix 33: Specific PCR fragment of 205 bp in the C*07:66 allele. Specific PCR fragment of 230 bp in the C*07:82 allele.

Primer mix 34: Specific PCR fragment of 105 bp in the C*07:67 allele. Specific PCR fragment of 270 bp in the C*07:70 allele.

Primer mix 35: Specific PCR fragment of 320 bp in the C*07:72 allele. Specific PCR fragment of 360 bp in the C*07:71 allele.

Primer mix 38: Specific PCR fragment of 135 bp in the C*07:58 allele. Specific PCR fragment of 195 bp in the C*07:65 allele. Specific PCR fragment of 405 bp in the C*07:61N allele.

Primer mix 39: Specific PCR fragment of 100 bp in the C*07:74 allele. Specific PCR fragment of 255 bp in the C*07:59 allele.

Primer mix 40: Specific PCR fragment of 205 bp in the C*07:62 allele. Specific PCR fragment of 440 bp in the C*07:07, 07:09, 07:76 and 07:78 and in the C*06:17 and 18:01-18:05 alleles.

Primer mix 41: Specific PCR fragment of 140 bp in the C*07:91 allele. Specific PCR fragment of 255 bp in the C*07:88 allele.

Primer mix 42: Specific PCR fragment of 100 bp in the C*07:15 and 07:207 alleles. Specific PCR fragment of 205 bp in the C*07:77 and 07:93 alleles. Specific PCR fragment of 250 bp in the C*07:123 and 07:173 and the B*35:08:04 alleles.

Primer mix 43: Specific PCR fragment of 105 bp in the C*07:94 and 07:183 alleles. Specific PCR fragment of 140 bp in the C*07:99 allele. Specific PCR fragment of 175 bp in the C*07:80 allele.

Primer mix 44: Specific PCR fragment of 165 bp in the C*07:98N allele. Specific PCR fragment of 195 bp in the C*07:65 and 07:77 alleles.

Primer mix 46: Specific PCR fragment of 200 bp in the C*07:83 allele. Specific PCR fragment of 315 bp in the C*07:202 allele. Specific PCR fragment of 350 bp in the C*07:90 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.

Primer mix 47: Specific PCR fragment of 200 bp in the C*07:86 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.Specific PCR fragment of 455 bp in the C*07:97 allele.

Primer mix 48: Specific PCR fragment of 220 bp in the C*07:87 allele. Specific PCR fragment of 400 bp in the C*07:85 allele.

Primer mix 49: Specific PCR fragment of 155 bp in the C*07:101, 07:148, 07:161, 05:42, 05:46, 06:67, 08:05, 08:21, 17:05 allele. Specific PCR fragment of 220 bp in the C*07:100 allele.

Primer mix 50: Specific PCR fragment of 105 bp in the C*07:104N allele. Specific PCR fragment of 170 bp in the C*07:119 and in the B*07:87 and B*27:55 alleles. Specific PCR fragment of 425 bp in the C*07:124 and 07:155 alleles.

Primer mix 51: Specific PCR fragment of 65 bp in the C*07:126 allele. Specific PCR fragment of 235 bp in the C*07:121Q allele. Specific PCR fragment of 285 bp in the C*07:117 allele.

Primer mix 52: Specific PCR fragment of 65 bp in the C*07:203 allele. Specific PCR fragment of 205 bp in the C*07:118 allele. Specific PCR fragment of 280 bp in the C*07:106 allele.

Primer mix 53: Specific PCR fragment of 110 bp in the C*07:140, 07:151 and 07:154 and in the B*37:04:02 alleles. Specific PCR fragment of 155 bp in the C*07:122 allele.

Primer mix 54: Specific PCR fragment of 120 bp in the C*07:153 allele. Specific PCR fragment of 235 bp in the C*07:64 allele. Specific PCR fragment of 340 bp in the C*07:125 allele. Specific PCR fragment of 370 bp in the C*07:129 allele.

Primer mix 55: Specific PCR fragment of 150 bp in the C*07:179 and the C*06:07 alleles. Specific PCR fragment of 290 bp in the C*07:132 allele.

Primer mix 56: Specific PCR fragment of 210 bp in the C*07:150Q allele. Specific PCR fragment of 255 bp in the C*07:123, 07:143 and 07:173 and the B*35:08:04 alleles.

Primer mix 58: Specific PCR fragment of 80 bp in the C*07:137:01-07:137:02, 07:186 and 07:212 alleles. Specific PCR fragment of 450 bp in the C*07:164N allele.

Primer mix 60: Specific PCR fragment of 130 bp in the C*07:165 and the C*03:04:19, 03:113, 05:01:17, 05:09:02, 08:15:02 and 12:03:10 alleles. Specific PCR fragment of 305 bp in the C*07:147 allele. Specific PCR fragment of 370 bp in the C*07:180 allele.

Primer mix 62: Specific PCR fragment of 200 bp in the C*07:84 and 07:205 alleles. Specific PCR fragment of 280 bp in the C *07:106 allele.

Primer mix 63: Specific PCR fragment of 275 bp in the C *07:24 and 07:218 alleles. Specific PCR fragment of 320 bp in the C*07:198N and 07:202 alleles.

Primer mix 64: Specific PCR fragment of 135 bp in the C *07:69 allele. Specific PCR fragment of 225 bp in the C *07:192 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- The positive control primer pair in primer mix 63 has been corrected to 800 base pairs in the specificity and amplification tables.

Change in revision R02 compared to R01:

  - The HLA-C*07:24 and 07:218 and the C*03:125, 12:45 and 16:13 alleles are not amplified by primer mix 61. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-C*07 subtyping kit cannot distinguish the C*07:198N and the C*07:218 alleles.