PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*07

Prod. No:	101.615-24/24u

101.615-04/04u

Lot No:    	42S

Expiry Date:    	2015-December-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 74 primer mixes used for HLA-C*07 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*07 alleles3 | Other amplified HLA-Class I alleles4 |
| --- | --- | --- | --- | --- |
| 18,9 | 245 bp, 425 bp | 800 bp | *07:01:01:01-07:33N, 07:35-07:294, 07:296-07:299 |  |
| 2 | 290 bp | 800 bp | *07:01:01:01-07:01:04, 07:01:06-07:01:33, 07:05-07:07, 07:09, 07:14, 07:16, 07:18, 07:20-07:22, 07:24, 07:26-07:28, 07:30-07:31:02, 07:35-07:36, 07:40, 07:43-07:44, 07:52-07:53, 07:55N, 07:58-07:60, 07:65, 07:69-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:85-07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:109, 07:111, 07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:156, 07:162-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:184, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:225, 07:227N-07:228, 07:231, 07:235-07:237, 07:246-07:249, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:292-07:293, 07:296-07:299 | *03:04:19, 03:113, 05:01:17, 05:09:02, 05:17, 06:02:23, 08:15:02, 12:03:10, 15:65, B*35:08:04 |
| 35 | 110 bp | 800 bp | *07:01:01:01-07:01:24, 07:01:26-07:01:33, 07:06, 07:09, 07:18-07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:69-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:85-07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:156, 07:162-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:225, 07:227N-07:228, 07:230-07:231, 07:235-07:237, 07:246-07:250, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:293, 07:296-07:299 | *04:112, 06:44, 15:62, 18:05 |
| 4 | 185 bp | 1070 bp | *07:02:01:01-07:02:39, 07:10, 07:13, 07:15, 07:19, 07:23, 07:25, 07:29, 07:32N-07:33N, 07:37-07:39, 07:42, 07:46-07:51, 07:54, 07:56:01-07:56:02, 07:61N-07:62, 07:64, 07:66-07:68, 07:72, 07:74-07:76, 07:79-07:80, 07:84, 07:87-07:88, 07:90, 07:97, 07:99-07:100, 07:102, 07:105, 07:107, 07:114, 07:117, 07:121Q, 07:123, 07:125-07:127, 07:130, 07:133, 07:135-07:138, 07:143-07:147, 07:149, 07:152N, 07:154-07:155, 07:157-07:161, 07:167-07:169, 07:172, 07:174-07:175, 07:178, 07:183, 07:185-07:187, 07:192-07:195, 07:198N, 07:202, 07:208-07:209, 07:211, 07:213, 07:216-07:218, 07:220-07:221, 07:226, 07:229, 07:232-07:234, 07:238-07:241, 07:243-07:245, 07:251-07:252, 07:259-07:262, 07:264N-07:265, 07:270-07:271, 07:273-07:275, 07:283-07:291 | B*40:60 |
| 55, 10 | 70 bp, 145 bp, 245 bp | 800 bp | *07:03, 07:53, 07:57, 07:216 |  |
| 65 | 100 bp | 1070 bp | *07:04:01-07:04:08, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:272 | *05:62, B*44:148 |
| 7 | 190 bp | 1070 bp | *07:05 | B*27:36, B*48:21, B*48:26 |
| 811 | 285 bp, 505 bp | 1070 bp | *07:06, 07:45 | *02:57, 04:40, B*38:23, B*39:73 |
| 96,12 | 215 bp, 425 bp | 800 bp | *07:07, 07:09, 07:33N, 07:49, 07:76, 07:210, 07:238, 07:247 | *06:17, 18:01-18:06 |
| 10 | 185 bp | 1070 bp | *07:08, 07:108 | *04:58, B*40:100 |
| 1113 | 275 bp, 300 bp | 800 bp | *07:10, 07:24, 07:43, 07:112, 07:184, 07:196, 07:218 | *03:04:19, 03:113, B*35:08:04, B*37:04:02 |
| 12 | 130 bp | 1070 bp | *07:12, 07:41 | *04:120, 05:01:01:01-05:01:26, 05:03-05:08, 05:10-05:16, 05:18:01-05:22:02, 05:24-05:48N, 05:50-05:51Q, 05:53-05:61, 05:63-05:87, 08:01:01-08:06, 08:08-08:14, 08:16:01-08:46, 08:48-08:50, 08:52N-08:63, 08:65-08:71, 08:73-08:74, A*29:10, B*14:32, B*18:83, B*44:148 |
| 135,7 | 90 bp | 1070 bp | *07:11, 07:56:01-07:56:02, 07:60, 07:79, 07:109 | *03:69, 04:27, 04:52, 06:53:01-06:53:02, 12:58 |
| 14 | 240 bp | 800 bp | *07:13, 07:28, 07:289 | *04:01:43, 05:01:17, 05:09:02, 05:17, 08:15:02, B*37:04:02 |
| 155,14 | 80 bp, 290 bp, 460 bp | 1070 bp | *07:14, 07:50, 07:89 |  |
| 16 | 535 bp | 1070 bp | *07:02:01:01-07:02:39, 07:04:01-07:05, 07:08, 07:10-07:11, 07:13-07:15, 07:23, 07:25, 07:27:01-07:27:02, 07:29, 07:31:01-07:33N, 07:37-07:39, 07:42-07:43, 07:45-07:51, 07:54, 07:56:01-07:56:02, 07:61N-07:64, 07:66-07:68, 07:72, 07:74-07:76, 07:79-07:80, 07:84, 07:87-07:88, 07:90, 07:97, 07:99-07:102, 07:105, 07:107, 07:114, 07:117, 07:121Q, 07:123, 07:125-07:127, 07:130, 07:133, 07:135-07:139, 07:142-07:147, 07:149, 07:152N, 07:154-07:155, 07:157-07:161, 07:167-07:169, 07:172, 07:174-07:175, 07:177-07:178, 07:181, 07:183-07:187, 07:192-07:195, 07:198N-07:199:02, 07:202, 07:208-07:209, 07:211, 07:213, 07:216-07:218, 07:220-07:221, 07:226, 07:229, 07:232-07:234, 07:238-07:241, 07:243-07:245, 07:251-07:252, 07:258-07:262, 07:264N-07:265, 07:270-07:275, 07:283-07:291, 07:294 | *01:60, 03:14, 03:162, 04:58, 05:23, 05:62, 08:07, 08:47, 12:14:01-12:14:02, 14:17, 17:01:01:01-17:19, B*46:06 |
| 177 | 130 bp | 1070 bp | *07:04:01-07:04:08, 07:11, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260, 07:272 | *05:23, 05:62, 08:07, 08:47 |
| 185,15 | 120 bp, 230 bp | 800 bp | *07:15, 07:52, 07:243 | *05:03, B*07:77, B*40:60 |
| 196,16 | 220 bp, 465 bp | 800 bp | *07:07, 07:16, 07:26, 07:51, 07:92, 07:96:01-07:96:02, 07:177, 07:181 |  |
| 207,8,17 | 145 bp, 170 bp, 195 bp | 1070 bp | *07:03, 07:17:01-07:17:02, 07:44, 07:48, 07:81, 07:140-07:141:02, 07:168 | *03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 05:17, 06:02:23, 08:15:02, 12:03:10, A*30:01:03, A*33:03:09, B*35:08:04, B*37:04:02 |
| 215,18 | 100 bp, 225 bp | 800 bp | *07:06, 07:18-07:19, 07:54 |  |
| 2219 | 205 bp, 250 bp, | 800 bp | *07:20, 07:84, 07:96:01-07:96:02, 07:127, 07:263 | *02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 06:70, 15:25, 15:62, A*01:110, A*11:135 |
| 237,20 | 155 bp, 185 bp | 1070 bp | *07:21, 07:23 |  |
| 247 | 135 bp | 1070 bp | *07:25 | A*24:02:62, A*68:01:12 |
| 255,21 | 105 bp, 150 bp | 1070 bp | *07:30, 07:46 | B*56:08w, B*56:14 |
| 265,22 | 100 bp, 250 bp, 300 bp | 1070 bp | *07:31:01-07:32N, 07:55N, 07:177 | *06:02:23, 12:03:10 |
| 275 | 125 bp | 1070 bp | *07:37, 07:69, 07:176 | *04:01:43, 05:01:17, 05:09:02, 08:15:02, B*35:08:04 |
| 2823 | 175 bp, 260 bp | 800 bp | *07:35, 07:44, 07:47 |  |
| 29 | 255 bp | 1070 bp | *07:36, 07:42 |  |
| 305,7,24 | 60 bp, 260 bp | 1070 bp | *07:75, 07:227N, 07:254 | *04:66 |
| 31 | 415 bp | 1070 bp | *07:39-07:40, 07:177, 07:210w, 07:238w |  |
| 3225 | 245 bp, 285 bp | 1070 bp | *07:07, 07:09, 07:49, 07:60, 07:76, 07:79, 07:210, 07:238, 07:247 | *02:14, 03:39, 03:67, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:25, 06:04-06:10, 06:12-06:51, 06:53:01-06:75, 06:78-06:96, 15:23, 15:63, 18:01-18:06, B*08:17, B*08:39, B*08:47 |
| 3326 | 205 bp, 230 bp | 1070 bp | *07:66, 07:82 |  |
| 345,27 | 105 bp, 270 bp | 1070 bp | *07:67, 07:70 |  |
| 356,28 | 320 bp, 360 bp | 1070 bp | *07:71-07:72 |  |
| 366,29 | 185 bp, 265 bp | 800 bp | *07:20, 07:64, 07:73, 07:92, 07:96:01-07:96:02, 07:107, 07:172, 07:224 | *06:22, 16:31, 18:04, B*15:193 |
| 377,30 | 245 bp, 275 bp | 1070 bp | *07:38:01-07:38:02, 07:63, 07:68, 07:121Q, 07:260 | *08:38, B*07:77, B*40:60 |
| 386,7,9,31 | 135 bp, 195 bp | 1070 bp | *07:58, 07:65 |  |
| 395,32 | 100 bp, 255 bp | 800 bp | *07:59, 07:74 |  |
| 405,7,33 | 120 bp, 205 bp, 440 bp | 1070 bp | *07:07, 07:09, 07:62, 07:76, 07:78, 07:235 | *06:17, 18:01-18:06 |
| 4134 | 140 bp, 255 bp | 1070 bp | *07:88, 07:91 |  |
| 425,35 | 100 bp, 205 bp, 250 bp | 1070 bp | *07:15, 07:77, 07:93, 07:123, 07:173, 07:207, 07:294 | B*35:08:04 |
| 435,6,36 | 105 bp, 140 bp, 175 bp | 800 bp | *07:80, 07:94, 07:99, 07:183 |  |
| 446,7,37 | 165 bp, 195 bp | 1070 bp | *07:65, 07:77, 07:98N |  |
| 457,38 | 240 bp, 475 bp | 1070 bp | *07:95, 07:245 | *04:34, 04:122, B*35:178, B*73:01-73:02 |
| 4639 | 200 bp, 315 bp, 350 bp, 420 bp | 1070 bp | *07:83, 07:90, 07:152N, 07:202 |  |
| 4740 | 200 bp, 420 bp, 455 bp | 1070 bp | *07:86, 07:97, 07:152N |  |
| 487,41 | 155 bp, 220 bp, 400 bp | 1070 bp | *07:85, 07:87, 07:122 |  |
| 4942 | 155 bp, 220 bp | 800 bp | *07:100-07:101, 07:148, 07:161 | *04:129, 05:42, 05:46, 06:67, 08:05, 08:21, 17:05 |
| 505,43 | 105 bp, 170 bp, 425 bp | 1070 bp | *07:104N, 07:119, 07:124, 07:155 | B*07:87, B*27:55 |
| 515,44 | 65 bp, 235 bp, 285 bp | 1070 bp | *07:117, 07:121Q, 07:126 |  |
| 525,45 | 65 bp, 205 bp, 280 bp | 1070 bp | *07:106, 07:118, 07:203 |  |
| 535,46 | 110 bp, 155 bp | 1070 bp | *07:122, 07:140, 07:151, 07:154 | B*37:04:02 |
| 545,47 | 120 bp, 235 bp, 340 bp, 370 bp | 1070 bp | *07:64, 07:125, 07:129, 07:153 | B*51:142 |
| 5548 | 150 bp, 210 bp, 290 bp | 1070 bp | *07:132, 07:179, 07:252 | *06:07 |
| 5649 | 210 bp, 255 bp | 1070 bp | *07:123, 07:143, 07:150Q, 07:173, 07:294 | B*35:08:04 |
| 575,50 | 70 bp, 175 bp | 800 bp | *07:01:25, 07:130 | *05:01:17, 05:09:02, 05:17, 08:15:02 |
| 585,51 | 80 bp, 450 bp | 1070 bp | *07:137:01-07:137:02, 07:164N, 07:186, 07:212, 07:265 | *03:162 |
| 596 | 200 bp | 1070 bp | *07:81, 07:145, 07:168, 07:191N | B*35:08:04, B*37:04:02 |
| 6052 | 130 bp, 305 bp, 370 bp | 1070 bp | *07:147, 07:165, 07:180, 07:241, 07:265 | *03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 06:02:23, 08:15:02, 12:03:10 |
| 61 | 245 bp | 1070 bp | *07:120 |  |
| 6253 | 200 bp, 280 bp | 1070 bp | *07:84, 07:106, 07:205 |  |
| 6354 | 275 bp, 320 bp | 800 bp | *07:24, 07:198N, 07:202, 07:218 |  |
| 647,55 | 135 bp, 225 bp | 1070 bp | *07:69, 07:192 |  |
| 65 | 155 bp | 1070 bp | *07:264N |  |
| 66 | 225 bp | 1070 bp | *07:279 |  |
| 67 | 180 bp | 1070 bp | *07:285 |  |
| 68 | 230 bp | 1070 bp | *07:149 |  |
| 69 | 185 bp | 1070 bp | *07:171 |  |
| 70 | 405 bp | 1070 bp | *07:61N |  |
| 71 | 240 bp | 1070 bp | *07:29, 07:177, 07:184, 07:248 | *03:04:19, 03:113 |
| 725 | 120 bp | 1070 bp | *07:22, 07:137:01-07:138 | *06:02:23, 12:03:10, A*33:03:09, A*68:01:12 |
| 73 | 185 bp | 1070 bp | *07:107, 07:224 | *06:22, 16:31, B*15:193 |
| 7456 | 215 bp, 355 bp | 1070 bp | *07:33N, 07:80 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*07 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*07 subtyping.

In addition, wells number 2, 3, 5, 9, 11, 14, 18, 19, 21, 22, 28, 36, 39, 43, 49, 57 and 63 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-C alleles non-HLA-C*07 alleles will be amplified by primer mixes 2, 3, 6, 8 to 14, 16 to 18, 20, 22, 26, 27, 30, 32, 36, 37, 40, 45, 49, 55, 57, 58, 60, 61 and 71 to 73. In addition, the A*01:110 and A*11:135 alleles will be amplified by primer mix 22, the A*24:02:62 allele will be amplified by primer mix 24, the A*29:10, B*14:32 and B*18:83 alleles will be amplified by primer mix 12, the A*30:01:03 allele will be amplified by primer mix 20, the A*33:03:09 allele will be amplified by primer mixes 20 and 72, the A*68:01:12 allele will be amplified by primer mix 24 and 72, the B*07:77 allele will be amplified by primer mixes 18 and 37, the B*07:87 and B*27:55 will be amplified by primer mix 50, the B*08:17, B*08:39 and B*08:47 alleles by primer mix 32, the B*15:193 allele by primer mixes 35 and 73, the B*27:36, B*48:21 and B*48:26 alleles by primer mix 7, the B*35:08:04 allele by primer mixes 2, 11, 20, 27, 42, 56 and 59, the B*35:178 and B*73:01-73:02 alleles will be amplified by primer mix 45, the B*37:04:02 allele by primer mixes 11, 14, 20, 53 and 59, the B*38:23 and B*39:73 alleles by primer mix 8, the B*40:60 allele by primer mixes 4, 18 and 37, the B*40:100 allele by primer mix 10, the B*44:148 allele by primer mixes 6 and 12, the B*46:06 allele by primer mix 16, the B*51:142 allele will be amplified by primer mix 54 and the B*56:08 and B*56:14 alleles will be amplified by primer mix 25.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 9, 19, 35, 36, 38, 43, 44 and 59 have a tendency to giving rise to primer oligomer formation.

7Primer mixes 13, 17, 20, 23, 24, 30, 37, 38, 40, 44, 45, 48 and 64 may have tendencies of unspecific amplifications, most pronounced in primer mix 24.

8Primer mix 1 and 20 may give rise to a lower yield of HLA-specific PCR product than the other C*07 primer mixes.

9Primer mix 1: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76, 07:115, 07:210, 07:223, 07:238, 07:247 and 07:295 alleles. Specific PCR fragment of 425 bp in the C*07:02:21, 07:41 and 07:166 alleles. Specific PCR fragment of 245 and 425 bp in the C*07:01:01:01-07:02:20, 07:02:22-07:06, 07:08, 07:10-07:33N, *07:35-07:40, 07:42-07:48, 07:50-07:75, 07:77-07:114, 07:116-07:165, 07:167-07:209 and 07:211-07:222,  07:224-07:237, 07:239-07:246, 07:248-07:294 and 07:296-07:299 alleles.

10Primer mix 5: Specific PCR fragment of 70 bp in the C*07:53 and 07:216 alleles. Specific PCR fragment of 145 bp in the C*07:57 allele. Specific PCR fragment of 245 bp in the C*07:03 allele.

11Primer mix 8: Specific PCR fragment of 285 bp in the C*07:45 and the C*02:57 and 04:40 and in the B*38:23 and B*39:73 alleles. Specific PCR fragment of 505 bp in the C*07:06 allele.

12Primer mix 9: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 425 bp in the C*07:07, 07:09, 07:49, 07:76, 07:210, 07:238 and 07:247 and the C*06:17 and 18:01-18:06 alleles.

13Primer mix 11: Specific PCR fragment of 275 bp in the C*07:24 and 07:218 alleles. Specific PCR fragment of 300 bp in the C*07:10, 07:43, 07:112, 07:184 and 07:196 and the C*03:04:19 and 03:113 and in the B*35:08:04 and B*37:04:02 alleles.

14Primer mix 15: Specific PCR fragment of 80 bp in the C* 07:50 allele. Specific PCR fragment of 290 bp in the C*07:14 allele.  Specific PCR fragment of 460 bp in the C*07:89 allele.

15Primer mix 18: Specific PCR fragment of 120 bp in the C*07:52 and 07:243 and the C*05:03 alleles. Specific PCR fragment of 230 bp in the C*07:15 and in the B*07:77 and B*40:60 alleles.

16Primer mix 19: Specific PCR fragment of 220 bp in the C*07:26, 07:92 and 07:96:01-07:96:02 alleles. Specific PCR fragment of 465 bp in the C*07:07, 07:16, 07:51, 07:177 and 07:181 alleles.

17Primer mix 20: Specific PCR fragment of 145 bp in the C*07:03, 07:17:01-07:17:02 and 07:140-07:141:02 and the C*03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 05:17, 06:02:23, 08:15:02 and 12:03:10 and in the A*30:01:03 and A*33:03:09 alleles. Specific PCR fragment of 170 bp in the 07:44 and 07:48 alleles. Specific PCR fragment of 195 bp in the C*07:81 and 07:168  alleles. Specific PCR fragment of 145 bp and 195 bp in the B*35:08:04 and B*37:04:02 alleles.

18Primer mix 21: Specific PCR fragment of 100 bp in the C*07:54 allele. Specific PCR fragment of 225 bp in the C*07:06, 07:18 and 07:19 alleles.

19Primer mix 22:	 Specific PCR fragment of 205 bp in the C*07:84 allele. Specific PCR fragment of 250 bp in the C*07:20, 07:96:01-07:96:02, 07:127 and 07:263 and in the C*02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 06:70, 15:25 and 15:62 and in the A*01:110 and A*11:135 alleles.

20Primer mix 23: Specific PCR fragment of 155 bp in the C*07:23 allele. Specific PCR fragment of 185 bp in the C*07:21 allele.

21Primer mix 25: Specific PCR fragment of 105 bp in the C*07:46 and in the B*56:06w and B*56:14 alleles. Specific PCR fragment of 150 bp in the C*07:30 allele.

22Primer mix 26: Specific PCR fragment of 100 bp in the C*07:32N allele. Specific PCR fragment of 250 bp in the C*07:55N allele. Specific PCR fragment of 300 bp in the C*07:31:01-07:31:02 and 07:177 and the C*06:02:23 and 12:03:10 alleles.

23Primer mix 28: Specific PCR fragment of 175 bp in the C*07:44 allele. Specific PCR fragment of 260 bp in the C*07:35 and 07:47 alleles.

24Primer mix 30: Specific PCR fragment of 60 bp in the C*07:75 and 07:254 alleles. Specific PCR fragment of 260 bp in the C*07:227N and the C*04:66 alleles.

25Primer mix 32: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76, 07:210, 07:238 and 07:247 and the C*02:14, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:25, 06:04-06:10, 06:12-06:51, 06:53:01-06:75, 06:78-06:96, 15:23, 15:63 and 18:01-18:06 and in the B*08:17, B*08:47 alleles. Specific PCR fragment of 285 bp in the C*07:60 and 07:79 and the C*03:39 and 03:67 and the B*08:39 alleles.

26Primer mix 33: Specific PCR fragment of 205 bp in the C*07:66 allele. Specific PCR fragment of 230 bp in the C*07:82 allele.

27Primer mix 34: Specific PCR fragment of 105 bp in the C*07:67 allele. Specific PCR fragment of 270 bp in the C*07:70 allele.

28Primer mix 35: Specific PCR fragment of 320 bp in the C*07:72 allele. Specific PCR fragment of 360 bp in the C*07:71 allele.

29Primer mix 36: Specific PCR fragment of 185 bp in the C*07:107 and 07:224 and in the C*06:22 and 16:31 and the B*15:193 alleles. Specific PCR fragment of 265 bp in the C*07:20, 07:64, 07:73, 07:92, 07:96:01-07:96:02 and 07:172 and the C*18:04 alleles.

30Primer mix 37: Specific PCR fragment of 250 bp in the C*07:63 and 07:121Q alleles. Specific PCR fragment of 275 bp in the C*07:38:01-07:38:02, 07:68 and 07:260 and the C*08:38 and the B*07:77 and B*40:60 alleles.

31Primer mix 38: Specific PCR fragment of 135 bp in the C*07:58 allele. Specific PCR fragment of 195 bp in the C*07:65 allele.

32Primer mix 39: Specific PCR fragment of 100 bp in the C*07:74 allele. Specific PCR fragment of 255 bp in the C*07:59 allele.

33Primer mix 40: Specific PCR fragment of 120 bp in the C*07:235 allele.  Specific PCR fragment of 205 bp in the C*07:62 allele. Specific PCR fragment of 440 bp in the C*07:07, 07:09, 07:76 and 07:78 and in the C*06:17 and 18:01-18:06 alleles.

34Primer mix 41: Specific PCR fragment of 140 bp in the C*07:91 allele. Specific PCR fragment of 255 bp in the C*07:88 allele.

35Primer mix 42: Specific PCR fragment of 100 bp in the C*07:15 and 07:207 alleles. Specific PCR fragment of 205 bp in the C*07:77 and 07:93 alleles. Specific PCR fragment of 250 bp in the C*07:123, 07:173 and 07:294 and the B*35:08:04 alleles.

36Primer mix 43: Specific PCR fragment of 105 bp in the C*07:94 and 07:183 alleles. Specific PCR fragment of 140 bp in the C*07:99 allele. Specific PCR fragment of 175 bp in the C*07:80 allele.

37Primer mix 44: Specific PCR fragment of 165 bp in the C*07:98N allele. Specific PCR fragment of 195 bp in the C*07:65 and 07:77 alleles.

38Primer mix 45: Specific PCR fragment of 240 bp in the C*07:245 allele. Specific PCR fragment of 475 bp in the C*07:95 and the C*04:34 and 04:122 and in the B*35:178 and B*73:01-73:02 alleles.

39Primer mix 46: Specific PCR fragment of 200 bp in the C*07:83 allele. Specific PCR fragment of 315 bp in the C*07:202 allele. Specific PCR fragment of 350 bp in the C*07:90 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.

40Primer mix 47: Specific PCR fragment of 200 bp in the C*07:86 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.Specific PCR fragment of 455 bp in the C*07:97 allele.

41Primer mix 48: Specific PCR fragment of 155 bp in the C*07:122 allele. Specific PCR fragment of 220 bp in the C*07:87 allele. Specific PCR fragment of 400 bp in the C*07:85 allele.

42Primer mix 49: Specific PCR fragment of 155 bp in the C*07:101, 07:148 and 07:161 and the C*04:129, 05:42, 05:46, 06:67, 08:05, 08:21 and 17:05 alleles. Specific PCR fragment of 220 bp in the C*07:100 allele.

43Primer mix 50: Specific PCR fragment of 105 bp in the C*07:104N allele. Specific PCR fragment of 170 bp in the C*07:119 and in the B*07:87 and B*27:55 alleles. Specific PCR fragment of 425 bp in the C*07:124 and 07:155 alleles.

44Primer mix 51: Specific PCR fragment of 65 bp in the C*07:126 allele. Specific PCR fragment of 235 bp in the C*07:121Q allele. Specific PCR fragment of 285 bp in the C*07:117 allele.

45Primer mix 52: Specific PCR fragment of 65 bp in the C*07:203 allele. Specific PCR fragment of 205 bp in the C*07:118 allele. Specific PCR fragment of 280 bp in the C*07:106 allele.

46Primer mix 53: Specific PCR fragment of 110 bp in the C*07:140, 07:151 and 07:154 and in the B*37:04:02 alleles. Specific PCR fragment of 155 bp in the C*07:122 allele.

47Primer mix 54: Specific PCR fragment of 120 bp in the C*07:153 and in the B*51:142 alleles. Specific PCR fragment of 235 bp in the C*07:64 allele. Specific PCR fragment of 340 bp in the C*07:125 allele. Specific PCR fragment of 370 bp in the C*07:129 allele.

48Primer mix 55: Specific PCR fragment of 150 bp in the C*07:179 and the C*06:07 alleles. Specific PCR fragment of 210 bp in the C*07:252 allele. Specific PCR fragment of 290 bp in the C*07:132 allele.

49Primer mix 56: Specific PCR fragment of 210 bp in the C*07:150Q allele. Specific PCR fragment of 255 bp in the C*07:123, 07:143, 07:173 and 07:294 and the B*35:08:04 alleles.

50Primer mix 57: Specific PCR fragment of 70 bp in the C*07:01:25 allele. Specific PCR fragment of 175 bp in the C*07:130 and the C*05:01:17, 05:09:02, 05:17 and 08:15:02 alleles.

51Primer mix 58: Specific PCR fragment of 80 bp in the C*07:137:01-07:137:02, 07:186, 07:212 and 07:265 and the C*03:162 alleles. Specific PCR fragment of 450 bp in the C*07:164N allele.

52Primer mix 60: Specific PCR fragment of 130 bp in the C*07:165, 07:241 and 07:265,  and the C*03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 06:02:23, 08:15:02 and 12:03:10 alleles. Specific PCR fragment of 305 bp in the C*07:147 allele. Specific PCR fragment of 370 bp in the C*07:180 allele.

53Primer mix 62: Specific PCR fragment of 200 bp in the C*07:84 and 07:205 alleles. Specific PCR fragment of 280 bp in the C *07:106 allele.

54Primer mix 63: Specific PCR fragment of 275 bp in the C *07:24 and 07:218 alleles. Specific PCR fragment of 320 bp in the C*07:198N and 07:202 alleles.

55Primer mix 64: Specific PCR fragment of 135 bp in the C*07:69 allele. Specific PCR fragment of 225 bp in the C *07:192 allele.

56Primer mix 74: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 355 bp in the C*07:80 allele.

‘w’, may be weakly amplified.

1The HLA-Cw*0734 allele has been renamed to HLA-C*07:27:02.

The C*07:295 allele has never been assigned.

2HLA-C*07 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.11.0, January 2013.

3The C*07:78 and 07:235 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 40.

4The C*07:93 and 07:207 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 42.

5The C*07:100 and 07:161 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 49.

6The C*07:104N, 07:119 and 07:124 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 50.

7The C*07:117 and 07:126 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 51.

8The C*07:118 and 07:203 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 52.

9The C*07:129 and 07:153 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 54.

10The C*07:132 and 07:179 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 55.

11The C*07:147 and 07:241 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 60.

12The C*07:164N and 07:212 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 58.

13The C*07:165 and 07:180 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 60.

14The C*07:227N and 07:254 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 30.

15This lot of the HLA-C*07 subtyping kit cannot distinguish the C*07:198N and the C*07:218 alleles.

16Primer mix 1: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76, 07:115, 07:210, 07:223, 07:238, 07:247 and 07:295 alleles. Specific PCR fragment of 425 bp in the C*07:02:21, 07:41 and 07:166 alleles. Specific PCR fragment of 245 and 425 bp in the C*07:01:01:01-07:02:20, 07:02:22-07:06, 07:08, 07:10-07:33N, *07:35-07:40, 07:42-07:48, 07:50-07:75, 07:77-07:114, 07:116-07:165, 07:167-07:209 and 07:211-07:222,  07:224-07:237, 07:239-07:246, 07:248-07:294 and 07:296-07:299 alleles.

Primer mix 5: Specific PCR fragment of 70 bp in the C*07:53 and 07:216 alleles. Specific PCR fragment of 145 bp in the C*07:57 allele. Specific PCR fragment of 245 bp in the C*07:03 allele.

Primer mix 8: Specific PCR fragment of 285 bp in the C*07:45 and the C*02:57 and 04:40 and in the B*38:23 and B*39:73 alleles. Specific PCR fragment of 505 bp in the C*07:06 allele.

Primer mix 9: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 425 bp in the C*07:07, 07:09, 07:49, 07:76, 07:210, 07:238 and 07:247 and the C*06:17 and 18:01-18:06 alleles.

Primer mix 11: Specific PCR fragment of 275 bp in the C*07:24 and 07:218 alleles. Specific PCR fragment of 300 bp in the C*07:10, 07:43, 07:112, 07:184 and 07:196 and the C*03:04:19 and 03:113 and in the B*35:08:04 and B*37:04:02 alleles.

Primer mix 15: Specific PCR fragment of 80 bp in the C* 07:50 allele. Specific PCR fragment of 290 bp in the C*07:14 allele.  Specific PCR fragment of 460 bp in the C*07:89 allele.

Primer mix 18: Specific PCR fragment of 120 bp in the C*07:52 and 07:243 and the C*05:03 alleles. Specific PCR fragment of 230 bp in the C*07:15 and in the B*07:77 and B*40:60 alleles.

Primer mix 19: Specific PCR fragment of 220 bp in the C*07:26, 07:92 and 07:96:01-07:96:02 alleles. Specific PCR fragment of 465 bp in the C*07:07, 07:16, 07:51, 07:177 and 07:181 alleles.

Primer mix 20: Specific PCR fragment of 145 bp in the C*07:03, 07:17:01-07:17:02 and 07:140-07:141:02 and the C*03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 05:17, 06:02:23, 08:15:02 and 12:03:10 and in the A*30:01:03 and A*33:03:09 alleles. Specific PCR fragment of 170 bp in the 07:44 and 07:48 alleles. Specific PCR fragment of 195 bp in the C*07:81 and 07:168  alleles. Specific PCR fragment of 145 bp and 195 bp in the B*35:08:04 and B*37:04:02 alleles.

Primer mix 21: Specific PCR fragment of 100 bp in the C*07:54 allele. Specific PCR fragment of 225 bp in the C*07:06, 07:18 and 07:19 alleles.

Primer mix 22:	 Specific PCR fragment of 205 bp in the C*07:84 allele. Specific PCR fragment of 250 bp in the C*07:20, 07:96:01-07:96:02, 07:127 and 07:263 and in the C*02:49, 03:15, 03:32, 03:45, 03:60, 03:136, 04:03, 04:06, 04:16, 04:80, 06:70, 15:25 and 15:62 and in the A*01:110 and A*11:135 alleles.

Primer mix 23: Specific PCR fragment of 155 bp in the C*07:23 allele. Specific PCR fragment of 185 bp in the C*07:21 allele.

Primer mix 25: Specific PCR fragment of 105 bp in the C*07:46 and in the B*56:06w and B*56:14 alleles. Specific PCR fragment of 150 bp in the C*07:30 allele.

Primer mix 26: Specific PCR fragment of 100 bp in the C*07:32N allele. Specific PCR fragment of 250 bp in the C*07:55N allele. Specific PCR fragment of 300 bp in the C*07:31:01-07:31:02 and 07:177 and the C*06:02:23 and 12:03:10 alleles.

Primer mix 28: Specific PCR fragment of 175 bp in the C*07:44 allele. Specific PCR fragment of 260 bp in the C*07:35 and 07:47 alleles.

Primer mix 30: Specific PCR fragment of 60 bp in the C*07:75 and 07:254 alleles. Specific PCR fragment of 260 bp in the C*07:227N and the C*04:66 alleles.

Primer mix 32: Specific PCR fragment of 245 bp in the C*07:07, 07:09, 07:49, 07:76, 07:210, 07:238 and 07:247 and the C*02:14, 04:42, 05:43, 06:02:01:01-06:02:01:02, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:25, 06:04-06:10, 06:12-06:51, 06:53:01-06:75, 06:78-06:96, 15:23, 15:63 and 18:01-18:06 and in the B*08:17, B*08:47 alleles. Specific PCR fragment of 285 bp in the C*07:60 and 07:79 and the C*03:39 and 03:67 and the B*08:39 alleles.

Primer mix 33: Specific PCR fragment of 205 bp in the C*07:66 allele. Specific PCR fragment of 230 bp in the C*07:82 allele.

Primer mix 34: Specific PCR fragment of 105 bp in the C*07:67 allele. Specific PCR fragment of 270 bp in the C*07:70 allele.

Primer mix 35: Specific PCR fragment of 320 bp in the C*07:72 allele. Specific PCR fragment of 360 bp in the C*07:71 allele.

Primer mix 36: Specific PCR fragment of 185 bp in the C*07:107 and 07:224 and in the C*06:22 and 16:31 and the B*15:193 alleles. Specific PCR fragment of 265 bp in the C*07:20, 07:64, 07:73, 07:92, 07:96:01-07:96:02 and 07:172 and the C*18:04 alleles.

Primer mix 37: Specific PCR fragment of 250 bp in the C*07:63 and 07:121Q alleles. Specific PCR fragment of 275 bp in the C*07:38:01-07:38:02, 07:68 and 07:260 and the C*08:38 and the B*07:77 and B*40:60 alleles.

Primer mix 38: Specific PCR fragment of 135 bp in the C*07:58 allele. Specific PCR fragment of 195 bp in the C*07:65 allele.

Primer mix 39: Specific PCR fragment of 100 bp in the C*07:74 allele. Specific PCR fragment of 255 bp in the C*07:59 allele.

Primer mix 40: Specific PCR fragment of 120 bp in the C*07:235 allele.  Specific PCR fragment of 205 bp in the C*07:62 allele. Specific PCR fragment of 440 bp in the C*07:07, 07:09, 07:76 and 07:78 and in the C*06:17 and 18:01-18:06 alleles.

Primer mix 41: Specific PCR fragment of 140 bp in the C*07:91 allele. Specific PCR fragment of 255 bp in the C*07:88 allele.

Primer mix 42: Specific PCR fragment of 100 bp in the C*07:15 and 07:207 alleles. Specific PCR fragment of 205 bp in the C*07:77 and 07:93 alleles. Specific PCR fragment of 250 bp in the C*07:123, 07:173 and 07:294 and the B*35:08:04 alleles.

Primer mix 43: Specific PCR fragment of 105 bp in the C*07:94 and 07:183 alleles. Specific PCR fragment of 140 bp in the C*07:99 allele. Specific PCR fragment of 175 bp in the C*07:80 allele.

Primer mix 44: Specific PCR fragment of 165 bp in the C*07:98N allele. Specific PCR fragment of 195 bp in the C*07:65 and 07:77 alleles.

Primer mix 45: Specific PCR fragment of 240 bp in the C*07:245 allele. Specific PCR fragment of 475 bp in the C*07:95 and the C*04:34 and 04:122 and in the B*35:178 and B*73:01-73:02 alleles.

Primer mix 46: Specific PCR fragment of 200 bp in the C*07:83 allele. Specific PCR fragment of 315 bp in the C*07:202 allele. Specific PCR fragment of 350 bp in the C*07:90 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.

Primer mix 47: Specific PCR fragment of 200 bp in the C*07:86 allele. Specific PCR fragment of 420 bp in the C*07:152N allele.Specific PCR fragment of 455 bp in the C*07:97 allele.

Primer mix 48: Specific PCR fragment of 155 bp in the C*07:122 allele. Specific PCR fragment of 220 bp in the C*07:87 allele. Specific PCR fragment of 400 bp in the C*07:85 allele.

Primer mix 49: Specific PCR fragment of 155 bp in the C*07:101, 07:148 and 07:161 and the C*04:129, 05:42, 05:46, 06:67, 08:05, 08:21 and 17:05 alleles. Specific PCR fragment of 220 bp in the C*07:100 allele.

Primer mix 50: Specific PCR fragment of 105 bp in the C*07:104N allele. Specific PCR fragment of 170 bp in the C*07:119 and in the B*07:87 and B*27:55 alleles. Specific PCR fragment of 425 bp in the C*07:124 and 07:155 alleles.

Primer mix 51: Specific PCR fragment of 65 bp in the C*07:126 allele. Specific PCR fragment of 235 bp in the C*07:121Q allele. Specific PCR fragment of 285 bp in the C*07:117 allele.

Primer mix 52: Specific PCR fragment of 65 bp in the C*07:203 allele. Specific PCR fragment of 205 bp in the C*07:118 allele. Specific PCR fragment of 280 bp in the C*07:106 allele.

Primer mix 53: Specific PCR fragment of 110 bp in the C*07:140, 07:151 and 07:154 and in the B*37:04:02 alleles. Specific PCR fragment of 155 bp in the C*07:122 allele.

Primer mix 54: Specific PCR fragment of 120 bp in the C*07:153 and in the B*51:142 alleles. Specific PCR fragment of 235 bp in the C*07:64 allele. Specific PCR fragment of 340 bp in the C*07:125 allele. Specific PCR fragment of 370 bp in the C*07:129 allele.

Primer mix 55: Specific PCR fragment of 150 bp in the C*07:179 and the C*06:07 alleles. Specific PCR fragment of 210 bp in the C*07:252 allele. Specific PCR fragment of 290 bp in the C*07:132 allele.

Primer mix 56: Specific PCR fragment of 210 bp in the C*07:150Q allele. Specific PCR fragment of 255 bp in the C*07:123, 07:143, 07:173 and 07:294 and the B*35:08:04 alleles.

Primer mix 57: Specific PCR fragment of 70 bp in the C*07:01:25 allele. Specific PCR fragment of 175 bp in the C*07:130 and the C*05:01:17, 05:09:02, 05:17 and 08:15:02 alleles.

Primer mix 58: Specific PCR fragment of 80 bp in the C*07:137:01-07:137:02, 07:186, 07:212 and 07:265 and the C*03:162 alleles. Specific PCR fragment of 450 bp in the C*07:164N allele.

Primer mix 60: Specific PCR fragment of 130 bp in the C*07:165, 07:241 and 07:265,  and the C*03:04:19, 03:113, 04:01:43, 05:01:17, 05:09:02, 06:02:23, 08:15:02 and 12:03:10 alleles. Specific PCR fragment of 305 bp in the C*07:147 allele. Specific PCR fragment of 370 bp in the C*07:180 allele.

Primer mix 62: Specific PCR fragment of 200 bp in the C*07:84 and 07:205 alleles. Specific PCR fragment of 280 bp in the C *07:106 allele.

Primer mix 63: Specific PCR fragment of 275 bp in the C *07:24 and 07:218 alleles. Specific PCR fragment of 320 bp in the C*07:198N and 07:202 alleles.

Primer mix 64: Specific PCR fragment of 135 bp in the C*07:69 allele. Specific PCR fragment of 225 bp in the C *07:192 allele.

Primer mix 74: Specific PCR fragment of 215 bp in the C*07:33N allele. Specific PCR fragment of 355 bp in the C*07:80 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- The HLA-C*07:24 and 07:218 and the C*03:125, 03:176, 05:81, 06:87, 12:45 and 16:13 alleles are not amplified by primer mix 61. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-C*07 subtyping kit cannot distinguish the C*07:198N and the C*07:218 alleles.