PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*08

Prod. No:	101.623-12/12u

Lot No:    	84N

Expiry Date:    	2014-November-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for HLA-C*08 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*08 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 250 bp | 800 bp | *08:01:01-08:01:05, 08:03:01-08:04:02, 08:06, 08:08-08:11, 08:13-08:14, 08:16:01-08:16:02, 08:20-08:22, 08:24, 08:26N, 08:36N, 08:38-08:42, 08:44, 08:46, 08:50, 08:54, 08:56-08:60 | *01:22, 01:35, 02:03, 02:16:01-02:16:02, 02:18, 04:04:01-04:04:02, 04:06, 04:13, 04:34, 04:58, 05:11, 05:17, 05:27, 05:68, 06:04, 12:14:01-12:14:02, 12:18:01-12:18:02, 12:20, 14:06, 14:15, 15:02:01-15:07, 15:09-15:13, 15:15-15:24, 15:26-15:50, 15:52-15:60, 16:35, 16:40, 17:01:01:01-17:11, B*58:02 |
| 25 | 115 bp | 1070 bp | *08:01:01-08:01:05, 08:03:01-08:03:02, 08:06, 08:08-08:11, 08:14, 08:16:01-08:16:02, 08:20-08:22, 08:24, 08:26N, 08:36N, 08:38, 08:40-08:42, 08:44, 08:46, 08:50, 08:56, 08:58-08:60 |  |
| 35 | 115 bp | 800 bp | *08:02:01-08:02:07, 08:04:01-08:05, 08:07, 08:12-08:13, 08:17-08:19, 08:23, 08:25, 08:27-08:35, 08:37, 08:43, 08:45, 08:48-08:49, 08:52N-08:55N | *05:01:01:01-05:01:18, 05:03-05:08, 05:10-05:11, 05:13-05:16, 05:18:01-05:51Q, 05:53-05:61, 05:63-05:67, 05:69-05:74, 07:41, B*14:32 |
| 45 | 110 bp | 1070 bp | *08:03:01-08:03:02, 08:06, 08:14, 08:38, 08:40 |  |
| 5 | 155 bp | 1070 bp | *08:05, 08:15:01-08:15:02, 08:21, 08:51 | *01:13, 02:51, 03:87, 05:09:01-05:09:02, 05:17, 05:42, 05:46, 05:52, 06:67, 07:101, 07:130, 07:148, 07:161, 16:27, 17:05, B*15:33 |
| 68 | 270 bp, 310 bp | 800 bp | *08:06, 08:23 | *16:33 |
| 75 | 100 bp | 1070 bp | *08:07, 08:47 | *05:23, 05:62 |
| 89 | 225 bp, 290 bp | 1070 bp | *08:09, 08:11, 08:34, 08:59 | *05:04, 07:68 |
| 910 | 385 bp, 505 bp | 1070 bp | *08:10, 08:24 |  |
| 105,11 | 110 bp, 140 bp | 800 bp | *08:09, 08:17 |  |
| 116, 12 | 280 bp | 800 bp | *08:12 | *05:16, B*14:32 |
| 12 | 165 bp | 800 bp | *08:01:01-08:09, 08:11-08:12, 08:14-08:15:02, 08:17, 08:19-08:24, 08:26N-08:54, 08:56-08:60 | *01:43, 07:101, 07:148, 07:161 |
| 135 | 105 bp | 800 bp | *08:02:01-08:02:07, 08:05, 08:07, 08:12, 08:17-08:19, 08:23, 08:25, 08:28, 08:30, 08:32-08:35, 08:37, 08:43, 08:45, 08:47-08:48, 08:52N-08:53, 08:55N | *05:01:01:01-05:01:18, 05:03-05:07N, 05:10, 05:12-05:16, 05:18:01-05:26, 05:28-05:51Q, 05:53-05:61, 05:63-05:67, 05:69, 05:71-05:74, 07:41 |
| 1413 | 170 bp, 280 bp | 1070 bp | *08:08, 08:18 |  |
| 1514 | 265 bp | 1070 bp | *08:13, 08:16:01, 08:25 | *05:29 |
| 165,6,15 | 100 bp, 545 bp | 1070 bp | *08:14, 08:22, 08:56 | *01:21, 02:42, 06:05, 07:02:09, 12:16, 15:29, B*67:02 |
| 1716 | 375 bp, 430 bp | 1070 bp | *08:05, 08:21, 08:25, 08:28 | *05:25, 05:42, 05:46 |
| 185,17 | 80 bp, 200 bp | 1070 bp | *08:26N, 08:31 |  |
| 195,7,18 | 115 bp, 250 bp | 800 bp | *08:27, 08:29-08:32 | *05:08 |
| 205 | 110 bp | 1070 bp | *08:35, 08:54 | *05:44 |
| 216 | 195 bp | 1070 bp | *08:01:01-08:01:05, 08:03:01-08:03:02, 08:06, 08:08-08:11, 08:14, 08:16:01-08:16:02, 08:20-08:22, 08:24, 08:26N-08:27, 08:33:02, 08:35-08:36N, 08:38-08:42, 08:44, 08:46, 08:50, 08:54, 08:56, 08:58-08:60 | *01:02:06, 01:04, 01:21, 02:02:05, 02:02:13, 02:05-02:06, 02:10, 02:12, 02:14, 02:16:01, 02:17, 02:27:02, 02:33, 04:01:01:01-04:01:06, 04:01:09-04:01:37, 04:03-04:20, 04:23-04:112, 05:12, 05:18:01, 06:02:01:01-06:02:01:02, 06:02:03-06:15, 06:17-06:40, 06:42-06:61, 06:63-06:76, 12:02:01-12:03:15, 12:03:18-12:13, 12:14:02-12:31, 12:33-12:76, 14:02:01-14:02:04, 14:02:06-14:16, 14:18-14:37, 15:02:01-15:02:04, 15:02:06-15:05:05, 15:06:01-15:06:02, 15:07-15:13, 15:15-15:60, 16:01:01-16:02:02, 16:02:04-16:02:09, 16:04, 16:06-16:26, 16:28-16:45, 17:01:01:01-17:05, 17:07-17:11, 18:01-18:05 |
| 225,19 | 80 bp, 155 bp | 1070 bp | *08:33:01, 08:41 | *05:18:02-05:18:03, 05:27, 05:39, 07:04:01-07:04:07, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199, B*14:32, B*44:148 |
| 235 | 95 bp | 1070 bp | *08:36N |  |
| 245 | 100 bp, 145 bp | 1070 bp | *08:37, 08:56 | *02:14, 04:42, 05:43, 06:05, 07:02:09, 12:16, 15:23, 16:21 |
| 255 | 115 bp | 1070 bp | *08:39 | *05:12, A*29:10, B*44:148 |
| 265 | 125 bp | 1070 bp | *08:42 |  |
| 275 | 100 bp | 1070 bp | *08:43 |  |
| 287 | 185 bp, 285 bp | 1070 bp | *08:02:07, 08:33:02, 08:44 | *05:10, B*44:148 |
| 297 | 205 bp | 1070 bp | *08:38, 08:52N |  |
| 30 | 405 bp, 470 bp | 1070 bp | *08:20, 08:28, 08:40 | *05:25, 05:42, 06:73, 07:41, A*01:01:06 |
| 31 | 500 bp | 1070 bp | *08:02:06, 08:19 | *05:64 |
| 325 | 125 bp, 265 bp | 1070 bp | *08:19, 08:55N | *05:64 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*08 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*08 SSP subtyping.

In addition, wells number 3, 6, 10 to 13 and 19 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C*08 alleles 4th, 5th and 6th exon or intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 4th, 5th and 6th  exon or in introns are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-C alleles non-HLA-C*08 alleles will be amplified by primer mixes 1, 3, 5 to 8, 11 to 13, 15 to 17, 19 to 22, 24, 25, 28 and 30 to 32. In addition, primer mix 1 will amplify the B*58:02 allele, primer mixes 3, 11 and 22 will amplify the B*14:32 allele, primer mix 5 will amplify the B*15:33 allele, primer mix 16 will amplify the B*67:02 allele, primer mixes 22, 25 and 28 will amplify the B*44:148 allele, primer mix 25 will amplify the A*29:10 allele and primer mix 30 will amplify the A*01:01:06 allele .

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 11, 16 and 21 have a tendency of giving rise to non-specific amplifications.

7Primer mixes 19, 28 and 29 may give rise to primer oligomer formation.

8Primer mix 6: Specific PCR fragment of 270 bp in the C*08:06 and the C*16:33 alleles. Specific PCR fragment of 310 bp in the C*08:23 allele.

9Primer mix 8: Specific PCR fragment of 225 bp in the C*08:09, 08:11 and 08:59 and in the C*05:04 and 07:68 alleles. Specific PCR fragment of 290 bp in the C*08:34 allele.

10Primer mix 9: Specific PCR fragment of 385 bp in the C*08:24 allele. Specific PCR fragment of 505 bp in the C*08:10 allele.

11Primer mix 10: Specific PCR fragment of 110 bp in the C*08:09 allele. Specific PCR fragment of 140 bp in the C*08:17 allele.

13Primer mix 14: Specific PCR fragment of 170 bp in the C*08:18 allele. Specific PCR fragment of 280 bp in the C*08:08 allele.

15Primer mix 16: Specific PCR fragment of 100 bp in the C*08:14 and the C*01:21, 02.42, 06:05, 07:02:09 and 12:16 and in the B*67:02 allele. Specific PCR fragment of 545 bp in the C*08:22 and 08:56 and the C*15:29 alleles.

16Primer mix 17: Specific PCR fragment of 375 bp in the C*08:05, 08:21 and 08:25 and the C*05:46 alleles. Specific PCR fragment of 430 bp in the C*08:28 and C*05:25 alleles. Specific PCR fragment of 375 and 430 bp in the C*05:42 allele.

17Primer mix 18: Specific PCR fragment of 80 bp in the C*08:31 allele. Specific PCR fragment of 200 bp in the C*08:26N allele.

18Primer mix 19: Specific PCR fragment of 115 bp in the C*08:27 and 08:29-08:31 and the C*05:08 alleles. Specific PCR fragment of 250 bp in the C*08:32 allele.

19Primer mix 22: Specific PCR fragment of 80 bp in the C*08:41 and the C*05:27 and 05:39 alleles. Specific PCR fragment of 155 bp in the C*08:33:01 and the C*05:18:02-05:18:03, 07:04:01-07:04:07, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181 and 07:199 and the B*14:32 alleles. Specific PCR fragments of 80 and 155 bp in the B*44:148 allele.

19Primer mix 24: Specific PCR fragment of 100 bp in the C *08:56 allele. Specific PCR fragment of 145 bp in the C*08:37 and the C*02:14, 04:42, 05:43, 06:05, 07:02:09, 12:16, 15:23 and 16:21 alleles.

19Primer mix 28: Specific PCR fragment of 185 bp in the C*08:02:07 and 08:33:02 alleles. Specific PCR fragment of 285 bp in the C*08:44 and the C*05:10 and the B*44:148 alleles.

19Primer mix 30: Specific PCR fragment of 405 bp in the C*08:28 and the C*05:25, 05:42 and 07:41 and the A*01:01:06 alleles. Specific PCR fragment of 470 bp in the C*08:20 and 08:40 and the C*06:73 alleles.

19Primer mix 32: Specific PCR fragment of 125 bp in the C*08:19 and the C*05:64 alleles. Specific PCR fragment of 265 bp in the C*08:55N allele.

1HLA-C*08 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.8.0, April 2012.

2The HLA-C*08 subtyping kit cannot separate the C*08:15:01-08:15:02 and 08:51 alleles from the C*07:148 and 07:161 alleles. The C*08 and C*07 alleles can be distinguished by the HLA-C low resolution and/or HLA-C*07 kits.

3The C*08:30 and C*08:32 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

4Primer mix 6: Specific PCR fragment of 270 bp in the C*08:06 and the C*16:33 alleles. Specific PCR fragment of 310 bp in the C*08:23 allele.

Primer mix 8: Specific PCR fragment of 225 bp in the C*08:09, 08:11 and 08:59 and in the C*05:04 and 07:68 alleles. Specific PCR fragment of 290 bp in the C*08:34 allele.

Primer mix 9: Specific PCR fragment of 385 bp in the C*08:24 allele. Specific PCR fragment of 505 bp in the C*08:10 allele.

Primer mix 10: Specific PCR fragment of 110 bp in the C*08:09 allele. Specific PCR fragment of 140 bp in the C*08:17 allele.

Primer mix 14: Specific PCR fragment of 170 bp in the C*08:18 allele. Specific PCR fragment of 280 bp in the C*08:08 allele.

Primer mix 16: Specific PCR fragment of 100 bp in the C*08:14 and the C*01:21, 02.42, 06:05, 07:02:09 and 12:16 and in the B*67:02 allele. Specific PCR fragment of 545 bp in the C*08:22 and 08:56 and the C*15:29 alleles.

Primer mix 17: Specific PCR fragment of 375 bp in the C*08:05, 08:21 and 08:25 and the C*05:46 alleles. Specific PCR fragment of 430 bp in the C*08:28 and C*05:25 alleles. Specific PCR fragment of 375 and 430 bp in the C*05:42 allele.

Primer mix 18: Specific PCR fragment of 80 bp in the C*08:31 allele. Specific PCR fragment of 200 bp in the C*08:26N allele.

Primer mix 19: Specific PCR fragment of 115 bp in the C*08:27 and 08:29-08:31 and the C*05:08 alleles. Specific PCR fragment of 250 bp in the C*08:32 allele.

Primer mix 22: Specific PCR fragment of 80 bp in the C*08:41 and the C*05:27 and 05:39 alleles. Specific PCR fragment of 155 bp in the C*08:33:01 and the C*05:18:02-05:18:03, 07:04:01-07:04:07, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181 and 07:199 and the B*14:32 alleles. Specific PCR fragments of 80 and 155 bp in the B*44:148 allele.

Primer mix 24: Specific PCR fragment of 100 bp in the C *08:56 allele. Specific PCR fragment of 145 bp in the C*08:37 and the C*02:14, 04:42, 05:43, 06:05, 07:02:09, 12:16, 15:23 and 16:21 alleles.

Primer mix 28: Specific PCR fragment of 185 bp in the C*08:02:07 and 08:33:02 alleles. Specific PCR fragment of 285 bp in the C*08:44 and the C*05:10 and the B*44:148 alleles.

Primer mix 30: Specific PCR fragment of 405 bp in the C*08:28 and the C*05:25, 05:42 and 07:41 and the A*01:01:06 alleles. Specific PCR fragment of 470 bp in the C*08:20 and 08:40 and the C*06:73 alleles.

Primer mix 32: Specific PCR fragment of 125 bp in the C*08:19 and the C*05:64 alleles. Specific PCR fragment of 265 bp in the C*08:55N allele.