Gel Documentation Form and Worksheet

HLA-C*08	Lot No: 72V	Expiry Date: 2016-November-01

(101.623-12/12u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 11, 15 and 21 may have tendencies of unspecific amplifications.

Primer mixes 19, 23, 28 and 29 have a tendency to giving rise to primer oligomer formation.

Primer mix 16 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*08 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*08 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 65 bp in the C*08:102 and the C*07:06 and 07:18-07:19 alleles.

Specific PCR fragment of 270 bp in the C*08:06 and the C*16:33 alleles. Specific PCR fragment of 310 bp in the C*08:23 allele.

Primer mix 7: Specific PCR fragment of 100 bp in the C*08:07 and 08:47 and the C*05:23, 05:62 and 07:02:35 alleles. Specific PCR fragment of 230 bp in the C*08:87 alleles.

Primer mix 8: Specific PCR fragment of 225 bp in the C*08:09, 08:11 and 08:59 and the C*05:04:01-05:04:02, 07:68, 07:260 and 07:302 and in the B*18:83 alleles. Specific PCR fragment of 290 bp in the C*08:34 allele.

Primer mix 9: Specific PCR fragment of 140 bp in the C*08:88N allele. Specific PCR fragment of 375 bp in the C*08:24 and 08:75 alleles. Specific PCR fragment of 505 bp in the C*08:10 and the 05:79 alleles.

Primer mix 10: Specific PCR fragment of 110 bp in the C*08:09 allele. Specific PCR fragment of 140 bp in the C*08:17 allele.

Primer mix 11: Specific PCR fragment of 255 bp in the C*08:86 allele. Specific PCR fragment of 280 bp in the C*08:12 and the C*05:16 and 05:85 and in the B*14:32 alleles.

Primer mix 14: Specific PCR fragment of 170 bp in the C*08:18 allele. Specific PCR fragment of 280 bp in the C*08:08:01-08:08:02 alleles.

Primer mix 16: Specific PCR fragment of 100 bp in the C*08:14 and 08:80 and the C*01:21, 02:42, 04:140, 05:98, 06:05, 07:02:09, 12:16 and 15:63 and in the B*67:02 allele. Specific PCR fragment of 545 bp in the C*08:22 and 08:56 and the 01:85 and 15:29 alleles.

Primer mix 17: Specific PCR fragment of 375 bp in the C*08:05, 08:21 and 08:25 and the 05:46 alleles. Specific PCR fragment of 430 bp in the C*08:28 and the C*05:25 alleles. Specific PCR fragment of 375 and 430 bp in the C*05:42 allele.

Primer mix 18: Specific PCR fragment of 80 bp in the C*08:31 allele. Specific PCR fragment of 200 bp in the C*08:26N allele.

Primer mix 19: Specific PCR fragment of 115 bp in the C*08:27, 08:29, 08:30 and 08:31 and the C*05:08 and 05:89 alleles. Specific PCR fragment of 250 bp in the C*08:32 allele.

Primer mix 22: Specific PCR fragment of 80 bp in the C*08:41 and the C*05:27 and 05:39 alleles. Specific PCR fragment of 155 bp in the C*08:33:01 and the C*05:18:02-05:18:03, 07:04:01-07:04:09, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338 and in the B*14:32, B*18:83 alleles. Specific PCR fragments of 80 and 155 bp in the B*44:148 allele.

Primer mix 23: Specific PCR fragment of 95 bp in the C*08:36N allele. Specific PCR fragment of 205 bp in the C*08:70Q allele. Specific PCR fragment of 240 bp in the C*08:78 and the C*03:236 and 04:106 alleles.

Primer mix 24: Specific PCR fragment of 105 bp in the C*08:56 and 08:89N alleles. Specific PCR fragment of 150 bp in the C*08:37 and 08:53 and the C*02:14, 04:42, 05:43, 06:05, 07:02:09, 12:16, 15:23, 15:63 and 16:21 alleles.

Primer mix 25: Specific PCR fragment of 115 bp in the C*08:39 and the 05:12 allele. Specific PCR fragment of 265 bp in the C*08:62 and 08:82 and the 05:05 and in the A*02:425, A*68:69 and B*14:32 alleles. Specific PCR fragment of 115 bp and 265 bp in the A*29:10 and in the B*18:83 and B*44:148 alleles.

Primer mix 27: Specific PCR fragment of 125 bp in the C*08:19 and 08:101 and the C*05:64:01-05:64:02 alleles. Specific PCR fragment of 265 bp in the C*08:55N and the C*05:92N alleles.

Primer mix 28: Specific PCR fragment of 155 bp in the C*08:53 alleles. Specific PCR fragment of 185 bp in the C*08:01:07, 08:02:07 and 08:33:02 and the C*04:120 alleles. Specific PCR fragment of 285 bp in the C*08:44, 08:61 and 08:82 and the C*05:10 and in the B*44:148 alleles.

Primer mix 30: Specific PCR fragment of 65 bp in the C*08:99 allele. Specific PCR fragment of 405 bp in the C*08:28 and the C*05:25, 05:42, 07:02:35 and 07:41 and in the A*01:01:06 alleles. Specific PCR fragment of 470 bp in the C*08:20 and 08:40 and the C*03:171, 03:211:01, 04:144, 05:93, 06:73 and 12:109 alleles.

‘w’, might be weakly amplified.

4The HLA-C*08 primer set cannot separate the 08:15:01-08:15:02 and 08:51 alleles from the C*07:148 and 07:161 alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*07 high resolution kit.

The HLA-C*08 primer set cannot separate the C*08:55N from the C*05:92N allele. These alleles can be distinguished by the HLA-C low resolution kit.

The HLA-C*08 primer set cannot separate the C*08:94 from the C*05:29:01-05:29:02 alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*05 high resolution kit.

5The following HLA-C*08 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*08:01:07, 08:44 | 28 | C*08:30, 08:32 | 19 |
| C*08:20, 08:99 | 30 | C*08:36N, 08:78 | 23 |
| C*08:22, 08:80 | 16 | C*08:55N, 05:64:02 | 27 |
| C*08:24, 08:88N | 9 |

The HLA-C*08 primer set cannot distinguish the following silent mutations: the C*08:01:01-08:01:06 and C*08:01:08-08:01:13 alleles, the C*08:02:01-08:02:05 and  C*08:02:08-08:02:10 alleles, the 08:03:01-08:03:03 alleles, the C*08:04:01-08:04:03 alleles, the C*08:08:01-08:08:02 alleles, the 08:15:01-08:15:02 alleles,  the C*08:16:01-08:16:02 alleles or the C*08:72:01-08:72:02 alleles.