Gel Documentation Form and Worksheet

HLA-C*12 (101.624-12/12u) 	Lot No: 46V	Expiry Date: 2016-August-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 5 and 12 may give rise to a lower yield of HLA-specific PCR product than the other C*12 primer mixes.

Primer mixes 8 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 38 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*12 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 75 bp in the C*12:48 and 12:102 alleles. Specific PCR fragment of 150 bp in the C*12:06 allele. Specific PCR fragment of 415 bp in the C*12:08 and 12:81 and in the C*03:08, 03:29, 03:31, 04:112, 05:36 and 06:44 alleles.

Primer mix 8: Specific PCR fragment of 95 bp in the C*12:15 and the C*15:02:14 alleles. Specific PCR fragment of 155 bp in the C*12:40 and in the C*16:14 alleles. Specific PCR fragment of 195 bp in the C*12:80N allele. Specific PCR fragment of 245 bp in the C*12:07 allele.

Primer mix 13: Specific PCR fragment of 105 bp in the C*12:31 allele. Specific PCR fragment of 150 bp in the C*12:10:01-12:10:02 and the C*14:02:08 alleles. Specific PCR fragment of 105 and 150 bp in the C*04:01:05 allele.

Primer mix 14: Specific PCR fragment of 100 bp in the C*12:16 and the C*01:21, 02:42, 04:140, 05:98, 06:05w, 07:02:09, 08:14, 08:80, 15:63 and in the B*67:02 alleles. Specific PCR fragment of 150 bp in the C*12:11 and 12:60 allele.

Primer mix 16: Specific PCR fragment of 185 bp in the C*12:13 allele. Specific PCR fragment of 225 bp in the C*12:14:01-12:14:02 and the C*01:60, 04:58, 04:160, 05:23, 05:62, 06:118, 08:07, 08:47, 14:17, 15:65 and 17:01:01:01-17:23 alleles.

Primer mix 18: Specific PCR fragment of 145 bp in the C*04:12 allele. Specific PCR fragment of 245 bp in C*03:53 allele. Specific PCR fragments of 145 bp and 245 bp in the C*12:17 and C*12:27 alleles. Specific PCR fragment of 165 and 270 bp in C*12:35 allele. All specific bands may not always be visible.

Primer mix 20: Specific PCR fragment of 105 bp in the C*12:46N allele. Specific PCR fragment of 180 bp in the C*12:22 and 12:58 and the C*04:52, 04:55, 05:55, 14:10 and 15:12 allele. Specific PCR fragment of 220 bp in the C*12:19 allele.

Primer mix 22:  Specific PCR fragment of 100 bp in the C*12:15 and 12:23 and the C*15:02:14 alleles. Specific PCR fragments of 590 bp in C*12:21 allele.

Primer mix 24: Specific PCR fragment of 185 bp in the C*12:43 allele. Specific PCR fragment of 425 bp in the C*12:28 and the C*04:01:05 and 06:76:02 alleles.

Primer mix 25: Specific PCR fragment of 80 bp in the C*12:39N allele. Specific PCR fragment of 155 bp in the C*12:02:06, 12:02:08 and 12:21 and the C*04:01:05 and 08:02:02 alleles.

Primer mix 27: Specific PCR fragment of 100 bp in the C*12:30 and the C*07:214 alleles. Specific PCR fragment of 155 bp in the C*12:03:19 and the C*01:04 alleles. Specific PCR fragment of 205 bp in the C*12:36 allele. Specific PCR fragment of 295 bp in the C*12:101 allele.

Primer mix 28: Specific PCR fragment of 275 bp in the C*12:50 and the C*01:32, 02:56, 03:102, 06:20, 07:81 and 07:168 alleles. Specific PCR fragment of 350 bp in C*12:45 and the C*05:81, 06:87, 07:24, 07:218, 16:13 and 16:61 alleles.

Primer mix 29: Specific PCR fragment of 125 bp in the C*12:38 and 12:104N and in the B*15:181N and B*57:50 alleles. Specific PCR fragment of 185 bp in the C*12:42Q and in the B*46:51Q allele. Specific PCR fragments of 210 bp in C*12:29 and 12:86 alleles.

Primer mix 30: Specific PCR fragment of 85 bp in the C*12:32 and 12:102 and the C*06:41 alleles. Specific PCR fragment of 230 bp in C*12:34 allele.

Primer mix 31: Specific PCR fragment of 120 bp in the C*12:47 and the A*26:67 and A*68:95 alleles. Specific PCR fragment of 145 bp in the C *12:84N allele. Specific PCR fragment of 190 bp in the C*12:42Q and 12:80N and in the B*46:51Q alleles.

Primer mix 32: Specific PCR fragment of 50 bp in the C*12:54 and the C*01:59, 02:65, 03:130, 03:140, 04:114, 05:20, 06:82, 07:49, 07:210, 07:238, 07:247, 14:04 and 16:57 and in the A*68:46 alleles. Specific PCR fragment of 115 bp in C*12:37 and the C*07:204 and in the A*02:211:01, A*24:261, A*68:76 alleles.

‘w’, might be weakly amplified.

4The HLA-C*12 primer set cannot separate the C*12:09, C*05:16 and C*05:85 alleles, the C*12:16 and C*01:21 alleles, the C*12:18:02 and C*08:21 or the C*12:33 and the C*02:05:01-02:05:03 and 02:17 alleles. These alleles can be distinguished by the HLA-C low resolution kit and the HLA-C*01, HLA-C*02, HLA-C*05 or HLA-C*08 kit, respectively.

5The following HLA-C*12 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| C*12:06, 12:48, 12:81 | 6 |
| C*12:29, 12:38 | 29 |
| C*12:30, 12:36 | 27 |
| C*12:32, 12:34 | 30 |
| C*12:45, 12:50 | 28 |
| C*12:86, 12:104N | 29 |

Change in revision R01 compared to R00:

- The expiry date has been corrected to 2016-August-01.

Change in revision R02 compared to R01:

- Primer mix 21 does not amplify the B*58:02 allele. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R03 compared to R02:

- Primer mix 26 does not amplify the C*07:10 allele. This primer mix may also give rise to a lower yield of HLA-specific PCR product than the other HLA-C*12 high resolution primer mixes in the C*03 alleles. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R04 compared to R03:

- The C*07:10 allele is amplified by primer mix 26. This has been corrected in the Specificity and Interpretation Tables.