Gel Documentation Form and Worksheet

HLA-C*12 (101.624-12/12u) 	Lot No: 77X	Expiry Date: 2017-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                           Failed lanes: ____________                          Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 5 and 12 may give rise to a lower yield of HLA-specific PCR product than the other C*12 primer mixes.

Primer mixes 8 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 38 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*12 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 75 bp in the C*12:48 and 12:102 alleles. Specific PCR fragment of 150 bp in the C*12:06 allele. Specific PCR fragment of 415 bp in the C*12:08 and 12:81 and in the C*03:08, 03:29, 03:31, 04:112, 05:36 and 06:44 alleles.

Primer mix 8: Specific PCR fragment of 95 bp in the C*12:15 and the C*15:02:14 alleles. Specific PCR fragment of 155 bp in the C*12:40 and in the C*16:14 alleles. Specific PCR fragment of 195 bp in the C*12:80N allele. Specific PCR fragment of 245 bp in the C*12:07 allele.

Primer mix 13: Specific PCR fragment of 105 bp in the C*12:31 allele. Specific PCR fragment of 150 bp in the C*12:10:01-12:10:02 and the C*14:02:08 alleles. Specific PCR fragment of 105 and 150 bp in the C*04:01:05 allele.

Primer mix 14: Specific PCR fragment of 100 bp in the C*12:16 and the C*01:21, 02:42, 04:140, 05:98, 06:05w, 07:02:09, 08:14, 08:80, 15:63 and in the B*67:02 alleles. Specific PCR fragment of 150 bp in the C*12:11 and 12:60 allele.

Primer mix 16: Specific PCR fragment of 185 bp in the C*12:13 allele. Specific PCR fragment of 225 bp in the C*12:14:01-12:14:02 and the C*01:60, 04:58, 04:160, 05:23, 05:62, 06:118, 08:07, 08:47, 14:17, 15:65 and 17:01:01:01-17:23 alleles.

Primer mix 18: Specific PCR fragment of 145 bp in the C*04:12 allele. Specific PCR fragment of 245 bp in C*03:53 allele. Specific PCR fragments of 145 bp and 245 bp in the C*12:17 and C*12:27 alleles. Specific PCR fragment of 165 and 270 bp in C*12:35 allele. All specific bands may not always be visible.

Primer mix 20: Specific PCR fragment of 105 bp in the C*12:46N allele. Specific PCR fragment of 180 bp in the C*12:22 and 12:58 and the C*04:52, 04:55, 05:55, 14:10 and 15:12 allele. Specific PCR fragment of 220 bp in the C*12:19 allele.

Primer mix 22:  Specific PCR fragment of 100 bp in the C*12:15 and 12:23 and the C*15:02:14 alleles. Specific PCR fragments of 590 bp in C*12:21 allele.

Primer mix 24: Specific PCR fragment of 185 bp in the C*12:43 allele. Specific PCR fragment of 425 bp in the C*12:28 and the C*04:01:05 and 06:76:02 alleles.

Primer mix 25: Specific PCR fragment of 80 bp in the C*12:39N allele. Specific PCR fragment of 155 bp in the C*12:02:06, 12:02:08 and 12:21 and the C*04:01:05 and 08:02:02 alleles.

Primer mix 27: Specific PCR fragment of 100 bp in the C*12:30 and the C*07:214 alleles. Specific PCR fragment of 155 bp in the C*12:03:19 and the C*01:04 alleles. Specific PCR fragment of 205 bp in the C*12:36 allele. Specific PCR fragment of 295 bp in the C*12:101 allele.

Primer mix 28: Specific PCR fragment of 275 bp in the C*12:50 and the C*01:32, 02:56, 03:102, 06:20, 07:81 and 07:168 alleles. Specific PCR fragment of 350 bp in C*12:45 and the C*05:81, 06:87, 07:24, 07:218, 16:13 and 16:61 alleles.

Primer mix 29: Specific PCR fragment of 125 bp in the C*12:38 and 12:104N and in the B*15:181N and B*57:50 alleles. Specific PCR fragment of 185 bp in the C*12:42Q and in the B*46:51Q allele. Specific PCR fragments of 210 bp in C*12:29 and 12:86 alleles.

Primer mix 30: Specific PCR fragment of 85 bp in the C*12:32 and 12:102 and the C*06:41 alleles. Specific PCR fragment of 230 bp in C*12:34 allele.

Primer mix 31: Specific PCR fragment of 120 bp in the C*12:47 and in the A*26:67 and A*68:95 alleles. Specific PCR fragment of 145 bp in the C *12:84N allele. Specific PCR fragment of 190 bp in the C*12:42Q and 12:80N and in the B*46:51Q alleles.

Primer mix 32: Specific PCR fragment of 50 bp in the C*12:54 and the C*01:59, 02:65, 03:130, 03:140, 04:114, 05:20, 06:82, 07:49, 07:210, 07:238, 07:247, 14:04 and 16:57 and in the A*68:46 alleles. Specific PCR fragment of 115 bp in C*12:37 and the C*07:204 and in the A*02:211:01, A*24:261, A*68:76:01 alleles.

‘w’, might be weakly amplified.

4The HLA-C*12 primer set cannot separate the C*12:09, C*05:16 and C*05:85 alleles, the C*12:16 and C*01:21 alleles, the C*12:18:02 and C*08:21 or the C*12:33 and the C*02:05:01-02:05:03 and 02:17 alleles. These alleles can be distinguished by the HLA-C low resolution kit and the HLA-C*01, HLA-C*02, HLA-C*05 or HLA-C*08 kit, respectively.

5The following HLA-C*12 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| C*12:06, 12:48, 12:81 | 6 |
| C*12:29, 12:38 | 29 |
| C*12:30, 12:36 | 27 |
| C*12:32, 12:34 | 30 |
| C*12:45, 12:50 | 28 |
| C*12:86, 12:104N | 29 |

Change in revision R01 compared to R00:

- Primer mix 21 does not amplify the B*58:02 allele. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R02 compared to R01:

- Primer mix 26 does not amplify the C*07:10 allele. This primer mix may also give rise to a lower yield of HLA-specific PCR product than the other HLA-C*12 high resolution primer mixes in the C*03 alleles. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R03 compared to R02:

- The C*07:10 allele is amplified by primer mix 26. This has been corrected in the Specificity and Interpretation Tables.