Gel Documentation Form and Worksheet

HLA-C*14	Lot No: 19X	Expiry Date: 2017-March-01

(101.625-06/06u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 18 may have tendencies of unspecific amplification.

Primer mix 29 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*14 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 10: specific PCR product of 100 bp in the C*14:21N allele. Specific PCR product of 145 bp in the C*14:47N allele. Specific PCR product of 210 bp in the C*14:06, 14:15 and 14:53 alleles.

Primer mix 12: specific PCR product of 225 bp in the C*14:08 allele. Specific PCR product of 320 bp in the C*14:23 allele.

Primer mix 13: specific PCR product of 125 bp in the C*14:14 and in the A*24:225:02 alleles. Specific PCR product of 285 bp in the C*14:10 and the C*03:231, 04:52, and 04:55 and in the A*24:248 alleles.

Primer mix 14: specific PCR product of 200 bp in the C*14:15 allele. Specific PCR product of 290 bp in the C*14:11 allele.

Primer mix 17: specific PCR product of 150 bp in the C*14:22, 14:27 and 14:47N alleles. Specific PCR product of 210 bp in the C*14:16 and the C*02:17 alleles.

Primer mix 18: specific PCR product of 90 bp in the C*14:26 allele. Specific PCR product of 180 bp in the C*14:17 and 14:48 alleles.

Primer mix 19: specific PCR product of 85 bp in the C*14:18 and the C*04:140 and 04:166 alleles. Specific PCR product of 180 bp in the C*14:29 and 14:48 alleles.

Primer mix 20: specific PCR product of 105 bp in the C*14:19 and the C*03:88 alleles. Specific PCR product of 140 bp in the C*14:28 and 14:35N alleles.

Primer mix 21: specific PCR product of 125 bp in the C*14:32 allele. Specific PCR product of 230 bp in the C*14:20 allele.

Primer mix 22: specific PCR product of 95 bp in the C*14:24:01-14:24:02 and the C*03:23 alleles. Specific PCR product of 250 bp in the C*14:31 allele.

Primer mix 23: specific PCR product of 125 bp in the C*14:32 allele. Specific PCR product of 230 bp in the C*14:25 and the C*02:17 alleles.

Primer mix 25: specific PCR product of 90 bp in the C*14:55 allele. Specific PCR product of 270 bp in the C*14:44 allele.

4The following HLA-C*14 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| C*14:18, 14:29 | 19 |
| C*14:24:01-14:24:02, 14:31 | 22 |
| C*14:44, 14:55 | 25 |

The HLA-C*14 subtyping kit cannot distinguish the following silent mutations: the C*14:02:01 and 14:02:04-14:02:16 alleles or the C*14:24:01-14:24:02 alleles.

‘w’, may be weakly amplified.