Gel Documentation Form and Worksheet

HLA-C*15 (101.626-12/12u) 	Lot No: 23V	Expiry Date: 2016-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 5 and 23 may give rise to a lower yield of HLA-specific PCR product than the other C*15 primer mixes.

Primer mixes 17 and 18 may have tendencies of unspecific amplifications.

Primer mix 31 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*15 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 85 bp in the C*15:28 allele. Specific PCR fragment of 210 bp in the C*15:03, 15:16, 15:25w and the C*03:15, 03:27w, 03:38:01w-03:38:02w, 03:69w, 03:130, 03:136w, 03:163, 04:16, 06:03:01, 07:02:10w, 07:96:01w-07:96:02w, 07:127w, 07:246w, 07:263w and 12:03:23w alleles.

Primer mix 6: Specific PCR fragment of 305 bp in the C*15:06:01-15:06:03, 15:40 and 15:55 alleles. Specific PCR fragment of 345 bp in the C*15:26 and 15:69 alleles. Specific PCR fragment of 370 bp in the C*15:22, 15:37, 15:55, 15:58, 15:65 and 15:72 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the C*15:08 and 15:74 and the C*02:06, 02:47, 12:15, B*07:78w, B*13:18w, 13:31w, 13:41w, B*15:73w, B*54:10w, 54:20w, B*55:09w, 55:21w, 55:37w, 55:52w and in the B*56:43w alleles. Specific PCR fragment of 185 bp in the C*15:19 allele.

Primer mix 9: Specific PCR fragment of 135 bp in the C*15:11, 15:23, 15:63 and in the C*02:02:01-02:02:03, 02:02:05-02:02:12, 02:02:14-02:02:25, 02:03-02:20, 02:22-02:25Q, 02:27:01-02:38N, 02:40, 02:42-02:44, 02:46-02:68, 02:70-02:72, 04:03:01-04:03:02, 04:06, 04:42, 04:80, 04:107, 04:147, 04:160, 05:26, 05:43, 06:05, 07:02:09, 08:37, 12:16, 16:21, 16:34 alleles. Specific PCR fragment of 305 bp in the C*15:18 allele.

Primer mix 12: Specific PCR fragment of 100 bp in the C*15:28 allele. Specific PCR fragment of 240 bp in the C*15:07, 15:21w, 15:25 and 15:43 and the  C*02:12w, 02:27:01-02:27:02, 03:02:01-03:02:09, 03:02:11-03:03:14, 03:03:15w, 03:03:16-03:03:20, 03:03:22-03:04:16, 03:04:18-03:04:25, 03:04:27-03:06, 03:08-03:09, 03:10w, 03:11:01-03:11:02, 03:13:01-03:14, 03:16-03:17, 03:19-03:28, 03:29w, 03:30-03:38:02, 03:40:01-03:44, 03:46-03:64:01, 03:65-03:66, 03:68-03:98, 03:100-03:114, 03:116:01-03:129, 03:131-03:133, 03:135-03:136, 03:138-03:139, 03:141-03:143, 03:145-03:155, 03:157-03:162, 03:164-03:165, 03:167-03:169Q, 03:171-03:181, 03:183-03:194, 03:196-03:218, 03:220, 07:96:01-07:96:02, 12:03:23, 16:34 and in the B*40:164 alleles

Primer mix 13: Specific PCR fragment of 125 bp in the C*15:24 and the C*04:89, 04:135 and 05:47 alleles. Specific PCR fragment of 185 bp in the C*15:12 and in the C*04:52, 04:55, 05:55, 12:58 and 14:10 alleles.

Primer mix 14: Specific PCR fragment of 130 bp in the C*15:13 allele. Specific PCR fragment of 440 bp the C*15:11, 15:16-15:17 and 15:43 and the C*02:06, 02:47, 03:19, 03:102, 07:289, 12:15 and in the B*46:11, B*46:18, B*56:08 and B*56:14 alleles.

Primer mix 16: Specific PCR fragment of 90 bp in the C*15:27 and in the B*35:222 alleles. Specific PCR fragment of 165 bp in the C*15:15 and 15:77 alleles. Specific PCR fragment of 345 bp in the C*15:26 and 15:69 alleles.

Primer mix 17: Specific PCR fragment of 140 bp in the C*15:34 allele. Specific PCR fragment of 215 bp in the C*15:36 and the C*04:112 alleles. Specific PCR fragment of 295 bp in the C*15:39 and the C*01:30, 08:51 and 12:87 alleles.

Primer mix 19: Specific PCR fragment of 165 bp in the C*15:42 allele. Specific PCR fragment of 355 bp in the C*15:46 allele.

Primer mix 20: Specific PCR fragment of 120 bp in the C*15:44 allele. Specific PCR fragment of 235 bp in the C*15:45 allele.

Primer mix 21: Specific PCR fragment of 170 bp in the C*15:47 allele. Specific PCR fragment of 445 bp in the C*15:35 and the C*02:35 and 05:21 alleles.

Primer mix 23: Specific PCR fragment of 175 bp in the C*15:48 allele. Specific PCR fragment of 545 bp in the C*15:29 and the C*08:22 and 08:56 alleles.

Primer mix 24: Specific PCR fragment of 175 bp in the C*15:32Q and the C*06:74Q alleles. Specific PCR fragment of 380 bp in the C*15:41 allele.

‘w’, might be weakly amplified.

4The following HLA-C*15 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| C*15:32Q, 15:41 | 24 |
| C*15:34, 15:39 | 17 |
| C*15:35, 15:47 | 21 |
| C*15:44, 15:45 | 20 |