Gel Documentation Form and Worksheet

HLA-C*15 (101.626-12/12u) 	Lot No: 20Y	Expiry Date: 2017-September-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 5 and 23 may give rise to a lower yield of HLA-specific PCR product than the other C*15 primer mixes.

Primer mixes 17, 18 and 27 may have tendencies of unspecific amplifications.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*15 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 85 bp in the C*15:28 allele. Specific PCR fragment of 210 bp in the C*15:03, 15:16 and 15:25w and the C*03:15, 03:27w, 03:38:01w-03:38:02w, 03:69w, 03:130, 03:136w, 03:163, 03:246w, 04:16, 06:03:01, 06:132:01-06:132:02, 07:02:10w, 07:96:01w-07:96:02w, 07:127w, 07:246w, 07:263w and 12:03:23w alleles.

Primer mix 5: Specific PCR fragment of 100 bp in the C*15:05:01-15:05:11, 15:22-15:23, 15:29, 15:36, 15:46, 15:54, 15:59, 15:69-15:70, 15:90 and 15:104 and the C*04:108 and in the B*35:03:11 and B*35:205 alleles. Specific PCR fragment of 160 bp in the C*15:92N allele.

Primer mix 6: Specific PCR fragment of 305 bp in the C*15:06:01-15:06:03 and 15:40 alleles. Specific PCR fragment of 345 bp in the C*15:26 and 15:69 alleles. Specific PCR fragment of 370 bp in the C*15:22, 15:37, 15:58, 15:65 and 15:72 alleles. Specific PCR fragment of 305 bp and 370 bp in the C*15:55 and 15:102 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the C*15:08 and 15:74 and the C*01:90w, 02:06, 02:47 and 12:15 and in the B*07:78w, B*13:18w, B*13:31w, B*13:41w, B*13:73w, B*15:73w, B*15:303w, B*54:10w, B*54:20w, B*54:33w, B*55:09w, B*55:21w, B*55:37w, B*55:52w, B*56:43w alleles. Specific PCR fragment of 185 bp in the C*15:19 allele.

Primer mix 9: Specific PCR fragment of 135 bp in the C*15:11, 15:23 and 15:63 and the C*02:02:01-02:02:03, 02:02:05-02:02:12, 02:02:14-02:02:25, 02:02:27-02:02:28, 02:02:30-02:20, 02:22-02:25Q, 02:27:01-02:38N, 02:40:01-02:40:02, 02:42-02:44, 02:46-02:86, 02:88-02:95, 04:03:01-04:03:02, 04:06, 04:42:01-04:42:02, 04:80, 04:107, 04:147, 04:160, 04:171, 04:190, 05:26, 05:43, 06:05, 07:02:09, 08:37, 12:16, 12:147, 16:21 and 16:34 alleles. Specific PCR fragment of 305 bp in the C*15:18 allele.

Primer mix 12: Specific PCR fragment of 100 bp in the C*15:28 allele. Specific PCR fragment of 200 bp in the C*15:95N allele.

Specific PCR fragment of 240 bp in the C*15:07, 15:21, 15:25 and 15:43 and the C*02:12, 02:27:01-02:27:02, 03:02:01-03:02:09, 03:02:11-03:03:14, 03:03:15w, 03:03:16-03:03:20, 03:03:22-03:04:16, 03:04:18-03:04:25, 03:04:27-03:06:02, 03:08-03:11:02, 03:13:01-03:14, 03:16-03:17, 03:18:02-03:38:02, 03:40:01-03:44, 03:46-03:64:01, 03:65-03:66, 03:68-03:98, 03:100-03:114, 03:116:01-03:129, 03:131-03:133, 03:135-03:136, 03:138-03:139, 03:141-03:143, 03:145-03:155, 03:157-03:162, 03:164-03:165, 03:167-03:169Q, 03:171-03:181, 03:183-03:194, 03:196-03:230, 03:232-03:242, 03:244Q-03:263, 03:265N-03:267, 03:269-03:277N, 07:96:01-07:96:02, 12:03:23 and 16:34 and in the B*40:164 alleles.

Primer mix 13: Specific PCR fragment of 125 bp in the C*15:24 and the C*04:89, 04:135 and 05:47 alleles. Specific PCR fragment of 185 bp in the C*15:12 and in the C*04:52, 04:55, 05:55, 12:58 and 14:10 alleles.

Primer mix 14: Specific PCR fragment of 130 bp in the C*15:13 and 15:103 alleles. Specific PCR fragment of 440 bp the C*15:11, 15:16-15:17 and 15:43 and the C*01:90, 02:06, 02:47, 03:19, 03:102, 04:178, 07:289 and 12:15 and in the B*46:11, B*46:18, B*56:08 and B*56:14 alleles.

Primer mix 16: Specific PCR fragment of 90 bp in the C*15:27 and in the B*35:222 alleles. Specific PCR fragment of 165 bp in the C*15:15 and 15:77 alleles. Specific PCR fragment of 345 bp in the C*15:26 and 15:69 alleles.

Primer mix 17: Specific PCR fragment of 140 bp in the C*15:34 allele. Specific PCR fragment of 215 bp in the C*15:36 and the C*04:112 and 04:169 alleles. Specific PCR fragment of 295 bp in the C*15:39 and the C*01:30, 08:51, 08:114 and 12:87 alleles.

Primer mix 19: Specific PCR fragment of 165 bp in the C*15:42 allele. Specific PCR fragment of 355 bp in the C*15:46 allele.

Primer mix 20: Specific PCR fragment of 120 bp in the C*15:44 allele. Specific PCR fragment of 200 bp in the C15:95N allele.

Specific PCR fragment of 235 bp in the C*15:45 allele. Specific PCR fragment of 295 bp in the C*15:97 and the C*04:146 allele.

Primer mix 21: Specific PCR fragment of 165 bp in the C*15:47 and 15:92N allele. Specific PCR fragment of 445 bp in the C*15:35 and the C*02:35 and 05:21 alleles.

Primer mix 22: Specific PCR fragment of 225 bp in the C*15:38 allele. Specific PCR fragment of 295 bp in the C*15:97 and the C*04:146 allele.

Primer mix 23: Specific PCR fragment of 175 bp in the C*15:48 allele. Specific PCR fragment of 545 bp in the C*15:29 and 15:87 and the C*01:85, 08:22 and 08:56 alleles.

Primer mix 24: Specific PCR fragment of 175 bp in the C*15:32Q and the C*06:74Q alleles. Specific PCR fragment of 330 bp in the C*15:105Q allele. Specific PCR fragment of 380 bp in the C*15:41 allele.

Primer mix 28: Specific PCR fragment of 85 bp in the C*15:33 allele. Specific PCR fragment of 180 bp in the C*15:84Q allele.

Primer mix 29: Specific PCR fragment of 120 bp in the C*15:96Q and the C*04:59Q and 16:16Q and in the B*15:218Q alleles. Specific PCR fragment of 255 bp in the C*15:81 allele.

4The HLA-C*15 primer set cannot separate the C*15:04 and the C*16:70 alleles. These alleles can be distinguished by the HLA-C low resolution kit and/or HLA-C*16 high resolution kit.

5The following HLA-C*15 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*15:32Q, 15:41 | 24 | C*15:35, 15:47 | 21 |
| C*15:33, 15:84Q | 28 | C*15:44, 15:45 | 20 |
| C*15:34, 15:39 | 17 | C*15:81, 15:96Q | 29 |

The HLA-C*15 subtyping kit cannot distinguish the following silent mutations: C*15:02:01:01 to C*15:02:20 alleles, the C*15:05:01 to C*15:05:11 alleles, the C*15:06:01 to C*15:06:03 alleles or the C*15:10:01 to C*15:10:03 alleles.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

Primer mix 27 may have a tendency of giving rise to nonspecific amplifications. A footnote has been added in the Specificity Table.