PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C*16

Prod. No:	101.627-12/12u

Lot No:    	23R

Expiry Date:    	2015-March-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-C*16 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-C*16 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 205 bp | 800 bp | *16:01:01-16:02:09, 16:04:01, 16:08-16:21, 16:23-16:34, 16:36-16:39, 16:41-16:42, 16:44-16:47, 16:49-16:52 | *06:31 |
| 25 | 75 bp | 1070 bp | *16:02:01-16:02:09, 16:09, 16:12, 16:19, 16:25, 16:46-16:48 | *01:14, 01:59, 02:02:01-02:02:03, 02:02:05-02:02:11, 02:02:13-02:11, 02:13-02:26:03, 02:28-02:40, 02:42-02:63, 03:07, 03:15, 03:45, 03:130, 03:140, 03:163, 04:01:01:01-04:01:28, 04:01:30-04:01:41, 04:03-04:10, 04:12-04:20, 04:23-04:28, 04:30-04:35, 04:37-04:54, 04:56-04:91, 04:93N-04:111, 04:113-04:127, 05:01:01:01-05:01:21, 05:03-05:35, 05:37-05:81, 06:02:01:01-06:02:01:02, 06:02:03-06:02:11, 06:02:14-06:10, 06:12-06:43, 06:45-06:51, 06:53-06:87, 07:49, 07:76, 07:238, 08:10, 12:04:01-12:05, 12:09, 12:21, 12:33, 12:41, 12:54, 12:60, 14:04, 14:12, 15:11, 15:16-15:17, 17:01:01:01-17:13, 18:01-18:04 |
| 36 | 220 bp | 800 bp | *16:04:01, 16:29, 16:33, 16:42 | *01:04, 01:09, 02:05, 02:17, 06:02:01:01-06:02:01:02, 06:02:03-06:02:15, 06:02:17-06:03:02, 06:07-06:13, 06:15-06:34, 06:36-06:39, 06:41-06:71, 06:73-06:78, 06:80, 06:82-06:87, 12:03:01:01-12:07, 12:11-12:13, 12:15, 12:23, 12:25-12:26, 12:28-12:29, 12:31-12:35, 12:37-12:39N, 12:42Q-12:43, 12:45-12:48, 12:50-12:55, 12:57-12:63, 12:65-12:66, 12:70-12:71, 12:75-12:79, 12:81-12:82, 14:16 |
| 47 | 140 bp | 800 bp | *16:01:01, 16:01:03-16:01:10, 16:04:01, 16:06-16:08, 16:10-16:11, 16:13-16:18, 16:20-16:24, 16:26-16:36, 16:37w, 16:38-16:45, 16:49-16:52 | *01:21, 02:12w, 02:27:01-02:27:02, 03:04:25, 04:11, 04:29, 04:36, 04:55, 07:02:09, 08:01:01-08:09, 08:11-08:64, 12:02:01-12:03:03, 12:03:05-12:03:08, 12:03:10-12:03:22, 12:06-12:08, 12:10:01-12:20, 12:22-12:26, 12:28-12:32, 12:34-12:40, 12:42Q-12:53, 12:55-12:59, 12:61-12:71, 12:72w, 12:73-12:82, 14:02:03, 14:03, 14:08, 14:10, 14:22, 14:35N, 14:38, 14:41, 15:07, 15:21w, 15:25, B*35:08:02, B*35:08:05, B*67:02 |
| 5 | 160 bp | 800 bp | *16:01:01-16:02:09, 16:06-16:09, 16:11-16:28, 16:30N-16:32, 16:34, 16:36-16:39, 16:41, 16:43-16:44, 16:46-16:47, 16:49-16:52 | *07:53, 07:216, A*24:174, B*46:25 |
| 68 | 130 bp, 160 bp, 210 bp | 1070 bp | *16:06, 16:10-16:11, 16:39 | *02:21, 07:216, A*24:106 |
| 75,9 | 100 bp, 210 bp | 1070 bp | *16:07:01, 16:09 | *02:34, B*46:25 |
| 8 | 135 bp | 1070 bp | *16:08, 16:38 |  |
| 95,7,10 | 85 bp, 140 bp, 205 bp | 1070 bp | *16:12, 16:35, 16:48, 16:52 | *04:69, 07:31, 07:177, 14:15 |
| 1011 | 215 bp, 350 bp | 800 bp | *16:13, 16:19 | *04:101, 05:81, 06:87, 07:24, 07:114, 07:218, 12:45 |
| 117,12 | 170 bp, 540 bp | 1070 bp | *16:15:01-16:15:02, 16:20, 16:25 | *04:14, 04:68, 07:53, 07:216, A*24:73, A*24:157, B*07:66, B*46:25, B*51:55 |
| 125, 13 | 105 bp, 210 bp, 245 bp | 1070 bp | *16:16Q-16:17, 16:22 | *01:27 |
| 13 | 130 bp | 1070 bp | *16:14 | *06:32, 12:40 |
| 147 | 210 bp | 1070 bp | *16:18 |  |
| 15 | 145 bp | 1070 bp | *16:21, 16:39 | *02:14, 04:42, 05:43, 06:05, 07:02:09, 08:37, 12:16, 15:23 |
| 16 | 375 bp | 1070 bp | *16:06-16:07:02 | *01:05, 01:21, 01:36, 01:55, 02:02:01-02:02:03, 02:02:05-02:02:08, 02:02:10-02:04, 02:06-02:16:02, 02:18-02:36, 02:38N-02:40, 02:42-02:56, 02:58-02:61, 02:63, 03:05, 03:13, 03:25, 03:27, 03:35, 03:135, 04:01:01:01-04:01:23, 04:01:25-04:01:41, 04:03-04:20, 04:23-04:36, 04:38-04:39, 04:41-04:79, 04:81-04:99, 04:101-04:109, 04:111-04:116, 04:118-04:127, 05:01:01:01-05:01:20, 05:03-05:06, 05:08-05:09:02, 05:11-05:15, 05:17-05:30, 05:32-05:81, 07:01:01:01-07:01:10, 07:01:12-07:03, 07:05-07:09, 07:13-07:30, 07:32N-07:33N, 07:35-07:42, 07:44, 07:46-07:62, 07:64-07:100, 07:102-07:138, 07:140-07:141:02, 07:143-07:176, 07:178-07:180, 07:182-07:183, 07:185-07:194, 07:197-07:263, 08:01:01-08:11, 08:13-08:33:02, 08:35-08:43, 08:45-08:60, 08:62-08:64, 12:02:01-12:02:09, 12:08, 12:10:01-12:10:02, 12:14:01-12:14:02, 12:16-12:18:02, 12:21-12:22, 12:27, 12:30, 12:36, 12:40-12:41, 12:49, 12:56, 12:64, 12:67-12:69, 12:72-12:74, 12:80N, 14:09, 15:22, 18:01-18:05 |
| 17 | 180 bp | 1070 bp | *16:26, 16:46 | *02:49, 04:01:01:01-04:01:09, 04:01:11-04:01:22, 04:01:24-04:01:41, 04:03-04:10, 04:12-04:20, 04:23-04:26, 04:28-04:32, 04:34-04:51, 04:53-04:54, 04:56-04:106, 04:108-04:115N, 04:117-04:127, 05:25, 05:42, 06:05, 06:76:02, 07:02:09, 08:28, 12:28, 15:25 |
| 185,14 | 120 bp, 255 bp | 1070 bp | *16:26, 16:38, 16:46 | *01:23, 01:58, 02:49, 04:03, 04:06, 04:80, 05:25, 05:42, 06:02:01:01-06:02:01:02, 06:02:03-06:02:09, 06:02:11-06:25, 06:27-06:29, 06:31-06:52, 06:54-06:87, 07:01:01:01-07:01:22, 07:01:24-07:02:10, 07:02:12-07:02:36, 07:04:01-07:04:04, 07:04:06-07:06, 07:08-07:15, 07:17-07:19, 07:21-07:33N, 07:35, 07:37-07:50, 07:52-07:55N, 07:57-07:58, 07:61N-07:63, 07:65-07:78, 07:80-07:87, 07:89-07:95, 07:97-07:108, 07:110-07:126, 07:128-07:176, 07:178-07:180, 07:182-07:226, 07:228-07:262, 08:28, 12:28, 15:25, 17:11, 18:01-18:05 |
| 195,15 | 110 bp, 240 bp | 800 bp | *16:28-16:29, 16:31, 16:50 | *01:10, 02:05, 02:17, 06:08, 06:22, 14:25 |
| 205,16 | 95 bp, 145 bp | 1070 bp | *16:27, 16:32 |  |
| 21 | 210 bp | 1070 bp | *16:23 |  |
| 22 | 210 bp | 800 bp | *16:24 | *03:108, 03:150, 07:25 |
| 235,7,17 | 95 bp, 170 bp | 1070 bp | *16:30N, 16:42 | *05:56 |
| 2418 | 445 bp, 595 bp | 1070 bp | *16:40, 16:49 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*16 high resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*16 SSP subtyping.

In addition, wells number 3 to 5, 10, 19 and 22 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C alleles intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-C alleles non-HLA-C*16 alleles will be amplified by primer mixes 1 to 7, 9 to 13, 15 to 19, 22 and 23. In addition, primer mix 4 will amplify the B*35:08:02, B*35:08:05 and B*67:02 alleles, primer mix 5 will amplify the A*24:174 allele, primer mixes 5, 7 and 11 will amplify the B*46:25 allele, primer mix 6 will amplify the A*24:106 allele and primer mix 11 will amplify the A*24:73, A*24:157, B*07:66 and B*51:55 alleles

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 3 may give a lower yield of specific PCR product than the other C*16 primer mixes.

7Primer mixes 4, 9, 11, 14 and 23 may have tendencies of unspecific amplifications.

8Primer mix 6: Specific PCR fragment of 130 bp in the C*16:11 and 16:39 and in the C*02:21 allele. Specific PCR fragment of 160 bp in the C*16:10 and in the A*24:106 alleles. Specific PCR fragment of 210 bp in the C*16:06 and the C*07:216 alleles.

9Primer mix 7: Specific PCR fragment of 100 bp in the C*16:09 and in the C*02:34 alleles. Specific PCR fragment of 210 bp in the C*16:07:01 and the B*46:25 alleles.

10Primer mix 9: Specific PCR fragment of 85 bp in the C*16:12 and the C*04:69 alleles.

Specific PCR fragment of 140 bp in the C*16:52 allele.

Specific PCR fragment of 205 bp in the C*16:35 and 16:48 and the C*07:31, 07:177 and 14:15 alleles.

11Primer mix 10: Specific PCR fragment of 215 bp in the C*16:19 and the C*04:101 and 07:114 alleles. Specific PCR fragment of 350 bp in the C*16:13 and the C*05:81, 06:87, 07:24, 07:218 and 12:45 alleles.

12Primer mix 11: Specific PCR fragment of 170 bp in the C*16:20 and in the A*24:73, A*24:157, B*07:66, B*46:25 and B*51:55 alleles. Specific PCR fragment of 540 bp in the C*16:15:01-16:15:02 and 16:25 and the C*04:14, 04:68, 07:53 and 07:216 alleles.

13Primer mix 12: Specific PCR fragment of 105 bp in the C*16:17 and in the C*01:27 alleles. Specific PCR fragment of 210 bp in the C*16:22 allele. Specific PCR fragment of 245 bp in the C*16:16Q allele.

14Primer mix 18: Specific PCR fragment of 120 bp in the C *16:28 allele. Specific PCR fragment of 255 bp in the C*16:26 and 16:46 and the C*01:23, 01:58, 02:49, 04:03, 04:06, 04:80, 05:25, 05:42, 06:02:01:01-06:02:01:02, 06:02:03-06:02:09, 06:02:11-06:25, 06:27-06:29, 06:31-06:52, 06:54-06:87, 07:01:01:01-07:01:22, 07:01:24-07:02:10, 07:02:12-07:02:36, 07:04:01-07:04:04, 07:04:06-07:06, 07:08-07:15, 07:17-07:19, 07:21-07:33N, 07:35, 07:37-07:50, 07:52-07:55N, 07:57-07:58, 07:61N-07:63, 07:65-07:78, 07:80-07:87, 07:89-07:95, 07:97-07:108, 07:110-07:126, 07:128-07:176, 07:178-07:180, 07:182-07:226, 07:228-07:262, 08:28, 12:28, 15:25, 17:11 and 18:01-18:05 alleles.

15Primer mix 19: Specific PCR fragment of 110 bp in the C*16:28 allele. Specific PCR fragment of 240 bp in the C*16:29, 16:31 and 16:50 and the C*01:10, 02:05, 02:17, 06:08, 06:22 and 14:25 alleles.

16Primer mix 20: Specific PCR fragment of 95 bp in the C*16:27 allele. Specific PCR fragment of 145 bp in the C *16:32 allele.

17Primer mix 23: Specific PCR fragment of 95 bp in the C*16:42 and the C*05:56 alleles. Specific PCR fragment of 170 bp in the C*16:30N allele.

18Primer mix 24: Specific PCR fragment of 445 bp in the C*16:40 allele. Specific PCR fragment of 595 bp in the C*16:49 allele.

‘w’ might be weakly amplified.

1The HLA-C*1603 nucleotide sequence has been shown to be identical to C*14:03.

The HLA-C*16042 nucleotide sequence has been shown to be identical to C*16:04:01.

The HLA-C*1605 nucleotide sequence has been shown to be identical to C*16:04:01.

2HLA-C*16 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.9.0, April 2012.

3The C*16:15:01-16:15:02 and C*16:20 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 11.

4The C*16:16Q and C*16:17 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 12.

5The C*16:27 and C*16:32 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

6The C*16:28 and the C*16:31and 16:50 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

7Primer mix 6: Specific PCR fragment of 130 bp in the C*16:11 and 16:39 and in the C*02:21 allele. Specific PCR fragment of 160 bp in the C*16:10 and in the A*24:106 alleles. Specific PCR fragment of 210 bp in the C*16:06 and the C*07:216 alleles.

Primer mix 7: Specific PCR fragment of 100 bp in the C*16:09 and in the C*02:34 alleles. Specific PCR fragment of 210 bp in the C*16:07:01 and the B*46:25 alleles.

Primer mix 9: Specific PCR fragment of 85 bp in the C*16:12 and the C*04:69 alleles.

Specific PCR fragment of 140 bp in the C*16:52 allele.

Specific PCR fragment of 205 bp in the C*16:35 and 16:48 and the C*07:31, 07:177 and 14:15 alleles.

Primer mix 10: Specific PCR fragment of 215 bp in the C*16:19 and the C*04:101 and 07:114 alleles. Specific PCR fragment of 350 bp in the C*16:13 and the C*05:81, 06:87, 07:24, 07:218 and 12:45 alleles.

Primer mix 11: Specific PCR fragment of 170 bp in the C*16:20 and in the A*24:73, A*24:157, B*07:66, B*46:25 and B*51:55 alleles. Specific PCR fragment of 540 bp in the C*16:15:01-16:15:02 and 16:25 and the C*04:14, 04:68, 07:53 and 07:216 alleles.

Primer mix 12: Specific PCR fragment of 105 bp in the C*16:17 and in the C*01:27 alleles. Specific PCR fragment of 210 bp in the C*16:22 allele. Specific PCR fragment of 245 bp in the C*16:16Q allele.

Primer mix 18: Specific PCR fragment of 120 bp in the C *16:28 allele. Specific PCR fragment of 255 bp in the C*16:26 and 16:46 and the C*01:23, 01:58, 02:49, 04:03, 04:06, 04:80, 05:25, 05:42, 06:02:01:01-06:02:01:02, 06:02:03-06:02:09, 06:02:11-06:25, 06:27-06:29, 06:31-06:52, 06:54-06:87, 07:01:01:01-07:01:22, 07:01:24-07:02:10, 07:02:12-07:02:36, 07:04:01-07:04:04, 07:04:06-07:06, 07:08-07:15, 07:17-07:19, 07:21-07:33N, 07:35, 07:37-07:50, 07:52-07:55N, 07:57-07:58, 07:61N-07:63, 07:65-07:78, 07:80-07:87, 07:89-07:95, 07:97-07:108, 07:110-07:126, 07:128-07:176, 07:178-07:180, 07:182-07:226, 07:228-07:262, 08:28, 12:28, 15:25, 17:11 and 18:01-18:05 alleles.

Primer mix 19: Specific PCR fragment of 110 bp in the C*16:28 allele. Specific PCR fragment of 240 bp in the C*16:29, 16:31 and 16:50 and the C*01:10, 02:05, 02:17, 06:08, 06:22 and 14:25 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the C*16:27 allele. Specific PCR fragment of 145 bp in the C *16:32 allele.

7Primer mix 23: Specific PCR fragment of 95 bp in the C*16:42 and the C*05:56 alleles. Specific PCR fragment of 170 bp in the C*16:30N allele.

8Primer mix 24: Specific PCR fragment of 445 bp in the C*16:40 allele. Specific PCR fragment of 595 bp in the C*16:49 allele.

‘w’ might be weakly amplified.