Gel Documentation Form and Worksheet

HLA-C*16 (101.627-12/12u) 	Lot No: 90V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 3 may give rise to a lower yield of HLA-specific PCR product than the other C*16 primer mixes.

Primer mixes 4, 9, 11, 14 and 23 may have tendencies of unspecific amplifications, most pronounced in primer mix 14.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-C*16 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 125 bp in the C*16:11 and 16:39:01-16:39:02 and in the C*02:21 allele. Specific PCR fragment of 160 bp in the C*16:10 and in the A*24:106 alleles. Specific PCR fragment of 210 bp in the C*16:06 and the C*07:216 alleles.

Primer mix 7: Specific PCR fragment of 100 bp in the C*16:09 and in the C*02:34 alleles. Specific PCR fragment of 170 bp in the C*16:45 and the C*04:14 and 04:68 and in the A*24:96 and A*24:146 alleles.  Specific PCR fragment of 210 bp in the C*16:07:01 and in the B*46:25 alleles.

Primer mix 8: Specific PCR fragment of 130 bp in the C*16:08 and 16:38 and the C*08:96 alleles. Specific PCR fragment of 435 bp in the C*16:53 and 16:68 alleles

Primer mix 9: Specific PCR fragment of 85 bp in the C*16:12 and the C*02:79 and 04:69 alleles. Specific PCR fragment of 140 bp in the C*16:52 allele. Specific PCR fragment of 205 bp in the C*16:35 and 16:48 and the C*06:118, 07:31:01-07:31:02, 07:177 and 14:15 alleles.

Primer mix 10: Specific PCR fragment of 215 bp in the C*16:19 and the C*04:101 and 07:114 alleles. Specific PCR fragment of 350 bp in the C*16:13 and 16:61 and the C*05:81, 06:87, 07:24, 07:218, 12:45 and 14:65 alleles.

Primer mix 11: Specific PCR fragment of 170 bp in the C*16:20 and the C*15:75 and in the A*24:73, A*24:157, B*07:66, B*46:25 and B*51:55 alleles. Specific PCR fragment of 540 bp in the C*16:15:01-16:15:02, 16:25 and 16:64 and the C*04:14, 04:68, 07:53 and 07:216 alleles.

Primer mix 12: Specific PCR fragment of 100 bp in the C*16:17 and 16:67 and the C*01:27 alleles. Specific PCR fragment of 210 bp in the C*16:22 allele. Specific PCR fragment of 245 bp in the C*16:16Q allele.

Primer mix 15: Specific PCR fragment of 120 bp in the C*16:39:01-16:39:02 alleles. Specific PCR fragment of 145 bp in the C*16:21 and the 02:14, 04:42, 05:43, 06:05, 07:02:09, 08:37, 12:16, 15:23 and 15:63 alleles.

Primer mix 18: Specific PCR fragment of 120 bp in the C*16:38 and the C*08:96 alleles. Specific PCR fragment of 255 bp in the C*16:26, 16:46, 16:55 and 16:64 and the C*01:23, 01:58, 02:49, 02:75, 04:03:01-04:03:02, 04:06, 04:80, 04:140, 04:147, 04:160, 05:25, 05:42, 06:02:01:01-06:02:01:03, 06:02:03-06:02:09, 06:02:11-06:25, 06:27-06:29, 06:31-06:52, 06:54-06:124, 06:126-06:131, 07:01:01:01-07:01:22, 07:01:24-07:02:10, 07:02:12-07:02:59, 07:04:01-07:04:04, 07:04:06-07:06, 07:08-07:15, 07:17:01-07:19, 07:21-07:33N, 07:35, 07:37-07:50, 07:52-07:55N, 07:57-07:58, 07:61N-07:63, 07:65-07:78, 07:80-07:87, 07:89-07:95, 07:96:02-07:108:02, 07:110-07:126, 07:128-07:172:01, 07:173-07:176, 07:178-07:180, 07:182-07:226, 07:228-07:262, 07:264N-07:294, 07:296-07:326, 07:329N-07:354, 07:356-07:366, 07:368-07:374, 08:28, 12:28, 15:25, 15:62, 17:11 and 18:01-18:07N alleles.

Primer mix 19: Specific PCR fragment of 105 bp in the C*16:28 and 16:67 and the C*06:90 alleles. Specific PCR fragment of 245 bp in the C*16:29, 16:31 and 16:50 and the C*01:10, 02:05:01-02:05:03, 02:17, 06:08, 12:119, 14:25 and 17:21 and in the B*40:243 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the C*16:27 allele. Specific PCR fragment of 145 bp in the C*16:32 allele. Specific PCR fragment of 210 bp in the C*16:23 allele.

Primer mix 21: Specific PCR fragment of 215 bp in the C*16:63 alleles. Specific PCR fragment of 445 bp in the C*16:40 and 16:53 alleles. Specific PCR fragment of 595 bp in the C*16:49 alleles.

Primer mix 22: Specific PCR fragment of 85 bp in the C*16:58 alleles. Specific PCR fragment of 210 bp in the C*16:24 and the 03:108, 03:150 and 07:25 alleles.

Primer mix 23: Specific PCR fragment of 95 bp in the C*16:42 and 16:56 and the C*05:56 and 08:69 alleles. Specific PCR fragment of 170 bp in the C*16:30N allele.

‘w’ might be weakly amplified.

4The following HLA-C*16 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*16:15:01-16:15:02, C*16:20 | 11 | C*16:27, C*16:32 | 20 |
| C*16:16Q, C*16:17 | 12 | C*16:28, C*16:31, 16:50 | 19 |
| C*16:24, C*16:58 | 22 | C*16:30N, C*16:56 | 23 |

The HLA-C*16 subtyping kit cannot distinguish the following silent mutations: the C*16:01:01, 16:01:03-16:01:15 and 16:01:17-16:01:18 alleles, the C*16:01:02 and 16:01:16 alleles, the C*16:02:01-16:02:12 alleles, the C*16:15:01-16:15:02 alleles or the C*16:39:01 and 16:39:02 alleles.

Change in revision R01 compared to R00:

- The C*16:68 allele is amplified by primer mix 1. This has been corrected in the Specificity and Interpretation Tables.