Gel Documentation Form and Worksheet

HLA-C*16 (101.627-12/12u) 	Lot No: 60Y	Expiry Date: 2018-January-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                         Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 3 may give rise to a lower yield of HLA-specific PCR product than the other C*16 primer mixes.

Primer mixes 4, 9, 11, 14 and 23 may have tendencies of unspecific amplifications.

Primer mix 22 has a tendency to giving rise to primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*16 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.20.0, April 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 125 bp in the C*16:11 and 16:39:01-16:39:02 and in the C*02:21 allele. Specific PCR fragment of 160 bp in the C*16:10 and in the A*24:106 alleles. Specific PCR fragment of 210 bp in the C*16:06 and the C*07:216 alleles.

Primer mix 7: Specific PCR fragment of 100 bp in the C*16:09 and in the C*02:34 alleles. Specific PCR fragment of 170 bp in the C*16:45 and the C*04:14, 04:68 and 05:112 and in the A*24:96 and A*24:146 alleles.  Specific PCR fragment of 210 bp in the C*16:07:01 allele.

Primer mix 8: Specific PCR fragment of 130 bp in the C*16:08 and 16:38 and the C*08:96 alleles. Specific PCR fragment of 435 bp in the C*16:53 and 16:68 alleles.

Primer mix 9: Specific PCR fragment of 85 bp in the C*16:12 and the C*02:79 and 04:69 alleles. Specific PCR fragment of 140 bp

in the C*16:52 and the C*06:133 alleles. Specific PCR fragment of 205 bp in the C*16:35 and 16:48 and the C*06:118, 07:31:01-07:31:02, 07:177 and 14:15 alleles.

Primer mix 10: Specific PCR fragment of 215 bp in the C*16:19 and the C*04:101 and 07:114 alleles. Specific PCR fragment of 350 bp in the C*16:13 and 16:61 and the C*05:81, 06:87, 07:24, 07:218, 12:45 and 14:65 alleles.

Primer mix 11: Specific PCR fragment of 170 bp in the C*16:20 and the C*15:75 and in the A*24:73, A*24:157, B*07:66, B*51:55 alleles. Specific PCR fragment of 540 bp in the C*16:15:01-16:15:02, 16:25 and 16:64 and the C*04:14, 04:68, 07:53 and 07:216 alleles.

Primer mix 12: Specific PCR fragment of 100 bp in the C*16:17 and 16:67 and the C*01:27 alleles. Specific PCR fragment of 210 bp in the C*16:22 allele. Specific PCR fragment of 245 bp in the C*16:16Q allele.

Primer mix 13: Specific PCR fragment of 130 bp in the C*16:14 and the C*06:32 and 12:40 alleles. Specific PCR fragment of 240 bp in the C*16:77N and the C*07:164N alleles.

Primer mix 15: Specific PCR fragment of 120 bp in the C*16:39:01-16:39:02 alleles. Specific PCR fragment of 145 bp in the C*16:21 and 16:80 and the C*02:14:01-02:14:02, 04:42:01-04:42:02, 05:43, 06:05, 07:02:09, 08:37, 12:16, 12:147, 15:23 and 15:63 alleles.

Primer mix 18: Specific PCR fragment of 120 bp in the C*16:38 and the C*08:96 alleles. Specific PCR fragment of 255 bp in the C*16:26, 16:46, 16:55 and 16:64 and the C*01:23, 01:58, 02:49, 02:75, 04:03:01-04:03:02, 04:06, 04:42:02, 04:80, 04:140, 04:147, 04:160, 04:171, 05:25, 05:42, 06:02:01:01-06:02:01:03, 06:02:03-06:02:09, 06:02:11-06:25, 06:27-06:29, 06:31-06:52, 06:54-06:124, 06:126-06:131, 06:133-06:152N, 07:01:01:01-07:01:22, 07:01:24-07:02:10, 07:02:12-07:02:68, 07:04:01-07:04:04, 07:04:06-07:06, 07:08-07:15, 07:17:01-07:19, 07:21-07:33N, 07:35, 07:37-07:50, 07:52-07:55N, 07:57-07:58, 07:61N-07:63, 07:65-07:78, 07:80-07:87, 07:89-07:95, 07:96:02-07:108:02, 07:110-07:126, 07:128-07:172:01, 07:173-07:176, 07:178-07:180, 07:182-07:226, 07:228-07:262, 07:264N-07:294, 07:296-07:326, 07:329N-07:354, 07:356-07:366, 07:368-07:377, 07:379-07:389, 07:391-07:401, 07:403-07:419, 08:28, 12:28, 12:132, 12:135, 12:146, 15:25, 15:62, 17:11 and 18:01-18:09 alleles.

Primer mix 19: Specific PCR fragment of 100 bp in the C*16:28 and 16:67 and the C*06:90 alleles. Specific PCR fragment of 240 bp in the C*16:29, 16:31 and 16:50 and the C*01:10, 02:05:01-02:05:03, 02:17, 06:08, 06:22, 12:119, 14:25 and 17:21 and in the B*07:239, B*14:46 and B*40:243 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the C*16:27 and 05:112 alleles. Specific PCR fragment of 145 bp in the C*16:32 allele. Specific PCR fragment of 210 bp in the C*16:23 allele.

Primer mix 21: Specific PCR fragment of 215 bp in the C*16:63 allele. Specific PCR fragment of 445 bp in the C*16:40 and 16:53 allele. Specific PCR fragment of 595 bp in the C*16:49 allele.

Primer mix 22: Specific PCR fragment of 85 bp in the C*16:58 allele. Specific PCR fragment of 210 bp in the C*16:24 and the 03:108, 03:150, 07:25 and 07:404 alleles.

Primer mix 23: Specific PCR fragment of 95 bp in the C*16:42 and 16:56 and the C*05:56, 08:69 and 12:131 alleles. Specific PCR fragment of 170 bp in the C*16:30N allele.

4The following HLA-C*16 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*16:15:01-16:15:02, C*16:20 | 11 | C*16:27, C*16:32 | 20 |
| C*16:16Q, C*16:17 | 12 | C*16:28, C*16:31, 16:50 | 19 |
| C*16:24, C*16:58 | 22 | C*16:30N, C*16:56 | 23 |

The HLA-C*16 subtyping kit cannot distinguish the following silent mutations: the C*16:01:01, 16:01:03-16:01:15 and 16:01:17-16:01:19 alleles, the C*16:01:02 and 16:01:16 alleles, the C*16:02:01-16:02:13 alleles, the C*16:04:01 and 16:04:03 alleles, the C*16:15:01-16:15:02 alleles or the C*16:39:01 and 16:39:02 alleles.

‘w’ might be weakly amplified.

Change in revision R01 compared to R00:

- The C*16:68 allele is amplified by primer mix 1. This has been corrected in the Specificity and Interpretation Tables.