Gel Documentation Form and Worksheet

HLA-C*18 (101.629-06/06u)	                                         Lot: 5D6                                     Expiry Date:   2018-08-01

Name:____________________

Sample ID:________________

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                         Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 8 has a tendency to giving rise to primer oligomer formation.

Primer mix 8 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*18 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.22.0, October 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 110 bp in the C*18:06 allele. Specific PCR fragment of 165 bp in the C*18:03 and the C*02:22, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 05:106, 06:09, 06:144, 08:27, 08:29, 08:31, 12:31 and 12:144 and in the B*15:137 alleles.

Primer mix 7: Specific PCR fragment of 85 bp in the C*18:07N and the C*04:123N alleles. Specific PCR fragment of 480 bp in the C*18:05 and the C*03:08, 03:29, 03:31, 03:246, 04:112, 04:169 and 15:77 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.