PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-Cw high resolution for frequent alleles

Prod. No:	101.707-12 – including Taq polymerase

101.707-12u – without Taq polymerase

Lot No:    	07E

Expiry Date:    	2010-February-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 95 primer mixes used for HLA-Cw high resolution for frequent alleles SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-Cw alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 90 bp | 800 bp | 010201-010205, 0106-0111, 0113-0119 |  |
| 25 | 95, 215 bp | 1070 bp | 0105, 0405, 0737, 1408, 1606 |  |
| 36 | 200, 290, 360, 565 bp | 1070 bp | 0106, 0111, 0706, 0718, 0719, 1513 |  |
| 45 | 100, 200 bp | 1070 bp | 0107, 0610, 1609 |  |
| 55 | 150, 210, 300 bp | 1070 bp | 0108, 0517, 0703, 0717, 0723, 0731, 1213, 1219 |  |
| 65 | 105, 210, 260 bp | 800 bp | 0104, 0109, 0115, 0324, 0333, 0705 | B*9529, B*2725, B*2736 |
| 7 | 200 bp | 1070 bp | 020201-020203, 020205-0209, 0211-0220 |  |
| 85 | 105, 135 bp | 800 bp | 0203, 0218, 0220, 0607 | B*2734, B*400602, B*570302weakly |
| 95 | 150 bp | 1070 bp | 0204, 0214, 0605, 1210, 1216 |  |
| 105 | 105, 130, 270 bp | 800 bp | 0207, 0746, 0806, 1610 | B*5608, B*5614 |
| 115 | 75, 155, 505 bp | 800 bp | 0208, 031101-031102, 0337, 0346, 0416, 0603, 0706, 151002 |  |
| 125 | 70, 280 bp | 800 bp | 020201-020203, 020205-0220, 030201-030203, 030401-0310, 0314-0317, 0319, 0323-0329, 0332-033802, 0340-0342, 0344-0347, 0403, 0406, 0416, 0603, 0753, 150201-1509, 151002, 1511, 1513, 1515-1521 |  |
| 13 | 220 bp | 1070 bp | 030201-030203, 0314, 0315, 0333, 0336, 0340, 0342, 0343, 0412 |  |
| 14 | 280 bp | 800 bp | 030301-030305, 031101-0313, 0320N-0322Q, 0330, 0331, 0343, 1512 |  |
| 156 | 275 bp | 1070 bp | 030301-030407, 0306-0312, 0314, 0318-0324, 0326, 0328-0332, 0334, 0337-0340, 0342-0347 |  |
| 16 | 245, 275 bp | 1070 bp | 0305, 0313, 0317, 0325, 0327, 0335, 1207, 1217 | B*1596 |
| 175,8 | 110, 185, 555 bp | 1070 bp | 030301-030305, 0308, 031101-0313, 0318, 0320N-0322Q, 0329-0331, 0339, 0343, 070101-070109, 0706, 0707, 0709, 0716, 0718-0720, 0722, 0724, 0726, 0728, 0730, 0735, 0736, 0740, 0744, 0752, 0753, 120304 |  |
| 185 | 90, 185, 225, 255 bp | 1070 bp | 0309, 0321-0323, 0342, 0721, 0736 | B*1596 |
| 195 | 105, 265, 295, 530 bp | 1070 bp | 0313, 0315, 0332, 0335, 0336, 0345, 0614, 0710, 0743 | B*1596 |
| 20 | 250 bp | 800 bp | 0114, 020201weakly, 020202-020203, 020205-0203, 0204 weakly, 0205-0213, 0214weakly, 0215-0220, 0307, 0310, 0315, 0329, 0345, 0403, 0406, 0416, 0513, 0603, 150201-1506, 1508, 1509, 151002-1513, 1515-1521 |  |
| 21 | 190, 220, 285 bp | 800 bp | 0330, 0418, 0419, 0510, 1512 |  |
| 225 | 80, 140 bp | 1070 bp | 030201-030203, 0315-0317, 0333, 0336, 0340, 0342, 0343, 140201, 140203-1409 |  |
| 235 | 150, 240 bp | 800 bp | 0114, 0307, 0310, 0315, 0329, 0345, 0513, 06020101-0604, 0606-0610, 0612-0616N, 0707, 0709, 120401, 1701-1704, 1801-1803 |  |
| 246 | 250 bp | 1070 bp | 010201-0119, 020201-020203, 020205-020206, 0204-0215, 0217, 0219, 0220, 04010101-040104, 0403, 0405, 0407-0412, 041501-0420, 0423-0431, 050101-050104, 0503-0510, 0512-0516, 06020101-0603, 0605-0616N, 0802, 0805, 0807, 0812, 0815, 120201-1213, 1215-1217, 1221, 140201-1405, 1407N-1409, 1508, 160401, 1801-1803 |  |
| 255 | 170 bp | 1070 bp | 0316, 0341, 04010101-040104, 0403, 040401, 0405-0420, 0423-0431, 140201, 140203-1409, 1801-1803 |  |
| 265 | 145, 170 bp | 800 bp | 0209, 0407, 0427 |  |
| 275,8 | 135, 170, 225 bp | 1070 bp | 0408, 0409N, 0430, 1515 |  |
| 28 | 200 bp | 800 bp | 0413, 0708 |  |
| 295 | 130, 190, 290 bp | 800 bp | 0215, 0305, 0325, 0327, 041501, 0714, 1409 |  |
| 30 | 155 bp | 1070 bp | 050101-050104, 0503-0508, 0510, 0511, 0513-0516, 0741, 0802, 0804, 0805, 0807, 0812, 0813 |  |
| 315 | 150, 285 bp | 800 bp | 0113, 0509, 0517, 0745, 0815, 1212 | B*1533, B*350802 |
| 325 | 120, 210 bp | 1070 bp | 0503, 0752, 1607 |  |
| 335 | 140, 210 bp | 1070 bp | 0504, 0514, 070401-070402, 0711, 0730, 0807, 0809, 0811, 1407N |  |
| 34 | 220, 275 bp | 1070 bp | 0410, 0411, 0505, 0507N, 0808 | A*2910 |
| 35 | 265 bp | 1070 bp | 050101-050104, 0503, 0504, 0506-0508, 0510-0516, 070401-070402, 0711, 0712, 0741, 080101-0814 |  |
| 365 | 90, 120, 160, 210 bp | 1070 bp | 0306, 0325, 0326, 0328, 0506, 0515, 0805 |  |
| 375 | 80, 280 bp | 800 bp | 0516, 0750, 0812 |  |
| 38 | 250 bp | 800 bp | 0315, 0332, 0345, 0403, 0406, 0416, 0720 |  |
| 39 | 240 bp | 1070 bp | 0339, 06020101-060203, 0604-0616N, 1216 |  |
| 40 | 250 bp | 1070 bp | 0203, 0213, 0216, 0218, 040401-040402, 0406, 0413, 0511, 0517, 0604, 080101-080102, 0803, 0804, 0806, 0808-0811, 0813, 0814, 1214, 1218, 1220, 1406, 150201-1507, 1509-1513, 1515-1521, 160401, 1701-1704 | B*5802 |
| 41 | 165 bp | 1070 bp | 050101-050104, 0503-0517, 0605, 0810, 1221 |  |
| 42 | 250 bp | 1070 bp | 010201-0103, 0105-0108, 0110-0119, 0213, 04010101-040104, 0403, 0405, 0407-0412, 041501-0420, 0423-0431, 050101-050104, 0503-0507N, 0509, 0510, 0512-0516, 0605, 0606, 0802, 0805, 0807, 0812, 0815, 1209, 140201-1405, 1407N-1409, 1508, 160401, 1801, 1802 |  |
| 435 | 100, 155, 240 bp | 1070 bp | 0110, 0205, 0217, 0605, 0608, 0613, 0814, 1216 | B*6702 |
| 445 | 90, 135, 160 bp | 1070 bp | 0320N, 0414, 0508, 0609, 1608, 1704, 1803 | B*9537 |
| 455 | 140, 255 bp | 1070 bp | 0347, 0611, 070401-070402, 0711, 0712, 0745, 1211 |  |
| 46 | 290 bp | 800 bp | 0517, 070101-070104, 070106-070109, 0705-0707, 0709, 0714, 0716, 0718, 0720-0722, 0724, 0726-0728, 0730, 0731, 0735, 0736, 0740, 0743, 0744, 0752, 0753 |  |
| 475 | 110 bp | 800 bp | 070101-070109, 0706, 0709, 0718-0722, 0724, 0726, 0728, 0730, 0735, 0736, 0740, 0744, 0752, 0753 |  |
| 48 | 185 bp | 1070 bp | 07020101-07020103, 0710, 0713, 0715, 0719, 0723, 0725, 0729, 0732N, 0733N, 0737-0739, 0742, 0746-0751 | B*4060 |
| 495 | 85, 130, 170, 250 bp | 1070 bp | 0424-0426, 0742, 0744 |  |
| 507 | 240, 425 bp | 1070 bp | 0707, 0709, 0729, 0749, 1801-1803 |  |
| 51 | 240, 275 bp | 1070 bp | 0116-0119, 0724 |  |
| 525 | 130 bp | 1070 bp | 050101-050104, 0503-0508, 0510-0516, 0712, 0741, 080101-0806, 0808-0814 | A*2910 |
| 535 | 80, 115 bp | 1070 bp | 0512, 0711 |  |
| 54 | 395 bp | 1070 bp | 07020101-0705, 0708, 0710-0715, 0717, 0723, 0725, 072701-072702, 0729, 0731-0733N, 0737-0739, 0741-0743, 0745-0751, 1801-1803 |  |
| 55 | 220, 340, 465 bp | 800 bp | 0112, 0707, 0716, 0726, 0733N, 0751 |  |
| 565 | 100, 125, 250 bp | 800 bp | 0722, 0725, 0732N, 0735 |  |
| 575 | 115 bp | 1070 bp | 080101-080102, 0803, 0806, 0808-0811, 0814 |  |
| 585 | 110 bp | 1070 bp | 0803, 0806, 0814 |  |
| 595 | 110, 150, 230, 275 bp | 1070 bp | 0211, 0715, 0738, 0809 | B*4060 |
| 605 | 105 bp | 1070 bp | 050101-050104, 0503-0507N, 0510, 0512-0516, 0741, 0802, 0805, 0807, 0812 |  |
| 61 | 235 bp | 800 bp | 0212, 0315, 0327, 033801-033802, 0403, 0406, 0416, 0603, 0726, 0805, 120201-120402, 1206-1208, 1210-1215, 1217-1220, 1503, 1516, 1701-1704 | B*0713, B*0715, B*6702 |
| 625 | 100 bp | 800 bp | 0104, 120201-120203, 1208, 1210, 1216-1218 |  |
| 63 | 220 bp | 800 bp | 0104, 0109, 0205, 0217, 06020101-0603, 0607-0613, 0615, 0616N, 12030101-1207, 1211-1213, 1215, 160401 |  |
| 645,8 | 130 bp | 1070 bp | 020201-020203, 020205-0211, 0213-0220, 0410, 0411, 050101-050104, 0503-0517, 0605, 080101-0804, 0806-0815, 1205, 1209, 1221, 140203, 1403, 1408, 150201-150204, 1504-1513, 1515, 1517-1521, 160101, 160103, 1602, 160401, 1606-1610 |  |
| 655 | 150, 190, 415 bp | 1070 bp | 0308, 0329, 0331, 0428, 1206, 1208 |  |
| 66 | 155 bp | 1070 bp | 12030101-12030102, 120303-120305, 120402-1207, 1211-1213, 1215, 1220 |  |
| 675 | 145 bp | 800 bp | 140201-140202, 140204, 1404-1407N, 1409 |  |
| 685 | 145 bp | 800 bp | 04010101-040104, 040401-0405, 0407-041502, 0417-0420, 0423-0431, 140203, 1403, 1408 |  |
| 69 | 245 bp | 800 bp | 04010101-040104, 040401-0405, 0407-0410, 0412-041502, 0417-0420, 0423-0428, 0430, 0431, 1404 |  |
| 70 | 210 bp | 800 bp | 04010101-040104, 0403, 0405, 0407-0412, 0416, 0418-0420, 0423-0431, 140201-1404, 1407N, 1408, 1801, 1802 | B*1584 |
| 715 | 130 bp | 1070 bp | 030201-030407, 0306-0313, 0315-0324, 0326, 0328-0347, 041501-041502, 0417, 1405, 1409 |  |
| 725, 7 | 110 bp | 1070 bp | 020201-020203, 020205-0207, 0209-0220, 0403, 0406, 0416, 1403, 150201-1509, 1511-1513, 1515-1521 |  |
| 73 | 210, 330 bp | 1070 bp | 0206, 0612, 1215, 150201-1503, 150501-1513, 1515-1521 |  |
| 745 | 90, 175 bp | 1070 bp | 0103, 0308, 0329, 0331, 0720, 150201-1509, 1512, 1513, 1515, 1518, 1519, 1521 |  |
| 75 | 195 bp | 800 bp | 0212, 0315, 0327, 033801-033802, 0403, 0406, 0416, 0720, 1503, 1516 |  |
| 76 | 320 bp | 800 bp | 0104, 020201-020203, 020205-0205, 0208-0218, 0220, 030201-030203, 0314-0316, 0333, 0336, 0340, 0342, 0343, 0504, 06020101-0608, 0610-0616N, 070101-0703, 0705-0710, 0714-072702, 0730-0733N, 0735-0740, 0742-0744, 0746-0753, 0809, 0811, 120201-1214, 1216-1221, 140201-1409, 1504, 1509, 1518-1520, 160101-1602, 160401, 1606-1609 |  |
| 775 | 100 bp | 800 bp | 150501-150504 | B*4036weakly, B*4807weakly |
| 78 | 210, 240, 315, 360 bp | 1070 bp | 010201-010205, 0105-0119, 0219, 030301-031102, 0313, 0317, 0318, 0320N-0325, 0327-0332, 0334, 0335, 0337-0339, 0341, 0344-0347, 0612, 0615, 0616N, 0729, 1506, 1518 |  |
| 795 | 140 bp | 1070 bp | 0212, 0411, 0429, 080101-0809, 0811-0815, 120201-120303, 120305, 1206-1208, 1210-1220, 140203, 1403, 1408, 1507, 1521, 160101, 160103, 160401, 1606-1608, 1610 | B*350802, B*6702 |
| 805,7 | 70, 160, 210 bp | 800 bp | 0206, 0312, 0319, 0334, 0344, 1215, 1508 | B*1318weakly, B*1573weakly, B*5410weakly, B*5509weakly,B*5521weakly |
| 81 | 435 bp | 1070 bp | 0206, 0312, 0319, 1215, 1511, 1516, 1517 | B*4611, B*5608, B*5614 |
| 828 | 165 bp | 800 bp | 0208, 0318, 04010101-040104, 040401-0405, 0407-041502, 0417-0420, 0423-0431, 050101-050104, 0503-0517, 080101-0813, 0815, 120201-1215, 1217-1221, 140201-140204, 1404-1409, 151001-151002, 160101-1602, 160401, 1606-1610, 1701-1704 |  |
| 83 | 240, 315, 360 bp | 800 bp | 0206, 0312, 0319, 0615, 0616N, 1215, 150201-1503, 1507, 1508, 151001-1513, 1515-1518, 1521 |  |
| 84 | 205 bp | 800 bp | 160101-1602, 160401, 1608-1610 |  |
| 85 | 340 bp | 1070 bp | 0114, 020201-020203, 020205-0211, 0213-0220, 0307, 0315, 0345, 04010101-040104, 0403-0410, 0412-0420, 0423-0428, 0430, 0431, 050101-050104, 0503-0517, 06020101-0610, 0612-0616N, 0707, 0709, 0749, 0810, 120401-1205, 1209, 1221, 1404, 150201-1506, 1508-1513, 1515-1520, 1602, 1609, 1701-1704, 1801-1803 |  |
| 86 | 415 bp | 1070 bp | 0739, 0740 |  |
| 87 | 160 bp | 1070 bp | 0753, 160101-1602, 1606-1609 |  |
| 885 | 85, 195 bp | 1070 bp | 0423, 0431 |  |
| 89 | 345 bp | 800 bp | 010201-0119, 030201-0347, 06020101-0604, 0606-0616N, 120304, 120401, 140201-140202, 140204, 1404-1407N, 1409, 160102, 1702, 1704? |  |
| 90 | 350 bp | 800 bp | 1701, 1703, 1704? |  |
| 915 | 70, 170, 240, 270 bp | 800 bp | 0517, 0713, 0728, 0747, 0748, 1702, 1704? |  |
| 92 | 155, 300 bp | 1070 bp | 0420, 1703, 1704? |  |
| 935 | 90, 210 bp | 1070 bp | 1406, 1701, 1704? |  |
| 94 | 560 bp | 1070 bp | 070101-0733N, 0735-0753, 1801, 1803? |  |
| 95 | 220 bp | 1070 bp | 04010101-040104, 0403-0420, 0423-0431, 1802, 1803? |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-Cw high resolution for frequent alleles SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well numbers 1, 6, 8, 10 to 12, 14, 20, 21, 23, 26, 28, 29, 31, 37, 38, 46, 47, 55, 56, 61 to 63, 67 to 70, 75 to 77, 80, 82 to 84 and 89 to 91 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the orientation and identification of the HLA-Cw high resolution for frequent alleles SSP typing.

In the presence of a specific amplification the intensity of the control band often decreases.

3The Cw*0101, Cw*0201, Cw*020204, Cw*0301, Cw*0402, Cw*0421, Cw*0422, Cw*0502, Cw*0601, Cw*0734, Cw*1101, Cw*1201, Cw*1301, Cw*1401, Cw*1501, Cw*1514, Cw*1603, Cw*16042 and Cw*1605 alleles have deleted or renamed.

The following alleles have the same amplification patterns:

Cw*0106 and Cw*0111

Cw*0116, Cw*0117, Cw*0118 and Cw*0119

Cw*0203 and Cw*0218

Cw*0204 and Cw*0214

Cw*0205 and Cw*0217

Cw*0306 and Cw*0328

Cw*0309 and Cw*0323

Cw*0321 and Cw*0322Q

Cw*0334 and Cw*0344

Cw*0337 and Cw*0346

Cw*0407 and Cw*0427

Cw*0408, Cw*0409N and Cw*0430

Cw*041502 and Cw*0417

Cw*0418 and Cw*0419

Cw*0423 and Cw*0431

Cw*0424, Cw*0425 and Cw*0426

Cw*0506 and Cw*0515

Cw*0608 and Cw*0613

Cw*0615 and Cw*0616N

Cw*0703 and Cw*0717

Cw*0715 and Cw*0738

Cw*0722 and Cw*0735

Cw*0725 and Cw*0732N

Cw*0733N and Cw*0751

Cw*0747 and Cw*0748

Cw*0804 and Cw*0813

Cw*1509 and Cw*1519

Cw*1511 and Cw*1517

4A few HLA-A and HLA-B alleles will be amplified by primer mixes 6, 8, 10, 16, 18, 19, 31, 34, 40, 43, 44, 48, 52, 59, 61, 70, 77, 79, 80 and 81 due to the sharing of sequence motifs between HLA Class I loci.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 3, 15 and 24 have a tendency of giving rise to non-specific amplifications.

7Primer mixes 50, 72 and 80 have a tendency of giving rise to primer oligomer formation.

8Primer mixes 17, 27, 64, 82 and 93 may give rise to less specific PCR product than the other HLA-Cw high resolution primer mixes.

1The Cw*0101, Cw*0201, Cw*020204, Cw*0301, Cw*0402, Cw*0421, Cw*0422, Cw*0502, Cw*0601, Cw*0734, Cw*1101, Cw*1201, Cw*1301, Cw*1401, Cw*1501, Cw*1514, Cw*1603, Cw*16042 and Cw*1605 alleles have deleted or renamed.

The following alleles have the same amplification patterns:

Cw*0106 and Cw*0111

Cw*0116, Cw*0117, Cw*0118 and Cw*0119

Cw*0203 and Cw*0218

Cw*0204 and Cw*0214

Cw*0205 and Cw*0217

Cw*0306 and Cw*0328

Cw*0309 and Cw*0323

Cw*0321 and Cw*0322Q

Cw*0334 and Cw*0344

Cw*0337 and Cw*0346

Cw*0407 and Cw*0427

Cw*0408, Cw*0409N and Cw*0430

Cw*041502 and Cw*0417

Cw*0418 and Cw*0419

Cw*0423 and Cw*0431

Cw*0424, Cw*0425 and Cw*0426

Cw*0506 and Cw*0515

Cw*0608 and Cw*0613

Cw*0615 and Cw*0616N

Cw*0703 and Cw*0717

Cw*0715 and Cw*0738

Cw*0722 and Cw*0735

Cw*0725 and Cw*0732N

Cw*0733N and Cw*0751

Cw*0747 and Cw*0748

Cw*0804 and Cw*0813

Cw*1509 and Cw*1519

Cw*1511 and Cw*1517