PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-C low resolution

Prod. No:	101.601-24/24u

101.601-12/12u

Lot No:    	34F

Expiry Date:    	2010-November-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 23 primer mixes used for HLA-C low resolution SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA class I 3 alleles |
| --- | --- | --- | --- |
| 14 | 155, 370 bp | 800 bp | 010201-0122 |
| 2 | 270 bp | 800 bp | 0110, 020201-020203, 020205-0222, 0432, 0608, 1701-1704, 1803 |
| 3 | 280 bp | 800 bp | 020201-020203, 020205-0203, 0204weakly, 0205-0213, 0214weakly, 0215-0222, 030201-030203, 030401-0310, 0314-0317, 0319, 0323-0329, 0332-033802, 0340-0342, 0344-0348, 0403, 0406, 0416, 0603, 150201-1509, 151002, 1511, 1513, 1515-1521 |
| 49 | 155 bp | 1070 bp | 030201-030406, 0305-0315, 0317-0340, 0342-0350 |
| 5 | 280 bp | 800 bp | 030301-030305, 031101-0313, 0320N-0322Q, 0330, 0331, 0343, 0349, 0350, 1512 |
| 6 | 125 bp | 1070 bp | 020201-020203, 020205-0220, 0222, 04010101-040106, 0403-041502, 0417-0420, 0423-0436, 1511 |
| 7 | 165 bp | 1070 bp | 050101-050104, 0503-0521, 0605, 0810, 1221 |
| 8 | 130, 240, 355 bp | 800 bp | 0206, 0339, 06020101-06020102, 060203-0616N, 0618, 1215, 1216, 150201-1503, 1507, 1508, 151001-1513, 1515-1518, 1521 |
| 95 | 245, 425 bp | 800 bp | 070101-0733N, 0735-0764 |
| 106, 9 | 115, 170, 260, 390 bp | 1070 bp | 080101-0819 |
| 11 | 340 bp | 1070 bp | 0114, 020201-020203, 020205-0211, 0213-0222, 0307, 0315, 0345, 04010101-040106, 0403-0410, 0412-0420, 0423-0428, 0430-0435, 050101-050104, 0503-0521, 06020101-06020102, 060203-0610, 0612-0618, 0707, 0709, 0749, 0810, 120401-1205, 1209, 1221, 1404, 150201-1506, 1508-1513, 1515-1520, 1602, 1609, 1612, 1701-1704, 1801-1803 |
| 12 | 100, 160, 220 bp | 1070 bp | 0104, 0121, 120201-12030102, 120303-120306, 120402-1208, 1210-1213, 1215-1221 |
| 138,9 | 130, 250 bp | 800 bp | 0121, 0212, 04010101-040106, 0403-0409N, 0412-0420, 0423-0435, 0805, 120201-120303, 120305-120306, 120402, 1206-1208, 1210-1220, 1503, 1516, 160101-1602, 1606-1612, B*6702 |
| 1410 | 220 bp | 800 bp | 0104, 0109, 0205, 0217, 06020101-06020102, 060203, 0603, 0607-0613, 0615-0618, 12030101-1207, 1211-1213, 1215, 1219, 160401 |
| 159 | 255 bp | 1070 bp | 020201weakly, 020202-020203, 020205-0213, 0215-0222, 0307, 0310, 0315, 0329, 0345, 0403, 0406, 0416, 050101-050104, 0503-0519, 0521, 0603, 0810, 120401-1205, 1209, 1221, 150201-1506, 1508-1513, 1515-1521, 1602, 1609, 1612, 1701-1704 |
| 169 | 95, 255 bp | 1070 bp | 0411, 0429, 0436, 0511, 0517, 0764, 0804, 0813, 140201-1411 |
| 177,9 | 110, 335 bp | 1070 bp | 0206, 1208, 1215, 150201-1513, 1515-1521 |
| 188 | 190, 250 bp | 1070 bp | 0213, 0218, 04010101-040106, 0403-0410, 0412-0420, 0423-0432, 0434-0436, 0517, 0605, 0731, 080101-080102, 0803, 0806, 0808-0811, 0814, 0816, 1214, 160101-1602, 160401, 1606-1612 |
| 19 | 225, 260 bp | 800 bp | 0433, 0807, 1214, 1701-1704 |
| 20 | 220, 425 bp | 800 bp | 010201-0103, 0106-0108, 0110-0120, 0516, 0605, 0606, 0707, 0709, 0749, 0812, 1209, 140201-1405, 1407N, 1410, 1411, 1801-1803, B*1403 |
| 21 | 325, 380 bp | 1070 bp | 0103, 0222, 030301-030407, 0306-0312, 0314, 0318-0324, 0326, 0328-0332, 0334, 0337-0350, 04010101-040106, 0403-0420, 0424-0436, 050101-050104, 0503, 0505-0521, 0609, 0614, 0710, 0728, 0741, 0743, 080101-0808, 0810, 0812-0819, 150201-1513, 1515-1521, 1701-1704, 1801-1803 |
| 228 | 135 bp | 1070 bp | 030201-0317, 0319-033802, 0340-0350, 0432, 0603, 1803 |
| 23 | 160, 235 bp | 1070 bp | 06020101-06020102, 060203, 0604, 0606-0618, 070101-0725, 072701-0732N, 0735-0738, 0741-0763, 1216, 160101-1602, 1606-1612, 1801-1803 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C low resolution typing.

In addition, wells number 2, 3, 5, 8, 9, 13, 14, 19 and 20 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C alleles only partial 1st and 4th exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the HLA-C low resolution SSP sets are completely matched with the target sequences or not. We assume that unknown sequences are conserved within allelic groups.

4Primer mix 1 will for most Cw*01 alleles give rise to two specific PCR fragments.

5Primer mix 9 will for most Cw*07 alleles give rise to two specific PCR fragments.

6Primer mix 10 will for most Cw*08 alleles give rise to multiple specific PCR fragments.

7Primer mix 17 will for most Cw*15 alleles give rise to two specific PCR fragments.

8Primer mixes 13, 18 and 22 have a tendency of giving rise to primer oligomer artifacts.

9Primer mixes 4, 10, 13, 15, 16 and 17 yield somewhat less intense specific PCR fragments than the other HLA-C low resolution primer mixes.

10Primer mix 14 might faintly amplify the Cw*0102 to 0103, the Cw*0105 to Cw*0119 and the Cw*140201 to 1409 alleles.

1The sequence of the Cw*0101 allele has been shown to be identical to Cw*0102.

The sequence of the Cw*0201 allele has been shown to be identical to Cw*02022.

The sequence of the Cw*020204 allele has been shown to be identical to Cw*0210.

The sequence of the Cw*0301 allele has been shown to be identical to Cw*0304.

The sequence of the Cw*0402 allele has been shown to be identical to Cw*04011.

The sequence of the Cw*0421 allele has been shown to be identical to Cw*041502.

The sequence of the Cw*0422 allele has been shown to be identical to Cw*0421.

The sequence of the Cw*0502 allele has been shown to be identical to Cw*0509.

The sequence of the Cw*0601 allele has been shown to be identical to Cw*0602.

The sequence of the Cw*060202 allele has been shown to be identical to Cw*0617.

The sequence of the Cw*0734 allele has been shown to be identical to Cw*072702.

The sequence of the Cw*1101 allele has been shown to be in error.

The sequence of the Cw*1201 allele has been shown to be identical to Cw*12022.

The sequence of Cw*1301 has been shown to be in error.

The sequence of the Cw*1401 allele has been shown to be identical toCw*1402.

The sequence of the Cw*1501 allele has been shown to be identical to Cw*1502.

The sequence of the Cw*1514 allele has been shown to be identical to Cw*151002.

The sequence of the Cw*1603 allele has been shown to be identical toCw*1403.

The sequence of the Cw*16042 allele has been shown to be identical toCw*16041.

The sequence of the Cw*1605 allele has been shown to be identical toCw*16041.