PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-Cw*08

Prod. No:	101.623-12/12u

Lot No:    	79F

Expiry Date:    	2011-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 16 primer mixes used for HLA-Cw*08 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-Cw*08 alleles | Other amplified HLA Class I alleles3 |
| --- | --- | --- | --- | --- |
| 15 | 250 bp | 800 bp | 080101-080102, 0803, 0804, 0806, 0808-0811, 0813, 0814, 0816, 0820-0822 | 0122, 0203, 021601-021602, 0218, 040401-040402, 0406, 0413, 0434, 0511, 0517, 0604, 121401-121402, 1218, 1220, 1406, 150201-1507, 1509-1513, 1515-1521, 1701-1705, B*5802 |
| 24 | 115 bp | 1070 bp | 080101-080102, 0803, 0806, 0808-0811, 0814, 0816, 0820-0822 |  |
| 34 | 115 bp | 800 bp | 0802, 0804, 0805, 0807, 0812, 0813, 0817-0819, 0823 | 05010101-050104, 0503-0508, 0510, 0511, 0513-0516, 0518-0525, 0741 |
| 44 | 110 bp | 1070 bp | 0803, 0806, 0814 |  |
| 5 | 155 bp | 1070 bp | 0805, 0815, 0821 | 0113, 0509, 0517, 1705, B*1533 |
| 66 | 270, 310 bp | 1070 bp | 0806, 0823 |  |
| 74 | 100 bp | 1070 bp | 0807 | 0523 |
| 8 | 225 bp | 1070 bp | 0809, 0811 | 0504, 0768 |
| 9 | 495 bp | 1070 bp | 0810 |  |
| 104,7 | 110, 140 bp | 800 bp | 0809, 0817 |  |
| 115,8 | 280, 465 bp | 800 bp | 0812, 0820 | 0516 |
| 12 | 165 bp | 800 bp | 080101-0809, 0811, 0812, 0814, 0815, 0817, 0819-0823 |  |
| 134 | 105 bp | 800 bp | 0802, 0805, 0807, 0812, 0817-0819, 0823 | 05010101-050104, 0503-0508, 0510, 0512-0516, 0518- 0525, 0741 |
| 149 | 170, 280 bp | 1070 bp | 0808, 0818 |  |
| 1510 | 260, 490 bp | 1070 bp | 0813, 0816, 0819 |  |
| 164,5,11 | 100, 540 bp | 1070 bp | 0814, 0822 | 0121, 0605, 1216, B*6702 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-Cw*08 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-Cw*08 SSP subtyping.

In addition, wells number 3 and 10 to 13 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-Cw alleles some non-HLA-Cw*08 alleles will be amplified by primer mixes 1, 3, 5, 7, 8, 11, 13 and 16. In addition, primer mix 1 will amplify the B*5802 allele, primer mix 5 will amplify the B*1533 allele and primer mix 16 will amplify B*6702.

4Short specific PCR fragments are less intense and not as sharp as longer specific bands.

5Primer mixes 11 and 16 have a tendency of giving rise to non-specific amplifications.

6Primer mix 6: Specific PCR fragment of 270 bp in the Cw*0806 allele. Specific PCR fragment of 310 bp in the Cw*0823 allele.

7Primer mix 10: Specific PCR fragment of 110 bp in the Cw*0809 allele. Specific PCR fragment of 140 bp in the Cw*0817 allele.

8Primer mix 11: Specific PCR fragment of 280 bp in the Cw*0812 and in the Cw*0516 allele. Specific PCR fragment of 465 bp in the Cw*0820 allele.

9Primer mix 14: Specific PCR fragment of 170 bp in the Cw*0818 allele. Specific PCR fragment of 280 bp in the Cw*0808 allele.

10Primer mix 15: Specific PCR fragment of 260 bp in the Cw*0813 and *0816 alleles. Specific PCR fragment of 490 bp in the Cw*0819 allele.

11Primer mix 16: Specific PCR fragment of 100 bp in the Cw*0814 and Cw*0121, 0605, 1216 and in the B*6702 allele. Specific PCR fragment of 540 bp in the Cw*0822 allele.

1Primer mix 6: Specific PCR fragment of 270 bp in the Cw*0806 allele. Specific PCR fragment of 310 bp in the Cw*0823 allele.

Primer mix 10: Specific PCR fragment of 110 bp in the Cw*0809 allele. Specific PCR fragment of 140 bp in the Cw*0817 allele.

Primer mix 11: Specific PCR fragment of 280 bp in the Cw*0812 and in the Cw*0516 allele. Specific PCR fragment of 465 bp in the Cw*0820 allele.

Primer mix 14: Specific PCR fragment of 170 bp in the Cw*0818 allele. Specific PCR fragment of 280 bp in the Cw*0808 allele.

Primer mix 15: Specific PCR fragment of 260 bp in the Cw*0813 and *0816 alleles. Specific PCR fragment of 490 bp in the Cw*0819 allele.

Primer mix 16: Specific PCR fragment of 100 bp in the Cw*0814 and Cw*0121, 0605, 1216 and in the B*6702 allele. Specific PCR fragment of 540 bp in the Cw*0822 allele.