Gel Documentation Form and Worksheet

KIR Genotyping (104.101-12/12u) 	Lot No: 98V	Expiry Date: 2016-December-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:____________

Tested By:____________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:  _______________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The specific PCR product generated by primer mixes 6 and 7 are longer than the internal positive control band and the positive control band may be weaker than for other KIR primer mixes.

Primer mixes 5 and 24 have a tendency to giving rise to primer oligomer formation.

Primer mixes 2, 3 and 13 may have tendencies of unspecific amplifications.

Primer mix 7 may give rise to a lower yield of specific PCR product than the other KIR primer mixes.

The 2DL3*00102 allele is not amplified by this lot of the KIR Genotyping primer set.

Well 24 contains negative control primer pairs, that will produce exon 4 and/or exon 5 amplicons for more than 97% of applicable KIR alleles as well as amplicons generated by positive control primer pairs.

1KIR alleles listed on the IPD KIR web page 2011-April-15, release 2.4.0, www.ebi.ac.uk/ipd/kir.

2The 2DL2*004 and the 2DL2*0010101-010 alleles may be distinguished by the different sizes of the specific PCR product in primer mix 2; two specific PCR fragments of 65 and 150 bp in the 2DL2*004 allele and a specific PCR fragment of 150 bp in the 2DL2*0010101-00304 and 005-010  alleles.

3The 2DS1 and the 3DP1 amplicons in primer mix 22 are differentiated by amplicon size; a specific PCR fragment of 95 bp in the 2DS1*0020101-008 alleles and a specific PCR fragment of 235 bp in the 3DP1*001-002, 004, 007 and 0090101-00902 alleles.

4The 2DL3*00102 allele is not amplified by this lot of the KIR Genotyping primer set.

Changes in revision R01 compared to R00:

- Primer mix 3 may have tendencies of unspecific amplifications.

Changes in revision R02 compared to R01:

- The 2DL2*004 and the 2DL2*0010101-010 alleles may be distinguished by the different sizes of the specific PCR product in primer mix 2, and not by the sizes in primer mix 3.

Changes in revision R03 compared to R02:

- Primer mix 3 does not amplify the 2DL3*00102 allele. Thus, this lot of the KIR Genotyping kit will not amplify the  2DL3*00102 allele. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R04 compared to R03:

- Primer mix 1 contains the 800 base pair positive control primer pair. This has been corrected in the Specificity and Primer Specification Tables.

Change in revision R05 compared to R04:

- Primer mix 2 may give rise to a PCR product of 225 base pairs, in addition to product sizes of 65 and 150 base pairs.