Gel Documentation Form and Worksheet

KIR Genotyping (104.101-12/12u) Lot No: 8D0 Expiry Date: 2019-01-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes*: \_\_\_\_\_\_\_\_\_\_\_\_ *Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |



‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The specific PCR product generated by primer mixes 6 and 7 are longer than the internal positive control band and the positive control band may be weaker than for other KIR primer mixes.

Primer mixes 5, 7 and 24 have a tendency to giving rise to primer oligomer formation.

Primer mixes 2, 3, 7 and 13 may have tendencies of unspecific amplifications.

Primer mix 7 may give rise to a lower yield of specific PCR product than the other KIR primer mixes.

Well 24 contains negative control primer pairs, that will produce exon 4 and/or exon 5 amplicons for more than 97% of applicable KIR alleles as well as amplicons generated by positive control primer pairs.



**1**KIR alleles listed on the IPD KIR web page 2015-January-19, release 2.6.0, www.ebi.ac.uk/ipd/kir.

**2**The 2DL2\*004 and the 2DL2\*0010101-013 alleles may be distinguished by the different sizes of the specific PCR product in primer mix 2; three specific PCR fragments of 65, 150 and 225 bp in the 2DL2\*004 and 2DL2\*011 alleles and one specific PCR fragment of 150 bp in the 2DL2\*0010101-00304, 005-010 and 012-013 alleles.

**3**The 2DS1 and the 3DP1 amplicons in primer mix 22 are differentiated by amplicon size; a specific PCR fragment of 95 bp for the 2DS1\*0020101-008 alleles and a specific PCR fragment of 235 bp for the 3DP1\*001-002, 004, 007, 0090101-00902 and 011-012 alleles.

Changes in revision R01 compared to R00:

1. The Interpretation Table has been corrected with respect to the 3DL1 alleles amplified by primer mix 14.

Change in revision R02 compared to R01:

1. Typing errors in the Interpretation and Specificity Tables and the Cell Line Validation sheet have been corrected.