Gel Documentation Form and Worksheet

KIR HLA Ligand

(101.201-12/12u)	                                                        Lot: 39Y                                     Expiry Date:   2017-November-01

Name:____________________

Sample ID:________________

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: _____________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Primer mixes 3 and 4 may have tendencies of unspecific amplifications.

The primer pairs in primer mix 1 will also amplify the C*07:115Asp80 and C*07:361His80 alleles, whereas the C*01:46Asn80 allele is not amplified by these primer pairs.

The primer pairs in primer mix 2 will also amplify the C*05:32Arg80, C*15:60Gln80 and C*15:71Ile80 alleles.

The primer pairs in primer mix 3 will not amplify the B*44:11Thr80 and  B*44:152Thr80 alleles.

The primer pairs in primer mix 4 will not amplify the B*51:01:40Ile80 allele.

The primer pairs in primer mix 6 will not amplify the B*37:01:02Ser77 alleles.

Primer mix 7 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A, HLA-B and HLA-C alleles listed on the IMGT/HLA web page 2015-January-19, release 3.19.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.